## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned | 54261a4a-e082-4f4f-acc8-2995089064ca |  | checklist | Kitchen Install |  |  |  |  | Yes | SYS - Kitchen Install | 2cde256f-25fc-4255-874e-5c2c808ecaa0
checkpoint-group | ab41b290-2ccf-4452-a730-cb9840f4c7ae |  | section | Install
checkpoint-status | b9b5d011-8727-4bf8-b2dd-d5b73aab66c1 |  | checkpoint | Flooring
checkpoint-status | f8f77c50-2641-4ef5-b1ef-de2f81d91bcb |  | checkpoint | Doors/finishing lines
checkpoint-status | ee4526b8-c4a5-4afb-833a-51b28d76d62c |  | checkpoint | Painting
checkpoint-status | 71890167-1825-47a2-b911-7cbb838dff3e |  | checkpoint | Waterproof & vinyl/tiles
checkpoint-status | c7cfcb0b-de75-4546-aa23-2a2e68ffb8ae |  | checkpoint | Joinery/showers
checkpoint-status | 7b5ba99b-769f-46fc-a191-14f5433848d8 |  | checkpoint | Kitchen Insgall
checkpoint-status | 66e626a9-c024-4461-9878-999f91787101 |  | checkpoint | 2nd fix
checkpoint-status | 6c4990c8-f420-4108-bfee-9a9caf28a64b |  | checkpoint | Top coat
checkpoint-status | aaf7ebab-aa99-467b-9abb-dd6a9f618af0 |  | checkpoint | Hardware
checkpoint-status | b438288a-5dd1-46ef-8803-e371be944f5c |  | checkpoint | Carpet
checkpoint-group | e819d35e-5f9a-4509-8ba5-ebdb55061392 |  | section | Interior Detailing
checkpoint-status | 58f843f9-b76d-4d9f-ab1b-3c188c066bfb |  | checkpoint | All manuals are in the kitchen drawer
checkpoint-status | 93bf9be2-7978-4c03-9f71-6ce05c0d2aad |  | checkpoint | All keys tested and labelled are in the kitchen drawer
checkpoint-status | 8eb64b9c-1ae4-4696-9e15-5085e9a1f829 |  | checkpoint | All doors slide/latch correctly and internal door locks working
checkpoint-status | 82d984eb-6db3-4c35-a544-af7a1b3a5541 |  | checkpoint | All kitchen and bathroom joinery drawers and doors open and shut correctly
checkpoint-status | 6960e409-f8bd-431b-9d9b-118d3f55c06a |  | checkpoint | The blue film removed from the range hood around the vents
checkpoint-status | f900f30a-4561-431a-b235-617bed4bf306 |  | checkpoint | All appliances fitted correctly and tested – Oven – Rangehood – Dishwasher – Air Conditioner – Alarm – Heated Towel Rails - Hob
checkpoint-status | d7556f56-1f41-4f23-b64c-337c8aec0b8e |  | checkpoint | Test all bathroom & laundry run on vents do not run longer than the required time
checkpoint-status | 486ee51c-1d85-4443-b103-6fb9e51168e8 |  | checkpoint | All silver floor grate grills have no rubbish in them
checkpoint-status | 8305635d-8119-4113-bc05-e3ffdb526c73 |  | checkpoint | All excess vinyl glue is removed and joins are too our standard
checkpoint-status | 1261fd74-3b8a-44fe-9a89-82ad0532932a |  | checkpoint | All carpet stair pins are removed and carpet is fixed properly into the corners of each room and in particular on the stairs
checkpoint-status | 76732b60-4d58-4289-9dfc-f00134a5663d |  | checkpoint | Stair hand rail is finished to our quality standard
checkpoint-status | b40c7bd8-6651-4757-ad66-9e9bfecf2389 |  | checkpoint | The shower sealing is completed to our standard
checkpoint-status | b79e29a5-a309-4066-ab4d-407aed893333 |  | checkpoint | Wardrobe interior systems installed to be level
checkpoint-status | e1808533-2ca4-4d6c-ad2c-47781534cac0 |  | checkpoint | Laundry tubs and taps installed to our standard and position
checkpoint-status | 3df391a4-4ab1-4911-83dd-45bff16e574d |  | checkpoint | Interior Painting is finished on walls, skirting boards and ceiling to our quality control standard
checkpoint-status | 371b3331-7277-447d-b1af-f16255bfb49a |  | checkpoint | Check all lights and light switches working
checkpoint-status | 5c11bef3-fe64-4529-a2d8-d74862b5c6bd |  | checkpoint | Kitchen, laundry, bathroom taps run hot/cold and water pressure acceptable
checkpoint-status | 03d5497c-c99b-4491-a049-476074cced3f |  | checkpoint | Stickers removed from exterior of appliances & toilet
checkpoint-status | cad0c335-0779-484b-8ede-a6014d5760f2 |  | checkpoint | Silicon finished in wet areas to our standard
checkpoint-status | 76f1a06e-ea79-4bd5-ad20-bc722445fbb1 |  | checkpoint | Blinds fitted correctly & functioning smoothly
checkpoint-status | 289593b1-e762-422c-a40c-182202b1ab4e |  | checkpoint | Adhesive screw buttons fitted over screws in kitchen & bathroom cabinetry
checkpoint-group | d91f4d2d-338d-49e3-8894-bf995b9dee06 |  | section | Handover
checkpoint-status | d147b131-bd2d-447a-80c9-64a3caac3f24 |  | checkpoint | Check upstairs floor for creaks & screw down/check all wet areas have correct flooring installed
checkpoint-status | 90e7c8ea-201a-41e8-9d31-65565292a185 |  | checkpoint | Stopping & complete first coat paint check with light touch up if required
checkpoint-status | 64662313-8239-4037-8043-08455eecdeb6 |  | checkpoint | Door installation - check all margins are equal & doors are workimg
checkpoint-status | 4a8753c4-0d32-4580-a21d-78d8adfafefc |  | checkpoint | Install skirtings & finish lines - check to ensure that all joints are sanded & ready for paint
checkpoint-status | fa1cdaab-653e-4ff0-b2e2-7fef3dd8c892 |  | checkpoint | Kitchen checklist & QA
checkpoint-status | 1c4e1b34-0359-4e55-bae4-2e2531b6894d |  | checkpoint | Final check painting - photos required upon completion
checkpoint-status | dfd0138e-1440-46cb-a5c1-d1dae655f9af |  | checkpoint | Recorded inspections for claims
checkpoint-status | 840ed127-29d3-4452-9a04-303467bd9149 |  | checkpoint | Shower door installed correctly are level
checklist-sectioned | 0813e967-cac0-4303-8fbf-9e2e1da6a721 |  | checklist | QA - Kitchen Install |  |  |  |  | Yes | QA - Kitchen Install | 4059c172-7d2f-4c05-9793-483fb166b45b
checkpoint-group | 57187257-db87-4053-bebe-ecd0c19cf1d0 |  | section | Install
checkpoint-status | 116483ca-0726-42fa-b4e3-0cc789503dc8 |  | checkpoint | Doors/finishing lines
checkpoint-status | 188a8b67-1af6-461f-bb92-8f079dcc7415 |  | checkpoint | Painting
checkpoint-status | 35c1ad17-1f7c-4d68-9be6-82f5e7f09554 |  | checkpoint | Waterproof & vinyl/tiles
checkpoint-status | a351f015-7515-43a0-b4f4-c01e78b9372c |  | checkpoint | Joinery/showers
checkpoint-status | a6f0b53f-118a-4162-899f-fc9224cc04f0 |  | checkpoint | Kitchen Install
checkpoint-status | 5d97b102-b08e-45ad-ad36-f8ab64efe980 |  | checkpoint | 2nd fix
checkpoint-status | 7ad20a3f-09e0-4005-a25e-1585f8d4bf7e |  | checkpoint | Hardware
checkpoint-status | a3201ccb-8b2e-45bc-9282-4cf4c3dd125e |  | checkpoint | Flooring
checkpoint-status | 3e981229-0162-47f1-ae64-c7a8df8cffcc |  | checkpoint | Carpet
checkpoint-status | c7161712-5218-470f-9cab-11d9bed408e9 |  | checkpoint | Appliance install
checkpoint-group | 8fdc5efd-0bfe-4ff1-91a2-e1878eff3bcf |  | section | Interior Detailing
checkpoint-status | 83e7eea7-b11c-4ec6-8705-1e3bb8040041 |  | checkpoint | All manuals are in the kitchen drawer
checkpoint-status | 55401756-0be7-4883-8554-6b86550f1c64 |  | checkpoint | All keys tested and noteled are in the kitchen drawer
checkpoint-status | ca1ace68-6a28-4efc-a56f-a0d4cbe74641 |  | checkpoint | All doors slide/latch correctly and internal door locks working
checkpoint-status | 7bec0f8f-a1ee-4375-87aa-fd883d3cabb6 |  | checkpoint | All kitchen and bathroom joinery drawers and doors open and shut correctly
checkpoint-status | 3fd3f59e-f498-4eaa-9f59-398a13d98fc4 |  | checkpoint | The blue film removed from the range hood around the vents
checkpoint-status | 9798c1e8-f1e0-4fe3-a339-88a3ee4f8aba |  | checkpoint | All appliances fitted correctly and tested – Oven – Rangehood – Dishwasher – Air Conditioner – Alarm – Heated Towel Rails - Hob
checkpoint-status | 359c3ca1-2d39-4dab-a23c-159b91e9e95e |  | checkpoint | Test all bathroom & laundry run on vents do not run longer than the required time
checkpoint-status | e2f7eeb4-fdb9-4489-bcff-9a6b88df8ef5 |  | checkpoint | All silver floor grate grills have no rubbish in them
checkpoint-status | 37fb87a6-e3d2-4d87-8e6c-a57a7d5f1f21 |  | checkpoint | All excess vinyl glue is removed and joins are too our standard
checkpoint-status | 838b88fc-d80c-4bc4-9954-cfd12c18d5d8 |  | checkpoint | All carpet stair pins are removed and carpet is fixed properly into the corners of each room and in particular on the stairs
checkpoint-status | 3e597fa5-d29d-411a-8c6c-f86b6ee4f41b |  | checkpoint | Stair hand rail is finished to our quality standard
checkpoint-status | 1d707bb9-c8da-4cb6-8de2-416a2c62e192 |  | checkpoint | The shower sealing is completed to our standard
checkpoint-status | 88617b0e-1cf1-43a9-8d19-3a1338dca49a |  | checkpoint | Wardrobe interior systems installed to be level
checkpoint-status | 04684ea1-3c7c-449d-a7a5-4287634b7894 |  | checkpoint | Laundry tubs and taps installed to our standard and position
checkpoint-status | df121389-5c50-4a82-a73b-323d7104d144 |  | checkpoint | Interior Painting is finished on walls, skirting boards and ceiling to our quality control standard
checkpoint-status | 197f12f2-6845-4322-b1f1-b416d970aebd |  | checkpoint | Check all lights and light switches working
checkpoint-status | 254080f2-4111-451f-9cf1-f062a299397a |  | checkpoint | Kitchen, laundry, bathroom taps run hot/cold and water pressure acceptable
checkpoint-status | ff72dc15-2965-4078-9ea5-c2d1797be9a9 |  | checkpoint | Stickers removed from exterior of appliances & toilet
checkpoint-status | 8ef4ba95-3a3f-496d-a497-c70d325ec1f4 |  | checkpoint | Silicon finished in wet areas to our standard
checkpoint-status | 5567be5d-564a-40d6-940e-f08e96541620 |  | checkpoint | Blinds fitted correctly & functioning smoothly
checkpoint-status | 29e7019c-3a7c-46af-b1ed-45f8071c76fc |  | checkpoint | Adhesive screw buttons fitted over screws in kitchen & bathroom cabinetry
checkpoint-group | edb37f79-6a00-4a03-9d97-bb0f6e88e171 |  | section | Handover
checkpoint-status | 18a06f9d-454c-433d-9a45-0f72bfab336c |  | checkpoint | Check upstairs floor for creaks & screw down/check all wet areas have correct flooring installed
checkpoint-status | 4516b3ec-4f09-4d20-84bc-ac2568e7b8a5 |  | checkpoint | Stopping & complete first coat paint check with light touch up if required
checkpoint-status | 7ada0579-37f1-4e41-80e0-954141aeeed2 |  | checkpoint | Door installation - check all margins are equal & doors are workimg
checkpoint-status | 57ac58f3-ef30-4822-b353-fa2c4d6ca841 |  | checkpoint | Install skirtings & finish lines - check to ensure that all joints are sanded & ready for paint
checkpoint-status | 55248fca-af94-4d22-aefc-41d087ecbc22 |  | checkpoint | Kitchen checklist & QA
checkpoint-status | 07932393-b113-4cc9-b961-03e400c07a05 |  | checkpoint | Final check painting - photos required upon completion
checkpoint-status | c2d1f3f6-fee4-470d-a139-072b2b417d55 |  | checkpoint | Recorded inspections for claims
checkpoint-status | 625174f1-c084-4107-baed-bd63f7f0b0c0 |  | checkpoint | Shower door installed correctly are level
checklist-sectioned | e729df75-1fc6-47a0-8d6a-74968068a0bd |  | checklist | Practical Completion |  |  |  |  | Yes | SYS - Practical Completion | 48d35b06-a9f0-444d-8eed-d217c7e25a92
checkpoint-group | 180ef9fb-928d-4462-888c-a77dc051807e |  | section | Site Works Units
checkpoint-status | 55cb9212-e3c1-4486-beaa-3efdfbe230a5 |  | checkpoint | Hard landscaping
checkpoint-status | 50c9e767-d3b3-4b29-8f8a-b5cffaa2e5b7 |  | checkpoint | Fencing
checkpoint-status | d6d8a87b-95f3-43eb-bfe3-3c0e8e908f93 |  | checkpoint | Patios
checkpoint-status | 32800b17-079e-4ced-94de-8f1f52a00b0f |  | checkpoint | Landscaping
checkpoint-status | 5fc26eae-25f4-4629-b37b-a700486d279c |  | checkpoint | CCC Inspection passed
checkpoint-group | ccc2a9c1-e780-4b2d-b639-f32fe6f7c5a9 |  | section | Exterior Detailing
checkpoint-status | f053767f-113a-4cc8-82f6-54b7f5a8333a |  | checkpoint | Keys all tested and labelled doors letterboxes
checkpoint-status | 36825fb4-e175-4910-9ee8-f7d2c0c10d0a |  | checkpoint | Keyless door entry lock tested
checkpoint-status | ea514e3f-b424-48b7-8461-b84065cde622 |  | checkpoint | Entrance Door numbered
checkpoint-status | 1116eef1-33b3-4f1e-83c6-bcede5e986a1 |  | checkpoint | Clothesline installed as per plan
checkpoint-status | 7be05d46-1b63-47d2-9c65-be160843fc68 |  | checkpoint | Clothesline works
checkpoint-status | f735d266-0538-40df-a689-832b43b800ad |  | checkpoint | Outdoor taps work
checkpoint-status | 8e334abc-dc7a-4f53-b6c4-6c093144d581 |  | checkpoint | Any gates tested and shut and open easily
checkpoint-status | 1ba16a06-f729-4b3d-a14f-01541c231ec6 |  | checkpoint | Car park numbering aligns to plans
checkpoint-status | 33476c22-5352-48be-9808-0ef146a1e499 |  | checkpoint | Letterboxes installed in correct place
checkpoint-group | 6f7c736d-4ffa-4922-96bf-99caced9fb04 |  | section | Handover
checkpoint-status | cfe9cab0-07d5-4b7d-a4b1-6838efac342d |  | checkpoint | Landscaping handover package complete
checkpoint-status | 216134e3-9e68-4031-bc56-1e01d4b5bf46 |  | checkpoint | Fencing complete
checkpoint-status | c258e04a-e226-43c4-bc3e-7aeef0d27d34 |  | checkpoint | Patio area in perfect condition
checkpoint-status | 765dcd62-c4e6-48c0-8e7c-3c6674dfcd05 |  | checkpoint | Pergola installed/QA by contractor
checkpoint-status | 7a203efa-127a-4167-9b71-68bc7ccc9937 |  | checkpoint | Photos logged & sent through to Solution Street
checkpoint-status | 5f6af4a7-b41e-42cc-883b-e22ae8f5be8d |  | checkpoint | Recorded inspections for claims
checkpoint-status | 6c7f3823-f211-471c-8fec-0d873cac30c4 |  | checkpoint | CCC inspection passed
checkpoint-status | cc4f4041-f633-4229-9afd-f5a89da1fa25 |  | checkpoint | Photo of ICP number on Power meter uploaded to daily log
checklist-sectioned | e10e50fc-a2e7-4620-9741-d9b9a2f67683 |  | checklist | QA - Linings Complete |  |  |  |  | Yes | QA - Linings Complete | 4c57fb79-3748-4f00-9672-2c5dbc5742be
checkpoint-group | 1200a6f3-b784-4e06-9200-eaea762e9a91 |  | section | Gib Lining On
checkpoint-status | 24d52ec1-331b-4dce-bbfe-c17956be28bb |  | checkpoint | Internal frames & nogs
checkpoint-status | c64664a7-48dc-414a-bcf8-4a589e2c09e2 |  | checkpoint | 1st fix plumbing
checkpoint-status | ae7cd3e1-3775-4f38-a46b-60815e5437ef |  | checkpoint | 1st fix electrical
checkpoint-status | 2a91e326-79ea-480c-902f-fcdfa4fc29ca |  | checkpoint | Insulation
checkpoint-status | 892a2941-49d4-4960-8d2f-5f271bfcb260 |  | checkpoint | Preline council inspection
checkpoint-status | 7314804c-c2ce-467c-8033-e467f299f54c |  | checkpoint | Linings IT 1st layer (if applicable)
label | 31e02571-3d45-5306-8829-e59075608955 |  | note | No picture requried
checkpoint-status | aed791d3-fe71-4817-8391-5263700f5359 |  | checkpoint | Council inspection 1st layer (if applicable)
label | d754aa62-a909-5572-ac85-fa2fa05dab71 |  | note | No picture requried
checkpoint-status | 8b685fbe-e095-4369-a8a2-c83bb4aea911 |  | checkpoint | Second layer IT (if applicable)
label | 001a9489-21bf-5b91-bda3-3c24e0c10e76 |  | note | No picture requried
checkpoint-status | 85657a26-82fb-4124-9afa-cfd5a6df6187 |  | checkpoint | Council second layer inspection (if applicable)
label | abe21ae9-0a65-55c4-9827-499010b88b57 |  | note | No picture requried
checkpoint-status | e1e9e9a7-e48f-4182-92e3-d4c74a3e38f0 |  | checkpoint | Complete ceiling grids/ceiling insulation into IT walls
checkpoint-status | 4d3b0205-81eb-4b53-993b-efc2c68500ad |  | checkpoint | Stopping IT walls only
checkpoint-status | 95cab965-6e5e-448c-8e16-27c638611b29 |  | checkpoint | Council IT wall inspection & stopping
checkpoint-status | 492bd2e1-2e7e-471b-ab00-0c01cc494ac5 |  | checkpoint | Stair install
checkpoint-status | 6732cccb-882b-4c8e-97a8-b22979760a44 |  | checkpoint | Council inspection 1st layer
checkpoint-status | 9d648a50-1c64-4071-80ae-8fa59350bdca |  | checkpoint | Complete GIB
checkpoint-status | 1f2bf0a8-0ec6-4bd6-8210-a376d9f7c39d |  | checkpoint | Postline inspection of bracing prior to stopping
checkpoint-status | 234b0109-159a-4ce3-90c9-8d73560ab230 |  | checkpoint | Stopping
checkpoint-group | e6b0ebe2-ecb9-400e-9294-b5ed3ce04d2a |  | section | Handover
checkpoint-status | 9a1e1cee-d71c-4162-8ecc-4c05088905a6 |  | checkpoint | Plumbing location in walls - both kitchen & bathroom
checkpoint-status | e816748e-42ba-423a-89ea-98dfab4b379a |  | checkpoint | Power & data to all allocated points
checkpoint-status | be604bc9-48a9-4066-971f-7e87b46c97c4 |  | checkpoint | Nogs in place for additional fittings - HTR/toilet roll holder
checkpoint-status | 1825c0bf-73a4-43b1-9cd8-d5de2eee5c3b |  | checkpoint | Second check framing prior to wall linings - plane & straighten
checkpoint-status | 0da80c0f-85dd-4690-a88c-81c47ed48862 |  | checkpoint | Gib completion
checkpoint-status | a3a7849e-f28f-449c-9211-6657c522ef99 |  | checkpoint | Recorded inspections for claims
checklist-sectioned | 0c0bd561-753f-45ab-a503-801855152c1e |  | checklist | QA - Practical Completion |  |  |  |  | Yes | QA - Practical Completion | 5ec21a29-f114-4614-92e4-ba5fe9e3291a
checkpoint-group | 8433692e-4948-4ade-a51b-e68675ba56ab |  | section | Site Works Units
checkpoint-status | a1221059-3cb9-4692-b0c3-494bd1b50b70 |  | checkpoint | Hard landscaping
checkpoint-status | 93776cf0-7007-45ca-826d-03ecee379961 |  | checkpoint | Fencing
checkpoint-status | 28461308-f7d2-44da-88b3-71225af548d9 |  | checkpoint | Patios
checkpoint-status | dc3ef328-0ce4-4465-b118-6f80dd695b65 |  | checkpoint | Landscaping
checkpoint-status | 4966a13a-18b8-4c4f-9f09-69c087b15afe |  | checkpoint | Pergolas/shrouds/canopies
checkpoint-status | e330404c-6a9c-4637-a59b-d7f7d804bd53 |  | checkpoint | CCC Inspection passed
checkpoint-group | 250a54d2-7a62-4c4a-8bde-4980eef1fc38 |  | section | Exterior Detailing
checkpoint-status | 16397914-a065-45a2-b492-9b066062439f |  | checkpoint | Keys all tested and noteled doors letterboxes
checkpoint-status | d32d93d0-1b7d-4765-8536-db08285f6e53 |  | checkpoint | Keyless door entry lock tested
checkpoint-status | 570218bd-5ca3-468e-a5a2-153206c1459b |  | checkpoint | Entrance Door numbered
checkpoint-status | 59154dba-de78-4503-9a44-fc6d4c75efee |  | checkpoint | Clothesline installed as per plan
checkpoint-status | 6d63a03d-7c3f-469c-8677-05fca8961e28 |  | checkpoint | Clothesline works
checkpoint-status | c7127599-7d07-4d49-9ca2-b0b4aa8de025 |  | checkpoint | Outdoor taps work
checkpoint-status | b43c02c1-a77c-4cdf-af3f-cfe4d07a7335 |  | checkpoint | Any gates tested and shut and open easily
checkpoint-status | 4751a979-7860-428e-8363-138333e22596 |  | checkpoint | Car park numbering aligns to plans
checkpoint-status | 061e7aac-ecfd-4100-912e-c3e6a646c594 |  | checkpoint | Letterboxes installed in correct place
checkpoint-group | 99f708bf-1ce4-4944-bfc5-1ffe79a432f6 |  | section | Handover
checkpoint-status | d416676b-e0b8-4600-a613-35388a5d62ab |  | checkpoint | Landscaping handover package complete
checkpoint-status | 566653ae-e9c8-4323-a683-9089d1ad0cc7 |  | checkpoint | Fencing complete
checkpoint-status | fcc41448-0b90-4cd1-b12c-bc6f8c192971 |  | checkpoint | Patio area in perfect condition
checkpoint-status | dfda3990-6e76-4460-832b-8b40ea8eb7f0 |  | checkpoint | Pergola installed/QA by contractor
checkpoint-status | 5a02b8d6-2bfb-450f-abc6-45d4aa262a0f |  | checkpoint | Photos logged & sent through to Solution Street
checkpoint-status | 797ea3fb-1891-451f-b73a-1ac14d39e93a |  | checkpoint | Recorded inspections for claims
checkpoint-status | 80f7c59b-06f5-4feb-b5d0-5189db3a386c |  | checkpoint | CCC inspection passed
checkpoint-status | e932e79d-7ca7-4c1e-a8c3-476ef07c51f2 |  | checkpoint | Photo of ICP number on Power meter uploaded to daily log
checklist-sectioned | bb116e98-91c0-4f40-82ad-4af5cd674d97 |  | checklist | QA - Slab Down |  |  |  |  | Yes | QA - Slab Down | 6c27222d-9c31-4055-b643-253d63d09a32
checkpoint-group | 10909ad0-8b65-4208-b655-196a425a35da |  | section | Slab Down
checkpoint-status | a76c72bd-10dd-456f-9c4f-60435bde0c31 |  | checkpoint | Profiles
checkpoint-status | aa486353-eb36-4f4b-bc8b-585a56914aac |  | checkpoint | Form Work
checkpoint-status | 8bbb5db9-041a-45cd-bf23-424a1e89349c |  | checkpoint | Drainage/services
checkpoint-status | b36f1dfe-cb83-4054-a780-f6b9f52d2ea8 |  | checkpoint | Survey
checkpoint-status | 0a027805-2cf6-44c4-b86c-fb609de3d797 |  | checkpoint | Council Inspections
checkpoint-status | 27911259-f05e-4b5f-becc-7b5291ee04c5 |  | checkpoint | Back fill & fines
checkpoint-status | 9632ea6f-0bbf-45b3-a131-e0e891bae002 |  | checkpoint | DPM
checkpoint-status | f55e608f-5e42-4d6e-bb5f-dad0bec33dca |  | checkpoint | PODS
checkpoint-status | a44332dc-534c-4811-81e3-87ac49fda293 |  | checkpoint | Steel placement
label | 5c26899c-df80-5bfe-a537-ef721b5eb83c |  | note | Include picture of tags on steel
checkpoint-status | ac4d85d9-f99c-4bc1-b35b-461010b58e1f |  | checkpoint | Engineer inspection
checkpoint-status | fbd551ec-a570-4e67-bc55-51dd2ac8c67f |  | checkpoint | Council inspection
checkpoint-status | 97486616-e5fc-4566-8d4d-1cbfda698cde |  | checkpoint | Pour concrete
label | d6471e67-8474-501a-aca6-99ad407cdde8 |  | note | Attach pour reciept
checkpoint-status | 7275c5f4-289e-4de6-ae97-2b396a482655 |  | checkpoint | Cut concrete
checkpoint-group | 34a25ca0-3489-4c67-b76c-a7d43f53d1b2 |  | section | Handover
checkpoint-status | 11509312-9dca-4eea-9dc9-e9ee2ef53e45 |  | checkpoint | Plumbing & services photos required
checkpoint-status | 0b35bbb3-b9bb-4381-a92f-94f729125cd7 |  | checkpoint | Survey correct position of boxing prior to pour, surveyors certificate required
checkpoint-status | 63180a0e-20a5-4459-ae97-03766c7fdf58 |  | checkpoint | Provide copies of all inspection records
checklist-sectioned | 172ec022-4e60-4c24-910f-66a46486ce71 |  | checklist | QA - Lock Up |  |  |  |  | Yes | QA - Lock Up | 71f1528e-d4ee-4013-9df4-91ff73affdc4
checkpoint-group | 4f5fc558-9e7d-4b72-a409-b95cbad53f39 |  | section | External Wrap/Cladding
checkpoint-status | 02fc7a6e-0ede-41ef-80f2-1d024d063cdd |  | checkpoint | Soffit install
checkpoint-status | f4c164fd-b920-4461-955e-293fef26785a |  | checkpoint | RAB/wrap
checkpoint-status | 2dfe2ff4-7e97-4e41-b55f-57309b242d6d |  | checkpoint | RAB inspection if brick cladding
checkpoint-status | 62bb5fa4-71f7-4cbe-aa20-a2e0cefb292e |  | checkpoint | Joinery install
checkpoint-status | c125dd45-0807-4c80-8862-a23b69c31537 |  | checkpoint | Cavity Batten install
checkpoint-status | 2ba00514-fa9f-4220-9fa9-0a6d6132e70d |  | checkpoint | Cavity inspection
checkpoint-status | 8d44a1a6-bb2b-4c15-90d6-93eb6b6052d6 |  | checkpoint | Weatherboard & cladding
checkpoint-status | 83fd1599-a3ef-4899-b830-b6d037c71650 |  | checkpoint | Painting
checkpoint-status | 02b6a9c5-2d23-4857-a651-98e031762a5f |  | checkpoint | Scaffolding Drop
checkpoint-group | 8b0a8491-0b66-41a1-82a7-3625f2ad28af |  | section | Handover
checkpoint-status | a5364b76-101c-4814-beaa-399d094a128c |  | checkpoint | Building wrap photos
checkpoint-status | b6bd8ede-6992-41ab-b85e-fba9c19e44cf |  | checkpoint | Flashing photos
checkpoint-status | 1d201854-137a-49e2-a334-7b01571290d6 |  | checkpoint | Joinery installed properly - opening & closing photos
checkpoint-status | 7239bc84-dd73-4758-8225-781c01800ade |  | checkpoint | Cladding completion photos required
checkpoint-status | 1a027275-20c1-4c57-af4c-8fe23145497d |  | checkpoint | External painting complete - client to inspect before scaffolding removed. Council inspection.
checkpoint-status | 4e3860b5-8769-485c-a8b9-93efc720b712 |  | checkpoint | Ensure all downpipes are functioning with no leaks
checkpoint-status | 6b896204-bd9c-4aa7-8196-5ec29104f453 |  | checkpoint | Recorded inspections for claims
checklist-sectioned | ad266e4b-3af6-44f5-91ec-5e11ffa53d36 |  | checklist | Roof On |  |  |  |  | Yes | SYS - Roof On | 9cd8222a-16c1-4f14-9e36-cc2c05667b69
checkpoint-group | abde28d4-89b6-4063-9f62-973ad9d81983 |  | section | Roof Structure
checkpoint-status | cfd8902c-2bd9-43ca-b0b1-5b352d8baa6a |  | checkpoint | Truss install/purlins/soffit framing
checkpoint-status | b65feb3c-d7e4-46ce-9b0f-1b89a3be1061 |  | checkpoint | Fascia install
checkpoint-status | ac2ee4d5-75d2-4c30-a575-b0cae5486f2c |  | checkpoint | Spouting
checkpoint-group | a4e1ff81-005b-4703-8ee9-585e6306e9d0 |  | section | Roofing
checkpoint-status | b195a05e-c055-4abe-beed-be1b4f731878 |  | checkpoint | Roof Measure
checkpoint-status | d9d3f881-107f-4b8b-87ab-557b1848ef73 |  | checkpoint | Roof manufacture
checkpoint-status | 296b924a-1057-4877-9469-d5b0c57dd532 |  | checkpoint | Roof install
checkpoint-group | 65ede6b7-91f8-428b-b644-c2ead09a63e5 |  | section | Handover
checkpoint-status | 2c922c09-9c84-42a8-898f-5c563d03481a |  | checkpoint | Roofing screw patterns - photo required
checkpoint-status | 0ba4f93c-4b7a-49d8-bed2-c72b9c8db1c4 |  | checkpoint | Flashings & junctions - photo required
checkpoint-status | 0d2523bc-9f70-402d-a27f-870faf319b28 |  | checkpoint | Flashings around penetrations - photos required
checkpoint-status | cd9713cd-3bbb-4a48-bdb7-5ec27db73793 |  | checkpoint | Recorded inspections for claims
checkpoint-status | 2fe1a165-b9bb-4d2e-9003-f1367b43defc |  | checkpoint | Survey height in relation to boundary
checklist-sectioned | 8dc62961-8a5d-48e6-8555-0d2d09162272 |  | checklist | Linings Complete |  |  |  |  | Yes | SYS - Linings Complete | b8821dd2-b9d1-4478-8302-b1de82e5cc78
checkpoint-group | af875ca2-da26-438d-851d-b31630e4a29a |  | section | Gib Lining On
checkpoint-status | 85a8c9f5-1e3d-407f-9932-9d5402289aed |  | checkpoint | Internal frames & nogs
checkpoint-status | a372583e-f2fc-47ec-925c-b9cba81db4fb |  | checkpoint | 1st fix plumbing
checkpoint-status | 75fd33ba-8201-43b8-979c-e287f08a666c |  | checkpoint | 1st fix electrical
checkpoint-status | eca5e18c-6103-4003-8ec2-08b0a6aea274 |  | checkpoint | Insulation
checkpoint-status | 2f69eb63-4b13-4382-8c13-03a42e0ea640 |  | checkpoint | Preline council inspection
checkpoint-status | f272d578-44b5-4913-a4dc-a20bbd59c2ec |  | checkpoint | Linings IT 1st layer
checkpoint-status | 8b4c1f83-5760-41f2-9905-f970f4f3e8d2 |  | checkpoint | Council inspection 1st layer
checkpoint-status | 8c41a2f1-b093-4d5b-852f-0a0c3613680d |  | checkpoint | Second layer IT
checkpoint-status | 328dd008-01bd-4fbc-9e0f-53a967d5480d |  | checkpoint | Council second layer inspection
checkpoint-status | 81cda37b-5b91-4e00-8c3f-4fc2806a78bb |  | checkpoint | Stopping IT walls only
checkpoint-status | 1d09bb27-690c-4e9e-8236-77224f2df977 |  | checkpoint | Council IT wall inspection & stopping
checkpoint-status | cbbe13ae-d914-4328-bfea-76d522947a63 |  | checkpoint | Complete ceiling grids/ceiling insulation into IT walls
checkpoint-status | 0730602d-292e-486c-9a14-c80783eb4f9a |  | checkpoint | Council inspection 1st layer
checkpoint-status | b7f6e677-985f-4a50-a7ea-48e78b31ea31 |  | checkpoint | Stair install
checkpoint-status | 949e1f62-12ca-4d85-851e-b650fb30c1e9 |  | checkpoint | Complete GIB
checkpoint-status | 6fb0a247-1e21-4817-9fa6-223ca34a3a87 |  | checkpoint | Stopping
checkpoint-group | 372d1f21-7b03-4bd7-84cf-b47bb8a667ed |  | section | Handover
checkpoint-status | 8e16b7c1-473b-45e6-af88-0ddbd24d9b82 |  | checkpoint | Plumbing location in walls - both kitchen & bathroom
checkpoint-status | ae59495c-ce52-4727-9feb-7532fca670d1 |  | checkpoint | Power & data to all allocated points
checkpoint-status | 6316c749-850d-485e-b7f2-775ff22a8cab |  | checkpoint | Nogs in place for additional fittings - HTR/toilet roll holder
checkpoint-status | 5d125f74-4aaa-4285-966e-e0e9b050d81b |  | checkpoint | Second check framing prior to wall linings - plane & straighten
checkpoint-status | e0a79404-afa2-48c3-a07d-7c0ad59dd252 |  | checkpoint | Gib completion
checkpoint-status | 90884c95-e2a2-4e4e-87cf-fb8275f01867 |  | checkpoint | Recorded inspections for claims
checklist-sectioned | 002f6121-89f3-438a-a8b8-bd376f55bc47 |  | checklist | Lock Up |  |  |  |  | Yes | SYS - Lock Up | b8b3669b-387f-47f3-b79d-7c072110d1ec
checkpoint-group | 5c55a4a1-f1be-4f6d-a182-4fbae5b1fd87 |  | section | External Wrap/Cladding
checkpoint-status | 402488d1-9472-47d5-b731-ac49babfccb1 |  | checkpoint | Soffit install
checkpoint-status | ce503b27-4fe8-4781-aa2f-2c3746fa6656 |  | checkpoint | RAB/wrap
checkpoint-status | f1f5d7b5-37c5-4a98-ab4c-d4c71a0c9f75 |  | checkpoint | Joinery install
checkpoint-status | 0bd8a783-292f-445e-8c67-6ace434ec3c7 |  | checkpoint | Cavity Batten install
checkpoint-status | c1cfe9cd-8067-47d0-92ae-82e26da08dee |  | checkpoint | Cavity inspection
checkpoint-status | 6309ff26-0118-4b0f-87a5-2a6d6350f20a |  | checkpoint | Weatherboard & cladding
checkpoint-status | 8e434c23-2218-45f3-97b8-78a7993c7eaa |  | checkpoint | Painting
checkpoint-status | c5e03a14-07c8-43eb-9688-0755ddcba934 |  | checkpoint | Scaffolding Drop
checkpoint-group | 7ccea808-1f97-47a0-9844-5f1c93d8a2dd |  | section | Handover
checkpoint-status | a41ff6e1-e0b0-4e8a-b918-ad23e341c182 |  | checkpoint | Building wrap photos
checkpoint-status | 02ca94c4-9d60-4b3a-a5c4-ce60136a7606 |  | checkpoint | Flashing photos
checkpoint-status | efbf2bfc-961b-4918-9ad9-91ab3ad86f61 |  | checkpoint | Joinery installed properly - opening & closing photos
checkpoint-status | c1ff541e-6a73-4f07-a682-e11151436029 |  | checkpoint | Cladding completion photos required
checkpoint-status | f8977c20-192c-42b5-88a4-f938c23c796e |  | checkpoint | External painting complete - builder to provide high end QA to show houses have been painted & finished to a higher standard prior to scaffold drop
checkpoint-status | 2714c862-dc32-4370-acd2-083fde86f402 |  | checkpoint | Ensure all downpipes are functioning with no leaks
checkpoint-status | 3c547864-29d2-4a40-bb52-478fe06fcb89 |  | checkpoint | Recorded inspections for claims
checklist-sectioned | 7d8c1ec4-9308-4877-978e-e7027eba9720 |  | checklist | Code Compliance |  |  |  |  | Yes | SYS - Code Compliance | be0ca619-e99d-402d-84fb-df4009c3a1cf
checkpoint-group | b5c0bb5b-d6fe-414d-bee3-8869d2867f0f |  | section | Completion
checkpoint-status | b8cc6853-33a3-41f7-9e68-cb15e0edf5cf |  | checkpoint | Trade clean
checkpoint-status | 9bf4471c-8620-4c70-bf9d-44693a78cd88 |  | checkpoint | QA/defects
checkpoint-status | 734f36ad-01aa-45d3-b0c5-ed3fa911a27a |  | checkpoint | CCC Issued
checkpoint-status | 64b95384-8c32-41c3-a3b8-790805177da2 |  | checkpoint | Work through list
checkpoint-status | 940b7162-6d70-4dec-9fb5-5a81717bd925 |  | checkpoint | Building Complete
checkpoint-group | 0f88acc9-6e16-4aa2-b44c-91b61c2192ed |  | section | Interior & Exterior Detailing
checkpoint-status | d5e80c57-065f-4c64-a0fe-6aeb096267f1 |  | checkpoint | All exterior walls cleaned to our standard
checkpoint-status | 7f84794f-b309-47e1-bab6-9f55579e0b99 |  | checkpoint | All exterior windows cleaned to our standard
checkpoint-group | 6d6db69f-290d-45cf-b681-fd563efdc522 |  | section | Handover
checkpoint-status | 73ff7caf-b920-45e1-8721-662c7c307312 |  | checkpoint | Recorded inspections for claims
checklist-sectioned | f7c228bf-6f2d-47be-8e1a-97e827a8e386 |  | checklist | QA - Frames Up |  |  |  |  | Yes | QA - Frames Up | bf3fd9c9-3913-447a-8a49-9de0de1844e6
checkpoint-group | ce044cc6-b081-4e75-abc9-74e44e2bcc6a |  | section | Ground Floor Framing
checkpoint-status | cf61e1a0-1b3b-4e82-a366-a97393667554 |  | checkpoint | Timber framing
checkpoint-status | 316ffc3a-8d0b-4c89-875b-78e6b93dfdaa |  | checkpoint | Hardware
checkpoint-status | f8bdcd99-3e39-418b-a4c8-00fa96fe098f |  | checkpoint | Scaffolding Up
label | a5ef4349-8e86-57ed-a483-238858d8be34 |  | note | No picture required
checkpoint-group | ebf4abf3-61f2-45e9-8658-801219f3d3ee |  | section | Mid Floor
checkpoint-status | cbad9e9b-44b6-40ef-9a21-406da86c25d5 |  | checkpoint | Floor joists
checkpoint-status | 139fd172-b864-4d71-bfd8-c15bf29c96ef |  | checkpoint | PS1 required for casettes, engineer sign off
checkpoint-status | 4e95f21c-683f-4712-be9b-c28a3e28ebe3 |  | checkpoint | Ply flooring
checkpoint-group | 51fff945-0ba3-4bcb-aef0-5e211694b35b |  | section | First Floor Framing
checkpoint-status | bec7256b-d20b-4585-865b-652f85a06b00 |  | checkpoint | Wall framing
checkpoint-status | d4b6b271-fb39-4fa9-bdf6-db1a5a9a6724 |  | checkpoint | Truss install/purlins/soffit framing
checkpoint-group | 8c462ef4-52d5-4326-be8f-161e4e8dddb2 |  | section | Handover
checkpoint-status | 23d8ba22-3b93-4d1d-9eec-3eee1877960e |  | checkpoint | Walls plumb. Photos required and daily log confirmation that all walls checked
checkpoint-status | 85388460-7bb3-4d85-aa90-e1130d3932f6 |  | checkpoint | Walls plumb. At preline once bracing has been removed (pic required)
checkpoint-status | 719d92c1-ad43-4f64-a189-14d0cf61619f |  | checkpoint | Walls plumb. 2nd fix complete when other trades remove nogs (pic required)
checkpoint-status | a61be81b-5720-4050-945f-d267dc06dd05 |  | checkpoint | Stairwell wall between upper & lower & straightened - photo required showing line with straight edge
checkpoint-status | ff30bd8d-4c9c-4a74-a03b-f4eb2d974222 |  | checkpoint | Nogs planed
checkpoint-status | ec8ef701-8622-45d5-a48f-93c202141ce4 |  | checkpoint | Brackets & tie down complete
checkpoint-status | 5f5487c0-16ac-4230-a869-490b6101a724 |  | checkpoint | Picture required of lintel straps
checkpoint-status | 5d0b738c-5bee-4fc9-9c82-f630fa6c901d |  | checkpoint | Finished framing photos required
checkpoint-status | 25a39e67-23ca-4bb0-a21b-c046ce2a05ab |  | checkpoint | Recorded inspections for claims (if applicable)
checklist-sectioned | 801d1497-314e-47ea-8721-60858082dee6 |  | checklist | QA - Code Compliance |  |  |  |  | Yes | QA - Code Compliance | d6bf4087-586e-482e-aafe-ea51cf771147
checkpoint-group | 41ed6e93-8abf-4152-9266-f7312635ee2b |  | section | Completion
checkpoint-status | eda043ba-19c2-4ade-b014-58e336948f5e |  | checkpoint | Trade clean
checkpoint-status | 223c9e38-1f23-4178-a8fa-1ffbd8eaa686 |  | checkpoint | QA/defects
checkpoint-status | 93433c33-3051-4256-9c0d-19d1ba3e39d1 |  | checkpoint | CCC Issued
checkpoint-status | 586cf93e-0acf-4c0b-b172-1fbc33bf07de |  | checkpoint | Work through list (including remaining remedial items).
checkpoint-status | 57ecc3fc-9b00-4fbf-ad1d-fa1cbf010e12 |  | checkpoint | Building Complete
checkpoint-group | ea91fb0f-c1ae-449f-a06f-0b306b70917e |  | section | Interior & Exterior Detailing
checkpoint-status | 5aa50099-c2f7-4fe7-8695-092dc0d08566 |  | checkpoint | All exterior walls cleaned to our standard
checkpoint-status | 1edcba24-dc2c-4188-8219-cbae6a73626a |  | checkpoint | All exterior windows cleaned to our standard
checkpoint-group | e6cbbce3-7947-48b7-bbc6-366f5d292b46 |  | section | Handover
checkpoint-status | 1c1c474a-13f1-47ff-932c-6eaec77fe689 |  | checkpoint | Recorded inspections for claims
checklist-sectioned | 9c99f388-6299-4733-b621-794492baa979 |  | checklist | QA - Roof On |  |  |  |  | Yes | QA - Roof On | d914014b-a0d6-4711-a5f0-0df5e4cf92c0
checkpoint-group | 412c28fb-10fe-4699-a6c5-5b8ca72672e5 |  | section | Roof Structure
checkpoint-status | 31d8a1c4-406d-4d74-9778-c2d0151eb995 |  | checkpoint | Fascia install
checkpoint-status | 750f55b5-3038-48c1-b00d-9b6bfaf12e53 |  | checkpoint | Spouting
checkpoint-group | 55dedbe1-f28f-4f7c-ab7d-da36bbc8a296 |  | section | Roofing
checkpoint-status | f3df4b0e-4d1a-4574-a290-6296f558ff30 |  | checkpoint | Roof install
checkpoint-group | 48b4dd74-eec2-44d2-a670-0eb01e5db91c |  | section | Handover
checkpoint-status | 202d04c9-2301-4096-bb97-c4be493e251b |  | checkpoint | Roofing screw patterns - photo required
checkpoint-status | de08e5e5-e3a8-49af-a4d1-af22183d186e |  | checkpoint | Flashings & junctions - photo required
checkpoint-status | 2537050b-8361-4455-b6b9-be13760fdeee |  | checkpoint | Flashings around penetrations - photos required
checkpoint-status | f7aa6d09-8ede-4a9a-b41c-5eb247ad5f91 |  | checkpoint | Survey height in relation to boundary
label | 9ac9480f-c87f-59c0-b590-5217fc3b6852 |  | note | No picture required
checklist-sectioned | 5a5dacf5-261b-4284-ba38-f23199740f6b |  | checklist | Frames Up |  |  |  |  | Yes | SYS - Frames Up | dd607abb-8c56-4c63-a281-e72065e9d964
checkpoint-group | 7df0d66c-20be-4bf9-ad0c-616a711b997e |  | section | Ground Floor Framing
checkpoint-status | 50783af1-f4eb-4566-a917-f18a0fefe4a6 |  | checkpoint | Timber framing
checkpoint-status | 548f7539-2126-46d3-aa33-260657e78745 |  | checkpoint | Hardware
checkpoint-status | ba98df45-661a-4dce-a060-14be36e976fd |  | checkpoint | Scaffolding Up
checkpoint-group | ee32edec-19a7-41b3-b15b-3d94aef78f4b |  | section | Mid Floor
checkpoint-status | 6bc35fc7-34e6-4e59-a528-8c5189ad431b |  | checkpoint | Floor joists
checkpoint-status | f72cfa93-81ba-4c7e-9786-d50d3f1ab6d3 |  | checkpoint | Ply flooring
checkpoint-group | 7c3528ba-3e6f-48ac-83a4-446aeb64fa3a |  | section | First Floor Framing
checkpoint-status | 106aaa32-f000-4349-8b6f-d1829c29caac |  | checkpoint | Scaffold Up
checkpoint-status | 7ae06518-b7e9-4f6f-bb64-b839f89fc6cd |  | checkpoint | Wall framing
checkpoint-group | 0e0fcf9d-6729-449e-adcc-d978ad317f90 |  | section | Handover
checkpoint-status | 339b6a8e-9b71-4974-9aa5-08fee8baa425 |  | checkpoint | Walls plumb. Photos required and daily log confirmation that all walls checked
checkpoint-status | bc6a9ec0-6185-444b-8bcb-c77cba793667 |  | checkpoint | Stairwell wall between upper & lower & straightened - photo required showing line with straight edge
checkpoint-status | 2951a69d-e390-4937-a6b1-25c5366bc0e9 |  | checkpoint | Nogs planed
checkpoint-status | 74f128f9-2b56-425d-ad50-42846ac42060 |  | checkpoint | Brackets & tie down complete
checkpoint-status | 33184906-6a50-4ce5-9414-8abbdfd56714 |  | checkpoint | Finished framing photos required
checkpoint-status | 6f8430d1-d8ea-46b6-bb8b-c91d5d2bed84 |  | checkpoint | Recorded inspections for claims
checklist-sectioned | 269c525c-9063-407f-b86b-f6d77e574ab5 |  | checklist | Slab Down |  |  |  |  | Yes | SYS - Slab Down | e7b67920-2eae-4c66-a6de-4365eb5b31ae
checkpoint-group | 2a8e3013-8861-4c4b-99d1-b2ffadc4e767 |  | section | Slab Down
checkpoint-status | 543e3042-224a-4c10-ba11-d314aa0ae023 |  | checkpoint | Profiles
checkpoint-status | 2fe5b1c3-1959-417d-90eb-3efaba8511cc |  | checkpoint | Form Work
checkpoint-status | 91657ba9-9547-4643-a04f-d8c77a63dbf7 |  | checkpoint | Drainage/services
checkpoint-status | 02cd4401-ad41-4edb-89af-0ff0215ed812 |  | checkpoint | Survey
checkpoint-status | 2d43927b-762b-448e-b53c-fe5bccb203aa |  | checkpoint | Council inspection
checkpoint-status | 410f6a93-6a18-439f-9702-e3ecbb440c85 |  | checkpoint | Back fill & fines
checkpoint-status | 85c9bfb9-ba1e-4494-9e3c-357844cd98d7 |  | checkpoint | DPM
checkpoint-status | 6d3ff397-f164-43f0-bf14-3d80ef0e562a |  | checkpoint | PODS
checkpoint-status | f6a06d8d-8e3c-47f4-99a3-08317fd859b8 |  | checkpoint | Steel placement
checkpoint-status | 395b32e5-36ea-4b3c-8e01-e814f52165a8 |  | checkpoint | Engineer inspection
checkpoint-status | 672a2c25-63ff-4486-90ae-80ab7f5f1eab |  | checkpoint | Council inspection
checkpoint-status | 58cf0f7b-19f0-41e4-9814-d1347a649daf |  | checkpoint | Pour concrete
checkpoint-status | 8e8e5500-df13-4537-8b05-ecd5a8cdde0d |  | checkpoint | Cut concrete
checkpoint-group | 8f33254d-8472-4945-850c-d31ea9788ac4 |  | section | Handover
checkpoint-status | 14b3714e-a0ef-424f-8a48-612050d60546 |  | checkpoint | Plumbing & services photos required
checkpoint-status | 97bae942-6747-410d-abed-da8d21fffdc6 |  | checkpoint | Survey correct position of boxing prior to pour, surveyors certificate required
checkpoint-status | 8754899a-5627-4182-9e03-e29047adea9c |  | checkpoint | Provide copies of all inspection records