## Check sheet
Folder Structure |  |  |  | Checklists
Site QA - NIWA ground floor
| Prestart |  |  | Pre Start
| Drawings |  |  | Drawings
| Containment and Reticulation |  |  | Reticulation
| Micro Duct and Backbone |  |  | NP Micro Duct and Backbone
Ground Floor
|  | HL-01 | Fish CT - Experimental | STL First Fix
|  | HL-02 | Fish CT - Live | STL First Fix
|  | HL-02a | Fish CT Prep | STL First Fix
|  | HL-04 | Biology Lab | STL First Fix
|  | HL-05 | Lab Entry/Gown in | STL First Fix
|  | HL-07 | PC2 Gown in | STL First Fix
|  | HL-08 | Invertebrate Testing Lab | STL First Fix
|  | HL-09 | Invertebrate Cultures | STL First Fix
|  | HL-10 | Gown in | STL First Fix
|  | HL-11 | Biology Microscope Lab | STL First Fix
|  | HL-12 | Furnaces + Drying Ovens | STL First Fix
|  | HL-13 | E-DNA | STL First Fix
|  | HL-14 | Fish Physiology | STL First Fix
|  | HL-17 | Shared CT Room | STL First Fix
|  | HL-18 | Shared CT Room | STL First Fix
|  | HL-21 | Sediment Lab | STL First Fix
|  | HL-22 | Xray Room | STL First Fix
|  | HL-23 | Pollution Mitigation Lab | STL First Fix
|  | HL-24 | Biogeochemistry Lab | STL First Fix
|  | HL-25 | Sieving Room | STL First Fix
|  | HL-26 | Biology Wet Prep | STL First Fix
|  | HL-27 | Circulation | STL First Fix
|  | HL-28 | Cold Room | STL First Fix
|  | HL-29 | Algal Services Lab | STL First Fix
|  | HL-30 | Lab Entry/Sample Reception | STL First Fix
|  | HL-31 | Cold Room Water Samples | STL First Fix
|  | HL-32 | Freeze Driers | STL First Fix
|  | HL-33 | Weighing/Extraction Room | STL First Fix
|  | HL-34 | Circulation | STL First Fix
|  | HL-35 | Freezer Water Samples | STL First Fix
|  | HL-35a | Cold Room Loading | STL First Fix
|  | HL-36 | Low Level Nutrients Lab | STL First Fix
|  | HL-39 | E-Coli Lab | STL First Fix
|  | HL-41 | Radioisotope Lab | STL First Fix
|  | HL-43 | CT Room | STL First Fix
|  | HL-44 | CT Room | STL First Fix
|  | HL-45 | CT Room | STL First Fix
|  | HL-46 | Freezer/Incubator Room | STL First Fix
|  | HL-48 | Store/Circulation | STL First Fix
|  | HL-49 | Microscope Darkroom | STL First Fix
|  | HL-50 | Scintillation Counter | STL First Fix
|  | HL-51 | Acid Washing | STL First Fix
|  | HL-52 | Fume Cupboards | STL First Fix
|  | HL-53 | Utility Room | STL First Fix
|  | HL-54 | Furnace Room | STL First Fix
|  | HL-55 | Analitycal Instruments | STL First Fix
|  | HL-56 | Water Quality/Organic Chemistry Lab | STL First Fix
|  | HL-56a | Balance Room | STL First Fix
|  | HL-60 | Ecotoxicity Lab | STL First Fix
|  | HL-62 | Microbiology Clean Lab | STL First Fix
|  | HL-64 | Lab Circulation | STL First Fix
|  | HL-65 | Lab Circulation/CT Prep | STL First Fix
|  | HL-C-01 | Flammables Sample Store 1 | STL First Fix
|  | HL-C-01 | Flammables Sample Store 2 | STL First Fix
|  | HL-C-02 | Flammables Store | STL First Fix
|  | HL-C-03 | Decanting Room | STL First Fix
|  | HL-C-04 | General Store | STL First Fix
|  | HL-C-05 | Waste Chemical Store - Flammables | STL First Fix
|  | HL-C-06 | Gas Bottle Store | STL First Fix
|  | HL-S-01 | 3D Printer Room | STL First Fix
|  | HL-S-02 | Electronics Workshop | STL First Fix
|  | HL-S-03 | Instrument Prep Lab | STL First Fix
|  | HL-S-04 | Shared Wet Electronics | STL First Fix
|  | HL-S-05 | Instrument Calibration + Sonde Lab | STL First Fix
|  | HL-S-06 | OBS Dark Room | STL First Fix
|  | HL-S-07 | Instrument Store | STL First Fix
Ground Floor
|  | HL-01 | Fish CT - Experimental | STL 2nd Fix
|  | HL-02 | Fish CT - Live | STL 2nd Fix
|  | HL-02a | Fish CT Prep | STL 2nd Fix
|  | HL-04 | Biology Lab | STL 2nd Fix
|  | HL-05 | Lab Entry/Gown in | STL 2nd Fix
|  | HL-07 | PC2 Gown in | STL 2nd Fix
|  | HL-08 | Invertebrate Testing Lab | STL 2nd Fix
|  | HL-09 | Invertebrate Cultures | STL 2nd Fix
|  | HL-10 | Gown in | STL 2nd Fix
|  | HL-11 | Biology Microscope Lab | STL 2nd Fix
|  | HL-12 | Furnaces + Drying Ovens | STL 2nd Fix
|  | HL-13 | E-DNA | STL 2nd Fix
|  | HL-14 | Fish Physiology | STL 2nd Fix
|  | HL-17 | Shared CT Room | STL 2nd Fix
|  | HL-18 | Shared CT Room | STL 2nd Fix
|  | HL-21 | Sediment Lab | STL 2nd Fix
|  | HL-22 | Xray Room | STL 2nd Fix
|  | HL-23 | Pollution Mitigation Lab | STL 2nd Fix
|  | HL-24 | Biogeochemistry Lab | STL 2nd Fix
|  | HL-25 | Sieving Room | STL 2nd Fix
|  | HL-26 | Biology Wet Prep | STL 2nd Fix
|  | HL-27 | Circulation | STL 2nd Fix
|  | HL-28 | Cold Room | STL 2nd Fix
|  | HL-29 | Algal Services Lab | STL 2nd Fix
|  | HL-30 | Lab Entry/Sample Reception | STL 2nd Fix
|  | HL-31 | Cold Room Water Samples | STL 2nd Fix
|  | HL-32 | Freeze Driers | STL 2nd Fix
|  | HL-33 | Weighing/Extraction Room | STL 2nd Fix
|  | HL-34 | Circulation | STL 2nd Fix
|  | HL-35 | Freezer Water Samples | STL 2nd Fix
|  | HL-35a | Cold Room Loading | STL 2nd Fix
|  | HL-36 | Low Level Nutrients Lab | STL 2nd Fix
|  | HL-39 | E-Coli Lab | STL 2nd Fix
|  | HL-41 | Radioisotope Lab | STL 2nd Fix
|  | HL-43 | CT Room | STL 2nd Fix
|  | HL-44 | CT Room | STL 2nd Fix
|  | HL-45 | CT Room | STL 2nd Fix
|  | HL-46 | Freezer/Incubator Room | STL 2nd Fix
|  | HL-48 | Store/Circulation | STL 2nd Fix
|  | HL-49 | Microscope Darkroom | STL 2nd Fix
|  | HL-50 | Scintillation Counter | STL 2nd Fix
|  | HL-51 | Acid Washing | STL 2nd Fix
|  | HL-52 | Fume Cupboards | STL 2nd Fix
|  | HL-53 | Utility Room | STL 2nd Fix
|  | HL-54 | Furnace Room | STL 2nd Fix
|  | HL-55 | Analitycal Instruments | STL 2nd Fix
|  | HL-56 | Water Quality/Organic Chemistry Lab | STL 2nd Fix
|  | HL-56a | Balance Room | STL 2nd Fix
|  | HL-60 | Ecotoxicity Lab | STL 2nd Fix
|  | HL-62 | Microbiology Clean Lab | STL 2nd Fix
|  | HL-64 | Lab Circulation | STL 2nd Fix
|  | HL-65 | Lab Circulation/CT Prep | STL 2nd Fix
STL 2nd Fix
STL 2nd Fix
|  | HL-C-01 | Flammables Sample Store 1 | STL 2nd Fix
|  | HL-C-01 | Flammables Sample Store 2 | STL 2nd Fix
|  | HL-C-02 | Flammables Store | STL 2nd Fix
|  | HL-C-03 | Decanting Room | STL 2nd Fix
|  | HL-C-04 | General Store | STL 2nd Fix
|  | HL-C-05 | Waste Chemical Store - Flammables | STL 2nd Fix
|  | HL-C-06 | Gas Bottle Store | STL 2nd Fix
STL 2nd Fix
STL 2nd Fix
|  | HL-S-01 | 3D Printer Room | STL 2nd Fix
|  | HL-S-02 | Electronics Workshop | STL 2nd Fix
|  | HL-S-03 | Instrument Prep Lab | STL 2nd Fix
|  | HL-S-04 | Shared Wet Electronics | STL 2nd Fix
|  | HL-S-05 | Instrument Calibration + Sonde Lab | STL 2nd Fix | Site Completion | Site completion
|  | HL-S-06 | OBS Dark Room | STL 2nd Fix
|  | HL-S-07 | Instrument Store | STL 2nd Fix | Documentation and project completion | Documentation
| Comms Room | HL-14 | Fish Physiology | Cabinet
1st Floor
|  | M1-01 | Wharekai | STL First Fix
|  | M1-02 | Workspace | STL First Fix
|  | M1-03 | 20P Meeting | STL First Fix
|  | M1-04 | 20P Meeting | STL First Fix
|  | M1-05 | 6P Meeting | STL First Fix
|  | M1-06 | Focus 4P | STL First Fix
|  | M1-07 | Focus 4P | STL First Fix
|  | M1-08 | Plant | STL First Fix
|  | M1-09 | Storage | STL First Fix
|  | M1-10 | DB | STL First Fix
|  | M1-11 | Focus 4P | STL First Fix
|  | M1-13 | ACC | STL First Fix
|  | M1-14 | Female WC | STL First Fix
|  | M1-15 | Male WC | STL First Fix
|  | M1-16 | Focus 4P | STL First Fix
|  | M1-17 | CL | STL First Fix
|  | M1-18 | Focus 1P | STL First Fix
|  | M1-19 | Parent + Health | STL First Fix
|  | M1-20 | Kitchen | STL First Fix
|  | M1-26 | Plant | STL First Fix
|  | M1-27 | Focus 4P | STL First Fix
|  | M1-28 | Focus 4P | STL First Fix
|  | M1-29 | Focus 4P | STL First Fix
|  | M1-30 | Focus 1P | STL First Fix
|  | M1-31 | Focus 4P | STL First Fix
|  | M1-32 | Coats | STL First Fix
|  | M1-33 | 12P Meeting | STL First Fix
|  | M1-34 | 6P Meeting | STL First Fix
|  | M1-35 | IT Work Room | STL First Fix
|  | M1-36 | Store | STL First Fix
|  | M1-38 | Comms Room | STL First Fix
|  | M1-39 | Utility | STL First Fix
|  | M1-40 | 6P Meeting | STL First Fix
|  | M1-41 | Focus 4P | STL First Fix
|  | M1-42 | Local + General Store | STL First Fix
|  | M1-43 | Coats | STL First Fix
|  | M1-44 | Focus 4P | STL First Fix
|  | M1-45 | Focus 4P | STL First Fix
|  | M1-47 | Terrace | STL First Fix
|  | M1-48 | Stair | STL First Fix
| 1st Floor | M1-01 | Wharekai | STL 2nd Fix
|  | M1-02 | Workspace | STL 2nd Fix
|  | M1-03 | 20P Meeting | STL 2nd Fix
|  | M1-04 | 20P Meeting | STL 2nd Fix
|  | M1-05 | 6P Meeting | STL 2nd Fix
|  | M1-06 | Focus 4P | STL 2nd Fix
|  | M1-07 | Focus 4P | STL 2nd Fix
|  | M1-08 | Plant | STL 2nd Fix
|  | M1-09 | Storage | STL 2nd Fix
|  | M1-10 | DB | STL 2nd Fix
|  | M1-11 | Focus 4P | STL 2nd Fix
|  | M1-13 | ACC | STL 2nd Fix
|  | M1-14 | Female WC | STL 2nd Fix
|  | M1-15 | Male WC | STL 2nd Fix
|  | M1-16 | Focus 4P | STL 2nd Fix
|  | M1-17 | CL | STL 2nd Fix
|  | M1-18 | Focus 1P | STL 2nd Fix
|  | M1-19 | Parent + Health | STL 2nd Fix
|  | M1-20 | Kitchen | STL 2nd Fix
|  | M1-26 | Plant | STL 2nd Fix
|  | M1-27 | Focus 4P | STL 2nd Fix
|  | M1-28 | Focus 4P | STL 2nd Fix
|  | M1-29 | Focus 4P | STL 2nd Fix
|  | M1-30 | Focus 1P | STL 2nd Fix
|  | M1-31 | Focus 4P | STL 2nd Fix
|  | M1-32 | Coats | STL 2nd Fix
|  | M1-33 | 12P Meeting | STL 2nd Fix
|  | M1-34 | 6P Meeting | STL 2nd Fix
|  | M1-35 | IT Work Room | STL 2nd Fix
|  | M1-36 | Store | STL 2nd Fix
|  | M1-38 | Comms Room | STL 2nd Fix
|  | M1-39 | Utility | STL 2nd Fix
|  | M1-40 | 6P Meeting | STL 2nd Fix
|  | M1-41 | Focus 4P | STL 2nd Fix
|  | M1-42 | Local + General Store | STL 2nd Fix
|  | M1-43 | Coats | STL 2nd Fix
|  | M1-44 | Focus 4P | STL 2nd Fix
|  | M1-45 | Focus 4P | STL 2nd Fix
|  | M1-47 | Terrace | STL 2nd Fix
|  | M1-48 | Stair | STL 2nd Fix
| Site Completion |  |  | Site completion
| Documentation and project completion |  |  | Documentation

## Drawings
type | name
checklist | Pre Start
section | Pre Start
checkpoint | Labled Room reference drawings
checkpoint | Labled Oultlet reference drawings

## Pre Start
type | name
checklist | Pre Start
section | Pre Start
checkpoint | Tender Acceptance
checkpoint | order number received
checkpoint | Site supervisor appointed
checkpoint | Prelet meeting
checkpoint | Sub contract signed and returned
checkpoint | Warranty documents returned
checkpoint | Programme received and scheduled to planner
checkpoint | Initial Site start simpro scheduled
checkpoint | SSSP draft for site
checkpoint | Confirm drawing revisions
checkpoint | Project Specification
checkpoint | Drawings labled and returned to office
checkpoint | First Fix Materials ordered

## Reticulation
section | Cable Tray (by others)
checkpoint-no-status | Details
text | Type
checkpoint | Suitably installed for Catergory of cable
checkpoint | Capacity is suitable and meets specification
section | Duct (by others)
checkpoint-no-status | Details
text | Type
checkpoint | Suitably installed for Catergory of cable
checkpoint | Capacity is suitable and meets specification
section | Trunking (by others)
checkpoint-no-status | Details
text | Type
checkpoint | Suitably installed for Catergory of cable
checkpoint | Capacity is suitable and meets specification
section | Floor boxes and conduits (by others)
checkpoint-no-status | Details
text | Type
checkpoint | Suitably installed for Catergory of cable
checkpoint | Capacity is suitable and meets specification

## NP Micro Duct and Backbone
type | name
checklist | QA - NP Microduct First fix
section | Network provider Micro-duct
checkpoint | Confirmed NP drawings route and int/ext join and end locations
checkpoint | Externally rated MD for underground pathways
checkpoint | Installed to UFF guidelines sheet 3.2 depth and seperation
checkpoint | Mechanical protection through building elements
checkpoint | External duct tube bends minimumof 110mm
checkpoint | External ETP unless previously approved
checkpoint | Duct is secured with velcoe, No cable ties.
checkpoint | 2m coils of Duct are left at int/ext join and end locations
checkpoint | Duct is labeled at all ends including join
section | Backbone Cabling
checkpoint-no-status | Details
text | Brand
text | Single mode or multi mode
checkpoint | clearly labelled with ID
checkpoint | No Horizontally run cabling in walls
checkpoint | Separate catenary wires for backbone cabling
checkpoint | Separation between Data and Power as specified
checkpoint | 50mm Seismic separation from all building elements and services
checkpoint | mechanical protection 50mm from all building elements and services under 50mm
checkpoint | Mechanical protection passing through builing elements
checkpoint | Secured with Velcroe and tape removed
checkpoint | Not exceeding the maximum number of cables per bundle
checkpoint | 10m of cable slack minimum left (5m for second fix permenant slack)

## STL First Fix
name
checklist | QA - First Fix
section | Flush Boxes
checkpoint | Fire rated or Acoustic
checkpoint | Height as per plan
checkpoint | Location as per plan
checkpoint | Intumescent pad in place
checkpoint | Flush boxes not back to back on Acoustic walls
section | Cat Wires
checkpoint | Separation between power & data
checkpoint | Supported every 3 meters or adequately to avoid sagging
checkpoint | Correctly secured at each end (gripple bowline)
checkpoint | Correct fixings and tensioners
section | Cabling
checkpoint | Cable clearly labelled with ID
checkpoint | No horizontally run cabling in walls
checkpoint | Separation between data and power as specified
checkpoint | 50mm Seismic separation from all building elements and services
checkpoint | mecanical protection 50mm from all building elements and services under 50mm
checkpoint | Mechanical protection passing through builing elements
checkpoint | Secured with velcroe and tape removed
checkpoint | Not exceeding the maximum number of cables per bundle

## STL 2nd Fix
checklist | QA - Second fix
section | Outlets
checkpoint-no-status | Details
text | Type
checkpoint | Correct type installed
checkpoint | Faceplate is Correctly installed, orientation, secured and level
checkpoint | Faceplate is labled, backplate in vivid, cover plate with printed lable including cabinet and outlet ID
checkpoint | Intumescent Pad In Place
checkpoint | Circuit Tested

## Cabinet
type | name
checklist | QA - 2nd Fix
section | Communications Cabinet
checkpoint | Specified cabinet installed
checkpoint | Wall cabinets are fixed 6 x 50mm tech screws minimum
checkpoint | Standing cabinets are fixed with 4 x M12x65mm dyna bolts minimum
checkpoint | Cables are Sleaved where exposed
checkpoint | 1m of cable slack minimum (copper)
checkpoint | 5m of cable slack minimum (Fibre)
checkpoint | Greenstuff/Cabinet entry covers in place
checkpoint | Panels are labeled and match outlets
checkpoint | Cabinet is clean on the inside and outside
checkpoint | Cable management is installed
checkpoint | Copper testing is complete
checkpoint | Patch leads supplied/installed if applicable
checkpoint | All fibre is eyesafe
checkpoint | Correct fibre connector and tray type
checkpoint | Fibre testing is complete
checkpoint | STL, Panel ID and warning labels on the door
checkpoint | Test results uploaded to the common file and backup to laptop

## Site completion
checklist | QA - Second fix
section | Housekeeping
checkpoint | All ceiling tiles installed
checkpoint | All rubbish is removed from site
checkpoint | Excess Materials returned to Base

## Documentation
type | name
checklist | Completion & Documentation
section | Completion & Documentation
checkpoint | Test results are downloaded and saved to the project folder
checkpoint | BOM
checkpoint | Warranty certificate
checkpoint | O&M Manual sent
checkpoint | Progress/final claims
checkpoint | Linked/Variations and additional works checked and invoiced
checkpoint | Schedule Retentions retrieval date
checkpoint | Close project and move all quotes and project folders to complete