## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | b49c70c6-dd93-4b22-b182-2d2172f8ba1b |  | checklist | Wet Area Tiling – Sand & Cement Bedding |  |  |  |  | Yes | Wet Area Tiling – Sand & Cement Bedding | 0378853e-8dda-4b32-baf7-a4b7a21d277a
checkpoint-status | 182bf48e-554c-40b8-9391-974e3a29ab16 |  | checkpoint | Confirm area of work is accessible & acceptable to commence (If not comment below)
checkpoint-status | c17b811e-d763-4335-8492-d898106786b7 |  | checkpoint | Confirm all screed is laid on waterproofing membrane.
checkpoint-status | 66db8476-a843-49c5-9d5c-8e8192c36df5 |  | checkpoint | Check all screed falls to drain in shower are minimum 1:80
checkpoint-status | bfb7f9f0-d29c-424a-a9ea-285a20512f8e |  | checkpoint | Check all screed falls to drain in wet area are minimum 1:100
checklist-flat | 57618c59-91ed-494c-833b-31c767c329c2 |  | checklist | Screed |  |  |  |  | Yes | Screed | 4118667b-0c1a-4e7e-a4af-7116abb49d76
checkpoint-status | 143e8328-3d06-49ba-be57-95955fcda99f |  | checkpoint | Confirm all screed is laid on waterproofing membrane.
checklist-flat | 842e4946-e172-45a8-9f3a-31cc84a62da2 |  | checklist | External/Common Area Tiling & Waterproofing |  |  |  |  | Yes | External/Common Area Tiling & Waterproofing | 608e8ca6-97fb-4574-836a-71a84168ffaf
checkpoint-status | 1e9a3df8-853c-4e88-85b1-823dfa990f56 |  | checkpoint | Confirm area of work is accessible & acceptable to commence (If not comment below)
checklist-flat | e91d5abf-2a45-4a29-b6e8-a46fe4d9514a |  | checklist | Wet Area Tiling – Floors |  |  |  |  | Yes | Wet Area Tiling – Floors | eaf8225a-b53b-4fca-9b26-a35423a9f05f
checkpoint-status | 018a6e35-09b3-42ca-a078-ca5cb730af1f |  | checkpoint | Confirm area of work is accessible & acceptable to commence (If not comment below)
checkpoint-status | 8aa87ee8-4582-4acb-ae83-3542fc2c6595 |  | checkpoint | Confirm all falls to drain shower are minimum 1:80
checkpoint-status | f9ef5c3f-a42f-43de-ba4c-bf83556a0a5d |  | checkpoint | Confirm all falls to drain in wet area are minimum 1:100
checkpoint-status | 24be5d07-f64e-4a0f-ad5e-e36cbfd4f16e |  | checkpoint | Check finish floor level is at meter mark
checkpoint-status | 7d1b84be-a968-49ca-9224-9597488d509e |  | checkpoint | Confirm floor wastes are free of debris at tiling completion
checklist-flat | d91cf20c-9f1c-4ba6-89dd-725d87d3f1eb |  | checklist | Wet Area Tiling – Walls |  |  |  |  | Yes | Wet Area Tiling – Walls | fe3595e2-ca52-4c19-b3dd-884c7ba31fa9
checkpoint-status | 4428b0ba-644a-42fa-b17c-e49dd8817a69 |  | checkpoint | Confirm area of work is accessible & acceptable to commence (If not comment below)
checkpoint-status | fd5c0c45-b7b0-49df-a4e4-1a76eb005dd6 |  | checkpoint | Check shower walls are waterproofed
checkpoint-status | 379814a8-84d8-43d7-a7e1-f0d0e91f274f |  | checkpoint | Confirm all wall tiles are trowelled and not spot fixed
checkpoint-status | 13444003-0a1f-4351-888f-a31409b3a4a7 |  | checkpoint | Check wall tiles are plumb and straight at tiling completion