## Breakdown
Warriors Construction
B05
B05 - External Carpentry Work
Ground floor
Ground Floor - Area A
West Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
North Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
East Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
South Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
Servics Nogs(Apartments)
[5 empty] | G 1 | Prepopulate | PRE - S - Nogs
[5 empty] | G 2 | Prepopulate | PRE - S - Nogs
[5 empty] | G 3 | Prepopulate | PRE - S - Nogs
[5 empty] | G 4 | Prepopulate | PRE - S - Nogs
[5 empty] | G 5 | Prepopulate | PRE - S - Nogs
[5 empty] | G 6 | Prepopulate | PRE - S - Nogs
[5 empty] | G 7 | Prepopulate | PRE - S - Nogs
[5 empty] | G 8 | Prepopulate | PRE - S - Nogs
Ground Floor - Area B
West Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
North Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
East Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
South Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
Level 1
Level 1 - Area A
West Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
North Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
East Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
South Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
Servics Nogs(Apartments)
[5 empty] | APT 101 | Prepopulate | PRE - S - Nogs
[5 empty] | APT 102 | Prepopulate | PRE - S - Nogs
[5 empty] | APT 103 | Prepopulate | PRE - S - Nogs
[5 empty] | APT 104 | Prepopulate | PRE - S - Nogs
[5 empty] | APT 105 | Prepopulate | PRE - S - Nogs
[5 empty] | APT 106 | Prepopulate | PRE - S - Nogs
[5 empty] | APT 107 | Prepopulate | PRE - S - Nogs
[5 empty] | APT 108 | Prepopulate | PRE - S - Nogs
Level 1 - Area B
West Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
North Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
East Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
South Elevation
[6 empty] | Prepopulate | FC - S - Exterior Timber Framing
[6 empty] | Prepopulate | FC - S - RAB
[6 empty] | Prepopulate | FC - S - Windows, Sliders and Sealants
[6 empty] | Prepopulate | FC - S - Flashing installation
Servics Nogs(Apartments)
[5 empty] | APT 109 | Prepopulate | PRE - S - Nogs
[5 empty] | APT 110 | Prepopulate | PRE - S - Nogs
[5 empty] | APT 111 | Prepopulate | PRE - S - Nogs
[5 empty] | APT 112 | Prepopulate | PRE - S - Nogs
[5 empty] | APT 113 | Prepopulate | PRE - S - Nogs
[5 empty] | APT 114 | Prepopulate | PRE - S - Nogs
Roof
Roof - Area A
[5 empty] | West Elevation | Prepopulate | FC - S - Gutters
[5 empty] | North Elevation | Prepopulate | FC - S - Gutters
[5 empty] | East Elevation | Prepopulate | FC - S - Gutters
[5 empty] | South Elevation | Prepopulate | FC - S - Gutters
Roof - Area B
[5 empty] | West Elevation | Prepopulate | FC - S - Gutters
[5 empty] | North Elevation | Prepopulate | FC - S - Gutters
[5 empty] | East Elevation | Prepopulate | FC - S - Gutters
[5 empty] | South Elevation | Prepopulate | FC - S - Gutters
|  |  | Completion Documents |  |  | Prepopulate | CST - S - Completion Documents

## Checklist
checklist-flat | FC - S - Exterior Timber Framing
checkpoint | Setout completed, checked & accurate (no clashes & wall locations clearly marked)
checkpoint | Framing Dimensions / locations checked & accurate (openings considered where applicable)
checkpoint | All frames have been installed square, straight and plumb
checkpoint | DPC installed (if required) correctly
checkpoint | Fixings are correct to specification including any seismic/bracing requirements (attach relevant photos)
checkpoint | All Nogs (Service/Specialty) & penetrations - installed, checked & correct (consider acoustic & fire rating requirements)
checkpoint | All timber framing completed correctly to specification & within tolerance in respective area(s)
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
checklist-flat | FC - S - RAB
checkpoint | Fixing and spacings checked in accordance with manufacturers specs
checkpoint | White MS sealant for air seals between RAB board and concrete horizontal and vertical joints
checkpoint | 3M taping around windows and external corners and vertical joints and horizontal flashing checked
checkpoint | Vaproshield to interfloor installed after vertical taping
checkpoint | Bracing checked and accurate
checkpoint | Penetrations and punctures sealed with flashing tape
checkpoint | Sealing joints over internal and external joints
checkpoint | Battern on RAB Board for cladding fixings
checkpoint | All RAB board installation completed to specification & within tolerance in respective area(s)
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
checklist-flat | FC - S - Windows, Sliders and Sealants
checkpoint | Fixings and clearance around opening min 6mm & max 18mm and PEF rod/air seal are within acceptable tolerance level
checkpoint | Check taping around, before installing the windows and sliders
checkpoint | Packers to be correctly used and set back to allow continuous air seal
checkpoint | Jambs level and straight for finishing lines on the side
checkpoint | Door and window jambs flush to GIB Board
checkpoint | Check air seal is provided at the rear of the window reveal
checkpoint | All joints detailed as per attached Detail Document
checkpoint | All framing completed correctly within tolerance in respective area
checkpoint | Sill support fixing bars installed for all joinery within acceptable tolerance level
checkpoint | All windows, sliders and sealant installation completed to specification & within tolerance in respective area(s)
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
checklist | FC - S - Flashing installation
checkpoint | Head flashing installed with sealant at windows and doors (STO system)
checkpoint | Rainshield installed between joinery and lintel (brick)
checkpoint | DPC and WANZ bar installed at the bottom of the joinery (see fixing) as per manufacturer's spec
checkpoint | Aluminium window jamb side flashings are installed
checkpoint | All flashing installed at windows and doors to specification & within tolerance in respective area(s)
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
checklist-flat | FC - S - Gutters
checkpoint | Setout completed, checked & accurate (no clashes & wall locations clearly marked)
checkpoint | Framing Dimensions / locations checked & accurate (openings considered where applicable)
checkpoint | All frames have been installed square, straight and plumb
checkpoint | DPC installed (if required) correctly
checkpoint | Fixings are correct to specification including any seismic/bracing requirements (attach relevant photos)
checkpoint | All Nogs (Service/Specialty) & penetrations - installed, checked & correct (consider acoustic & fire rating requirements)
checkpoint | All timber framing completed correctly to specification & within tolerance in respective area(s)
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
checklist-flat | CST - S - Completion Documents
checkpoint | All relevant Compliance Documentation completed and attached above
bool | Any Additional Compliance Documentation (Required under Section C and by Consultants) - Completed and Attached
label | Do not select "Pass" HERE until all requirements have been marked as "Yes" & attached or you have selected "N/A"
holdpoint | Request Signoff
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
Checklist | PRE - S - Nogs
Section | Service Nogs Toilet
checkpoint | Wall Vanity nogs installed
checkpoint | Handrail and Toilet roll holder Nogs installed
Section | Bathroom
checkpoint | Mirror cabinet nogs installed
checkpoint | Wall Vanity nogs installed
checkpoint | Toilet: Handrail nogs Installed
checkpoint | Shower: Handrails nogs (3 areas) installed
checkpoint | Wall Mounted Heater nog installed
checkpoint | Towel rail nogs installed
checkpoint | Shower head nog installed
checkpoint | Shower mixer nog installed
Section | Laundry
checkpoint | Dryer nogs installed
checkpoint | Cupboard nogs installed
Section | Service Nogs General
checkpoint | Nogs / Service Nogs installed correctly as per plan
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS