## Breakdown
Keith Park(Wateright)
QA
Stage 7
B07
Bentonite
Basement Slab
[6 empty] | Lift Pit | pre-populate | ST - S - Bentonite
[6 empty] | Manhole | pre-populate | ST - S - Bentonite
[6 empty] | Floor Slab Area 1 | pre-populate | ST - S - Bentonite
[6 empty] | Waterstop 1 | pre-populate | F - S - Waterstops
[6 empty] | Floor Slab Area 3 | pre-populate | ST - S - Bentonite
[6 empty] | Water Stop 2 | pre-populate | F - S - Waterstops
[6 empty] | Floor Slab Area 3 | pre-populate | ST - S - Bentonite
[6 empty] | Water Stop 3 | pre-populate | F - S - Waterstops
[6 empty] | Floor Slab Area 4 | pre-populate | ST - S - Bentonite

## Checklists
Type | Name
checklist-flat | ST - S - Bentonite
Checkpoint | Area Confirmed and in acceptable condition
Text | Names of Applicators
Checkpoint | Substrate applied correctly
Checkpoint | Joints are overlapped correctly
Checkpoint | All pipe penetrations sealed correctly
Checkpoint | Protection board is the correct material and fitted properly
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS
Type | Name
checklist-flat | F - S - Waterstops
checkpoint | Area being inspected
checkpoint | Types of Swellable being re-inspected
checkpoint | length of time since the waterstops have been installed
checkpoint | final waterproofing system check
checkpoint | check for any damage, physical or water
checkpoint | Is there any remedial work required
checkpoint | inspect remedial work if required
checkpoint | Inspections completed and issued to Foreman
holdpoint | CLICK AND SEND EMAIL TO FOREMAN TO SIGN FOR RECEIPT OF THE INSPECTION RESULTS