## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | QA - External Box Installation |  |  |  |  | Yes | QA - External Box Installation | 0632eebd-657f-4a83-85ea-2380fc4d48c7
checkpoint-status |  |  | checkpoint | Fixed securely
checkpoint-status |  |  | checkpoint | Lid securely fixed
checklist-sectioned |  |  | checklist | QA - First Fix |  |  |  |  | Yes | QA - First Fix | 26ecd8ee-5c18-42fb-b39a-217575daff15
checkpoint-group |  |  | section | Flush Boxes
checkpoint-status |  |  | checkpoint | Fire Rated or Acoustic
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Intumescent Pad In Place
checkpoint-status |  |  | checkpoint | Flush Boxes Not back to back on Acoustic Walls
checkpoint-group |  |  | section | Cabling
checkpoint-status |  |  | checkpoint | Details
text | f227cdbd-961e-5a25-bddf-872ba4d8e798 |  | textbox | Type
text | 3169baf7-c13f-5663-b2ed-3d214ff4a240 |  | textbox | Size
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | No Horizontal cabling
checkpoint-status |  |  | checkpoint | Separation between Data and Power at 300mm or as specified
checkpoint-status |  |  | checkpoint | Light Control cabling Required
checkpoint-group |  |  | section | Cat Wires
checkpoint-status |  |  | checkpoint | 300mm Separation Between Power & Data
checkpoint-status |  |  | checkpoint | Supported every 6 Meters or Adequately to avoid Sagging
checkpoint-status |  |  | checkpoint | Correctly Secured at Each End
checkpoint-status |  |  | checkpoint | Turn Buckle Installed and Accessible
checkpoint-status |  |  | checkpoint | Number of cables per cat wire. 8 maximum or as per electrical spec
checkpoint-status |  |  | checkpoint | Separation between services maintained
checkpoint-status |  |  | checkpoint | All cables secured via cable ties with ends cut
checkpoint-group |  |  | section | Cable Tray
checkpoint-status |  |  | checkpoint | Minimum 25% spare capacity left on cable tray
checkpoint-group |  |  | section | Lights
checkpoint-status |  |  | checkpoint | Setout Correct
checkpoint-status |  |  | checkpoint | Cabling in correct location
checkpoint-status |  |  | checkpoint | Control Cabling installed
checkpoint-status |  |  | checkpoint | PIR Sensors
checkpoint-status |  |  | checkpoint | Occupancy Sensors
checkpoint-status |  |  | checkpoint | Light Level Sensors
checkpoint-status |  |  | checkpoint | Emergency/ Exit Lighting
checkpoint-status |  |  | checkpoint | Nogging installed for Electrical Services
checkpoint-group |  |  | section | Seismic Bracing
checkpoint-status |  |  | checkpoint | For Lighting
checkpoint-status |  |  | checkpoint | Cable Tray
checkpoint-status |  |  | checkpoint | Switchboard
checkpoint-group |  |  | section | Ducts and Conduits
checkpoint-status |  |  | checkpoint | Correct size installed
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | separation from other services
checkpoint-status |  |  | checkpoint | Clean inside and in good condition
checklist-sectioned |  |  | checklist | QA - Second Fix |  |  |  |  | Yes | QA - Second Fix | 2fe34a52-cc71-457a-9a72-4dd0584390a9
checkpoint-group |  |  | section | Power Outlets
checkpoint-status |  |  | checkpoint | Weekly Toolbox
checkpoint-status |  |  | checkpoint | Correctly installed with terminations all secured properly
checkpoint-status |  |  | checkpoint | Outlet Installed level
checkpoint-status |  |  | checkpoint | Intumescent Pad In Place
checkpoint-status |  |  | checkpoint | Circuit Tested and results recorded
checkpoint-status |  |  | checkpoint | Description Labelled on the outlet face with vivid and with dymo labeller on cover plate and ensure label is level
checkpoint-group |  |  | section | Light Switches
checkpoint-status |  |  | checkpoint | Correct type installed
checkpoint-status |  |  | checkpoint | Correctly installed with terminations all secured properly
checkpoint-status |  |  | checkpoint | Outlet Installed level
checkpoint-status |  |  | checkpoint | Intumescent Pad In Place
checkpoint-status |  |  | checkpoint | Circuit Tested and results recorded
checkpoint-status |  |  | checkpoint | Description Labelled on the outlet face with vivid and with dymo labeller on cover plate and ensure label is level
checkpoint-group |  |  | section | Light Fixtures
checkpoint-status |  |  | checkpoint | Correct type installed
checkpoint-status |  |  | checkpoint | Correctly installed with terminations all secured properly
checkpoint-status |  |  | checkpoint | Seismic braces installed.
checkpoint-status |  |  | checkpoint | Insulation removed from over downlights and drivers
checkpoint-status |  |  | checkpoint | Tested for operation
checklist-flat |  |  | checklist | Catenary Wires |  |  |  |  | Yes | Catenary Wires | 375657fc-09b9-4051-81a1-ea5c1ea733a8
checkpoint-status |  |  | checkpoint | 50mm Separation Between Power & Data
checkpoint-status |  |  | checkpoint | Supported every 6 Meters or Adequately to avoid Sagging
checkpoint-status |  |  | checkpoint | Correctly Secured at Each End
checkpoint-status |  |  | checkpoint | Turn Buckle Installed and Accessible
checklist-flat |  |  | checklist | QA - Conduit Installation |  |  |  |  | Yes | QA - Conduit Installation | 3fd6ba47-5108-4ada-854e-0d9c0f8b5d69
checkpoint-status |  |  | checkpoint | Installed as plan
checkpoint-status |  |  | checkpoint | Suitable fixings installed and spaced evenly
checklist-flat |  |  | checklist | COC |  |  |  |  | Yes | COC | 5a0377ae-5d99-4b29-91eb-e32c0c41cc28
checkpoint-status |  |  | checkpoint | Upload COC here and press PASS
checklist-sectioned |  |  | checklist | Inground Services |  |  |  |  | Yes | Inground Services | 6c9c6fc4-ea69-4286-8017-76ff9ad13070
checkpoint-group |  |  | section | Ducts and Conduits
checkpoint-status |  |  | checkpoint | Correct size installed
checkpoint-status |  |  | checkpoint | Start and finish locations correct as per plan
checkpoint-status |  |  | checkpoint | separation from other services
checkpoint-status |  |  | checkpoint | Clean inside and in good condition
checkpoint-group |  |  | section | Electrical Pits
checkpoint-status |  |  | checkpoint | Set out correct
checkpoint-status |  |  | checkpoint | Correct size installed
checkpoint-status |  |  | checkpoint | Duct entry holes sealed / water proofed
checkpoint-status |  |  | checkpoint | Pits installed to correct height and level
checkpoint-status |  |  | checkpoint | Clean inside and in good condition
checkpoint-group |  |  | section | Light Pole Foundations
checkpoint-status |  |  | checkpoint | Set out correct
checkpoint-status |  |  | checkpoint | Ducting in correct position - centre of cage
checkpoint-status |  |  | checkpoint | Correct Cage Installed
checkpoint-status |  |  | checkpoint | Cage installed to correct height / level
checkpoint-status |  |  | checkpoint | Ground Plant pole installed to correct height / level
checklist-flat |  |  | checklist | Switchboard |  |  |  |  | Yes | Switchboard | b4a3628e-9a03-49b4-842a-c74c114b374a
checkpoint-status |  |  | checkpoint | Spatial certificate signed if required
checkpoint-status |  |  | checkpoint | Fixings installed in wall correctly if board is wall mounted
checkpoint-status |  |  | checkpoint | All clearances sighted to ensure location is compliant
checkpoint-status |  |  | checkpoint | All cables correctly installed in protection device and earth and neutral bars and fully secured
checkpoint-status |  |  | checkpoint | Cables neatly dressed
checkpoint-status |  |  | checkpoint | Phase tabs on chassy covered
checkpoint-status |  |  | checkpoint | All earths and neutrals labelled to match phase numbers
checkpoint-status |  |  | checkpoint | Switchboard is clean on the inside and outside
checkpoint-status |  |  | checkpoint | Masking blanks installed
checkpoint-status |  |  | checkpoint | DB legend installed
checklist-flat |  |  | checklist | Cable Tray |  |  |  |  | Yes | Cable Tray | e9d3c168-c5cd-4226-9fe3-dec32b330c06
checkpoint-status |  |  | checkpoint | Unistrut Filed & Painted
checkpoint-status |  |  | checkpoint | Hangers Spaced as Specified
checkpoint-status |  |  | checkpoint | Correct Size Tray Installed
checkpoint-status |  |  | checkpoint | Tray Joined Correctly
checkpoint-status |  |  | checkpoint | Hangers Seismically Restrained as per Design
checkpoint-status |  |  | checkpoint | Tray Fastened to Hangers
checkpoint-status |  |  | checkpoint | Correct Anchors used fixing to Ceiling
checkpoint-status |  |  | checkpoint | Cable Tray Bonded