## Drop Junction
This is a separate check-sheet now.
section | 8651eded-bb30-5a23-976a-a017fb9d4b4f | Internal Drop Junction Report
checkpoint |  | Internal Drop Junction | Pass / Fail / NA
|  | Identification | Text box
dropdown | 23fd6287-b9c8-536e-ab9e-6bf6013dde25 | Diameter | 100, 150
button | 805f2241-669a-5ce2-af28-37076e10ba4f | Fitup satisfactory | Yes, No
button | ae7518c3-ede3-55f8-b5fa-c21918f262e7 | Brackets installed | Yes, No
button | 0af03d55-55fc-567b-a8e4-e2a82392fe25 | Foot finished | Yes, No
button | bffcbd23-3b1b-5501-b1c7-567f81258c6d | Shearband installed | Yes, No
textbox | 94ec75b7-3d0f-5842-af3f-dfc9e2672e6e | Inspection Person |  | Delete
Comment
Question: Can the identification be copied from the name of the check list?
Note: I am naming the checklists Reports

## Civil Pipe Services - Manhole C
Type | Id | Name | Values | Prompting Name | Resource Id
checklist |  | Manhole Report |  | Manhole Checklist | b2e73507-c05d-4888-936c-259e4120eca8
section |  | Manhole details
checkpoint |  | Manhole details
textbox | e70f99c3-b332-5297-a82d-677abf92c189 | Identification |  |  | Can this be coped automatically from the name of the checklist?
textbox | 1c387115-5129-5fd0-9bfb-820f97ea1ddb | Diameter
textbox | b8dba9be-3648-5e5d-9bf9-4fc41b50047c | Design LL
textbox | c5aa50f9-f955-5c40-96eb-fcd52f297437 | As-built LL
section |  | Base
checkpoint |  | Base
dropdown | 8c8753c4-5f8e-55d2-868b-83d6f565ffdc | Base test - please select | None, Scala, Shearvane
note | e128774c-70fd-5cb7-b9e2-b6c707635390 | Please upload test sheet and photos
button | f2e7829b-74b9-5886-b754-e0eb86c4732f | Subject to engineer's instruction | Yes, No
textbox | ea167e41-38f6-5c49-997a-370de040013c | Undercut Depth
button | 70427881-6879-5d12-bbe8-eb9287cc5cef | Geotextile | Yes, No
textbox | 168031cc-3a30-538f-affc-986b1766c95a | Geotextile Grade
dropdown | 1667cc60-9abd-5d79-a8dc-9b7d6c6eb4b7 | Geotextile Position | Bottom, Sides, Top
button | 18fd1bc8-ab6d-58eb-ac91-793811fd3413 | Clegg test | Yes, No
dropdown | f598ebd0-149b-5431-b6c9-ed6c173a0493 | Bedding | Gap7, Gap10, Gap20
section |  | Internal
checkpoint |  | Internal
button | d5791727-c3c8-5816-9c67-5735924ad92a | Penetrations sealed | Yes, No
dropdown | c9b5432a-4086-5ea2-a370-dde2e14c2937 | Step location | Over bench, Over outlet
button | 384ab25b-f8ff-5daf-9a83-40bd0ee60036 | Benching Complete | Yes, No
button | f4506e7c-4852-5e5e-815d-1ad922c0f530 | Sides clean | Yes, No
button | a5ec431c-40f3-5c27-b1e0-796cc0b849b6 | Riser Joints epoxy sealed | Yes, No
button | 2acb835a-8684-5f5a-8750-311f1660afec | Opening over steps | Yes, No
button | 8651eded-bb30-5a23-976a-a017fb9d4b4f | Internal Drop Junction | Yes, No |  | DELETE ALL
dropdown | 23fd6287-b9c8-536e-ab9e-6bf6013dde25 | Diameter | 100, 150
button | 805f2241-669a-5ce2-af28-37076e10ba4f | Fitup satisfactory | Yes, No
button | ae7518c3-ede3-55f8-b5fa-c21918f262e7 | Brackets installed | Yes, No
button | 0af03d55-55fc-567b-a8e4-e2a82392fe25 | Foot finished | Yes, No
button | bffcbd23-3b1b-5501-b1c7-567f81258c6d | Shearband installed | Yes, No
textbox | 94ec75b7-3d0f-5842-af3f-dfc9e2672e6e | Inspection Person
section |  | Cover
checkpoint |  | Cover
dropdown | ae2da8d6-985d-563b-a9eb-b45d52412340 | Opening size | 530, 610
dropdown | 0e93b08b-57e3-5356-952f-fdd501777520 | Hinge orientation | 90 deg. to steps, Traffic flow
button | 5e1e9707-9f3e-557f-9809-fc4b89c3030f | Safety grille fitted | Yes, No, N/A
button | 3e56588d-8e25-5fee-a912-acc80f4b4e35 | Throat sealed | Yes, No
textbox | 42de9db0-6260-560a-b637-1050d6220f34 | Depth FLL to top step
textbox | 3065a7c2-95b1-5dfd-9993-3a1fd1afba9c | Inspection Person