## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Usage Count | Resource Id
18f30466-eb24-4c00-a248-533ac620c824 | checklist | SYS - Manhole Checklist |  | Manhole Checklist | 16 | b2e73507-c05d-4888-936c-259e4120eca8
f24b3b41-3019-4db0-8292-e8e3209f4d00 | section | Manhole details
e4a1721e-e85a-462f-97ce-7ce8ec048534 | checkpoint | Manhole details
e70f99c3-b332-5297-a82d-677abf92c189 | textbox | Identification
1c387115-5129-5fd0-9bfb-820f97ea1ddb | textbox | Diameter
b8dba9be-3648-5e5d-9bf9-4fc41b50047c | textbox | Design LL
c5aa50f9-f955-5c40-96eb-fcd52f297437 | textbox | As-built LL
e82f1b5f-a949-4385-8001-e9ba5553e788 | section | Base
f768c589-f2dc-45f4-8583-d3d71a89cc4a | checkpoint | Base
8c8753c4-5f8e-55d2-868b-83d6f565ffdc | dropdown | Base test - please select | None, Scala, Shearvane
e128774c-70fd-5cb7-b9e2-b6c707635390 | note | Please upload test sheet and photos
f2e7829b-74b9-5886-b754-e0eb86c4732f | button | Subject to engineer's instruction | Yes, No
ea167e41-38f6-5c49-997a-370de040013c | textbox | Undercut Depth
70427881-6879-5d12-bbe8-eb9287cc5cef | button | Geotextile | Yes, No
168031cc-3a30-538f-affc-986b1766c95a | textbox | Geotextile Grade
1667cc60-9abd-5d79-a8dc-9b7d6c6eb4b7 | dropdown | Geotextile Position | Bottom, Sides, Top
18fd1bc8-ab6d-58eb-ac91-793811fd3413 | button | Clegg test | Yes, No
f598ebd0-149b-5431-b6c9-ed6c173a0493 | dropdown | Bedding | Gap7, Gap10, Gap20
01ee7e2d-da1c-4b95-b4c9-e06f80188cde | section | Internal
9bc234e2-152f-4771-be0e-f784199a2deb | checkpoint | Internal
d5791727-c3c8-5816-9c67-5735924ad92a | button | Penetrations sealed | Yes, No
c9b5432a-4086-5ea2-a370-dde2e14c2937 | dropdown | Step location | Over bench, Over outlet
384ab25b-f8ff-5daf-9a83-40bd0ee60036 | button | Benching Complete | Yes, No
f4506e7c-4852-5e5e-815d-1ad922c0f530 | button | Sides clean | Yes, No
a5ec431c-40f3-5c27-b1e0-796cc0b849b6 | button | Riser Joints epoxy sealed | Yes, No
2acb835a-8684-5f5a-8750-311f1660afec | button | Opening over steps | Yes, No
8651eded-bb30-5a23-976a-a017fb9d4b4f | button | Internal Drop Junction | Yes, No
23fd6287-b9c8-536e-ab9e-6bf6013dde25 | dropdown | Diameter | 100, 150
805f2241-669a-5ce2-af28-37076e10ba4f | button | Fitup satisfactory | Yes, No
ae7518c3-ede3-55f8-b5fa-c21918f262e7 | button | Brackets installed | Yes, No
0af03d55-55fc-567b-a8e4-e2a82392fe25 | button | Foot finished | Yes, No
bffcbd23-3b1b-5501-b1c7-567f81258c6d | button | Shearband installed | Yes, No
94ec75b7-3d0f-5842-af3f-dfc9e2672e6e | textbox | Inspection Person
| section | Internal Drop Junction Report
| checkpoint | Internal Drop Junction
| dropdown | Diameter | 100, 150
| button | Fitup satisfactory | Yes, No
| button | Brackets installed | Yes, No
| button | Foot finished | Yes, No
| button | Shearband installed | Yes, No
a90c8f47-9113-4afc-91a1-83ca61177c43 | section | Cover
548644bf-367c-4d7f-86e4-599d3056337d | checkpoint | Cover
ae2da8d6-985d-563b-a9eb-b45d52412340 | dropdown | Opening size | 530, 610
0e93b08b-57e3-5356-952f-fdd501777520 | dropdown | Hinge orientation | 90 deg. to steps, Traffic flow
5e1e9707-9f3e-557f-9809-fc4b89c3030f | button | Safety grille fitted | Yes, No, N/A
3e56588d-8e25-5fee-a912-acc80f4b4e35 | button | Throat sealed | Yes, No
42de9db0-6260-560a-b637-1050d6220f34 | textbox | Depth FLL to top step
3065a7c2-95b1-5dfd-9993-3a1fd1afba9c | textbox | Inspection Person