## Resources
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Shearvane Test Checklist |  | Shearvane Test Checklist | 0de4a5f9-7b10-44c5-874b-f3bbce791007
| checkpoint | General details
5b3ec751-5784-531d-acbb-f9979bb448f4 | textbox | Test equipment
5a05d6ec-7643-5fd1-b70e-239dad2f4f7f | date | Calibration due date
| checkpoint | Test 1
ca3e82ff-7ebc-5c12-a114-0988bc2741c9 | textbox | Shear value
| checkpoint | Test 2
188b80ea-c1fc-5283-b875-73ac617ea561 | textbox | Shear value
| checkpoint | Test 3
ff8175f4-9d1f-50dd-a442-6ca36675a901 | textbox | Shear value
| checkpoint | Test 4
ab22aa4b-b7ef-531b-80e6-680d7378f991 | textbox | Shear value
| checkpoint | Test 5
c6996f6f-f486-586d-9870-d90c8bba0daf | textbox | Shear value
| checkpoint | Signoff
023c2ee6-737f-5cd2-8bdd-33411dfead6a | textbox | Test conducted by
81308139-9dd7-5368-8489-e74b3599eead | date | Date
| checklist | Pipeline Checklist |  | Pipeline Checklist | 30f9e670-1a9e-4ea4-928e-0cf450dc5016
| section | Overview
| checkpoint | Overview
ec5a46a9-a01c-56c8-9f68-dbf39268b066 | textbox | Downstream Node
ba2fd0d4-0795-513b-90a4-d893b531065a | textbox | Upstream Node
89542808-d7bb-51d5-81d9-98baf55a796b | textbox | Pipe diameter
e40c8044-8aa3-59ef-acfa-e239acc1f008 | dropdown | Pipe Material & Grade | PVC SN 4, PVC SN6, PVC SN16, RC Class 2, RC Class 4, PE SDR 11, PE SDR 13.5, PE SDR17, PE SDR 26
c3a545f0-1cbd-539d-b573-d59c91f13b9f | textbox | Line Grade Design
aed2b24b-0c6f-5477-af25-ef740d09e6c7 | textbox | Line Grade As-built
6e11a08c-ef93-518b-978c-f6a47989b3b9 | textbox | LineLength (Face to Face)
ab4b4a81-296a-5daf-9e66-c0347d3484ee | textbox | Line connections
| section | Base
| checkpoint | Base
40cab9ae-20c3-5bc5-851a-8aaf520dd010 | dropdown | Base test - please select | None, Scala, Shearvane
2cb7e030-14f1-5b94-ad63-833d4b784665 | note | Please upload test sheet and photos
01d3d024-fecc-5899-b313-76391428b3cf | button | Subject to engineer's instruction | Yes, No
ba49eefc-a293-5a6d-8abe-1c40fcc064ec | textbox | Undercut Depth
8961585f-1995-5bc1-ba6b-bb6a81c5a50b | button | Geotextile | Yes, No
17e6994c-5015-530d-9b56-d145f917ab2a | textbox | Geotextile Grade
1c0d1597-dd91-57ba-bceb-2ae2f7d6573c | dropdown | Geotextile Position | Bottom, Sides, Top
58b5e513-d62b-5d8d-a123-16b16e28f5e2 | button | Clegg test | Yes, No
2b47e4be-8833-5597-b1a2-906d4233eac7 | dropdown | Bedding | Gap7, Gap10, Gap20
| section | Connections
| checkpoint | Downstream connection
f200c264-c1af-53a2-becc-58c940ec256b | button | Starter used? | Yes, No
| checkpoint | Upstream connection
d26303fb-031a-5792-84e4-335171711b2c | button | Starter used? | Yes, No
| checkpoint | Line connections
b1b69194-114d-5056-9d8f-9b278b529c66 | textbox | Number off
bcc34e40-0c6b-514e-879c-16493275b181 | dropdown | Connection Dia | 100, 150, 175, 225, 300
0d946d3c-4165-5a3c-a71c-0a3c1c1413c4 | dropdown | Type | PVC SN16 45 deg, PVC SN16 Lunden, EW Saddle, PVC Saddle
| section | Backfill
| checkpoint | Backfill
70758290-fa13-5f46-bf53-eb2be098df2f | dropdown | Material | Gap40, Gap65
a111c2cb-f619-5d90-b428-cc5969362fc6 | dropdown | Compaction Material | Trench Tamper, 450 kg Plate, 500kg Plate, Trench Roller
c1ca77cd-f499-513d-ba15-1bdd9787c9af | button | Clegg Test | Yes, No
| section | Tests
| checkpoint | Tests
2d5a9488-6356-54c6-a028-f3f53374c469 | button | Pressure Test | Yes, No, N/A
| checklist | Job Details Checklist |  | Job Details Checklist | 39afa165-1b11-48f6-9c8d-100afff1f77f
| checkpoint | General details
4b371cf4-45a6-5131-8b2c-643ec059cab0 | textbox | Project
8d57fea1-6938-52d1-acb6-9c9ee58d91c6 | textbox | CPS Project No.
7c2e56fb-8c6b-512e-bb3c-7400955f5093 | textbox | BC No.
9d70ae55-e6d6-5d2a-8198-65948d884988 | textbox | Site Address
| checklist | Clegg Test Checklist |  | Clegg Test Checklist | 5be0a1a2-e6b5-4c02-8ce4-236b4409d5aa
| checkpoint | General details
b5f22158-b6b8-50d7-b38d-194347453f30 | textbox | Test equipment
5915ed07-1720-5703-a8dc-b12b32dccfab | date | Calibration due date
| checkpoint | Layer 1
| checkpoint | Layer 2
| checkpoint | Layer 3
| checkpoint | Signoff
1dde1395-3d50-535e-8296-051635b705d7 | textbox | Tested by
26b876e5-9fd8-52b7-a888-8488ccbf6d14 | textbox | Checked
fd6449bf-e25f-502c-a843-d62cf28eea3e | date | Date
| checklist | Add Document / Photo |  | Add Document / Photo | 7df738ac-7614-48e3-a58a-c358dd293e94
| checkpoint | Please upload all relevant documents / photos and press PASS.
| checklist | Cess-Pit Report |  | Cess-Pit Report | 8f3eb2d3-99b9-40f7-94a3-b1031e5cf344
| section | Cess-Pit Details
| checkpoint | Cess-Pit Details
fcd1cc41-c5c8-5221-89a6-1466bad7ec34 | textbox | Identification
c6dd89c8-4ac2-51e6-a3fa-9d54946f4789 | textbox | Size
15db4dbb-30b1-56fa-ad78-5ff40c2d69f2 | textbox | Nominal Depth
4cf889e1-4ea6-596e-84a1-c133d8573290 | textbox | Design LL
4671d51a-a42c-515d-b041-ccd67d973da6 | textbox | As-built LL
6234ee76-1a68-5447-944a-f84690793301 | dropdown | Arrangement | Flat-top, Rear Entry
| section | DISCHARGE
| checkpoint | Discharge
6ddfa1bd-6796-54a6-a0b9-1a2f6fd67ad0 | dropdown | Discharge Pipe Size | 100, 150, 175, 225, 300
bb75c58b-f204-5245-956f-c0472feb653c | dropdown | Pipe Material | RC, PVC
2a08c1af-5548-55fc-a847-edb3091dac41 | dropdown | Half-syphon fitted | yes, no
94214c9d-94de-5095-b4cb-d7eef0067c94 | dropdown | Holding water over half-syphon | yes, no, NA , Not visible
| section | BASE
| checkpoint | Base
ab11ad5b-f475-5632-bac7-a71737887e77 | dropdown | Base Test | None, Scala, Shearvane
751b7d2b-7a57-5547-b207-7b7cbde65829 | dropdown | Test Sheet Attachment | Yes, No
b916e724-a03b-5b2b-a530-7c8e4be5cb55 | dropdown | Subject to engineers instruction | Yes, No
872a3c5a-452f-5072-8d7f-a155b9d99c0d | textbox | Undercut Depth
b3875921-9154-5bb5-bed9-cb9da900185a | dropdown | Clegg test | Yes, No
7e582f1e-0f3a-5f1d-99b5-ea1d1c6e7195 | dropdown | Bedding | Gap7, Gap10, Gap20
f98d6ee2-d647-5a7a-b411-1c4a4c16db66 | textbox | Notes
| section | INTERNAL
| checkpoint | Internal
cbd644fa-18df-52e5-bd4a-cf1a5796d935 | dropdown | Penitrations sealed | Yes, No
67d85688-15bb-5b3d-8163-aa721995436d | textbox | Notes
| section | GRATE
| checkpoint | Grate
789f6b8c-1c7c-5844-86a7-049382a0563d | dropdown | Type | Standard, Hydro, Other
68062b5e-890e-5064-9467-72cc4c9622a5 | dropdown | Hinge orientation | Against kerb, NA
d0638bb1-9cd5-558d-8a3a-e4026271d77e | textbox | Notes
| section | BACK-FILL
| checkpoint | Back-Fill
dc9ff642-30e2-5397-a8e4-9051aa76ed7a | dropdown | Material | GAP10, GAP20, GAP65
| checklist | Scala Test Checklist |  | Scala Test Checklist | a8eac725-3ffa-48c0-9daf-429af95728c0
| checkpoint | General details
05419eca-8a95-5389-a12e-9ca1846989d8 | textbox | Test equipment
| checkpoint | Test 1
221ef572-5bbc-51da-a1e6-7ea1a0698890 | textbox | Blow count
84df954e-dec9-511c-88d9-a59bd9d6836d | textbox | Penetration depth
| checkpoint | Test 2
6a62e34c-5ae7-530e-b8c0-651413e7c976 | textbox | Blow count
a5f8dfc4-2164-54e8-805b-5e4c5bb51589 | textbox | Penetration depth
| checkpoint | Test 3
5a9e05be-32a7-5bce-bb79-e4ccd04aeab0 | textbox | Blow count
aae047df-c810-5fee-83d2-a110e4fbc469 | textbox | Penetration depth
| checkpoint | Test 4
c7cebcca-1291-53b4-92a6-7b5f71726f2e | textbox | Blow count
bd38a2d1-391e-563a-ba16-08456ca557df | textbox | Penetration depth
| checkpoint | Test 5
36f44993-df10-5a13-9292-c58db83295c4 | textbox | Blow count
668e8f1a-0f85-5a7e-b14b-353898c5ee50 | textbox | Penetration depth
| checkpoint | Test 6
0125c8bb-1443-5d0c-b387-8a66c789619a | textbox | Blow count
ccb535c0-0045-519c-98df-f71ef6bbc434 | textbox | Penetration depth
| checkpoint | Test 7
5d165d5b-0ae1-5e28-b5f9-e747fcada23f | textbox | Blow count
f5fb3d40-fffa-59d4-b368-ad94ae84e96a | textbox | Penetration depth
| checkpoint | Test 8
44024e7b-a7ba-50bf-b665-247a56c18882 | textbox | Blow count
58458e92-70b2-5afe-92f4-3c3b8c03dca1 | textbox | Penetration depth
| checkpoint | Test 9
22d8cf6b-0692-545d-8238-16eb92b7e70f | textbox | Blow count
eaea16dc-e9e5-527a-82a7-40831ef9212a | textbox | Penetration depth
| checkpoint | Test 10
9dd1e984-43d5-5433-9bce-545b68cd0bd9 | textbox | Blow count
84abbac6-8790-5c42-8ed7-71d40224d4be | textbox | Penetration depth
| checkpoint | Signoff
1d5d1427-d701-56ce-919b-826d06a3cc04 | textbox | Test conducted by
487b6d26-a5ad-5a96-9097-1715b7075534 | date | Date
| checklist | SYS - Manhole Checklist |  | Manhole Checklist | b2e73507-c05d-4888-936c-259e4120eca8
| section | Manhole details
| checkpoint | Manhole details
e70f99c3-b332-5297-a82d-677abf92c189 | textbox | Identification
1c387115-5129-5fd0-9bfb-820f97ea1ddb | textbox | Diameter
b8dba9be-3648-5e5d-9bf9-4fc41b50047c | textbox | Design LL
c5aa50f9-f955-5c40-96eb-fcd52f297437 | textbox | As-built LL
| section | Base
| checkpoint | Base
8c8753c4-5f8e-55d2-868b-83d6f565ffdc | dropdown | Base test - please select | None, Scala, Shearvane
e128774c-70fd-5cb7-b9e2-b6c707635390 | note | Please upload test sheet and photos
f2e7829b-74b9-5886-b754-e0eb86c4732f | button | Subject to engineer's instruction | Yes, No
ea167e41-38f6-5c49-997a-370de040013c | textbox | Undercut Depth
70427881-6879-5d12-bbe8-eb9287cc5cef | button | Geotextile | Yes, No
168031cc-3a30-538f-affc-986b1766c95a | textbox | Geotextile Grade
1667cc60-9abd-5d79-a8dc-9b7d6c6eb4b7 | dropdown | Geotextile Position | Bottom, Sides, Top
18fd1bc8-ab6d-58eb-ac91-793811fd3413 | button | Clegg test | Yes, No
f598ebd0-149b-5431-b6c9-ed6c173a0493 | dropdown | Bedding | Gap7, Gap10, Gap20
| section | Internal
| checkpoint | Internal
d5791727-c3c8-5816-9c67-5735924ad92a | button | Penetrations sealed | Yes, No
c9b5432a-4086-5ea2-a370-dde2e14c2937 | dropdown | Step location | Over bench, Over outlet
384ab25b-f8ff-5daf-9a83-40bd0ee60036 | button | Benching Complete | Yes, No
f4506e7c-4852-5e5e-815d-1ad922c0f530 | button | Sides clean | Yes, No
a5ec431c-40f3-5c27-b1e0-796cc0b849b6 | button | Riser Joints epoxy sealed | Yes, No
2acb835a-8684-5f5a-8750-311f1660afec | button | Opening over steps | Yes, No
8651eded-bb30-5a23-976a-a017fb9d4b4f | button | Internal Drop Junction | Yes, No
23fd6287-b9c8-536e-ab9e-6bf6013dde25 | dropdown | Diameter | 100, 150
805f2241-669a-5ce2-af28-37076e10ba4f | button | Fitup satisfactory | Yes, No
ae7518c3-ede3-55f8-b5fa-c21918f262e7 | button | Brackets installed | Yes, No
0af03d55-55fc-567b-a8e4-e2a82392fe25 | button | Foot finished | Yes, No
bffcbd23-3b1b-5501-b1c7-567f81258c6d | button | Shearband installed | Yes, No
94ec75b7-3d0f-5842-af3f-dfc9e2672e6e | textbox | Inspection Person
| section | Cover
| checkpoint | Cover
ae2da8d6-985d-563b-a9eb-b45d52412340 | dropdown | Opening size | 530, 610
0e93b08b-57e3-5356-952f-fdd501777520 | dropdown | Hinge orientation | 90 deg. to steps, Traffic flow
5e1e9707-9f3e-557f-9809-fc4b89c3030f | button | Safety grille fitted | Yes, No, N/A
3e56588d-8e25-5fee-a912-acc80f4b4e35 | button | Throat sealed | Yes, No
42de9db0-6260-560a-b637-1050d6220f34 | textbox | Depth FLL to top step
3065a7c2-95b1-5dfd-9993-3a1fd1afba9c | textbox | Inspection Person
| checklist | Pressure Test Checklist |  | Pressure Test Checklist | bff6cc85-a90b-4eb0-a24e-647b8b7f35aa
| checkpoint | General details
18dfe2b6-f6da-591f-a271-97b38b247449 | textbox | Test equipment
| checkpoint | Test details
6031406e-aadb-50fb-88a9-2ca32b37e087 | textbox | Duration
c31eb564-e980-53d3-911f-d1e87dbc16dd | button | Result | PASS, FAIL
a57ed58a-51c0-586e-aa0d-03498ed13645 | textbox | Test conducted by
1115af3f-ec7f-5e03-9fb1-6ec949903ce2 | textbox | Witness
fcce1f11-0a5c-59d6-8203-ba4ee8d758ef | date | Date
| checklist | Toolbox Checklist |  | Toolbox Checklist | c787494f-087e-4b7c-940b-1aee43761292
| checkpoint | General details
cc87b062-41ff-58e1-8a19-a8ac8d14f15e | textbox | Site
0b93ce36-5705-531e-ab41-648a39e264a6 | date | Date
d4befc07-e264-589a-b9f4-afa0794525dc | textbox | Attendees
9a5c2dff-763a-5f2e-b9a2-c71b02c661cc | textbox | Minutes by
| checkpoint | Toolbox materials
fdfe9f82-f4f3-5b4a-8b2f-b8184e7f6e19 | textbox | Site activity / safe work practices / accident / incident investigations discussed
76344f1c-8e7e-54fe-b29c-8ecdf8ea6692 | textbox | Safe observations reviewed / discussed
efa1ea93-788b-5588-b2bc-521810f4f7ba | textbox | Task analysis completed / reviewed
| checklist | Machine Prestart Checklist |  | Machine Prestart Checklist | d4d9435f-ff44-4657-94e5-88a20323baf6
| checkpoint | General details
d8c1c58d-c7b0-557d-8e4a-40283846a040 | textbox | Operator
5b8996af-b7fc-5057-bf52-f092fcb86149 | textbox | Site
46196a65-7989-5e31-9f26-31263d664c10 | textbox | Week commencing
b8e63251-668d-5c1a-88f4-c631fcc0b95d | textbox | Machine Prestart Checklist
76cfbb17-2a64-5fb9-9071-cc6a04fe0edb | textbox | Machine ID
b8d73fb8-18c3-5ecb-a592-a93b48c47809 | textbox | Machine Hrs
| checkpoint | Daily checks
9eca4d43-27a6-5d62-b873-9b269665ce9b | tickbox | External cab condition
ead92695-73ac-531b-9eeb-2d971244fc07 | tickbox | Vandal damage
4ef5c379-56c9-5945-a5fc-85de4177a304 | tickbox | Lights and beacon
4f262d96-f60f-5bec-be00-1228f327653f | tickbox | Steps and handrails
7be54fe6-f0eb-5dfe-b95d-0516bab8043d | tickbox | Mirrors
4f013e3e-8449-53f3-99e9-8de94a9d1918 | tickbox | Fuel Level
47ca9024-a0d8-530b-8231-eedd3a312c7c | tickbox | Seat
13d6a898-0e83-5e2b-93b4-8bfc46df6b18 | tickbox | Seat belt Switches
5ab9f0d7-6579-5f7f-aba3-ea30741c3830 | tickbox | Fire extinguisher
b87454bf-634e-5016-ad12-52bdf533102c | tickbox | Cab cleanliness
4c8370ac-3cb4-5a45-b594-8b2b1ab2d56a | tickbox | Engine oil level
4eddd9ce-2e65-5ce7-a1ac-75de4333730c | tickbox | Coolant level
79975de6-af76-5bcc-bb54-669f9c27ee2f | tickbox | Engine belts
b4695cec-26f7-5778-b2b4-98a7a9a65e32 | tickbox | Hydraulic oil level
02fecf01-c890-53cf-8cf3-bb1189480bae | tickbox | Hoses and hydraulics
675915cf-581b-5e63-b41e-9f7fa2fe7c15 | tickbox | Grease nipples
e86abff0-f16d-591e-bd0b-713cd65e3b0f | tickbox | Pins secure
9b97809e-89c0-5b81-b990-8fecfc0948dd | tickbox | Control lever function
fe91ae29-a478-5c3f-95c0-bbd701d915e9 | tickbox | Reversing light & beeper
a8f8d2c9-ecdc-5dc4-b775-7565b03b1858 | tickbox | Buckets and hitch
b0a569f2-4ade-5196-854a-ddff25fe6a6a | tickbox | Track/tyre condition
2b52ef8f-38f2-58f3-a09b-8ef2edf7c0dc | tickbox | Foot brake works
d581f583-e957-5729-94e9-9ebf072bce82 | tickbox | Park brake holds
15396143-2faa-539d-9087-c7889b4d9f1e | tickbox | Tyre pressure
| checkpoint | Machine fault defect report
c8e210de-38e8-52e1-9cb6-3c264d9a4012 | textbox | Description
d5468bb6-9959-5cf7-bb46-69e048c4d9c1 | button | Does the fault constitute a safety / environmental hazard? | Yes, No
6d5fe4b9-db98-5366-8cce-3a37fe592523 | button | Does the machine require immediate repair? | Yes, No
| checkpoint | Signoff
24b20ad6-67b2-5a39-8e83-704e963c38ff | textbox | Operator name
4be7a350-398a-5138-95a0-f5f28ebf9bb6 | date | Date