## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Penetrations |  |  |  |  | Yes | Add Penetration Checklist | 26b092cd-dc2f-4101-90dc-9b76182aa044
checkpoint-status |  |  | checkpoint | Penetrations details
select | debcf3c3-a2fc-4645-a857-e8a20636ecd8 |  | dropdown | Area of Installation | Wall, Floor, Ceiling
select | d519179a-ad39-488f-b184-29fb9afab067 |  | dropdown | Fire Rating (Minutes) | Smoke, FRR 30, FRR 60, FRR 120,FRR 180,Other
text | 111ece27-3680-48fd-88bf-1755a7a09a8b |  | textbox | If other - specify here:
label | 88e4b093-55ff-4420-a454-2e680dd7e3bf |  | note | Penetration Type
boolean | 587ce637-da2f-493a-9bad-1230bfefef60 |  | tickbox | Cables
boolean | f120a9b8-37f7-4e4f-95d7-9abd26740f5f |  | tickbox | Copper Pipe
boolean | c83bfc77-3c81-4b37-8daf-461f82c62582 |  | tickbox | PVC Pipe
boolean | bea2616c-30ed-482b-b820-d553dbf6d2a3 |  | tickbox | PPR
boolean | ba4b438d-944a-4b70-8030-62f6abe9160b |  | tickbox | DUX
boolean | 1aa1559e-d6a6-464a-979e-db6115919db0 |  | tickbox | Stainless Steel Pipe
boolean | aa366f50-7144-46e1-8091-37dfefefd661 |  | tickbox | Galvanised Steel Pipe
boolean | 242d804b-060c-4006-9930-7dfc08ff0721 |  | tickbox | Metal Duct
boolean | 218d8f0b-ef3d-4cac-8137-43c084b986d9 |  | tickbox | PVC Duct
boolean | 8261a9d7-63c2-43c5-a3c2-4da291c6d111 |  | tickbox | Pair Coil
boolean | 1886d253-5bd4-4e36-b769-b166ea536ac4 |  | tickbox | Other
text | 3cb31236-0185-4235-998e-ab39eb506d17 |  | textbox | If other - specify here:
label | 605734dc-9bcb-4e02-a827-078a20ab697b |  | note | Service Type
boolean | db858d71-b438-4b56-ac60-e53d241adecf |  | tickbox | Sprinkler Services
boolean | f26ed8b4-2f32-44f2-aa26-c22c698511f0 |  | tickbox | Data & Security Systems
boolean | e2ed9ccb-81e2-4fb4-b86f-d6403131957c |  | tickbox | Hydraulics / Plumbing
boolean | 1a5c6156-d364-40a7-985d-27248843fa90 |  | tickbox | Electricals
boolean | 79540740-34f2-4863-8d72-5b1b312fc605 |  | tickbox | Mechanical
boolean | 0d00c911-b279-43d1-9526-9ad5a644579c |  | tickbox | Other
text | 35c81b89-fa48-4c0d-a0c3-1f7ef15b11ef |  | textbox | If other - specify here:
select | 72ca285f-869b-46a3-9be1-a5a515474c83 |  | dropdown | Product Used | Collars,Pipe Wraps,Fire Plates,Cast-In Collars,Fire Bonds,Boss FYRE Box,Cable Transit,Cable Collar,Fire Mortar,Compressed Material Wool,Fire Rated Fabric,Flexicoat Sealant,Fire Dampers,Fire Pillow,Downlight Cover,Ablative Coating,Fire Shield,Protecta FR Putty Cord,Intumescent Sealant,Fire Mastic Sealant,Weather Resistant Fire Sealant,Fire Foam,Other
text | 82cd4837-b463-4f12-9734-7a6ddba77ec4 |  | textbox | If other - specify here:
button | 21ebe4de-7250-415a-a94e-47235066b463 |  | button | Fire Sealant Used | Yes, No, N/A
holdpoint |  |  | signoff | Raise Remedial / Request Signoff
checklist-flat |  |  | checklist | Uploaded - |  |  |  |  | Yes | Add Document Upload Checklist | 7d92ad58-fa51-42c8-a76e-ca7434f4e4da
checkpoint-status |  |  | checkpoint | All required documentation uploaded
checklist-flat |  |  | checklist | Passive Fire Docs: |  |  |  |  | Yes | Add Passive Fire Docs Checklist | 8263d182-983b-42b9-aa54-35f7de8d687f
checkpoint-status |  |  | checkpoint | All documents available, checked and referenced
checklist-flat |  | checklist-flat must be display flat but was progress | checklist | Pre-Commencement Checklist |  |  |  |  | Yes | Add - Pre-Commencement Checklist | bf37da4a-4916-461b-b4be-7374242df51f
checkpoint-status |  |  | checkpoint | Quality Management Plan Completed, Agreed and Attached
checkpoint-status |  |  | checkpoint | Inspection & Test Plan Completed, Agreed & Attached
checkpoint-status |  |  | checkpoint | Relevant Breakdown & Checklist Setup on Conqa & Reviewed by Main Contractor
checkpoint-status |  |  | checkpoint | Conqa Setup & Project Team Trained & Given Access
checkpoint-status |  |  | checkpoint | Review Access Granted to Main Contractor & Relevant Parties
checkpoint-status |  |  | checkpoint | Matrix/Insight Setup (if required)