## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Data Cabinet switchboard |  |  |  |  | Yes | Data Cabinet switchboard | bea0e3e2-8239-4769-8226-412d18f556ba
checkpoint-status |  |  | checkpoint | Cables clearly noteled
checkpoint-status |  |  | checkpoint | Cables neatly dressed
checkpoint-status |  |  | checkpoint | Terminations checked for tightness
checkpoint-status |  |  | checkpoint | Board is clean inside and outside
checkpoint-status |  |  | checkpoint | notes installed
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 2nd Fix Electrical Main DB |  |  |  |  | Yes | 2nd Fix Electrical Main DB | 9b303d12-d4cb-4f72-b2fb-622bb77fc32d
checkpoint-group |  |  | section | 2nd Fix Electrical Main switchboard
checkpoint-status |  |  | checkpoint | ALL cables clearly labelled
checkpoint-status |  |  | checkpoint | Cables neatly dressed
checkpoint-status |  |  | checkpoint | Neutrals and earths labelled
checkpoint-status |  |  | checkpoint | Earths neatly lugged
checkpoint-status |  |  | checkpoint | Neutrals neatly lugged
checkpoint-status |  |  | checkpoint | Terminations checked for tightness
checkpoint-status |  |  | checkpoint | Board is clean inside and outside
checkpoint-status |  |  | checkpoint | Masking blanks installed
checkpoint-status |  |  | checkpoint | Circuit chart installed
checkpoint-status |  |  | checkpoint | Earth electrode installed
checkpoint-status |  |  | checkpoint | Earth tag installed
checkpoint-status |  |  | checkpoint | Earth clamp installed
checkpoint-status |  |  | checkpoint | Earth toby installed
checkpoint-status |  |  | checkpoint | Photos
checklist-flat |  |  | checklist | Electrical Main switchboard |  |  |  |  | Yes | Electrical Main switchboard | 1a1af9d2-83d2-4400-8ed7-65e2b47af6ad
checkpoint-status |  |  | checkpoint | Cables clearly noteled
checkpoint-status |  |  | checkpoint | Cables neatly dressed
checkpoint-status |  |  | checkpoint | Neutrals and earths noteled
checkpoint-status |  |  | checkpoint | Terminations checked for tightness
checkpoint-status |  |  | checkpoint | Board is clean inside and outside
checkpoint-status |  |  | checkpoint | Masking blanks installed
checkpoint-status |  |  | checkpoint | Circuit chart installed
checkpoint-status |  |  | checkpoint | Earth electrode installed
checkpoint-status |  |  | checkpoint | Earth tag installed
checkpoint-status |  |  | checkpoint | Earth clamp installed
checkpoint-status |  |  | checkpoint | Earth toby installed
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Concrete Slab Install |  |  |  |  | Yes | Concrete Slab Install | 2d395adb-ae67-428c-afee-53f9a5eb9c1f
checkpoint-group |  |  | section | Concrete Slab
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Installed as per manufacturer's instructions
checkpoint-status |  |  | checkpoint | Template installed
checkpoint-status |  |  | checkpoint | Template fixed in place
checkpoint-status |  |  | checkpoint | Duct / Conduit upstands installed
checkpoint-status |  |  | checkpoint | Duct / Conduit ends taped up
checkpoint-status |  |  | checkpoint | Duct / Conduit size and measurements recorded
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed
checkpoint-status |  |  | checkpoint | Cable clearly noteled
checkpoint-status |  |  | checkpoint | Cable size and measurements recorded
checkpoint-status |  |  | checkpoint | Draw-wire installed
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Timber Floor Install
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Installed as per manufacturer's instructions
checkpoint-status |  |  | checkpoint | Template installed
checkpoint-status |  |  | checkpoint | Template fixed in place
checkpoint-status |  |  | checkpoint | Template installed level with FFL
checkpoint-status |  |  | checkpoint | Duct / Conduit installed
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 2nd Fix Floorbox |  |  |  |  | Yes | 2nd Fix Floorbox | 61205a90-9cf4-43cf-b465-00cabe93b2ef
checkpoint-group |  |  | section | 2nd Fix Floorboxes
checkpoint-status |  |  | checkpoint | Switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Switchgear installed level
checkpoint-status |  |  | checkpoint | Label installed on switchgear
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-status |  |  | checkpoint | Faceplate installed
checkpoint-status |  |  | checkpoint | Cover installed level with FFL
checkpoint-status |  |  | checkpoint | Photos
checkpoint-status |  |  | checkpoint | Uploaded
checklist-flat |  |  | checklist | Electrical Submain switchboard |  |  |  |  | Yes | Electrical Submain switchboard | b74b1ead-3326-4e4d-9ef4-9a5254789b9c
checkpoint-status |  |  | checkpoint | Cables clearly noteled
checkpoint-status |  |  | checkpoint | Cables neatly dressed
checkpoint-status |  |  | checkpoint | Neutrals and earths noteled
checkpoint-status |  |  | checkpoint | Terminations checked for tightness
checkpoint-status |  |  | checkpoint | Board is clean inside and outside
checkpoint-status |  |  | checkpoint | Masking blanks installed
checkpoint-status |  |  | checkpoint | Circuit chart installed
checkpoint-status |  |  | checkpoint | Earth electrode installed
checkpoint-status |  |  | checkpoint | Earth tag installed
checkpoint-status |  |  | checkpoint | Earth clamp installed
checkpoint-status |  |  | checkpoint | Earth toby installed
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Ducts / Conduits |  |  |  |  | Yes | Ducts / Conduits | 9f09c65d-ba82-4dd1-a466-42d674561d44
checkpoint-group |  |  | section | Lighting
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Duct / Conduit upstands installed
checkpoint-status |  |  | checkpoint | Duct / Conduit ends taped up
checkpoint-status |  |  | checkpoint | Duct / Conduit size and measurements recorded
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed
checkpoint-status |  |  | checkpoint | Cable clearly noteled
checkpoint-status |  |  | checkpoint | Cable size and measurements recorded
checkpoint-status |  |  | checkpoint | Draw-wire installed
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Access Gates
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Duct / Conduit upstands installed
checkpoint-status |  |  | checkpoint | Duct / Conduit ends taped up
checkpoint-status |  |  | checkpoint | Duct / Conduit size and measurements recorded
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed
checkpoint-status |  |  | checkpoint | Cable clearly noteled
checkpoint-status |  |  | checkpoint | Cable size and measurements recorded
checkpoint-status |  |  | checkpoint | Draw-wire installed
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Service Pits
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Service pit installed level
checkpoint-status |  |  | checkpoint | Service pit installed to FFL
checkpoint-status |  |  | checkpoint | Duct / Conduit Installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Duct / Conduit upstands installed
checkpoint-status |  |  | checkpoint | Duct / Conduit ends taped up
checkpoint-status |  |  | checkpoint | Duct / Conduit size and measurements recorded
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed
checkpoint-status |  |  | checkpoint | Cable clearly noteled
checkpoint-status |  |  | checkpoint | Cable size and measurements recorded
checkpoint-status |  |  | checkpoint | Draw-wire installed
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Landscape
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Duct / Conduit upstands installed
checkpoint-status |  |  | checkpoint | Duct / Conduit ends taped up
checkpoint-status |  |  | checkpoint | Duct / Conduit size and measurements recorded
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed
checkpoint-status |  |  | checkpoint | Cable clearly noteled
checkpoint-status |  |  | checkpoint | Cable size and measurements recorded
checkpoint-status |  |  | checkpoint | Draw-wire installed
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Signage
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Duct / Conduit upstands installed
checkpoint-status |  |  | checkpoint | Duct / Conduit ends taped up
checkpoint-status |  |  | checkpoint | Duct / Conduit size and measurements recorded
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed
checkpoint-status |  |  | checkpoint | Cable clearly noteled
checkpoint-status |  |  | checkpoint | Cable size and measurements recorded
checkpoint-status |  |  | checkpoint | Draw-wire installed
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Floorboxes
checkpoint-status |  |  | checkpoint | Floorboxes
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 1st Fix Data |  |  |  |  | Yes | 1st Fix Data | f1d1414b-1af4-4636-8b6e-fda61a23a725
checkpoint-group |  |  | section | Data
checkpoint-status |  |  | checkpoint | Cables clearly labelled both ends
checkpoint-status |  |  | checkpoint | Cables secured
checkpoint-status |  |  | checkpoint | Seperation between data and power
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 1st Fix Flushboxes |  |  |  |  | Yes | 1st Fix Flushboxes | f7896234-c71e-47c1-ad43-8b6eaa139631
checkpoint-group |  |  | section | 1st Fix Flush Boxes
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 1st Fix Lights |  |  |  |  | Yes | 1st Fix Lights | 69303c31-7bea-4dc3-93cb-e3bbe30100af
checkpoint-group |  |  | section | 1st Fix Lights
checkpoint-status |  |  | checkpoint | Cabling in correct location
checkpoint-status |  |  | checkpoint | Measurments recorded
checkpoint-status |  |  | checkpoint | Nogging installed
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-status |  |  | checkpoint | Seperation between data and power
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 2nd Fix Electrical Sub DB |  |  |  |  | Yes | 2nd Fix Electrical Sub DB | 1462a619-0ea8-4dba-b62b-89cbfb64cf99
checkpoint-group |  |  | section | 2nd Fix Electrical Submain switchboard
checkpoint-status |  |  | checkpoint | ALL cables clearly labelled
checkpoint-status |  |  | checkpoint | Cables neatly dressed
checkpoint-status |  |  | checkpoint | Neutrals and earths labelled
checkpoint-status |  |  | checkpoint | Terminations checked for tightness
checkpoint-status |  |  | checkpoint | Board is clean inside and outside
checkpoint-status |  |  | checkpoint | Masking blanks installed
checkpoint-status |  |  | checkpoint | Circuit chart installed
checkpoint-status |  |  | checkpoint | Earth electrode installed
checkpoint-status |  |  | checkpoint | Earth tag installed
checkpoint-status |  |  | checkpoint | Earth clamp installed
checkpoint-status |  |  | checkpoint | Earth toby installed
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Commercial HVAC |  |  |  |  | Yes | Commercial HVAC | 2cf80cfb-5ff9-4f77-a0fb-2b99d7ee4d61
checkpoint-group |  |  | section | Extract Fans
checkpoint-status |  |  | checkpoint | Run correct cable
checkpoint-status |  |  | checkpoint | Surface socket / isolator installed
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-group |  |  | section | Fresh Air
checkpoint-status |  |  | checkpoint | Run correct cable
checkpoint-status |  |  | checkpoint | Isolator installed
checkpoint-status |  |  | checkpoint | Cable labelled as per plan
checkpoint-group |  |  | section | Heater Banks
checkpoint-status |  |  | checkpoint | Run correct cable
checkpoint-status |  |  | checkpoint | Isolator installed
checkpoint-status |  |  | checkpoint | Cable labelled as per plan
checkpoint-group |  |  | section | Fire
checkpoint-status |  |  | checkpoint | Cable run from fire panel to HVAC panel (DB)
checkpoint-group |  |  | section | AC In-door
checkpoint-status |  |  | checkpoint | Run correct cable
checkpoint-status |  |  | checkpoint | Run interconnect cable
checkpoint-status |  |  | checkpoint | Run wall controller cable
checkpoint-status |  |  | checkpoint | Run coms loop
checkpoint-status |  |  | checkpoint | Run cable to splitter boxes
checkpoint-status |  |  | checkpoint | Isolator installed
checkpoint-group |  |  | section | AC Out-door
checkpoint-status |  |  | checkpoint | Run correct cable
checkpoint-status |  |  | checkpoint | Run isolator to unit loop
checkpoint-status |  |  | checkpoint | Run interconnect cable
checkpoint-status |  |  | checkpoint | Run interconnect cable to central controller
checklist-sectioned |  |  | checklist | 1st Fix Cable Tray |  |  |  |  | Yes | 1st Fix Cable Tray | b7a00e03-b70e-4f70-80e0-a4ac5e41e759
checkpoint-group |  |  | section | 1st Fix Cable Tray
checkpoint-status |  |  | checkpoint | Installed as per design
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Installed square
checkpoint-status |  |  | checkpoint | Installed within 400mm of ceiling
checkpoint-status |  |  | checkpoint | Seismic wire installed
checkpoint-status |  |  | checkpoint | Correct size
checkpoint-status |  |  | checkpoint | Adequate support
checkpoint-status |  |  | checkpoint | Checked for tightness
checkpoint-status |  |  | checkpoint | Zinc spray applied
checkpoint-status |  |  | checkpoint | Photos
checklist-flat |  |  | checklist | Compliance |  |  |  |  | Yes | Compliance | b0a682ec-5629-4d10-9e42-9c74428385c9
checkpoint-status |  |  | checkpoint | COC complete
checkpoint-status |  |  | checkpoint | ESC complete
checkpoint-status |  |  | checkpoint | Test results complete
checkpoint-status |  |  | checkpoint | Documents uploaded
checklist-sectioned |  |  | checklist | 1st Fix Cat Wires |  |  |  |  | Yes | 1st Fix Cat Wires | ca3bdf92-f6aa-4e1a-ad21-4fadbeb80b21
checkpoint-group |  |  | section | 1st Fix Catinery Wires
checkpoint-status |  |  | checkpoint | Installed as per design
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Installed straight
checkpoint-status |  |  | checkpoint | Adequate support
checkpoint-status |  |  | checkpoint | Checked for tightness
checkpoint-status |  |  | checkpoint | Correct number of cables
checkpoint-status |  |  | checkpoint | Correct spacing from other services
checkpoint-status |  |  | checkpoint | Cable ties installed
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 2nd Fix Data |  |  |  |  | Yes | 2nd Fix Data | 559cd627-0263-4043-8d0b-e691bb54b4c1
checkpoint-group |  |  | section | 2nd Fix Data
checkpoint-status |  |  | checkpoint | All data jacks installed
checkpoint-status |  |  | checkpoint | Correct data jacks installed
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Label installed on switchgear
checkpoint-status |  |  | checkpoint | Tested with data tester
checkpoint-status |  |  | checkpoint | Faceplate installed
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Electrical Mains / Submain |  |  |  |  | Yes | Electrical Mains / Submain | 91134390-e0fd-483f-98af-0970e4c69e52
checkpoint-group |  |  | section | Mains
checkpoint-status |  |  | checkpoint | Cable installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed through concrete slab
checkpoint-status |  |  | checkpoint | Cable bought up next to gyro / pole
checkpoint-status |  |  | checkpoint | Cable clearly noteled
checkpoint-status |  |  | checkpoint | Cable size and measurements recorded
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Submain
checkpoint-status |  |  | checkpoint | Cable installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed through concrete slab
checkpoint-status |  |  | checkpoint | Cable bought up next to gyro / pole
checkpoint-status |  |  | checkpoint | Cable clearly noteled
checkpoint-status |  |  | checkpoint | Cable size and measurements recorded
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checklist-flat |  |  | checklist | Telecom / Fibre |  |  |  |  | Yes | Telecom / Fibre | 9945f8d4-c633-4d2a-b75f-72197f838429
checkpoint-status |  |  | checkpoint | Cable installed at minimum depth of 400mm
checkpoint-status |  |  | checkpoint | Approved chorus duct used
checkpoint-status |  |  | checkpoint | Approved exterior fibre cable used
checkpoint-status |  |  | checkpoint | Duct upstands installed
checkpoint-status |  |  | checkpoint | Duct ends taped up
checkpoint-status |  |  | checkpoint | Cable installed through concrete slab
checkpoint-status |  |  | checkpoint | Cable / duct bought up next to gyro / pole
checkpoint-status |  |  | checkpoint | Cable / duct measurements recorded
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 1st Fix Floorboxes |  |  |  |  | Yes | 1st Fix Floorboxes | b746c886-bf1e-4fd7-9a70-1b554a782cc9
checkpoint-group |  |  | section | Floorboxes
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Installed as per manufacturers instructions
checkpoint-status |  |  | checkpoint | Insert installed
checkpoint-status |  |  | checkpoint | Insert fixed in place
checkpoint-status |  |  | checkpoint | Insert installed level with FFL
checkpoint-status |  |  | checkpoint | Cable installed into FB
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 1st fix Sub DB |  |  |  |  | Yes | 1st fix Sub DB | d1f8efe8-0bf2-4630-9c24-71518534f44e
checkpoint-group |  |  | section | 1st Fix Electrical Submain switchboard
checkpoint-status |  |  | checkpoint | DB installed level
checkpoint-status |  |  | checkpoint | ALL cables clearly labelled
checkpoint-status |  |  | checkpoint | Cables neatly dressed down wall
checkpoint-status |  |  | checkpoint | Cables tidy into DB
checkpoint-status |  |  | checkpoint | Cables long enough to fit off
checkpoint-status |  |  | checkpoint | Cables not excessively long
checkpoint-status |  |  | checkpoint | Board is clean inside and outside
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Strip Out Checklist |  |  |  |  | Yes | Strip Out Checklist | f8ee53b4-6bfe-4136-ac2b-e33b14c30b7f
checkpoint-group |  |  | section | Strip out
checkpoint-status |  |  | checkpoint | Flush boxes cut as per plan
checkpoint-status |  |  | checkpoint | Lights cut as per plan
checkpoint-status |  |  | checkpoint | Cables stripped
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-status |  |  | checkpoint | Cables clearly labelled
checkpoint-status |  |  | checkpoint | Complete final walkthrough check
checkpoint-status |  |  | checkpoint | Photos
checkpoint-status |  |  | checkpoint | Data jacks installed
checkpoint-status |  |  | checkpoint | Data clearly labelled
checklist-sectioned |  |  | checklist | 2nd Fix Light Switches |  |  |  |  | Yes | 2nd Fix Light Switches | 92c72e93-657d-445e-9a79-515826fcab6b
checkpoint-group |  |  | section | 2nd Fix Light Switches
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Label installed on switchgear
checkpoint-status |  |  | checkpoint | Faceplate installed
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Compliance |  |  |  |  | Yes | Compliance | a3a95a9d-09e5-42ed-bc9d-323f8c2e2d4b
checkpoint-group |  |  | section | Compliance
checkpoint-status |  |  | checkpoint | COC complete
checkpoint-status |  |  | checkpoint | ESC complete
checkpoint-status |  |  | checkpoint | Test results complete
checkpoint-status |  |  | checkpoint | Documents uploaded
checklist-flat |  |  | checklist | BTS Install |  |  |  |  | Yes | BTS Install | 369825dc-79e4-4efe-b4a7-f5a639e8544a
checkpoint-status |  |  | checkpoint | Location as per plan / discussion
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Earth electrode installed
checkpoint-status |  |  | checkpoint | Earth tag installed
checkpoint-status |  |  | checkpoint | Earth clamp installed
checkpoint-status |  |  | checkpoint | Earth toby installed
checkpoint-status |  |  | checkpoint | Danger sign installed
checkpoint-status |  |  | checkpoint | Terminations checked for tightness
checkpoint-status |  |  | checkpoint | Cable installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Cable bought up next to gyro / pole
checkpoint-status |  |  | checkpoint | Test results recorded
checkpoint-status |  |  | checkpoint | COC complete
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 2nd Fix Light Fixtures |  |  |  |  | Yes | 2nd Fix Light Fixtures | 111e5550-097c-424c-9ee1-9c2bfdcd2592
checkpoint-group |  |  | section | 2nd Fix Light Fixtures
checkpoint-status |  |  | checkpoint | Correct fixtures installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Data Rack |  |  |  |  | Yes | Data Rack | 21324a4b-292c-434a-8aff-f2b5612cef42
checkpoint-group |  |  | section | 2nd Fix Data Cabinet
checkpoint-status |  |  | checkpoint | ALL cables clearly labelled
checkpoint-status |  |  | checkpoint | Cables neatly dressed
checkpoint-status |  |  | checkpoint | Terminations checked
checkpoint-status |  |  | checkpoint | Board is clean inside and outside
checkpoint-status |  |  | checkpoint | Labels installed
checkpoint-status |  |  | checkpoint | Photos
checklist-flat |  |  | checklist | 1st Fix BMS |  |  |  |  | Yes | 1st Fix BMS | a577c889-e2a5-4460-8c2d-bd6f3afdf50f
checkpoint-status |  |  | checkpoint | Cable tray ready for us
checkpoint-status |  |  | checkpoint | Catenaries installed
checkpoint-status |  |  | checkpoint | Cables clearly labelled both ends
checkpoint-status |  |  | checkpoint | Cables secured
checkpoint-status |  |  | checkpoint | Seperation between BMS and power
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | BMS terminated into plant
checkpoint-status |  |  | checkpoint | BMS installed into DB
checkpoint-status |  |  | checkpoint | Wall controller cable installed
checkpoint-status |  |  | checkpoint | Wall controller cable terminated at plant
checkpoint-status |  |  | checkpoint | Data cable installed into DB (Aotea)
checkpoint-status |  |  | checkpoint | Power cable installed into DB for GPO
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Concrete Slab Install (with EV Charger) |  |  |  |  | Yes | Concrete Slab Install (with EV Charger) | 5a9d5360-3d08-4407-9367-ef7a35379cc2
checkpoint-group |  |  | section | Concrete Slab
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Installed as per manufacturer's instructions
checkpoint-status |  |  | checkpoint | Template installed
checkpoint-status |  |  | checkpoint | Template fixed in place
checkpoint-status |  |  | checkpoint | Duct / Conduit upstands installed
checkpoint-status |  |  | checkpoint | Duct / Conduit ends taped up
checkpoint-status |  |  | checkpoint | Duct / Conduit size and measurements recorded
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed
checkpoint-status |  |  | checkpoint | Cable clearly noteled
checkpoint-status |  |  | checkpoint | Cable size and measurements recorded
checkpoint-status |  |  | checkpoint | Draw-wire installed
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Timber Floor Install
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Installed as per manufacturer's instructions
checkpoint-status |  |  | checkpoint | Template installed
checkpoint-status |  |  | checkpoint | Template fixed in place
checkpoint-status |  |  | checkpoint | Template installed level with FFL
checkpoint-status |  |  | checkpoint | Duct / Conduit installed
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | EV Charger
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Duct / Conduit upstands installed
checkpoint-status |  |  | checkpoint | Duct / Conduit ends taped up
checkpoint-status |  |  | checkpoint | Duct / Conduit size and measurements recorded
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed
checkpoint-status |  |  | checkpoint | Cable clearly noteled
checkpoint-status |  |  | checkpoint | Cable size and measurements recorded
checkpoint-status |  |  | checkpoint | Draw-wire installed
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 2nd Fix Power Outlets |  |  |  |  | Yes | 2nd Fix Power Outlets | bd14d5b4-96ce-40f5-a091-4baef0464de5
checkpoint-group |  |  | section | 2nd Fix Power outlets
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Label installed on switchgear
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-status |  |  | checkpoint | Faceplate installed
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 1st Fix Power |  |  |  |  | Yes | 1st Fix Power | a6132a50-79d6-4300-8589-364c74dc0fa9
checkpoint-group |  |  | section | 1st Fix Power
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | Cables secured
checkpoint-status |  |  | checkpoint | Seperation between data and power
checkpoint-status |  |  | checkpoint | Marked on floor
checkpoint-status |  |  | checkpoint | Photos
checklist-flat |  |  | checklist | 2nd Fix BMS |  |  |  |  | Yes | 2nd Fix BMS | 5b963cf7-2203-4dba-9903-60407def409a
checkpoint-status |  |  | checkpoint | Cables installed into DB
checkpoint-status |  |  | checkpoint | ALL cables clearly labelled
checkpoint-status |  |  | checkpoint | Cables neatly dressed
checkpoint-status |  |  | checkpoint | Cables installed into correct modules
checkpoint-status |  |  | checkpoint | Transformers installed
checkpoint-status |  |  | checkpoint | GPO installed
checkpoint-status |  |  | checkpoint | Terminations checked
checkpoint-status |  |  | checkpoint | Data cables terminated in DB
checkpoint-status |  |  | checkpoint | Board is clean inside and outside
checkpoint-status |  |  | checkpoint | Labels installed
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | 1st Fix Main DB |  |  |  |  | Yes | 1st Fix Main DB | d95bfb40-1bf0-4d9d-aeed-c9e45483affb
checkpoint-group |  |  | section | 1st Fix Electrical Main switchboard
checkpoint-status |  |  | checkpoint | DB installed level
checkpoint-status |  |  | checkpoint | DB bolted to wall securely
checkpoint-status |  |  | checkpoint | Cables neatly dressed down wall
checkpoint-status |  |  | checkpoint | ALL cables clearly labelled
checkpoint-status |  |  | checkpoint | Cables tidy into DB
checkpoint-status |  |  | checkpoint | Cables long enough to fit off
checkpoint-status |  |  | checkpoint | Cables not excessively long
checkpoint-status |  |  | checkpoint | Board is clean inside and outside
checkpoint-status |  |  | checkpoint | Main earth installed into DB
checkpoint-status |  |  | checkpoint | Main earth labelled
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | EV Charger |  |  |  |  | Yes | EV Charger | 744f9e26-4f0e-4179-b759-b2944cf4349a
checkpoint-group |  |  | section | EV Charger
checkpoint-status |  |  | checkpoint | Installed as per plan
checkpoint-status |  |  | checkpoint | Installed at minimum depth of 600mm
checkpoint-status |  |  | checkpoint | Duct / Conduit upstands installed
checkpoint-status |  |  | checkpoint | Duct / Conduit ends taped up
checkpoint-status |  |  | checkpoint | Duct / Conduit size and measurements recorded
checkpoint-status |  |  | checkpoint | Protection mag slab installed
checkpoint-status |  |  | checkpoint | Warning signal tape installed
checkpoint-status |  |  | checkpoint | Cable installed
checkpoint-status |  |  | checkpoint | Cable clearly noteled
checkpoint-status |  |  | checkpoint | Cable size and measurements recorded
checkpoint-status |  |  | checkpoint | Draw-wire installed
checkpoint-status |  |  | checkpoint | Plan marked with as-built
checkpoint-status |  |  | checkpoint | Photos
checklist-sectioned |  |  | checklist | Lifts |  |  |  |  | Yes | Lifts | 422509fc-2969-4c40-8e23-bd6b7067cbb0
checkpoint-group |  |  | section | Submain cable
checkpoint-status |  |  | checkpoint | Coming in at specified height
checkpoint-status |  |  | checkpoint | Isolator installed
checkpoint-status |  |  | checkpoint | Cable left long enough for lift techs
checkpoint-group |  |  | section | Power Outlet
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | Cables secured
checkpoint-status |  |  | checkpoint | Seperation between data and power
checkpoint-status |  |  | checkpoint | Cable coming into pit at correct height
checkpoint-status |  |  | checkpoint | Conduit installed on cable
checkpoint-status |  |  | checkpoint | Weatherproof powerpoint installed
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Label installed on switchgear
checkpoint-status |  |  | checkpoint | Faceplate installed
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Light Switches
checkpoint-status |  |  | checkpoint | Cable coming in at correct height
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | Cabling in correct location
checkpoint-status |  |  | checkpoint | Seperation between data and power
checkpoint-status |  |  | checkpoint | Conduit installed on cable
checkpoint-status |  |  | checkpoint | Weatherproof switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Label installed on switchgear
checkpoint-status |  |  | checkpoint | Faceplate installed
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Light Fixtures
checkpoint-status |  |  | checkpoint | Circuits clearly labelled
checkpoint-status |  |  | checkpoint | Cabling in correct location
checkpoint-status |  |  | checkpoint | Seperation between data and power
checkpoint-status |  |  | checkpoint | Conduit installed on cable
checkpoint-status |  |  | checkpoint | Correct fixtures installed as per plan
checkpoint-status |  |  | checkpoint | Weatherproof Fixtures
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Switching as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Label installed
checkpoint-status |  |  | checkpoint | Tested for operation
checkpoint-status |  |  | checkpoint | Photos
checkpoint-group |  |  | section | Data
checkpoint-status |  |  | checkpoint | Cables coming in at correct height
checkpoint-status |  |  | checkpoint | Conduit installed on cable
checkpoint-status |  |  | checkpoint | All data jacks installed
checkpoint-status |  |  | checkpoint | Correct data jacks installed
checkpoint-status |  |  | checkpoint | Correct switchgear installed as per plan
checkpoint-status |  |  | checkpoint | Location as per plan
checkpoint-status |  |  | checkpoint | Height as per plan
checkpoint-status |  |  | checkpoint | Installed level
checkpoint-status |  |  | checkpoint | Label installed on switchgear
checkpoint-status |  |  | checkpoint | Tested with data tester
checkpoint-status |  |  | checkpoint | Faceplate installed
checkpoint-status |  |  | checkpoint | Photos