## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned |  |  | checklist | Commercial Projects Checklist V5 |  |  |  |  | Yes | Commercial Projects Checklist V5 | 34a81df4-ca65-4016-80b0-12df4c6d0694
checkpoint-group |  |  | section | Reo
checkpoint-status |  |  | checkpoint | IFC Drawing
select | ef8e5602-5a8e-5d7f-a6e0-f29b27af18dc |  | dropdown | Steel Supplier | Mesh & Bar, Other
text | 122bd1ec-6841-588a-870e-719267b18958 |  | textbox | Other Steel Supplier
text | 1199eca3-c413-5bc1-ae22-7b3eeace9ef1 |  | textbox | Reo Manufacture date DD/MM/YY
checkpoint-status |  |  | checkpoint | Cage dimensions
checkpoint-status |  |  | checkpoint | Fittings marked
checkpoint-group |  |  | section | Formwork
checkpoint-status |  |  | checkpoint | Formwork ready to commence - Take photos
select | d47f0bd6-5f93-5fd8-8ec1-7d2c01dd0bd5 |  | dropdown | Panel type | Wall, Column, Balustrade, Core panel, Hob, Other
text | 48fd8b2a-4a77-5a6a-a525-f29bf4353bbb |  | textbox | Other Panel type
text | ffd8593d-a60f-5b2a-b112-2d7d5b2855e6 |  | textbox | Panel difficulty
text | 3376d11e-3297-597a-bd6c-853e22caf764 |  | textbox | Other Location
text | 15592912-4b27-5ec4-b34d-b6f4495eba13 |  | textbox | Quantity
text | a466da5a-012f-5b44-b5d1-8679c8ce8427 |  | textbox | Panel Weight (t)
text | 99f44c74-e65e-54d0-97ef-60777a2e62c3 |  | textbox | Volume (m3)
text | 1a39fa48-fda5-50f8-9e04-afad64878f80 |  | textbox | Manufacture date DD/MM/YY
checkpoint-status |  |  | checkpoint | Formwork dimensions
text | af93233b-4f04-56f1-9a3c-af2b545fec57 |  | textbox | Panel thickness
text | 9edb9560-be08-5181-b6fe-bd461a8350d8 |  | textbox | Thickness projection
text | 81fe9dd0-aff2-531a-a56e-394a3f2bdc8e |  | textbox | Panel width
text | 6373850e-6c8a-5497-82ab-058327b1fba1 |  | textbox | Width projection
text | bf41a9c1-58cb-5505-b504-e00e4c53627d |  | textbox | Panel height
text | 5a8dd005-121a-5fa8-ae57-307bdf50314c |  | textbox | Height projection
checkpoint-status |  |  | checkpoint | Square
checkpoint-status |  |  | checkpoint | Silicone Bed
checkpoint-status |  |  | checkpoint | Edge Form/ Fillets
checkpoint-status |  |  | checkpoint | Position of reinforcement
checkpoint-status |  |  | checkpoint | Fittings locations
checkpoint-status |  |  | checkpoint | ID Tag
checkpoint-status |  |  | checkpoint | Lifting devices securely/in place
select | b1b5e106-6187-5e73-9f48-a9ca59469158 |  | dropdown | Top Lifters type | PSA liftMX 10t, PSA liftMX 15t, PSA liftMX 8t, PSA Foot Anchor 2.5t, 2.5t Actech, M20 Prop ferrules, Eye anchor 2.5, None, Other
text | a77772fb-20cd-5e68-98cf-b65dbe1e9e59 |  | textbox | Other Top Lifters type
select | d76d2ab9-b2cd-565d-b6bd-c3e6d06cc200 |  | dropdown | Edge/Face Lifters type | PSA liftMX 10t, PSA liftMX 15t, Foot Anchor 5t, Foot Anchor 2.5t, Face lifter 7t PSA LiftMX, M20 ferrules, None, Other
text | 338e1c3c-fec4-5594-aab1-2dbbc0103052 |  | textbox | Other Edge/Face Lifters type
checkpoint-status |  |  | checkpoint | Ready to pour- Take photo of QA drawing
text | e730d78e-a4a7-5b7b-ad05-455cd28b049b |  | textbox | Notes/Changes
checkpoint-no-status |  |  | checkpoint | Drafting
boolean | 7a652125-7987-52ad-9331-1c053200802a |  | tickbox | Missing information
boolean | 53ef1985-b7be-53d9-9f8d-1f2caeaba957 |  | tickbox | Inconsistent information
boolean | df21c7b0-faf0-5004-bc86-74587d36e893 |  | tickbox | Wrong information
boolean | 71d5610d-9dc8-55c4-99ab-d4b27accfea9 |  | tickbox | Versions
checkpoint-no-status |  |  | checkpoint | Boxing
boolean | 1a5d7d1b-f944-50c4-801e-1d6073c0a448 |  | tickbox | Squareness
boolean | 8a228d3b-b3c6-5931-8748-7dc00694b709 |  | tickbox | dimensions
boolean | b5ea64ac-1989-592f-8e7c-610397cb3f12 |  | tickbox | Rebate
boolean | 6bc3ffa6-9acd-5c13-98ec-bb51c0e76fac |  | tickbox | GT
boolean | fdbfaa6d-d5b7-5549-b208-e0176a91edd5 |  | tickbox | Panel Orientation
boolean | 6f16ccde-2f54-51bc-877e-ddc4e7ecbbff |  | tickbox | Fitments
boolean | cadd1623-fbde-5768-9d1c-649530d57aae |  | tickbox | Tag
checkpoint-no-status |  |  | checkpoint | Steel
boolean | 7410766f-fe65-5ea4-820b-d8f136ab6c43 |  | tickbox | Cover
boolean | 313e9122-ff03-513d-a3ce-c7d4847f3030 |  | tickbox | Missing bars
boolean | 1bb29cbd-2f20-5b0c-877c-7a6f36287c61 |  | tickbox | Wrong bars
boolean | 196e639d-4d0f-5019-98f9-334b5c0361bf |  | tickbox | Wrong configuration
boolean | 9faadc8e-d472-5550-be8b-f89f5b073426 |  | tickbox | Orientation
boolean | 540ae577-bf4d-5205-b303-c185b84e0d0d |  | tickbox | Wrong projection/ embedment
checkpoint-group |  |  | section | Pre Pouring
checkpoint-status |  |  | checkpoint | Take a picture or attach copy of concrete doc
select | 0e211ab6-fbb0-5889-9224-1825b5a8b075 |  | dropdown | Concrete Supplier | Ausmix, Hy-Tec, Other
text | bf689d63-f00f-58f4-80c0-26ecd457032b |  | textbox | Other Concrete Supplier
text | 94f42284-6183-5673-ac18-742a45f402e8 |  | textbox | Concrete schedule docket #
text | 71eece28-3ae0-5270-a3e7-5ae1ff03c3e0 |  | textbox | Pouring date DD/MM/YY
text | fd143cd9-a711-5024-b901-f4d33bc226a3 |  | textbox | Concrete Requisition (m3)
checkpoint-status |  |  | checkpoint | Correct mix being used
select | 1ed40a59-f6c0-5669-97d5-fdbad213e325 |  | dropdown | 28 Mpa required | 40,50,65,80,90,100, Other
text | 2ef021a0-2851-5ca5-b5b6-3011ab275c3e |  | textbox | Other Mpa required
select | aced6615-7b2b-55d5-bf96-8279000b4733 |  | dropdown | Type of concrete | 40/10/650, 40/10/220,40/20/200, 40/20/220, 50/10/650, 50/20/200,65/10/600, 65/10/650,65/10/200, 65/20/180, 65/20/220, 80/10/650, 80/10/200,80/10/600, 90/20/200, 100/10/600, Other
text | b016057b-84fc-5104-9f65-637f745a7a87 |  | textbox | Other Type of concrete
button | c20c1111-3507-51ca-b967-17f26fa45ba3 |  | button | Concrete strength tested | Yes, No
checkpoint-status |  |  | checkpoint | Concrete
boolean | 959f30ce-46a5-52fd-9f74-7a06bb63a0da |  | tickbox | Poured with lower Mpa
checkpoint-group |  |  | section | Post Production
checkpoint-status |  |  | checkpoint | Post Production ready to commence - Lifting Mpa
text | 653d390b-2cf3-5384-898c-80ee638132c8 |  | textbox | Date panel stripped
checkpoint-status |  |  | checkpoint | Fitments removed (GT Caps, fillets, Ferrule caps)
checkpoint-status |  |  | checkpoint | Correct dimensions
checkpoint-status |  |  | checkpoint | Bulges, Dents and airholes within tolerances
checkpoint-status |  |  | checkpoint | Cracks within tolerances
checkpoint-status |  |  | checkpoint | Marking
checkpoint-status |  |  | checkpoint | Panel conform to specifications/ tolerances
text | 369d9d5e-b2e7-559a-bfe8-028a4ea2885f |  | textbox | Patching/fixing required
checkpoint-status |  |  | checkpoint | Concrete Test results (28 days result) - Please take a photo or attach report
checkpoint-status |  |  | checkpoint | Post production
boolean | e8b6bbd9-985b-5082-bfb6-e7b98f55bbf8 |  | tickbox | Patching required
checkpoint-no-status |  |  | checkpoint | On site
boolean | f177ff0f-0490-5e76-891b-acb5cc3d684b |  | tickbox | Squareness
boolean | 9e72bdae-e51e-5d4d-a09a-7fde2e957a16 |  | tickbox | dimensions
boolean | fa44c90e-0617-58e8-84cc-328070afdf43 |  | tickbox | Rebate
boolean | aefff3b9-8466-57c8-925d-9dd2d7c837ec |  | tickbox | GT
boolean | e1cbf91d-c051-5031-a645-25497eb4f78a |  | tickbox | Fitments
boolean | 19d07502-d6df-5358-8c59-ff42003caeee |  | tickbox | Tag
boolean | fbaaba4c-5b17-5b7a-be0f-b2a6c5acba8d |  | tickbox | Reo
checkpoint-group |  |  | section | Storage
checkpoint-status |  |  | checkpoint | Inserts/Rebates removed
checkpoint-status |  |  | checkpoint | Filling points/lifters exposed
select | e707df08-f105-5114-b160-b033066ba139 |  | dropdown | Location (Rack #) | 1,2,3,4,5,6,7,8,9,10,11,12,13,14,21,22,23,24,25,26,27,28,29,30,31,32, Other
text | 76bc84b9-64e8-5f3d-95bb-7622cf4c54a6 |  | textbox | Other Location (Rack #)
button | 30be95e5-4ddd-5922-ab71-9c6d857c5d21 |  | button | Status | Delivered, Rack #
checklist-flat |  |  | checklist | Nonconformities |  |  |  |  | Yes | Nonconformities | b93e0318-bfd4-4903-9b68-fa7bfb690e88
checkpoint-status |  |  | checkpoint | Please take photos & attach documents which relate to report
text | ada5a5f5-66e8-51c7-854d-bda83b34b7c2 |  | textbox | Description
text | 9505a5f5-12d4-5b9e-8302-5341fb7ce650 |  | textbox | Corrective action
text | ee998658-9c7c-51b1-afbd-ebe11cabe781 |  | textbox | Completion date
text | 13cb644b-cd7e-5274-a111-9b78ef910df7 |  | textbox | Responsibility