## QA Folder Structure
QA Folder Structure |  |  |  | Checklists
Site QA
Basement 1
|  | Penetrations |  | Penetration Checklist
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
|  | Rough In |  | Rough-In Checklist
|  | Fit Off |  | Fit-Off Checklist Level Basement 1
|  | Commissioning |  | Commissioning Checklist Basement 1
Ground Floor
|  | Penetrations |  | Penetration Checklist
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
|  | Rough In |  | Rough-In Checklist
|  | Fit Off |  | Fit-Off Checklist Ground
|  | Commissioning |  | Commissioning Checklist Ground
Level 1
|  | Penetrations |  | Penetration Checklist
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
|  | Rough In |  | Rough-In Checklist
|  | Fit Off |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  | Commissioning Checklist Level 1-7
Level 2
|  | Penetrations |  | Penetration Checklist
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
|  | Rough In |  | Rough-In Checklist
|  | Fit Off |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  | Commissioning Checklist Level 1-7
Level 3
|  | Penetrations |  | Penetration Checklist
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
|  | Rough In |  | Rough-In Checklist
|  | Fit Off |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  | Commissioning Checklist Level 1-7
Level 4
|  | Penetrations |  | Penetration Checklist
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
|  | Rough In |  | Rough-In Checklist
|  | Fit Off |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  | Commissioning Checklist Level 1-7
Level 5
|  | Penetrations |  | Penetration Checklist
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
|  | Rough In |  | Rough-In Checklist
|  | Fit Off |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  | Commissioning Checklist Level 1-7
Level 6
|  | Penetrations |  | Penetration Checklist
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
|  | Rough In |  | Rough-In Checklist
|  | Fit Off |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  | Commissioning Checklist Level 1-7
Level 7
|  | Penetrations |  | Penetration Checklist
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Rain Water | Rain Water Checklist
|  |  | Hot Water | Hot Water Checklist
|  | Rough In |  | Rough-In Checklist
|  | Fit Off |  | Fit-Off Checklist Level 1-7
|  | Commissioning |  | Commissioning Checklist Level 1-7
Roof
|  | Penetrations |  | Penetration Checklist
|  | Sanitary drainage |  | Sanitary drainage Checklist
Water
|  |  | DCW | DCW Checklist
|  |  | Hot Water | Hot Water Checklist
|  | Commissioning |  | Commissioning Checklist Roof

## Checklists
type | name | values | prefix | postfix | usage count | user addable
checklist-flat | Sanitary drainage Checklist
checkpoint | Drainage
bool | Pipework has approved gradient
bool | Provision for expansion provided
bool | Appropriate fitting used in appropriate manner
bool | Venting requirements met
checkpoint | Pipe clip hanger - Pipe work has appropriate supports and spacings
checkpoint | Material approved and pipe installed to correct size
checkpoint | Alignment - restricted zone has been met
checkpoint | Approved labelling and identification applied
checkpoint | Approved jointing methods used
checkpoint | Penetrations correctly sealed
checkpoint | Fire stop retro collars sealed using approved sealant
checkpoint | Seismic bracing installed to comply with seismic certification
checkpoint | Water Test complete
Fit-Off Chec+18:18klist L+76:93
checklist-flat | Rain Water Checklist
checkpoint | Quality control pressure test report uploaded below
text | Ambient temp
text | First test
text | Second test
checkpoint | Approved material
checkpoint | Approved Jointing methods
checkpoint | Appropriate protection
checkpoint | Pipe support
checkpoint | Appropriate cross connection controls
checkpoint | Appropriate valves and devices
checkpoint | Tested to required pressures and times under test.
checklist-flat | DCW Checklist
checkpoint | Quality control pressure test report uploaded below
text | Ambient temp
text | First test
text | Second test
checkpoint | Approved material
checkpoint | Approved Jointing methods
checkpoint | Appropriate protection/seperation between other services
checkpoint | Pipe support
checkpoint | Appropriate cross connection controls
checkpoint | Appropriate valves and devices
checkpoint | Tested to required pressures and times under test
checklist-flat | Hot Water Checklist
checkpoint | Quality control pressure test report uploaded below
text | Ambient temp
text | First test
text | Second test
checkpoint | Approved material
checkpoint | Approved Jointing methods
checkpoint | Appropriate protection
checkpoint | Pipe support
checkpoint | Appropriate cross connection controls
checkpoint | Appropriate valves and devices
checkpoint | Tested to required pressures and times under test.
checklist-flat | Rough-In Checklist
checkpoint | Lagging Complete
checkpoint | Un used Peno's sealed
checkpoint | ROUGH IN COMPLETE
checkpoint | HEADER PIPES FIRE CAULKED
checkpoint | TMV ACCESSIBLE TO A/P
checkpoint | CROSS CONNECTIONS
checkpoint | MIXER STRAIGHT, SET BACK CORRECT
checkpoint | FW CLEANED, COVERED AND CLEAR OF DEBRIS
checkpoint | AAV REQUIRED?
checkpoint | FIXTURE SET OUT CORRECT
checklist-flat | Fit-Off Checklist Food Waste
Checkpoint | Food Waste
text | Floor waste
checklist-flat | Fit-Off Checklist Bin Room
Checkpoint | Food Waste
text | Sink Mixer
text | Sink Waste
text | HWU
text | Floor waste
checklist-flat | Fit-Off Checklist Ground
checkpoint | Male Change
text | Basin
text | Mixer
text | Waste
text | Shower
text | WC Installed
checkpoint | Female Change
text | Basin
text | Mixer
text | Waste
text | Shower
text | WC Installed
checkpoint | Gender Nuetral Change
text | Basin
text | Mixer
text | Waste
text | WC Installed
text | Shower
checkpoint | Male WC
text | Basin
text | Mixer
text | Waste
text | WC Installed
checkpoint | Female WC
text | Basin
text | Mixer
text | Waste
text | WC Installed
checkpoint | DDA WC
text | Basin
text | Mixer
text | Waste
text | WC Installed
checkpoint | Water Meter
checklist-flat | Fit-Off Checklist Level 1-7
checkpoint | Male WC
text | Basin
text | Mixer
text | Waste
text | WC Installed
checkpoint | Female WC
text | Basin
text | Mixer
text | Waste
text | WC Installed
checkpoint | DDA WC
text | Basin
text | Mixer
text | Waste
text | WC Installed
checkpoint | Water Meter
checklist-flat | Commissioning Basement 1
Checkpoint | Bin Room & Food waste
text | Sink Mixer
text | Sink Waste
text | HWU
text | Floor wastes clear
checklist-flat | Commissioning Checklist Ground Floor
checkpoint | Male Change
text | Basins
text | Showers
text | WC
text | Floor waste cleaned and Clear
checkpoint | Female Change
text | Basins
text | Showers
text | WC
text | Floor waste cleaned and Clear
checkpoint | Gender Nuetral Change
text | Basins
text | Showers
text | WC
text | Floor waste cleaned and Clear
checkpoint | Male WC
text | Basin
text | WC
text | Floor waste cleaned and Clear
checkpoint | Female WC
text | Basin
text | WC
text | Floor waste cleaned and Clear
checkpoint | DDA WC
text | Basin
text | WC
text | Floor waste cleaned and Clear
Checkpoint | Cleaners Room
text | Sink Mixer
text | Sink Waste
text | HWU
text | Floor waste
Checkpoint | Bin Room
text | Sink Mixer
text | Sink Waste
text | HWU
text | Floor waste
checklist-flat | Commissioning Checklist Level 1-7
checkpoint | Male WC
text | Basin
text | WC
text | Floor waste cleaned and Clear
checkpoint | Female WC
text | Basin
text | WC
text | Floor waste cleaned and Clear
checkpoint | DDA WC
text | Basin
text | WC
text | Floor waste cleaned and Clear
checklist-flat | Commissioning Checklist Level Roof
text | Floor waste cleaned and Clear
checkpoint | HWU
checklist-flat | Penetration Checklist
text | All penetrations installed as per plan
checkpoint | Photos must be uploaded of deck