## Sheet1
Type | Name
checklist | No Ceiling - Exposed Services
Checkpoint | Location Recorded
Text | Zone / Level / Grid(s) recorded
Checkpoint | Wall Construction - Overall Pass
Button | Seismic Restraints Installed
Checkpoint | Soffit Finish
Button | Correct Paint Type & Colour
Button | Correct No. of Coats
Button | Acceptable Level of Finish
Checkpoint | Fire Rating Complete
Text | Services / Underslab / Penetrations
Checkpoint | Subcontractors QA Received & Complete
Checkpoint | Consultant Inspection
Bool | Appropriate Consultants Reviewed
Button | Acoustic Engineer
Button | Fire Engineer
Button | Seismic Engineer
Button | Consultant