## Project Checklist Templates
Id | Type | Name | Values | Prompting Name
126b063b-5637-5e9b-8d4e-8c03d6a04dbf | checklist | Balconies |  | Balcony
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
fdb81cb0-efe6-5b30-a1d6-31feaf7d8f51 | checkpoint | DOWNPIPE ON
420a055e-c3fa-51ad-a5e4-3c0e4ad7efe8 | checkpoint | D/P CLIPPED
7ec818e6-554a-505d-8ad4-d517b2348e74 | checkpoint | FW installed and clear of debris
5e962f11-69ce-5058-bd6e-e945b5390ab8 | checkpoint | O/F installed and clear of debris
4641eac9-4da8-4732-b0b0-d0c326542187 | checklist | Bar Commissioning |  | Bar Commissioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
cde6ebbc-8d90-4d8a-9f8e-807c53c114e3 | checkpoint | SINK
47962cd0-9c49-4410-8081-dfe2c0591a7e | checkpoint | SINK MIXER
777a9fde-8214-436f-900d-46aa20320e0c | checkpoint | DISHWASHER
e8d5b7b0-3504-455b-9d38-3098271e9a8c | checkpoint | DISHWASHER RAN
3e89ec94-e0ff-46cd-9f64-df0f9c7858a0 | checklist | Bar Fit Off |  | Bar Fit Off
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
2a86c683-dd52-4b56-a15b-a620569cb6aa | checkpoint | SINK
d0e3767a-97e6-4a04-adc6-1a08af401b5c | checkpoint | JOINERY
88d22385-4618-4e1c-900c-63c0e3828825 | checkpoint | STONE
c926e6fa-0745-4b9a-b183-5490a7f3db1b | checkpoint | MIXER
5e7924bd-4763-4600-a6cf-1557c7126697 | checkpoint | WASTE
3201ed16-611b-4561-a688-005a9207ea38 | checkpoint | DW CONNECT
878aa7af-4b19-4365-ab40-ee4cd4743779 | checklist | BATHROOM 1 & 2 Commissioning |  | BATHROOM 1 & 2 Commissioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
35d96b35-816d-5e87-a94b-888fc35b7e98 | checkpoint | W.C
2d80b8d5-edc9-5d5e-bd59-0f9b4c430f9e | checkpoint | BASIN
84f1a83b-8051-5a5f-8aef-b61f40e88d9d | checkpoint | CLEAN BASIN FW
26264e5a-0a07-5684-a0b4-26648cb60db0 | checkpoint | SHOWER MIXER
463b8134-35ca-5b14-91c7-c7aa8f599d65 | checkpoint | SHOWER ROSE
8598f128-24dd-5051-bcbc-4b2915183d61 | checkpoint | SHOWER WASTE CLEANED
b560d935-0071-5043-ac06-62a2ba69ead2 | checkpoint | TEMP VALVE
d48246a8-9edd-5be0-a751-38b1d0300518 | checkpoint | BATH MIXER
f702592f-891c-5d04-b8e4-5759550d8dbc | checkpoint | BATH OUTLET
1b40ae89-c4ef-5a93-b8f4-b4c45223b099 | checkpoint | AAV
882fce91-6085-551f-ab0f-938bb40c2d12 | checkpoint | BATH
9bcd3448-5c60-4a5b-893e-cd41b7a8d2f1 | checklist | BATHROOM 1 & 2 Fit Off |  | BATHROOM 1 & 2 Fit Off
2d80b8d5-edc9-5d5e-bd59-0f9b4c430f9e | section | BASIN
566e0555-5bdb-5d70-9834-b420badbc960 | checkpoint | STONE
68005963-ec10-476d-adac-b0b8863bdca1 | checkpoint | BASIN
d2de63cc-ac2c-57db-84b5-16577cdf338c | checkpoint | MIXER
4226ea71-65fd-5249-a493-01aa55ab6986 | section | WC
b4370e6d-c1ad-5370-a504-2486b6a4919c | checkpoint | TILE
74edc4e9-4bdb-5cf7-98d1-e0f23270f40c | checkpoint | GROUT
c718a8a3-819c-44eb-a785-494bba1e3c94 | checkpoint | WC
52740aa3-1a34-52d5-90fa-79bf7f33ee3e | section | SHOWER
910e5e53-b9a8-44ce-b126-6bd3583beb54 | checkpoint | TILE
a9fe48b6-3d63-4939-ad04-c3ee1b694704 | checkpoint | GROUT
5c423304-489a-501c-bd8e-22c908e93594 | checkpoint | RAIL
882fce91-6085-551f-ab0f-938bb40c2d12 | checkpoint | BATH
a57b0273-a23e-451b-9e02-6d577ea5ce01 | checklist | Cleaners Fit Off |  | Cleaners Fit Off
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
7e4844f0-52b2-4179-bb31-3bd8bcde691d | checkpoint | SINK
e4f60556-d0f9-49d3-9b7e-71b231dd4583 | checkpoint | MIXER
f8a88f6c-07b1-4d88-bb28-6ec2c9d80ae7 | checkpoint | WASTE
4b9dec41-0d66-4aaf-96f2-f9bb85c9d017 | checklist | Clearners Commissioning |  | Clearners Commissioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
4aea0b7a-f1a9-4ce2-b38f-a8b9f5261661 | checkpoint | SINK
ffa72f37-5a91-4b84-8037-369f0e1262e2 | checkpoint | SINK MIXER
3a8a9b73-094f-565f-8438-917794719c57 | checklist | Commissioning Checklist Ground Floor |  | Commissioning Checklist Ground Floor
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
c8c8599d-1a4e-525f-8a6b-315784377d04 | checkpoint | Male WC
31e8badd-4505-58d6-b827-542b4a91148e | textbox | Basin
81bab173-c08c-5852-aaee-a5988458c9e6 | textbox | WC
17b12066-54f6-5fc7-be0b-775339a0b6c3 | textbox | Floor waste cleaned and Clear
833ea33c-36e6-533d-b0a7-837f877f5f8b | checkpoint | Female WC
c7ba8542-f519-5b95-8099-014c4a4ca19e | textbox | Basin
0e17180c-894d-5583-9b4a-fb103d66d652 | textbox | WC
62f74e6f-0934-5897-b045-a0389d54f0d2 | textbox | Floor waste cleaned and Clear
5723ec90-2b51-5c2d-a9bb-9566ed80aee6 | checkpoint | DDA WC
79af420a-6464-51e1-8b27-b75f07a57bf4 | textbox | Basin
fa82e146-7311-5648-9090-329f91b3fbd6 | textbox | WC
ee43b3c6-76dc-53ca-92c5-307e2676d547 | textbox | Floor waste cleaned and Clear
afbbd689-df8d-570c-8a68-66dba272327c | checkpoint | Cleaners Room
906cf68a-49f0-53bc-9958-d596e048701a | textbox | Sink Mixer
a3d7c1fb-3e59-537b-bca3-9751172b9adb | textbox | Sink Waste
232a64e5-6eab-5514-b81e-d3efddf5a390 | textbox | HWU
e39cfcff-7b05-5882-a1ac-77d0599a0f13 | textbox | Floor waste
6694c98f-9178-5434-ad9d-3eb60d7816ae | checkpoint | Bin Room
bc5746c8-2518-598c-bcc1-297ef2ddb925 | textbox | Sink Mixer
8f84e644-cb40-5432-96d7-5a19ccbf6f12 | textbox | Sink Waste
ce5ebb37-3376-5bb6-8541-7e2985b6da8d | textbox | HWU
b1d9ca5f-4682-5615-848c-3f389ed6090c | textbox | Floor waste
78dc0b7d-0448-5a9a-8a71-f3a202f23298 | checklist | Commissioning Checklist Level 1-5 |  | Commissioning Checklist Level 1-5
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
c8c8599d-1a4e-525f-8a6b-315784377d04 | checkpoint | Male WC
4edb047a-e084-5897-a8ee-d9dc326213db | textbox | Basin
852bd17c-0f1d-50b5-b088-2aba9c8bc163 | textbox | WC
de78be16-dcf4-52ca-b883-cbf73f11473d | textbox | Floor waste cleaned and Clear
833ea33c-36e6-533d-b0a7-837f877f5f8b | checkpoint | Female WC
9ce250ac-644d-581c-b110-880107843f55 | textbox | Basin
489685b2-9f4d-5736-9dd8-485c6401b10f | textbox | WC
4599bb6f-6f3f-57c7-bdd3-e8dd98d12399 | textbox | Floor waste cleaned and Clear
5723ec90-2b51-5c2d-a9bb-9566ed80aee6 | checkpoint | DDA WC
f3cf9c4e-0513-5adc-bb62-38049fe9fba2 | textbox | Basin
735c25bd-d220-56a8-a008-343e141093a2 | textbox | WC
141634a1-d396-5850-b0dc-d55ffd4c8c2c | textbox | Floor waste cleaned and Clear
c2cb8304-3d73-5284-8b41-facc39211c8b | checklist | Commissioning Checklist Level Roof |  | Commissioning Checklist Level Roof
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
ab7edde5-0dea-5cc7-8b41-40d0833598d4 | checkpoint | Floor waste cleaned and Clear
3bcddeaa-9968-5e48-ba18-1907073f3e89 | checkpoint | HWU
5ff3d610-263e-5bca-84d3-2b35ce603d58 | checklist | Corridors |  | Corridors
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
43c1cf16-5c12-5d78-913a-05325ae1ee28 | checkpoint | Hot Water
56c898de-69c3-5cca-bba6-32891a686ab0 | checkpoint | Cold Water
f6810161-4ffa-58b6-a1ec-13385e6b49ac | checkpoint | Hot Water Lagging
ea42bb29-f001-5a6e-8d35-77d90be2e691 | checkpoint | Testing
6a5a78e5-4f24-512c-924b-5f71443d72a0 | checkpoint | Pipes clipped
18aa515f-265f-55e8-be3c-574c677c2800 | checkpoint | Valves Tagged
51b0ba73-4f01-5f18-a333-9e1b7857b805 | checkpoint | Hot water meters installed
62975ec0-f564-5756-a39c-902176b2a512 | checkpoint | Photos must be attached
14b2a461-b738-5999-bdd6-43b74f90046c | checklist | DCW Checklist |  | DCW Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
1bc7d9d9-d390-5bd3-bb0d-99bdfa30780b | checkpoint | Quality control pressure test report uploaded below
327e5649-9c96-5d74-8822-100c17189745 | textbox | Ambient temp
a6e44bc6-94a1-5872-ad2d-657ca308658f | textbox | First test
f426b754-578f-5027-82de-41a00f07a40a | textbox | Second test
725462d8-5941-5e10-b84e-2cc27fc22722 | checkpoint | Approved material
c2762384-5851-5383-b0c8-1b9becefeb2e | checkpoint | Approved Jointing methods
6f7e0140-8b3d-5c9e-88f1-08c768c42824 | checkpoint | Appropriate protection/seperation between other services
03f9c596-e065-597f-8dac-450e4b79a356 | checkpoint | Pipe support
1babaa80-5ecc-5207-896b-17de6265e461 | checkpoint | Appropriate cross connection controls
59023e00-7f8f-5db1-ab6c-14fd4cfe3652 | checkpoint | Appropriate valves and devices
e66f0716-0728-5261-a4d7-87afb3514cc9 | checkpoint | Tested to required pressures and times under test
59eb995e-5348-4623-8182-6731ee5a7cd4 | checklist | DDA Commissioning |  | DDA Commissioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
35d96b35-816d-5e87-a94b-888fc35b7e98 | checkpoint | W.C
2d80b8d5-edc9-5d5e-bd59-0f9b4c430f9e | checkpoint | BASIN
84f1a83b-8051-5a5f-8aef-b61f40e88d9d | checkpoint | CLEAN BASIN FW
26264e5a-0a07-5684-a0b4-26648cb60db0 | checkpoint | SHOWER MIXER
463b8134-35ca-5b14-91c7-c7aa8f599d65 | checkpoint | SHOWER ROSE
8598f128-24dd-5051-bcbc-4b2915183d61 | checkpoint | SHOWER WASTE CLEANED
b560d935-0071-5043-ac06-62a2ba69ead2 | checkpoint | TEMP VALVE
1b40ae89-c4ef-5a93-b8f4-b4c45223b099 | checkpoint | AAV
f271777b-156f-49c9-b316-21c51f03a6f5 | checklist | DDA Fit Off |  | DDA Fit Off
2d80b8d5-edc9-5d5e-bd59-0f9b4c430f9e | section | BASIN
566e0555-5bdb-5d70-9834-b420badbc960 | checkpoint | STONE
e99dd58f-0b16-4f19-8530-ba985477738b | checkpoint | BASIN
d2de63cc-ac2c-57db-84b5-16577cdf338c | checkpoint | MIXER
4226ea71-65fd-5249-a493-01aa55ab6986 | section | WC
b4370e6d-c1ad-5370-a504-2486b6a4919c | checkpoint | TILE
74edc4e9-4bdb-5cf7-98d1-e0f23270f40c | checkpoint | GROUT
9896ea7f-cce3-44a6-8d05-1ae3c1f261ea | checkpoint | WC
52740aa3-1a34-52d5-90fa-79bf7f33ee3e | section | SHOWER
0bf6a701-ec27-4aaa-b4f1-489e3d8ae1f9 | checkpoint | TILE
0de77344-a29b-4127-985d-a9ad01ed9d75 | checkpoint | GROUT
5c423304-489a-501c-bd8e-22c908e93594 | checkpoint | RAIL
16138080-f4d1-5702-bea2-cf2fdf759a6d | checklist | Drains |  | Drains
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
06b48bf1-c93f-5863-a3fe-a96d30aa139b | checkpoint | All drains installed as per Plan referenced on spreadsheet
6764b4f2-6cf5-4e87-9446-4c52920d0dfa | checkpoint | Caulking Complete
62975ec0-f564-5756-a39c-902176b2a512 | checkpoint | Photos must be attached
88cb63b1-00de-541a-b077-c11a139ebd84 | checklist | ENSUITE Commissioning |  | ENSUITE Commissioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
35d96b35-816d-5e87-a94b-888fc35b7e98 | checkpoint | W.C
2d80b8d5-edc9-5d5e-bd59-0f9b4c430f9e | checkpoint | BASIN
84f1a83b-8051-5a5f-8aef-b61f40e88d9d | checkpoint | CLEAN BASIN FW
26264e5a-0a07-5684-a0b4-26648cb60db0 | checkpoint | SHOWER MIXER
463b8134-35ca-5b14-91c7-c7aa8f599d65 | checkpoint | SHOWER ROSE
8598f128-24dd-5051-bcbc-4b2915183d61 | checkpoint | SHOWER WASTE CLEANED
b560d935-0071-5043-ac06-62a2ba69ead2 | checkpoint | TEMP VALVE
d48246a8-9edd-5be0-a751-38b1d0300518 | checkpoint | BATH MIXER
f702592f-891c-5d04-b8e4-5759550d8dbc | checkpoint | BATH OUTLET
1b40ae89-c4ef-5a93-b8f4-b4c45223b099 | checkpoint | AAV
882fce91-6085-551f-ab0f-938bb40c2d12 | checkpoint | BATH
fd53bbbc-c1a8-5c54-ab6d-bcd325623d47 | checklist | ENSUITE Fit Off |  | ENSUITE Fit Off
2d80b8d5-edc9-5d5e-bd59-0f9b4c430f9e | section | BASIN
566e0555-5bdb-5d70-9834-b420badbc960 | checkpoint | STONE
05a4649c-4a06-46cd-8c22-25cbfef240d5 | checkpoint | BASIN
d2de63cc-ac2c-57db-84b5-16577cdf338c | checkpoint | MIXER
4226ea71-65fd-5249-a493-01aa55ab6986 | section | WC
b4370e6d-c1ad-5370-a504-2486b6a4919c | checkpoint | TILE
74edc4e9-4bdb-5cf7-98d1-e0f23270f40c | checkpoint | GROUT
6a196216-0d8c-4301-aad5-29a5e500c496 | checkpoint | WC
52740aa3-1a34-52d5-90fa-79bf7f33ee3e | section | SHOWER
0c763377-6df3-4e68-938f-8af7979767ca | checkpoint | TILE
7648966d-d459-4d81-a013-8226bc56be60 | checkpoint | GROUT
5c423304-489a-501c-bd8e-22c908e93594 | checkpoint | RAIL
882fce91-6085-551f-ab0f-938bb40c2d12 | checkpoint | BATH
29001543-153b-56ad-9bcb-3194c34bac22 | checklist | FEMALE AMENITIES Commissioning |  | FEMALE AMENITIES Commissioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
35d96b35-816d-5e87-a94b-888fc35b7e98 | checkpoint | W.C
2d80b8d5-edc9-5d5e-bd59-0f9b4c430f9e | checkpoint | BASIN
84f1a83b-8051-5a5f-8aef-b61f40e88d9d | checkpoint | CLEAN BASIN FW
26264e5a-0a07-5684-a0b4-26648cb60db0 | checkpoint | SHOWER MIXER
463b8134-35ca-5b14-91c7-c7aa8f599d65 | checkpoint | SHOWER ROSE
8598f128-24dd-5051-bcbc-4b2915183d61 | checkpoint | SHOWER WASTE CLEANED
b560d935-0071-5043-ac06-62a2ba69ead2 | checkpoint | TEMP VALVE
1b40ae89-c4ef-5a93-b8f4-b4c45223b099 | checkpoint | AAV
329203e8-a106-5462-b3a8-09739a72eed3 | checklist | FEMALE AMENITIES Fit Off |  | FEMALE AMENITIES Fit Off
2d80b8d5-edc9-5d5e-bd59-0f9b4c430f9e | section | BASIN
566e0555-5bdb-5d70-9834-b420badbc960 | checkpoint | STONE
2cb38d10-e2a3-44e5-a880-fa1ebffae64d | checkpoint | BASIN
d2de63cc-ac2c-57db-84b5-16577cdf338c | checkpoint | MIXER
4226ea71-65fd-5249-a493-01aa55ab6986 | section | WC
b4370e6d-c1ad-5370-a504-2486b6a4919c | checkpoint | TILE
74edc4e9-4bdb-5cf7-98d1-e0f23270f40c | checkpoint | GROUT
a32e954d-8391-4c1d-ba34-3021cb9696b8 | checkpoint | WC
52740aa3-1a34-52d5-90fa-79bf7f33ee3e | section | SHOWER
6387de2d-109c-48ee-ac6d-c080a8143b35 | checkpoint | TILE
67b65833-a2b2-422a-ac3f-fb5d4efbfb6b | checkpoint | GROUT
5c423304-489a-501c-bd8e-22c908e93594 | checkpoint | RAIL
92389b3b-fd1f-5b1f-bd00-2ffabdc7bf7e | checklist | Fit-Off Checklist Ground |  | Fit-Off Checklist Ground
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
c8c8599d-1a4e-525f-8a6b-315784377d04 | checkpoint | Male WC
bc49cbd7-f5d8-51de-b5c9-d65fa00d56d9 | textbox | Basin
3f20c6d0-8990-516b-ae56-71c09c528ce9 | textbox | Mixer
d3b04d2a-ce29-51ed-98eb-c8bfaff9e381 | textbox | Waste
6e3a6223-02e2-5026-9d77-fabdef8eaa59 | textbox | WC Installed
833ea33c-36e6-533d-b0a7-837f877f5f8b | checkpoint | Female WC
484b198b-a635-5f81-a46e-20ac8670fd30 | textbox | Basin
943110d2-e949-50d7-9d50-72e56ccf2b6b | textbox | Mixer
7fad2ee5-387b-5f23-810a-f50a5516a3a0 | textbox | Waste
0e45e489-b228-54e2-8aac-2c1d90e742e4 | textbox | WC Installed
5723ec90-2b51-5c2d-a9bb-9566ed80aee6 | checkpoint | DDA WC
446a93e7-1fc3-5761-98a3-aab9b9c6bfec | textbox | Basin
077fe1b5-8c28-58c9-898e-c3a29e21be40 | textbox | Mixer
69dbf1b1-d08d-5785-af90-1aa3c3123bc6 | textbox | Waste
7355d58b-23c3-52a0-b2db-1aa0b280c8c8 | textbox | WC Installed
0fe85bb0-2d80-5bd4-a4c8-5669acc4419e | checkpoint | Water Meter
781c7871-543d-5110-a068-7f4d6b5ba2a4 | checklist | Fit-Off Checklist Level 1-5 |  | Fit-Off Checklist Level 1-5
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
c8c8599d-1a4e-525f-8a6b-315784377d04 | checkpoint | Male WC
a1022bca-4e22-5303-91bb-475210a67168 | textbox | Basin
b8c306f1-e9ec-56fc-9ec0-40136c3d63fa | textbox | Mixer
e5a731a9-377d-5122-baee-c1ee82f9029e | textbox | Waste
cb799fc0-1cd2-511c-be0e-086cf4a64aa0 | textbox | WC Installed
833ea33c-36e6-533d-b0a7-837f877f5f8b | checkpoint | Female WC
7787c7ff-f377-5c5c-a250-7adf2a65d278 | textbox | Basin
eafffdf1-c2b3-5f3a-a1d2-cc89ee6365c5 | textbox | Mixer
8861b789-0d11-58ba-af0a-f69cba98b6a3 | textbox | Waste
63a65fb1-dd2c-589b-b918-bb4b38a3694d | textbox | WC Installed
5723ec90-2b51-5c2d-a9bb-9566ed80aee6 | checkpoint | DDA WC
dd61c350-9fde-5918-9098-11a451e3d8e0 | textbox | Basin
5e9fae71-3da5-542a-a047-86e4440126a8 | textbox | Mixer
961527cc-622f-5dfa-8926-4cc80560f208 | textbox | Waste
fab387a6-425e-5e29-9ba2-84ccb370bc3c | textbox | WC Installed
0fe85bb0-2d80-5bd4-a4c8-5669acc4419e | checkpoint | Water Meter
f45ee236-94dd-416c-851c-d3db03b982d7 | checklist | GIT Room |  | GIT Room
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
8302e1ea-f893-4406-a330-581b5924c145 | checkpoint | GIT Complete
c8a043a7-5195-59fb-bbba-8d842a53c4e1 | checklist | Hot Water Checklist |  | Hot Water Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
1bc7d9d9-d390-5bd3-bb0d-99bdfa30780b | checkpoint | Quality control pressure test report uploaded below
ee9ff172-c2f1-5a11-b2fa-6d0c6f03e7a6 | textbox | Ambient temp
d7e4e985-8f54-504a-bb00-6bc34a035d93 | textbox | First test
63bc5a69-85d4-5672-afba-02b11d0831bb | textbox | Second test
725462d8-5941-5e10-b84e-2cc27fc22722 | checkpoint | Approved material
c2762384-5851-5383-b0c8-1b9becefeb2e | checkpoint | Approved Jointing methods
c56fabb1-f06e-523f-9b28-a5eb44a35b57 | checkpoint | Appropriate protection
03f9c596-e065-597f-8dac-450e4b79a356 | checkpoint | Pipe support
1babaa80-5ecc-5207-896b-17de6265e461 | checkpoint | Appropriate cross connection controls
59023e00-7f8f-5db1-ab6c-14fd4cfe3652 | checkpoint | Appropriate valves and devices
6492f9a2-9003-5f5f-a193-7d6ec616f3ba | checkpoint | Tested to required pressures and times under test.
7d56a696-a713-53f7-8541-0381c3ffaced | checklist | KITCHEN Commissioning |  | KITCHEN Commissioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
4b24df01-ce16-587b-998d-9930575c19a6 | checkpoint | KITCHEN SINK
2e9713bf-41cb-511f-bfdc-581ca3bdfd01 | checkpoint | SINK MIXER
d443c8c1-6a37-5ee7-b2f1-5ea1ebdb3057 | checkpoint | DISHWASHER
29001785-8fa6-57a5-9bd1-7b707a36c647 | checkpoint | DISHWASHER RAN
2154b7d8-f070-56c7-b2cc-85739c710657 | checkpoint | HOT PLATE
3ebb03ec-ecf1-5de5-922c-e6954717ef95 | checkpoint | SINK WASTE
ef58e3d4-1ed0-585c-8c18-7e20a9f5318e | checkpoint | COVERPLATES
2572349d-6b4a-51b7-97bd-fd5d4d1e3a89 | checklist | Kitchen Fit Off |  | Kitchen Fit Off
6f0b5954-819f-5ae5-b04c-4ae7a617ebba | section | SINK
b49f5d37-ba94-5b44-ad5a-6b34c74b6573 | checkpoint | JOINERY
566e0555-5bdb-5d70-9834-b420badbc960 | checkpoint | STONE
d2de63cc-ac2c-57db-84b5-16577cdf338c | checkpoint | MIXER
d5de2be0-e195-5142-921d-9fab922d15e4 | checkpoint | WASTE
d3d83f76-5d26-55f0-892f-a9edb268b534 | checkpoint | DW CONNECT
8189f501-b8eb-5d6a-852d-acdb49312241 | section | COOKTOP
bb745dc4-a25a-5a96-a7b7-576a5bb1e94c | checkpoint | STONE/ SPLASH
48762790-97bf-43cd-a9c6-87d237abdc14 | checkpoint | COOKTOP
1ce385f7-2c49-5d3b-bd3d-41f446bac0e4 | checkpoint | CONNECTION
2d50282b-a372-5f3b-aae7-6210c2102216 | checklist | Lagging |  | Lagging
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
82978c10-d5b5-53bc-844a-16a3cf689c9e | checkpoint | Lagging Complete
62975ec0-f564-5756-a39c-902176b2a512 | checkpoint | Photos must be attached
8c1c9886-484f-524e-80d9-9515125af26a | checklist | LAUNDRY Commissioning |  | LAUNDRY Commissioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
64ea1fac-2ca2-53ac-8cbc-c7ae8bf68f4a | checkpoint | STAND PIPE
04384438-8cbc-56bd-86c4-bb4aeb27be4e | checkpoint | FLOOR WASTE
53149c7a-6d07-4396-9dbd-49be1336ad9e | checklist | LAUNDRY Fit Off |  | LAUNDRY Fit Off
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
64ea1fac-2ca2-53ac-8cbc-c7ae8bf68f4a | checkpoint | STAND PIPE
401e5305-3143-5c56-8933-a07ec3ef4050 | checklist | MALE AMENITIES Commissioning |  | MALE AMENITIES Commissioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
35d96b35-816d-5e87-a94b-888fc35b7e98 | checkpoint | W.C
2d80b8d5-edc9-5d5e-bd59-0f9b4c430f9e | checkpoint | BASIN
84f1a83b-8051-5a5f-8aef-b61f40e88d9d | checkpoint | CLEAN BASIN FW
26264e5a-0a07-5684-a0b4-26648cb60db0 | checkpoint | SHOWER MIXER
463b8134-35ca-5b14-91c7-c7aa8f599d65 | checkpoint | SHOWER ROSE
8598f128-24dd-5051-bcbc-4b2915183d61 | checkpoint | SHOWER WASTE CLEANED
b560d935-0071-5043-ac06-62a2ba69ead2 | checkpoint | TEMP VALVE
1b40ae89-c4ef-5a93-b8f4-b4c45223b099 | checkpoint | AAV
527802fd-68a1-5a0e-8af8-2cbea995b91e | checkpoint | URINAL
3a5654b6-f975-5fe6-bfbe-484e4e5c3e45 | checklist | MALE AMENITIES Fit Off |  | MALE AMENITIES Fit Off
2d80b8d5-edc9-5d5e-bd59-0f9b4c430f9e | section | BASIN
566e0555-5bdb-5d70-9834-b420badbc960 | checkpoint | STONE
b10f9956-c0b5-4160-a476-001d1e96e6ac | checkpoint | BASIN
d2de63cc-ac2c-57db-84b5-16577cdf338c | checkpoint | MIXER
4226ea71-65fd-5249-a493-01aa55ab6986 | section | WC
b4370e6d-c1ad-5370-a504-2486b6a4919c | checkpoint | TILE
74edc4e9-4bdb-5cf7-98d1-e0f23270f40c | checkpoint | GROUT
e1cf4c36-2365-4ca9-b5fa-5006d026519f | checkpoint | WC
52740aa3-1a34-52d5-90fa-79bf7f33ee3e | section | SHOWER
738ba43b-b424-4185-953c-2bc6082b2dea | checkpoint | TILE
b547d9c0-067f-4402-9649-241dbcc3ae39 | checkpoint | GROUT
5c423304-489a-501c-bd8e-22c908e93594 | checkpoint | RAIL
527802fd-68a1-5a0e-8af8-2cbea995b91e | checkpoint | URINAL
0752ee1f-ee46-5671-bae0-b902ff53872c | checklist | Meter Assemblies & Risers |  | Meter Assemblies & Risers
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
18aa515f-265f-55e8-be3c-574c677c2800 | checkpoint | Valves Tagged
0074b707-529e-4447-98ff-359427985c88 | checkpoint | Balancing Valve Installed
832acfbc-52d9-4d09-a093-dde53cfb7ff3 | checkpoint | Flow Isolation Valve Installed
48ce7ae9-efc1-58c9-8f8f-a84d19066459 | checkpoint | Meters on
4210d8cf-9b56-5422-acd5-afa19fe8065a | checkpoint | Assembly Complete
37810fc2-6aa6-4dc1-a1db-169e3fe914f3 | checkpoint | Hot Water Riser Complete
46043c2e-7b49-59e3-9ed9-408bac773c66 | checkpoint | Pipe Support
8b481aa6-e415-425c-801e-fbf09a490cdf | checkpoint | Caulk Penetrations
dd85cf10-7d9c-4bcd-9201-a585b7d493ee | checkpoint | Syfonic System Complete
ea6a4926-7be0-5875-9cf5-bd74d88cd10a | checklist | Penetrations |  | Penetrations
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
050bc790-a459-5a3f-b0fc-fd9083a53bcc | checkpoint | Slab Penetrations (All slab penetations installed as per Plan)
a4ab31b8-8aca-5b6c-b2c8-1ba993b40017 | checklist | POWDER ROOM Commissioning |  | POWDER ROOM Commissioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
35d96b35-816d-5e87-a94b-888fc35b7e98 | checkpoint | W.C
2d80b8d5-edc9-5d5e-bd59-0f9b4c430f9e | checkpoint | BASIN
84f1a83b-8051-5a5f-8aef-b61f40e88d9d | checkpoint | CLEAN BASIN FW
10f4367b-4224-5775-863d-2daba5239603 | checklist | POWDER ROOM Fit Off |  | POWDER ROOM Fit Off
2d80b8d5-edc9-5d5e-bd59-0f9b4c430f9e | section | BASIN
566e0555-5bdb-5d70-9834-b420badbc960 | checkpoint | STONE
9936bf4e-643e-4d50-8161-bc51dced830a | checkpoint | BASIN
d2de63cc-ac2c-57db-84b5-16577cdf338c | checkpoint | MIXER
4226ea71-65fd-5249-a493-01aa55ab6986 | section | WC
b4370e6d-c1ad-5370-a504-2486b6a4919c | checkpoint | TILE
74edc4e9-4bdb-5cf7-98d1-e0f23270f40c | checkpoint | GROUT
d8aec89a-3ab2-4a56-9eb9-662cc3821a79 | checkpoint | WC
51c2bd33-dcaa-5dd9-bca9-4b42de7b622b | checklist | Rain Water Checklist |  | Rain Water Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
1bc7d9d9-d390-5bd3-bb0d-99bdfa30780b | checkpoint | Quality control pressure test report uploaded below
a631fc5d-0d43-5c04-8d4a-a32f2d0329c7 | textbox | Ambient temp
cdc0078c-24f5-5d41-bc1a-2612ae78e4b7 | textbox | First test
8a16c59d-9dcf-5d25-a229-4c9524957ff7 | textbox | Second test
725462d8-5941-5e10-b84e-2cc27fc22722 | checkpoint | Approved material
c2762384-5851-5383-b0c8-1b9becefeb2e | checkpoint | Approved Jointing methods
c56fabb1-f06e-523f-9b28-a5eb44a35b57 | checkpoint | Appropriate protection
03f9c596-e065-597f-8dac-450e4b79a356 | checkpoint | Pipe support
1babaa80-5ecc-5207-896b-17de6265e461 | checkpoint | Appropriate cross connection controls
59023e00-7f8f-5db1-ab6c-14fd4cfe3652 | checkpoint | Appropriate valves and devices
6492f9a2-9003-5f5f-a193-7d6ec616f3ba | checkpoint | Tested to required pressures and times under test.
77274f19-e394-5260-a5e0-0bfb4e1179ba | checklist | Rough In |  | Rough In
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
193d455c-cf8b-5827-b40f-952280b6a29d | checkpoint | UN-USED PENO'S SEALED
bb273157-a93f-5216-8882-b64fc02f1e32 | checkpoint | ROUGH IN COMPLETE
387e49c7-2a82-58ec-9dc9-44c33a882106 | checkpoint | HEADER PIPES FIRE CAULKED
caa51357-6c69-52c7-94cf-32a42cdac7ba | checkpoint | TMV ACCESSIBLE TO A/P
2749934b-0ff3-517d-87a6-c68abdcc69cf | checkpoint | CROSS CONNECTIONS
6873b12a-2252-58d6-bab9-321b18cf6477 | checkpoint | MIXER STRAIGHT, SET BACK CORRECT
624ade62-6b40-5d51-bc58-db2d2ed30e49 | checkpoint | WATER PRESSURE TESTED
f40cae2c-8d92-5ddc-bfac-08d04e91110b | checkpoint | ROLL OVERS COMPLETE AND SECURE
40b906eb-4039-5a47-b320-ba2cfc060b43 | checkpoint | APARTMENT CLEAN OF MATERIALS
51e0afcb-f60d-56e7-80ab-d6517c2c96de | checkpoint | FW CLEANNED, COVERED AND CLEAR OF DEBRIS
2c7b24e3-3194-5f22-abf9-cbf88b955452 | checkpoint | AAV REQUIRED?
5c770a02-38ec-5035-b5ac-a27144555e7b | checkpoint | FIXTURE SET OUT CORRECT
9830d409-0af6-58f9-a41c-21233a7cb104 | checkpoint | CLIENT VARIATION CHECKED AGAINST SCHEDULE
fd33cc0d-8cbb-594b-a5b4-5c6966f14995 | checklist | Rough-In Checklist |  | Rough-In Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
82978c10-d5b5-53bc-844a-16a3cf689c9e | checkpoint | Lagging Complete
b09ec846-c1b3-5c1e-b2e3-d1ddcfbfa508 | checkpoint | Un used Peno's sealed
bb273157-a93f-5216-8882-b64fc02f1e32 | checkpoint | ROUGH IN COMPLETE
387e49c7-2a82-58ec-9dc9-44c33a882106 | checkpoint | HEADER PIPES FIRE CAULKED
caa51357-6c69-52c7-94cf-32a42cdac7ba | checkpoint | TMV ACCESSIBLE TO A/P
2749934b-0ff3-517d-87a6-c68abdcc69cf | checkpoint | CROSS CONNECTIONS
6873b12a-2252-58d6-bab9-321b18cf6477 | checkpoint | MIXER STRAIGHT, SET BACK CORRECT
b7ace4ad-1ab9-559b-983d-f99e9bbcb2fc | checkpoint | FW CLEANED, COVERED AND CLEAR OF DEBRIS
2c7b24e3-3194-5f22-abf9-cbf88b955452 | checkpoint | AAV REQUIRED?
5c770a02-38ec-5035-b5ac-a27144555e7b | checkpoint | FIXTURE SET OUT CORRECT
255e0fb8-0d65-54c4-89ff-aec938f6a9de | checklist | Sanitary drainage Checklist |  | Sanitary drainage Checklist
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
570b8746-d828-55ec-99ba-45ccd417c4bc | checkpoint | Drainage
3cf0dde2-6e65-5ad6-a70a-04629df2f78d | tickbox | Pipework has approved gradient
84ff27ad-07de-50f9-b00e-9831d08f21a5 | tickbox | Provision for expansion provided
1ed60c8c-1bad-533d-a1c0-d3ff8d522ac3 | tickbox | Appropriate fitting used in appropriate manner
9c6fecfe-ff92-568a-8367-7a6f6b70d0a0 | tickbox | Venting requirements met
db55d8d4-77ae-58a0-b6c1-4283f9e0e432 | checkpoint | Pipe clip hanger - Pipe work has appropriate supports and spacings
9db0b1b6-4820-52b7-b33a-96cb3baa63fc | checkpoint | Material approved and pipe installed to correct size
f1f2a09d-fb0b-5e4d-aaae-1143cd7d6322 | checkpoint | Alignment - restricted zone has been met
9491e2a0-5230-5b99-9c5f-d6651f9ad635 | checkpoint | Approved labelling and identification applied
30b4cef4-2006-5da7-b427-bff64efb9887 | checkpoint | Approved jointing methods used
917a7d9c-84ae-5d1c-8534-65298f81bf95 | checkpoint | Penetrations correctly sealed
ee44fec8-82da-50be-8f90-60a0870e712b | checkpoint | Fire stop retro collars sealed using approved sealant
e9568613-3683-5f01-a5bf-b01742fc4951 | checkpoint | Seismic bracing installed to comply with seismic certification
d4dacffa-c0d0-5311-99b9-0023cab44d89 | checkpoint | Water Test complete
8062d38b-aff1-4e9b-b299-d571d861a781 | checklist | Staff Room Commissioning |  | Staff Room Commissioning
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
a98d3b1f-9b74-46f2-806e-c52c69ab2323 | checkpoint | SINK
b91a903e-181d-49c7-896b-ee698e4a4b3e | checkpoint | SINK MIXER
b3f8c7bb-f502-4812-90f4-30cbe437a5a2 | checkpoint | DISHWASHER
e679f961-c659-4245-bf58-8db40adf5006 | checkpoint | DISHWASHER RAN
3c9a714f-03e6-433c-9ec1-7bfede0b4756 | checklist | Staff Room Fit Off |  | Staff Room Fit Off
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
a94bc91d-e86a-454d-b858-66754b6eaae5 | checkpoint | SINK
8735a504-1c2f-4b20-8d02-3d3457e96e0b | checkpoint | JOINERY
162972ac-bfff-46ef-9cbf-e79941d77a14 | checkpoint | STONE
831efffc-5dbc-4708-90d8-1c73d0eaa29a | checkpoint | MIXER
79f36160-8c9b-4a52-9872-c2e1876b4e03 | checkpoint | WASTE
134918bd-17d6-41d5-b5c0-c88fcdcf3ec5 | checkpoint | DW CONNECT
3beec5d3-38ba-45ae-a1bb-0b32443cbb35 | checklist | Water Meter Room |  | Water Meter Room
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
d01b0103-2f97-4fa7-a0af-314cba8996ad | checkpoint | Water Meter Complete
9394a546-77ff-5ea6-85bf-a77a7fd27c80 | checklist | Ω (Deprecated) LAUNDRY Fit Off (Level 4) |  | LAUNDRY Fit Off
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
b4370e6d-c1ad-5370-a504-2486b6a4919c | checkpoint | TILE
949dc823-bf0e-5dcc-b892-0ffcd2637d7d | checkpoint | TROUGH
d077471d-57d0-5138-a149-47f300553e00 | checkpoint | MINI STOP
64ea1fac-2ca2-53ac-8cbc-c7ae8bf68f4a | checkpoint | STAND PIPE