## struct
resource | type | Add Step | Add Post | Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Tier 8 | Tier 9
| step |  |  | Tier 1: Site QA
| step |  |  | Tier 2: CxL2 CxL3 Submains
Commissioning Documentation | checklist |  |  | Tier 3: Commissioning Doc
Cable Schedule | checklist |  |  | Tier 3: Cable Schedule
| step |  |  | Tier 3: OPSB-BA
| step |  |  | Tier 4: DB-GLP-BA-05-01 (BA1)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: DB-GLP-BA-05-03 (BA2)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: DB-GLP-BA-05-07 (BA3)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: MCC-DH5A-BA-01 (BA4)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 3: DB-GLP-BA-05-03
| step |  |  | Tier 4: BTU-BA (BA2.1)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: AHU-SR-BA (BA2.2)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 3: OPSB-BD (via DB-GLP-BD-05-02)
| step |  |  | Tier 4: DB-GLP-BA-05-01 _ BUS-TIE (BA1.BD4)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 3: OPSB-BB (via DB-GLP-BB-05-04)
| step |  |  | Tier 4: DB-GLP-BA-05-03 _ BUS-TIE (BA2.BB1)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 3: OPSB-BB (via DB-GLP-BB-05-08)
| step |  |  | Tier 4: DB-GLP-BA-05-07 _ BUS-TIE (BA3.BB2)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 3: OPSB-BB
| step |  |  | Tier 4: DB-GLP-BB-05-04 (BB1)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: DB-GLP-BB-05-08 (BB2)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: MCC-DH5A-BB-02 (BB3)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 3: DB-GLP-BB-05-04
| step |  |  | Tier 4: AHU-SR-BB (BB1.1)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 3: OPSB-BC
| step |  |  | Tier 4: ORB-3D-03.A (BC1)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: ORB-3D-04.B (BC2)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: ORB-3D-05.A (BC3)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: DB-GLP-BC-05-05 (BC4)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: DB-GLP-BC-05-09 (BC5)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 3: DB-GLP-BC-05-05
| step |  |  | Tier 4: AHU-SR-BC (BC4.1)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 3: OPSB-BD (via DB-GLP-BD-05-06)
| step |  |  | Tier 4: DB-GLP-BC-05-05 _ BUS-TIE (BC4.BD5)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 3: OPSB-BD (via DB-GLP-BD-05-10)
| step |  |  | Tier 4: DB-GLP-BC-05-09 _ BUS-TIE (BC5.BD6)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 3: OPSB-BD
| step |  |  | Tier 4: ORB-3D-03.B (BD1)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: ORB-3D-04.A (BD2)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: ORB-3D-05.B (BD3)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: DB-GLP-BD-05-02 (BD4)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: DB-GLP-BD-05-06 (BD5)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: DB-GLP-BD-05-10 (BD6)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 3: DB-GLP-BD-05-06
| step |  |  | Tier 4: BTU-BD (BD5.1)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 4: AHU-SR-BD (BD5.2)
S3-EL-01-ITC-HD5-L2-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-LVCABLE
S3-EL-01-ITC-HD5-L3-LVCABLE | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-LVCABLE
| step |  |  | Tier 2: S3-EL-01-ITC-HD5-L2-EARTHING
Commissioning Documentation | checklist |  |  | Tier 3: Commissioning Doc
Cable Schedule | checklist |  |  | Tier 3: Cable Schedule
| step |  |  | Tier 3: CET-01
| step |  |  | Tier 4: 5A-TRE-1
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: CET-02
| step |  |  | Tier 4: 5A-TRE-2
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: Level 4 Riser
| step |  |  | Tier 4: Level 5 Riser
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: Level 5 Riser
| step |  |  | Tier 4: SPC-05-1
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: SPC-05-1
| step |  |  | Tier 4: Data Hall 5A - Rack Earth EoL
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: SEB-01-16
| step |  |  | Tier 4: Data Hall 5A Rack
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: MEB-02
| step |  |  | Tier 4: HVSB-B
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: MEB-01
| step |  |  | Tier 4: MEB-BA
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: MEB-BD
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: MEB-BA
| step |  |  | Tier 4: MEB-BB
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: TX-BA
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: MSB-BA
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: GEN-BA (Frame)
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: GEN-BA (Star Point)
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: RUPS-BA
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: IPSB-BA
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: Exposed Metallic Items
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: TX-BA
| step |  |  | Tier 4: Busduct Connection
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: Busduct Connection (1)
| step |  |  | Tier 4: ITX-BA
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: MEB-BB
| step |  |  | Tier 4: MEB-BC
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: TX-BB
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: MSB-BB
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: GEN-BB (Frame)
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: GEN-BB (Star Point)
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: RUPS-BB
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: IPSB-BB
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: Exposed Metallic Items
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: TX-BB
| step |  |  | Tier 4: Busduct Connection
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: Busduct Connection (2)
| step |  |  | Tier 4: ITX-BB
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: MEB-BC
| step |  |  | Tier 4: MEB-BD
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: TX-BC
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: MSB-BC
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: GEN-BC (Frame)
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: GEN-BC (Star Point)
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: RUPS-BC
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: IPSB-BC
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: Exposed Metallic Items
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: TX-BC
| step |  |  | Tier 4: Busduct Connection
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: Busduct Connection (3)
| step |  |  | Tier 4: ITX-BC
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: MEB-BD
| step |  |  | Tier 4: TX-BD
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: MSB-BD
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: GEN-BD (Frame)
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: GEN-BD (Star Point)
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: RUPS-BD
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: IPSB-BD
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 4: Exposed Metallic Items
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: TX-BD
| step |  |  | Tier 4: Busduct Connection
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 3: Busduct Connection (4)
| step |  |  | Tier 4: ITX-BD
S3-EL-01-ITC-HD5-L2-EARTHING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EARTHING
| step |  |  | Tier 2: S3-EL-01-ITC-HD5-0001[0] - Cable Tray
Commissioning Documentation | checklist |  |  | Tier 3: Commissioning Doc
S3-EL-01-ITC-HD5-0001[0] - Cable Tray | checklist |  |  | Tier 3: Level 5
| step |  |  | Tier 2: CxL2 CxL3 Busduct
Commissioning Documentation | checklist |  |  | Tier 3: Commissioning Doc
Cable Schedule - Busduct Schedule | checklist |  |  | Tier 3: Cable Schedule
| step |  |  | Tier 3: RACB-1A-5A
| step |  |  | Tier 4: BR 5A.4
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: RACB-1F-5A
| step |  |  | Tier 4: BR 5A.4
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: RACB-1B-5A
| step |  |  | Tier 4: BR 5A.3
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: RACB-1E-5A
| step |  |  | Tier 4: BR 5A.3
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: RACB-1C-5A
| step |  |  | Tier 4: BR 5A.2
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: RACB-1H-5A
| step |  |  | Tier 4: BR 5A.2
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: RACB-1D-5A
| step |  |  | Tier 4: BR 5A.1
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: RACB-1G-5A
| step |  |  | Tier 4: BR 5A.1
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: RACB-1A-7A
| step |  |  | Tier 4: BR 7A.4
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: RACB-1B-7A
| step |  |  | Tier 4: BR 7A.3
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: RACB-1C-7A
| step |  |  | Tier 4: BR 7A.2
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: RACB-1D-7A
| step |  |  | Tier 4: BR 7A.1
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: Switch Room BA
| step |  |  | Tier 4: BD-IPOUT-BA
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-IPOUT-BB
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-IPSB-BA
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-ITX-BA
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-MSB-BA
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-OPSB-BA
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-RUPS-BA
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-TX-BA
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: Switch Room BB
| step |  |  | Tier 4: BD-IPOUT-BC
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-IPSB-BB
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-ITX-BB
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-MSB-BB
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-OPSB-BB
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-RUPS-BB
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-TX-BB
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: Switch Room BC
| step |  |  | Tier 4: BD-IPOUT-BD
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-IPSB-BC
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-ITX-BC
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-MSB-BC
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-OPSB-BC
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-RUPS-BC
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-TX-BC
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: Switch Room BD
| step |  |  | Tier 4: BD-IPOUT-BD-AE
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-IPSB-BD
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-ITX-BD
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-MSB-BD
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-OPSB-BD
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-RUPS-BD
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 4: BD-TX-BD
S3-EL-01-ITC-HD5-L2-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 2: CxL2 CxL3 Busduct ORB
Commissioning Documentation | checklist |  |  | Tier 3: Commissioning Doc
Cable Schedule | checklist |  |  | Tier 3: Cable Schedule
| step |  |  | Tier 3: BRTOB-5A.4-01
| step |  |  | Tier 4: ORB-5A.4-01.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.2-01
| step |  |  | Tier 4: ORB-5A.2-01.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.1-02
| step |  |  | Tier 4: ORB-5A.1-02.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.3-02
| step |  |  | Tier 4: ORB-5A.3-02.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.4-03
| step |  |  | Tier 4: ORB-5A.4-03.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.2-03
| step |  |  | Tier 4: ORB-5A.2-03.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.1-04
| step |  |  | Tier 4: ORB-5A.1-04.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.3-04
| step |  |  | Tier 4: ORB-5A.3-04.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.4-05
| step |  |  | Tier 4: ORB-5A.4-05.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.2-05
| step |  |  | Tier 4: ORB-5A.2-05.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.1-06
| step |  |  | Tier 4: ORB-5A.1-06.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.3-06
| step |  |  | Tier 4: ORB-5A.3-06.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.4-07
| step |  |  | Tier 4: ORB-5A.4-07.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.2-07
| step |  |  | Tier 4: ORB-5A.2-07.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.1-08
| step |  |  | Tier 4: ORB-5A.1-08.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.3-08
| step |  |  | Tier 4: ORB-5A.3-08.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.4-09
| step |  |  | Tier 4: ORB-5A.4-09.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.2-09
| step |  |  | Tier 4: ORB-5A.2-09.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.1-10
| step |  |  | Tier 4: ORB-5A.1-10.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.3-10
| step |  |  | Tier 4: ORB-5A.3-10.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.4-11
| step |  |  | Tier 4: ORB-5A.4-11.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.2-11
| step |  |  | Tier 4: ORB-5A.2-11.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.1-12
| step |  |  | Tier 4: ORB-5A.1-12.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.3-12
| step |  |  | Tier 4: ORB-5A.3-12.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.4-13
| step |  |  | Tier 4: ORB-5A.4-13.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.2-13
| step |  |  | Tier 4: ORB-5A.2-13.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.1-14
| step |  |  | Tier 4: ORB-5A.1-14.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.3-14
| step |  |  | Tier 4: ORB-5A.3-14.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.4-15
| step |  |  | Tier 4: ORB-5A.4-15.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.2-15
| step |  |  | Tier 4: ORB-5A.2-15.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.1-16
| step |  |  | Tier 4: ORB-5A.1-16.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.3-16
| step |  |  | Tier 4: ORB-5A.3-16.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.4-17
| step |  |  | Tier 4: ORB-5A.4-17.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.2-17
| step |  |  | Tier 4: ORB-5A.2-17.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.1-18
| step |  |  | Tier 4: ORB-5A.1-18.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.3-18
| step |  |  | Tier 4: ORB-5A.3-18.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.4-19
| step |  |  | Tier 4: ORB-5A.4-19.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.2-19
| step |  |  | Tier 4: ORB-5A.2-19.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.1-20
| step |  |  | Tier 4: ORB-5A.1-20.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.3-20
| step |  |  | Tier 4: ORB-5A.3-20.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.4-21
| step |  |  | Tier 4: ORB-5A.4-21.A
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 3: BRTOB-5A.2-21
| step |  |  | Tier 4: ORB-5A.2-21.B
S3-EL-01-ITC-HD5-L2-BUSDUCT ORB | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-BUSDUCT ORB
S3-EL-01-ITC-HD5-L3-BUSDUCT | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L3-BUSDUCT
| step |  |  | Tier 2: CxL2 CxL3 Lighting Circuits
Commissioning Documentation | checklist |  |  | Tier 3: Commissioning Doc
| step |  |  | Tier 3: DB-GLP-AA-04-01
| step |  |  | Tier 4: 64
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 65
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 3: DB-GLP-AD-04-02
| step |  |  | Tier 4: 65
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 70
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 3: DB-GLP-BA-05-01
| step |  |  | Tier 4: 61
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 62
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 63
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 64
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 65
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 66
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 67
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 68
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 69
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 70
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 71
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 72
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 73
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 74
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 75
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 76
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 77
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 78
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 79
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 3: DB-GLP-BD-05-02
| step |  |  | Tier 4: 61
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 62
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 63
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 64
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 65
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 66
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 67
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 68
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 69
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 70
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 71
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 72
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 73
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 74
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 75
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 76
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 77
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 4: 78
Lighting CxL2 | checklist |  |  | Tier 5: Lighting CxL2
Lighting Circuits CxL3 | checklist |  |  | Tier 5: Lighting Circuits CxL3
| step |  |  | Tier 2: CxL2 Lighting Control and Emergency Lighting
Commissioning Documentation | checklist |  |  | Tier 3: Commissioning Doc
| step |  |  | Tier 3: DB-GLP-AA-04-01
| step |  |  | Tier 4: 64
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 65
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 3: DB-GLP-AD-04-02
| step |  |  | Tier 4: 65
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 70
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 3: DB-GLP-BA-05-01
| step |  |  | Tier 4: 61
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 62
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 63
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 64
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 65
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 66
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 67
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 68
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 69
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 70
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 71
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 72
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 73
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 74
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 75
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 76
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 77
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 78
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 79
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 3: DB-GLP-BD-05-02
| step |  |  | Tier 4: 61
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 62
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 63
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 64
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 65
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 66
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 67
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 68
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 69
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 70
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 71
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 72
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 73
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 74
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 75
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 76
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 77
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 4: 78
S3-EL-01-ITC-HD5-L2-EMLIGHTING | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-L2-EMLIGHTING
S3-EL-01-ITC-HD5-0012[01] Lighting Control | checklist |  |  | Tier 5: S3-EL-01-ITC-HD5-0012[01] Lighting Control
| step |  |  | Tier 2: CxL2 CxL3 Power Outlets
Commissioning Documentation | checklist |  |  | Tier 3: Commissioning Doc
| step |  |  | Tier 3: DB-GLP-AC-02-02
| step |  |  | Tier 4: 3
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-AA-02-01
| step |  |  | Tier 4: 10
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-AD-04-02
| step |  |  | Tier 4: 13
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 14,15,16
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-BA-05-03
| step |  |  | Tier 4: 4
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 5
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 7
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-BB-05-04
| step |  |  | Tier 4: 4
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 5
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-BC-05-05
| step |  |  | Tier 4: 4
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 5
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-BD-05-06
| step |  |  | Tier 4: 4
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 5
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 7
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-BA-05-07
step | bar: Tier 4
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-BB-05-08
step | bar: Tier 4
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-BC-05-09
step | bar: Tier 4
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-BD-05-10
step | bar: Tier 4
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-BA-05-01
| step |  |  | Tier 4: 1,2,3
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 4
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 5
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 6
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 7
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 8
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 9
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 10
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 11
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 12
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 13
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 14
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 15
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 16
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-BD-05-02
step | bar: Tier 4
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 2
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 3,4,5
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 6
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 7
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 8
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 9
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 10
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 11
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 12
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 13
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 14
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 15
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-AD-06-01
| step |  |  | Tier 4: 13
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 14
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 3: DB-GLP-AD-06-02
| step |  |  | Tier 4: 13
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 4: 14
Power Outlets CxL2 | checklist |  |  | Tier 5: Power Outlets CxL2
Power Outlets CxL3 | checklist |  |  | Tier 5: Power Outlets CxL3
| step |  |  | Tier 2: EL-0021 Extra Low Voltage Cables
Commissioning Documentation | checklist |  |  | Tier 3: Commissioning Doc
Cable Schedule | checklist |  |  | Tier 3: Cable Schedule
| step |  |  | Tier 3: XFMRT1
EL-0021-P-R[B] Extra Low Voltage Cables | checklist |  |  | Tier 4: USB-1 (1)