## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | e547f35a-1547-429e-9e6c-fbbb629c075e |  | checklist | Manhole Install |  |  |  |  | Yes | Manhole Install Checklist | 02392f1b-e779-4120-9fcc-0b765d0ceb13
checkpoint-status | 2f660f8f-0d14-4bfe-87b4-450e44f21b55 |  | checkpoint | Latest consented drawings
text | 56cb98cd-bc2d-5dbf-8fa9-accedcb80ada |  | textbox | Drawing Ref No.
checkpoint-status | a75dd009-f0e5-494a-a7a2-474751f91104 |  | checkpoint | Setout Completed checked and accurate
checkpoint-status | 3adf6b99-a9c0-4e31-a17c-6fc20a6ec978 |  | checkpoint | Correct manhole installed
checkpoint-status | bbed863d-9071-48ce-95b3-9063fd7cc320 |  | checkpoint | Manhole Risers Installed (if applicable)
checkpoint-status | 24abbaa8-0443-4b4d-b1da-964bcc16f3ce |  | checkpoint | Joints & connections correctly sealed as specified
checkpoint-status | c11bba97-5811-4549-872b-5fc80cdf648e |  | checkpoint | Manhole benching completed and acceptable
checkpoint-status | 419e24ab-9638-41e9-a24b-aab3a576da5e |  | checkpoint | Concrete Lid Installed and sitting appropriately
checkpoint-status | 4d15f396-a05f-4591-a095-7b5db0a066b2 |  | checkpoint | Cast Iron Lid Installed and sitting flush
checklist-flat | 00a0b00f-4146-4df6-bae6-81d1796f79ff |  | checklist | Pipe Laying |  |  |  |  | Yes | Sewer - Pipeline Installation Checklist | 09e714d3-dcbc-4e06-8b70-d4a7423f2721
checkpoint-status | 462786c9-e278-422e-9d71-277acd42cb27 |  | checkpoint | Latest consented drawings
text | f2bcec30-710c-5e92-985e-47b1199d369a |  | textbox | Drawing Ref No.
checkpoint-status | 86b4b439-e399-493c-af32-988b6393f1fe |  | checkpoint | Setout completed checked and accurate
checkpoint-status | b45f0830-391b-4348-8a9a-509df2e77186 |  | checkpoint | Excavation Accurate - Location & Depth
checkpoint-status | 820577ed-37a4-4aa9-bb97-08def1d45b5f |  | checkpoint | Bedding depth and material correct
checkpoint-status | 4f3b3b7b-56ce-478c-8ca8-a92cad60028c |  | checkpoint | Correct pipe laid to specified level and grade (all joints sealed correctly as specified)
text | c6d010bb-cf9d-5c18-9bdd-b44d4820f66d |  | textbox | Start Invert
text | 3f0b14ce-f37d-51de-9874-691a2f9435b5 |  | textbox | Finish Invert
text | bdba3d70-91e6-5347-853a-91366660374a |  | textbox | Grade of Pre-Line %
text | be0971a6-83df-514d-bbf1-1b3b7df9fe09 |  | textbox | Product Type
checkpoint-status | 32fa006f-2651-418b-87dc-9ab11414610a |  | checkpoint | Install Tests completed
text | 38d5cace-9905-5dda-9672-5d270d1bb1f8 |  | textbox | Date
checkpoint-status | 8ef3fd68-ed0f-4b4e-9ef2-cb9f60865bc6 |  | checkpoint | Pipe Laying Completed
checkpoint-status | 29fde909-c343-411f-93d2-214b20e00a67 |  | checkpoint | Laid by
boolean | 84629a76-30a9-53ed-8ec7-28c3c33d677d |  | tickbox | Bedding Sound
boolean | eae22437-b80a-521c-b23f-d3309048f3c6 |  | tickbox | Soil Removed
boolean | aba18b3d-b932-5f89-8979-54e93ea40720 |  | tickbox | Trench Compacted
boolean | fc37ac38-126b-5575-9938-57c7e3126a32 |  | tickbox | Hard Filled
checkpoint-status | 1865ddbb-f88a-4fd3-a0d1-4996166a14f0 |  | checkpoint | Connections to manholes complete and checked
checkpoint-status | f19108ea-0359-4369-b651-4f0572899b8b |  | checkpoint | Connections to building line complete and checked
checkpoint-status | ea12745c-f91d-412a-a968-399eefab16be |  | checkpoint | Air Test Complete
checkpoint-status | 81c3b90a-1696-49d1-84ba-6ef6d9c8a349 |  | checkpoint | Area of Work Inspection Completed & Sign Off
text | 34052228-4cae-5b27-876f-03eaabccd268 |  | textbox | Sign Off By
checklist-flat | 79af5214-fceb-4311-8f18-a1ca692692a2 |  | checklist | Pipe Laying |  |  |  |  | Yes | Stormwater - Pipeline Installation Checklist | 68aed4cc-b7cd-4c15-b2e0-b151b7658beb
checkpoint-status | 38a39deb-686d-4efb-9a32-9d0d3605eb0a |  | checkpoint | Latest consented drawings
text | a8d45334-32c6-5bd7-a900-4944b90f83ce |  | textbox | Drawing Ref No.
checkpoint-status | 3e20cfac-963b-483f-80d2-34df01b2125b |  | checkpoint | Setout completed checked and accurate
text | 69f66c35-e344-57f6-979c-4ce9b2c230b2 |  | textbox | Start Invert
text | 9c7a1ae3-5a98-5326-a46c-67b047aac105 |  | textbox | Finish Invert
text | b9854e9a-4b9f-5a2e-8784-52084e719f7e |  | textbox | Grade of Pre-Line %
text | 9b722284-13ce-552f-9414-d27bd02e450e |  | textbox | Product Type
checkpoint-status | 41729a25-5c16-4124-a0bd-ed9d0dee447a |  | checkpoint | Connections to manholes complete and approved
checkpoint-status | a117cf1a-32ff-40fe-bd41-7717e098d852 |  | checkpoint | All Downpipes have been checked, installed and approved
text | 1c77a23d-2e40-59b2-bf4e-e382eca36d9a |  | textbox | Laid by
boolean | f1e0bafe-49ff-5ae5-87e3-3f522fb3955e |  | tickbox | Bedding Sound
boolean | dc13270d-0bb0-5d8b-9c6a-9c98ed5115fd |  | tickbox | Soil Removed
boolean | 08748045-d1f4-5b0d-a3ba-9b9834d9766b |  | tickbox | Trench Compacted
text | a06ddfd9-b5ec-5557-beda-07979fb05e57 |  | textbox | Backfill Type
checkpoint-status | 6178fe98-c1c8-46b3-baa2-5bc95c4dc28c |  | checkpoint | Tests completed
checkpoint-status | 2a17df34-d56b-4b80-80ca-e85c3683a276 |  | checkpoint | Local Authority Inspection Passed
text | 0b75e4f2-92f7-5a5b-824d-d9a7e4930d86 |  | textbox | Name of inspector
text | b994cc98-2e35-5251-9609-b13739757d4f |  | textbox | Date
text | 022342a7-a8d0-5f37-b768-d09b9c68a575 |  | textbox | Foreman
checklist-flat | 31d5a25c-1ff1-4f0e-8184-9c93d76f3de7 |  | checklist | Grease Interceptor Install |  |  |  |  | Yes | Grease Interceptor Install Checklist | 7ebaeb1a-55ee-4972-ba11-a8b52f8a4430
checkpoint-status | a735ee1a-b5b1-4b7b-bbf2-a66fd3a76bcc |  | checkpoint | Latest consented drawings
text | e964a1f0-cfc0-5457-b695-5d416a64a447 |  | textbox | Drawing Ref No.
checkpoint-status | bb735cef-7ca6-49c7-92b1-caa1f510104c |  | checkpoint | Setout Completed checked and accurate
checkpoint-status | 02538d89-fd87-441c-87bc-81d6f869e178 |  | checkpoint | Correct manhole installed
checkpoint-status | 5f220468-3e22-4861-b3c2-039f8e1d6e41 |  | checkpoint | Risers Installed (if applicable)
checkpoint-status | 61e5f178-65ce-402c-a947-4aaeb640077b |  | checkpoint | Joints & connections correctly sealed as specified
checkpoint-status | b19fa0da-8823-43cb-9bce-4ade6e91794c |  | checkpoint | benching completed and acceptable
checkpoint-status | aded534c-ab48-45f5-b4b4-43235ea668d3 |  | checkpoint | Concrete Lid Installed and sitting appropriately
checkpoint-status | b85fe443-0b32-4886-91e1-2071c77de32d |  | checkpoint | Cast Iron Lid Installed and sitting flush
checklist-flat | 9b76ae5e-9041-4bbf-bf97-1217890e3c54 |  | checklist | Signoff Documents |  |  |  |  | Yes | Signoff Documents | d6fbf730-19b4-4398-902c-6a8b7e69f8d6
checkpoint-status | ddfbeff2-3c32-48b3-8a59-6b5b87572be6 |  | checkpoint | As built complete and ready for sign off
checkpoint-status | ff691114-d0dd-4a38-bc90-a67e960260b2 |  | checkpoint | CCTV complete and ready for sign off
checkpoint-status | f7d8ab18-353c-4aa9-9749-b3af6cf9b23f |  | checkpoint | PS3 complete and ready for sign off
checklist-sectioned | 7d9b62fb-53c6-49e1-a7b5-930a4c596c44 |  | checklist | Weekly Safety Inspection |  |  |  |  | Yes | Weekly Safety Inspection | dcdfc861-30b0-4acc-a7ce-550b1bbdd019
checkpoint-group | e0832dcd-3734-4e31-a5eb-a564e84f2581 |  | section | Site Control
checkpoint-status | 64a41ff0-0ff1-4d59-aad4-e1c451e00350 |  | checkpoint | Hazard board and signage up-to-date
checkpoint-status | 42aae5dd-6bc2-4d4e-9cc5-eacf5bd405c8 |  | checkpoint | Environmental plan - issues
text | 21140890-7f22-54ae-aa2b-9f4b5c7e1a60 |  | textbox | Toolbox meeting last date
checkpoint-status | 059a8a91-c7a9-4e39-9f1b-e34ab750afe5 |  | checkpoint | Safety inductions for all on site
checkpoint-status | a81bdf21-d1f9-4b11-ac01-acc7ea32e575 |  | checkpoint | Safety notice board current
checkpoint-group | 0460c803-2c84-435f-8f28-39cd41117dc4 |  | section | Site Facilities
checkpoint-status | 8b5cadf4-245d-400a-b7d0-1a8022853159 |  | checkpoint | Offices-Clean, adequate and good lighting
checkpoint-status | acb9679e-1226-489c-b95a-442496b163aa |  | checkpoint | Smoko sheds-clean portable water
checkpoint-status | d6dd651c-3fcb-4b23-bf44-1cdf23470414 |  | checkpoint | Toilets-Clean, Washing water
checkpoint-status | 54accf43-5092-485e-bc79-d2e7a8a29252 |  | checkpoint | Tool/equipment sheds adequate
checkpoint-group | 35773ec4-6a4e-4ccb-962f-2128a126f78b |  | section | General Site Tidiness and Access ways
checkpoint-status | 89e24454-e2fb-4764-8f41-a4ca1853f4fa |  | checkpoint | Clear access to work areas
checkpoint-status | 86c152de-3836-423f-8380-04e8e815d4fe |  | checkpoint | Stairways and access ways clear
checkpoint-status | 66879472-c66d-4e7f-afc9-1e393c59b60c |  | checkpoint | Hoardings/fence and gates secure
checkpoint-status | 3bfbd19d-08c2-4870-a219-94fb2a249a74 |  | checkpoint | Loose materials secure from wind
checkpoint-group | 03915ec1-b80b-4f37-9ec7-546cf4338802 |  | section | Personal Safety Equipment
checkpoint-status | c76c1e08-ca73-4807-9855-94f86a41f576 |  | checkpoint | Signage displayed and legible
checkpoint-status | ba453a36-35b6-4ad5-af93-7fe8b5067b4b |  | checkpoint | Hardhats being worn
checkpoint-status | 9e4d71b5-9679-4f77-b432-340e0e721058 |  | checkpoint | Correct footwear being worn
checkpoint-status | 470ff1b8-aae8-4115-84c5-2deb835f8a38 |  | checkpoint | Glasses/ear muffs/vests/ masks used
checkpoint-group | cf2c77d7-5129-40cd-b48e-909be7497ec7 |  | section | First Aid/Fire Prevention
checkpoint-status | 38bc5d5e-149d-4366-90fd-691bc3c3b22f |  | checkpoint | First Aid Box available and current
checkpoint-status | 89397d94-14f0-446d-a95c-eff71228f915 |  | checkpoint | Accident Register
checkpoint-status | 6ea301a4-37d3-4c2b-9633-54f439cb4999 |  | checkpoint | Fire Extinguishers
label | c12e0d86-5c0c-573b-8009-35ad8bac5576 |  | note | Available
label | ef34fedd-5a75-5a69-9e80-e99db2b7554c |  | note | Current(12mth)
label | a9c5c1a0-f168-5681-bb33-32aa8409997f |  | note | Sufficient
checkpoint-status | ef046a8d-8a15-4452-8c2a-0d24526a8a1e |  | checkpoint | Evacuation
label | 9fb09b45-3046-584e-86f1-4f3dc079fd3f |  | note | Procedure Current
label | 16d3e77c-3692-5929-ab07-153c054da1bb |  | note | All emergencies Incl.
checkpoint-group | 5844ef97-9f95-4fa3-9527-78718675a4ae |  | section | Cranes/Hoist/Lifting equipment
checkpoint-status | 5900ed07-117b-4656-acc6-fcec10efc238 |  | checkpoint | Proper lift assessment plan done
checkpoint-status | 8f2aa43e-60df-4232-9f84-19030cff325a |  | checkpoint | Crane Certification current
checkpoint-status | 7b4ba088-ee01-4f59-8e6a-31b55a950ebf |  | checkpoint | Slings/Chains Certified
checkpoint-status | c43b2805-6123-4857-9c1f-3b650da0608e |  | checkpoint | Operator procedures in place
checkpoint-status | 42cbc96f-a1fa-40de-a623-d772eb886d87 |  | checkpoint | Inspections being done
checkpoint-status | 99345bc8-d85c-4d47-8fb6-83197a5329f3 |  | checkpoint | Man cage availiable
checkpoint-status | 75762e26-d2a6-4682-9aa2-9e587ae826dd |  | checkpoint | Emergency plan in place
checkpoint-group | a40ce36e-2c9a-4b3b-87b9-08d750484b99 |  | section | Compressed Air Equipment
checkpoint-status | c155a8e4-bb88-4d35-823a-e5d1cabea2ba |  | checkpoint | In good condition
checkpoint-status | faa37004-0c38-4b97-babd-64f835cab747 |  | checkpoint | Appropriate guards fitted
checkpoint-status | c8578005-fc37-4258-989a-19128736c0a0 |  | checkpoint | Trained User
checkpoint-status | 44237ada-6051-4c51-83e3-c33534b4dfd1 |  | checkpoint | Excavations Correctly shored
checkpoint-group | 265c3f85-fbb7-44de-b284-9c422aff7403 |  | section | Welding/Gas Cutting
checkpoint-status | 89e09eaf-62a8-4089-9c9b-7e8a586f6d05 |  | checkpoint | Hot works permits being issued
checkpoint-status | 95ac81d3-6e6e-4629-933a-750556d611ba |  | checkpoint | Fire extinguishers on hand
checkpoint-status | da5b809c-5d05-492b-8f46-449bb119bf64 |  | checkpoint | Operators using PPE
checkpoint-group | 9d230632-b6ea-46d3-8138-5294ef82ef9c |  | section | Electrical Equipment
checkpoint-status | d18070d4-d5c1-4a58-a685-d8a555dd5a77 |  | checkpoint | Main board lockable/weatherproof
checkpoint-status | a816ecf5-153f-4d5e-8b6a-9e48a2c0d484 |  | checkpoint | Current tagged and damage free leads
checkpoint-status | fe6c69ee-9f17-4cfc-ac7c-437ca7cc3ec3 |  | checkpoint | Current tagged plant
checkpoint-status | 0492579c-a6bb-4bf4-b4fa-15e5a930b8a3 |  | checkpoint | Current tagged Lifeguards
checkpoint-status | 37d8171e-c4a3-408e-b859-8c8116abdc46 |  | checkpoint | Leads safely placed
checkpoint-status | cd06e48a-a866-41c0-ae14-9d28793faa85 |  | checkpoint | Equipment in good condition
checkpoint-status | c05d1d02-2f6d-4097-b1c8-d0fe0d0d9d29 |  | checkpoint | Appropriate guards on equipment
checkpoint-status | 806a148f-e952-4fde-88d8-b328fb92efc1 |  | checkpoint | Adequate temporary lighting
checkpoint-group | c737d0b3-29ca-42e9-953a-88ebd341c26f |  | section | Chemicals
checkpoint-status | 06d6daaf-4b8f-422d-82c6-79b2a0b8647d |  | checkpoint | Correctly Stored
checkpoint-status | 0235d3f7-89da-4e4a-b5de-e106c227d0c5 |  | checkpoint | MSDS available
checkpoint-status | d8eb333b-a31d-4714-bdbd-e07bf688faba |  | checkpoint | Operators using PPE
checkpoint-group | f0c0e2d6-26bb-4c82-ab81-e39fb95dd58c |  | section | Tools
checkpoint-status | ad444232-bd43-426f-a845-e64dbe7a8930 |  | checkpoint | PAT tool WOF current and secure
checkpoint-status | 72bac88e-5bd1-4c62-90a6-8dc9f4033fca |  | checkpoint | Staff trained in tool use (SWPS)
checkpoint-status | 9d405166-648b-4c51-9bc9-8ef8e28588db |  | checkpoint | PAT signage on site
checkpoint-group | 6b22a9ea-ef56-4569-928c-ce906a50b2e0 |  | section | Scaffolding
checkpoint-status | 6e0a32ed-d726-4e09-acb6-b584ba8864ee |  | checkpoint | Notifiable weekly Scaftag/current
checkpoint-status | c9f2f2ac-47a8-4bc9-a20b-872f266236b4 |  | checkpoint | Handrails/mid-rails
checkpoint-status | 990e1ddc-e3e6-4553-b504-100ef5073380 |  | checkpoint | Toe boards
checkpoint-status | 5352f3e9-ccc6-4bac-90ed-67a7a80ed217 |  | checkpoint | Platforms
checkpoint-status | a089fea4-e6d8-4c91-b4cb-966709522f1e |  | checkpoint | Ladders/stairs
checkpoint-status | a9d63ef7-5828-4794-a38f-ad7b74484cc4 |  | checkpoint | Base sound
checkpoint-status | 0bc5ed85-e80e-49cb-94ce-13f1ba861212 |  | checkpoint | Work platforms clear
checkpoint-status | 781e71c0-fc7e-452b-8b6b-3f7b654794bb |  | checkpoint | Platforms trip free
checkpoint-status | f23c2fcd-66db-47a4-ab35-e4059d272b7c |  | checkpoint | Planks tied down
checkpoint-status | 0b57261a-04b7-4b53-92f3-73fe0326d19a |  | checkpoint | Headroom clear
checkpoint-status | 0bb0d689-1813-46f8-a9f7-4444fae2cdcc |  | checkpoint | Ties/bracing adequate
checkpoint-group | f5e277bc-a911-462e-97e7-9f2b34bba88b |  | section | Ladders
checkpoint-status | 124d7cf4-7746-4b80-9e89-646bdd733f76 |  | checkpoint | Good Condition
checkpoint-status | 3fac2a5c-5f36-4e0a-a955-be460783d946 |  | checkpoint | Secured top and bottom
checkpoint-status | eb0aae32-3875-4efa-9f44-a277f00c6dbb |  | checkpoint | Stays to step ladders
checkpoint-status | 641dee14-c8b5-4cce-bbf2-ae57cd09c6e3 |  | checkpoint | Working 2 Steps down
checkpoint-group | 513875da-5df0-49f5-8f89-07b19f921a2a |  | section | Fall Hazards
checkpoint-status | dbb232eb-969d-4867-a699-0df83805cb6c |  | checkpoint | Floor edges
checkpoint-status | f02f9ac4-752a-4ac2-b65e-0d5b8953b4ea |  | checkpoint | Floor openings
checkpoint-status | 5d2c2c98-4127-41ec-8841-a8a72617132f |  | checkpoint | Lift shafts
checkpoint-status | 39e5b3fa-ccee-4881-827e-8818afa060a6 |  | checkpoint | Stairs
checklist-flat | c6ae31f3-f8cb-40ff-bfcf-01f140f6e103 |  | checklist | Roof Report |  |  |  |  | Yes | Add Roof Report | eb96c486-d86a-40c7-be84-52d051e90d12
checkpoint-no-status | 4bfce280-0758-45fb-b52f-8712413aa9ee |  | checkpoint | Details
text | f196f513-4065-59b8-aeb0-cec97fd8a224 |  | textbox | Date:
text | bd917944-06fb-5209-ac8d-8e6fb85a99e7 |  | textbox | Job Number
checkpoint-status | 0b30d8a3-f904-43ed-a168-c3866271a6a5 |  | checkpoint | Annual Roof Inspection & Report
text | 39ba6f2b-1248-5d3d-8281-45e744b49deb |  | textbox | Job Name:
text | 814c41fe-1842-5c63-a82b-4b0586c5c3f5 |  | textbox | BC#
text | 79e7e5c1-161b-5b1b-9a81-8c36d6cc5681 |  | textbox | Address:
text | a14a9151-2526-5dd1-bc04-b8da253969a7 |  | textbox | Client Contact
text | 6a1f496f-6dbb-52c9-80de-31fab78ea305 |  | textbox | Worker
text | f4ac6388-b044-57e7-9846-386df31ddbbd |  | textbox | Overall comments of roof
checkpoint-no-status | ba6c03bf-0b7c-4968-b5ff-b5ef1d343765 |  | checkpoint | Photos (1)
text | a3d07c77-a486-5e9b-b119-c22f1dec76a6 |  | textbox | Description
checkpoint-no-status | 9da43614-6f70-40ee-bf59-5ca9e8fc2cff |  | checkpoint | Photos (2)
text | cff22d20-acfc-524d-9815-b490fd691ea5 |  | textbox | Description
checkpoint-no-status | 313dab60-1a6b-40bb-ad37-d46ba1339f42 |  | checkpoint | Photos (3)
text | 5e7eddc9-362e-53ab-a9cf-1a2e534edafe |  | textbox | Description
checkpoint-no-status | 8eaa0384-32c2-404a-958d-cebbf6c712d7 |  | checkpoint | Photos (4)
text | b4420e1c-87dc-59a4-b56d-f8ef2fc15ac1 |  | textbox | Description
checkpoint-no-status | a2a74be2-9825-4c09-899b-8c8644755e0c |  | checkpoint | Photos (5)
text | e2acf690-8000-5005-9a16-dd5012aa9826 |  | textbox | Description
checkpoint-no-status | cd578bed-e5b4-4b85-90fe-7012503c1283 |  | checkpoint | Photos (6)
text | 6c960f3d-5d09-5e8f-b85c-725c3d1a9d6c |  | textbox | Description
checkpoint-no-status | 58440e4f-ae77-43b6-a976-2d5da7f208c9 |  | checkpoint | Photos (7)
text | 64815369-9b33-5a7e-827a-d43d41c711b5 |  | textbox | Description
checkpoint-no-status | 85f614b3-4701-4dc2-803b-fb45a2ec2527 |  | checkpoint | Photos (8)
text | eb130f42-782d-58c6-bf17-3111f582b7a2 |  | textbox | Description
checkpoint-no-status | b25bfd4f-bb59-4791-ab5e-015b8a95da74 |  | checkpoint | Photos (9)
text | 023d4001-7da2-576a-9633-fd9ad3e66262 |  | textbox | Description