## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | Equipment Commissioning
section | Installation
checkpoint | Provides adequate airflow to the unit and allows full access to front door
checkpoint | Room ambient +10° to +30°, Humidity less than 60% RH
checkpoint | No Damage to Unit / Door alignment / Door seal adequate
checkpoint | Connect power
checkpoint | Connect B.M.S Alarms
checkpoint | Install & Alarm Battery
checkpoint | Lock front castors once cabinet positioned
checkpoint | Position Shelves
checkpoint | Achieve set temperature of unit
checkpoint | Temperature & Power loss alarms. Received by BMS contractor
checkpoint | Operational Manual & Keys supplied with Unit
checkpoint | Cabinet at temperature, alarms tested with BMS contractor and no known faults. Unit fit for use.
section | Final Checks
checkpoint | Clean, defect-free, and operational