## Structure
Tier 1 | Tier 2 | Tier 3 | Instruction to CONQA | Checklist Name | Grouping
Site QA
| Ground | Care G001 |  | QA-Nogging installation
QA-Doors installation
QA-Trims installation
QA-Bathroom Fit-off installation
QA-Doors hardware installation
|  | Care G002 | Copy to G001 Chicklist
Care G003
Care G004
Care G005
Care G006-ACC
Care G007
Care G008-ACC
Care G009
Care G010
Care G011
Care G012
Care G013
Care G014
Care G015
Care G016
Care G017
Care G018
Care G019
Care G020
Care G021
Care G022
Care G023
Care G024
Care G025
Care G026
Care G027
Care G028
Care G029
Care G030
Care G031-ACC
Care G032
Care G033-ACC
Care G034
Care G035
Care G036
Care G037
Care G038
Care G039
Care G040
|  | Lounge |  | QA-Nogging installation
QA-Doors installation
QA-Trims installation
QA-Doors hardware installation
|  | Store | Copy to Lounge Chicklist
Linen
Sluice
Cleaner
Common Area
| L1 | Care 1001 |  | QA-Nogging installation
QA-Doors installation
QA-Trims installation
QA-Bathroom Fit-off installation
QA-Doors hardware installation
|  | Care 1002 | Copy to 1001 Chicklist
Care 1003
Care 1004
Care 1005
Care 1006-ACC
Care 1007
Care 1008-ACC
Care 1009
Care 1010
Care 1011
Care 1012
Care 1013
Care 1014
Care 1015
Care 1016
Care 1017
Care 1018
Care 1019
Care 1020
Care 1021
Care 1022
Care 1023
Care 1024
Care 1025
Care 1026
Care 1027
Care 1028
Care 1029
Care 1030
Care 1031-ACC
Care 1032
Care 1033-ACC
Care 1034
Care 1035
Care 1036
Care 1037
Care 1038
Care 1039
Care 1040
|  | Lounge |  | QA-Nogging installation
QA-Doors installation
QA-Trims installation
QA-Doors hardware installation
|  | Comms | Copy to Lounge Chicklist
Linen
Sluice
Cleaner
Common Area
| L2 | Care 2001 |  | QA-Nogging installation
QA-Doors installation
QA-Trims installation
QA-Bathroom Fit-off installation
QA-Doors hardware installation
|  | Care 2002 | Copy to 2001 Chicklist
Care 2003
Care 2004
Care 2005
Care 2006-ACC
Care 2007
Care 2008-ACC
Care 2009
Care 2010
Care 2011
Care 2012
Care 2013
Care 2014
Care 2015
Care 2016
Care 2017
Care 2018
Care 2019
Care 2020
Care 2021
Care 2022
Care 2023
Care 2024
Care 2025
Care 2026
Care 2027
Care 2028
Care 2029
Care 2030
Care 2031-ACC
Care 2032
Care 2033-ACC
Care 2034
Care 2035
Care 2036
Care 2037
Care 2038
Care 2039
Care 2040
|  | Lounge |  | QA-Nogging installation
QA-Doors installation
QA-Trims installation
QA-Doors hardware installation
|  | Comms | Copy to Lounge Chicklist
Linen
Sluice
Cleaner
Common Area

## Checklists
Type | Name | Values | Prefix | Postfix
checklist | QA-Nogging installation
section | Details
checkpoint | Job details
textbox | Location of Nogging
checkpoint | Handover from main contractor
tickbox | Service mark ready
tickbox | Stud space ready
date | Handover date:
section | Nogging Installation
checkpoint | In the center of sevice mark
checkpoint | Screws both side
section | Handover to Lining Installation
checkpoint | Handover to lining installation
date | Handover date:
checklist | QA-Doors installation
section | Details
checkpoint | Job details
textbox | Location of door
checkpoint | Handover
tickbox | Door opening is ready
tickbox | Door opening is right size
date | Handover date:
section | Doors Installation
tickbox | The door is plumb and flat to GIB finish
tickbox | Gap around the door leaf and framing is between 1-3mm
tickbox | Gap under the fire doors is less than 10mm
tickbox | Sliding door open and close smooth
tickbox | Door sealer installed with 3mm gap between door stop and door leaf
section | Handover
checkpoint | Handover to painter and hardware installer
date | Handover date:
checklist | QA-Trims installation
section | Details
checkpoint | Job details
textbox | Location of Trims
checkpoint | Handover
tickbox | Plater and sandig finished
tickbox | Wall is flat
date | Handover date:
section | Trim Installation
tickbox | Architrave installation
tickbox | Skirting installation
section | Handover
checkpoint | Handover to painter
date | Handover date:
checklist | QA-Bathroom Fit-off installation
section | Details
checkpoint | Job details
textbox | Location of bathroom
checkpoint | Handover
tickbox | Wall tiling or painting is ready
date | Handover date:
section | Bathroom Fit-off Installation
tickbox | Grabrail, Seat, Shelf
tickbox | Paper Towel Dispenser, Towel ring
tickbox | WC, Grabrail
tickbox | WHB - Whb, Soap dispenser, Toohbrush
tickbox | Mirror Cabinet
tickbox | Bathroom Robe Hook
tickbox | Tablet holder
section | Handover
checkpoint | Handover to Ryman
date | Handover date:
checklist | QA-Doors hardware installation
section | Details
checkpoint | Job details
textbox | Location of door
checkpoint | Handover
tickbox | Door stop is right position to setup the hardware
date | Handover date:
section | Doors Hardware Installation
tickbox | Hollowcore Door Hardware
tickbox | Fire Door Hardware
section | Handover
checkpoint | Handover to Ryman
date | Handover date: