## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Commissioning checklist |  |  |  |  | Yes | Commissioning checklist | 1216340b-06f5-41cb-afe3-359e66156f51
checkpoint-status |  |  | checkpoint | Bulk Hot Water
checkpoint-status |  |  | checkpoint | Test Hot Water Temperature
checkpoint-status |  |  | checkpoint | Test Waste for leaks
checkpoint-status |  |  | checkpoint | Run Cycle on Dishwasher
checklist-flat |  |  | checklist | Drains checklist |  |  |  |  | Yes | Drains checklist | 159b324a-bce1-4da1-93ad-db40eadaf73f
checkpoint-status |  |  | checkpoint | Smoke Seal Penetrations installed as per the current drawings
checkpoint-status |  |  | checkpoint | Acoustic Lagging installed as per the current drawings
checkpoint-status |  |  | checkpoint | Testing (Water/Air) as per the current standard
checklist-flat |  |  | checklist | Penetrations checklist |  |  |  |  | Yes | Penetrations checklist | 764a484f-f189-45fe-b883-f4818e2f2baf
checkpoint-status |  |  | checkpoint | Set out as per penetration drawing
checklist-flat |  |  | checklist | Rough In Checklist |  |  |  |  | Yes | Rough In Checklist | 815657d1-1ec8-49e1-ac8c-18416455b793
checkpoint-status |  |  | checkpoint | High Level Rough In
checkpoint-status |  |  | checkpoint | Wall Set Out
checkpoint-status |  |  | checkpoint | Wall Rough In
checkpoint-status |  |  | checkpoint | Waste Rollovers
checkpoint-status |  |  | checkpoint | Test Water
checklist-flat |  |  | checklist | Fire Collar checklist |  |  |  |  | Yes | Fire Collar checklist | 86a646e6-9d03-42ac-a7de-2e028a14d747
checkpoint-status |  |  | checkpoint | Fire Collar installed
checkpoint-status |  |  | checkpoint | Cast in Drains c/w
checkpoint-status |  |  | checkpoint | Cast in Drains c/w Polilag as per current drawing
checklist-flat |  |  | checklist | Fit Off checklist |  |  |  |  | Yes | Fit Off checklist | bac08306-7795-4c7b-8d37-e2979b1b9b2a
checkpoint-status |  |  | checkpoint | Laundry Trough
checkpoint-status |  |  | checkpoint | Laundry Trough Mixer
checkpoint-status |  |  | checkpoint | Laundry Trough Mini Stops
checkpoint-status |  |  | checkpoint | Laundry Trough Waste
checkpoint-status |  |  | checkpoint | Kitchen Mini Stops
checkpoint-status |  |  | checkpoint | Kitchen Sink Waste
checkpoint-status |  |  | checkpoint | Kitchen Sink Mixer
checkpoint-status |  |  | checkpoint | Kitchen Dishwasher
checkpoint-status |  |  | checkpoint | Bathroom Shower Mixer
checkpoint-status |  |  | checkpoint | Bathroom Shower Rail/Rose
checkpoint-status |  |  | checkpoint | Bathroom Basin
checkpoint-status |  |  | checkpoint | Bathroom Basin Mixer
checkpoint-status |  |  | checkpoint | Bathroom Bottle Trap
checkpoint-status |  |  | checkpoint | Bathroom Toilet
checklist-flat |  |  | checklist | Corridor checklist |  |  |  |  | Yes | Corridor checklist | e78ce287-4e7a-40ac-ad82-b851d5bd5207
checkpoint-status |  |  | checkpoint | Rainwater
checkpoint-status |  |  | checkpoint | Hot Water
checkpoint-status |  |  | checkpoint | Hot Water Lagged
checkpoint-status |  |  | checkpoint | Cold Water
checkpoint-status |  |  | checkpoint | Test Hot Water
checkpoint-status |  |  | checkpoint | Test Cold Water
checkpoint-status |  |  | checkpoint | Test Rain Water
checkpoint-status |  |  | checkpoint | Fire Caulking (Corridor to Apt)
checkpoint-status |  |  | checkpoint | Cold Water Meter Manifold