## Project Structure
Folder Structure |  |  | Checklists
ADJ - Site QA
LEVEL 5 - RAPID ACCESS HUB
|  | Cable Tray | Cable Tray
|  | A14.51(2)_RLS - PROCEDURE RM | Rough In & Fit Off Body Protectedd Areas
|  | A14.52(2)_RLS - IVF LAB | Rough In & Fit Off General Areas
|  | A14.52(2)_RLS - EQUIP. STORE | Rough In & Fit Off General Areas
|  | A14.53(2)_RLS - SET-UP RM | Rough In & Fit Off General Areas
|  | A14.53(2)_RLS - DECON | Rough In & Fit Off General Areas
|  | A14.54(2)_RLS - SCRUB | Rough In & Fit Off General Areas
|  | A14.54(2)_RLS - CUPBOARD | Rough In & Fit Off General Areas
|  | A14.55(2)_RLS - WRITE-UP | Rough In & Fit Off General Areas
|  | A14.55(2)_RLS - CORRIDOR | Rough In & Fit Off General Areas
|  | A14.56(3)_RLS - ACC. WC | Rough In & Fit Off General Areas
|  | A14.56(3)_RLS - SUB-DU | Rough In & Fit Off General Areas
|  | A14.57(2)_RLS - PATIENT BAYS | Rough In & Fit Off Body Protectedd Areas
|  | A14.58(3)_RLS - LINEN | Rough In & Fit Off General Areas
|  | A14.58(3)_RLS - RESUS | Rough In & Fit Off Body Protectedd Areas
|  | A14.59(2)_RLS - STAFF STATION | Rough In & Fit Off Body Protectedd Areas
|  | A14.60(2)_RLS - UNISEX WC | Rough In & Fit Off General Areas
|  | A14.61(3)_RLS - INTV01 | Rough In & Fit Off General Areas
|  | A14.61(3)_RLS - INTV02 | Rough In & Fit Off General Areas
|  | A14.62(3)_RLS - CH WAIT | Rough In & Fit Off General Areas
|  | A14.62(3)_RLS - CORRIDOR | Rough In & Fit Off General Areas
|  | A14.81(2)_RLS - CLEAN STORE | Rough In & Fit Off General Areas
|  | A14.81(2)_RLS - DIRTY LINEN | Rough In & Fit Off General Areas
|  | A14.82(2)_RLS - HWB | Rough In & Fit Off General Areas
|  | A14.82(2)_RLS - CORRIDOR | Rough In & Fit Off General Areas
|  | A14.84(2)_RLS - OFFICE | Rough In & Fit Off General Areas
|  | A14.84(2)_RLS - CORRIDOR SHARED | Rough In & Fit Off General Areas
ELECTRICAL SWITCHBOARDS
|  | ESB-L5N-2ES | DB 1
|  | ESB-L5N-2NS | DB 1
|  | ESB-L5N-2UPS | DB 1

## ITPS
type | name | values
checklist | DB 1
checkpoint | CB's installed
checkpoint | RCBO's installed
checkpoint | RCBO's Tested
checkpoint | Lighting feeds roughed in
checkpoint | Power feeds roughed in
checkpoint | Lighting fit off
checkpoint | Power fit off
checkpoint | Schedule completed (attached to door)
checkpoint | DB cleaned
checkpoint | Escutchion secured
checkpoint | DB complete
checklist | DB2
checkpoint | DB installed
checkpoint | CB's installed
checkpoint | Mains roughed in
checkpoint | Power feeds roughed in
checkpoint | Mains fit off
checkpoint | Power fit off
checkpoint | Schedule completed
checkpoint | DB cleaned
checkpoint | Glands tight
checkpoint | Escutchion secured
checkpoint | DB complete
checklist | DB3
checkpoint | DB installed
checkpoint | CB's installed
checkpoint | Mains roughed in
checkpoint | Power feeds roughed in
checkpoint | Mains fit off
checkpoint | Power fit off
checkpoint | Schedule completed
checkpoint | DB cleaned
checkpoint | Glands tight
checkpoint | Escutchion secured
checkpoint | DB complete
checklist | Rough In & Fit Off General Areas
checkpoint | Lighting roughed in
checkpoint | Power roughed in
checkpoint | Light feed installed
checkpoint | Power feeds installed
checkpoint | Lighting fit off
checkpoint | Power fit off
checkpoint | Room complete
checkpoint | Delays/issues
checklist | Rough In & Fit Off Body Protected Areas
checkpoint | Lighting roughed in
checkpoint | Power roughed in
checkpoint | Light feed installed
checkpoint | Power feeds installed
checkpoint | RCD mechanical protection installed
checkpoint | Lighting fit off
checkpoint | Power fit off
checkpoint | Medical Service Panels fit off
checkpoint | BPA Sign installed
checkpoint | Room complete
checkpoint | Delays/issues
checklist | Cable Tray
checkpoint | Cable Tray Completed
checkpoint | Seismic Brackets Complete
checkpoint | Delays/issues
checklist | Submains
checkpoint | Mains roughed in
checkpoint | Mains fit off
checkpoint | DB cleaned
checkpoint | Glands tight
checkpoint | Escutchion secured
checkpoint | CES recived
checkpoint | DB complete