## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | 7ea023bf-9e22-410a-8a63-49dfdb599b05 |  | checklist | Test Sheet (Generator) |  |  |  |  | Yes | Test Sheet Checklist (Generator) | 5c60c9e3-8c79-4c18-9704-edd01f38f3db
checkpoint-status | 69499a61-dd0b-4f4d-b0d0-4e3040911de7 |  | checkpoint | 3 Phase Submain Cable Testing Completed
checkpoint-status | c7638890-2aaf-46aa-8fed-f0f961a1462f |  | checkpoint | Earth Loop Impedance Completed
checkpoint-status | 24f8c305-f6c5-4da9-9c84-97658c44e61e |  | checkpoint | Thermal Imaging Completed
checkpoint-status | 56cceda3-9f5a-4326-b828-24e170f0bcdd |  | checkpoint | Secondary Injection Testing Completed
checkpoint-status | 7cad639a-c42a-437f-b87c-7b18d95fc455 |  | checkpoint | Certification Documentation
checklist-flat | aa18d1fe-820d-45ee-bc7a-7ac3c8d53e67 |  | checklist | Wricon Terminal Plates |  |  |  |  | Yes | Wricon Terminal Plate Checklist | 8233be39-9c37-4eb6-8be3-dbb0910d06f0
checkpoint-status | 3508dd01-ba96-4c9b-8ce8-2d9537874fde |  | checkpoint | Wricon Welded to Column
checkpoint-status | 878b992e-0ff4-4974-aac5-3c584873f481 |  | checkpoint | Terminal Plates Cast into face of columns
checklist-flat | 85efc019-cd2b-48ca-b014-c766512dd09a |  | checklist | Earth Pit |  |  |  |  | Yes | Earth Pit Checklist | 9839d77f-19af-4167-b344-651e7709ed8c
checkpoint-status | bea09e05-6f30-467d-a30c-77d17ab3212e |  | checkpoint | Earth Pit Installed
checkpoint-status | 8bb2e4f8-8ed3-4af5-86cb-3fcbc9a3ebad |  | checkpoint | Terminal Plate Cast Into top of pile cap
checklist-flat | 0c264f22-5d7f-4975-ae7c-5922adae0327 |  | checklist | Test Sheet (Generator) |  |  |  |  | Yes | zSYS - Test Sheet Checklist (Generator) (old version, 05-12-23) | b1b036da-a964-4211-a896-cdd355cb7a2d
checkpoint-status | d329cee9-36b3-4a37-b5c2-b49c74036ef5 |  | checkpoint | 3 Phase Submain Cable Testing Completed
checkpoint-status | 0c780b05-8cd0-4d93-9ce4-14ece0ef1e4e |  | checkpoint | Earth Loop Impedance Completed
checkpoint-status | e5be6fd1-42bc-46e2-a8e8-b2e912e92a38 |  | checkpoint | Thermal Imaging Completed
checkpoint-status | 87201ea6-6194-49cb-aa57-6306563e8dfb |  | checkpoint | Secondary Injection Testing Completed
checklist-flat | dd326841-07b4-4056-8d24-7f21b8d4b158 |  | checklist | Photos |  |  |  |  | Yes | Photos Checklist | cfd74bcd-8a7c-4cc5-9dee-ee8bd3cf885b
checkpoint-status | b142ab69-3131-4bb7-85c6-76a0b942a42d |  | checkpoint | Photos
checklist-flat | 9884e404-755d-47fd-9aa9-37bf7ac1bd3e |  | checklist | Test Sheets (Lightning) |  |  |  |  | Yes | Test Sheet Checklist | f2f85647-0ee9-426f-9b49-4bc332834bae
checkpoint-status | 3d2c40d1-2d08-46c5-ba20-fd0cd2d859b7 |  | checkpoint | Ductor Testing Completed
checkpoint-status | 6c11adc5-ece6-4e33-af4e-6f12810addbd |  | checkpoint | Earth Resistance and Continuity Testing Completed
checkpoint-status | 4a53b8de-4e0b-4ff2-aea9-f56c8a4b0b1b |  | checkpoint | Certification Documentation