## Sheet1
1/1A | DRAWINGS (FOR CONSTRUCTION) | 3,7 | 1/1A - DRAWINGS (FOR CONSTRUCTION) | ACCEPTANCE CRITERIA: 3,7 | 1/1A - DRAWINGS (FOR CONSTRUCTION)
2 | MAIN AND DISTRIBUTION PANELS | 1,2,3,5 | 2 - MAIN AND DISTRIBUTION PANELS | ACCEPTANCE CRITERIA: 1,2,3,5 | ACCEPTANCE CRITERIA: 3,7
3 | MAINS AND SUBMAINS | 1,2,3,5 | 3 - MAINS AND SUBMAINS | ACCEPTANCE CRITERIA: 1,2,3,5 | 2 - MAIN AND DISTRIBUTION PANELS
4 | CABLE TRAY / LADDER / TRENCHING | 2,3 | 4 - CABLE TRAY / LADDER / TRENCHING | ACCEPTANCE CRITERIA: 2,3 | ACCEPTANCE CRITERIA: 1,2,3,5
5 | CONDUIT | 1,2,3 | 5 - CONDUIT | ACCEPTANCE CRITERIA: 1,2,3 | 3 - MAINS AND SUBMAINS
6 | LIGHT AND POWER CIRCUITS / DETECTION CHAR(AMP) EWIS CIRCUITS | 1,2,3 | 6 - LIGHT AND POWER CIRCUITS / DETECTION CHAR(AMP) EWIS CIRCUITS | ACCEPTANCE CRITERIA: 1,2,3 | ACCEPTANCE CRITERIA: 1,2,3,5
7 | LIGHT FITTINGS | 1,2,3,5 | 7 - LIGHT FITTINGS | ACCEPTANCE CRITERIA: 1,2,3,5 | 4 - CABLE TRAY / LADDER / TRENCHING
8 | ELECTRICAL EQUIPMENT / ACCESSORIES | 1,2,3 | 8 - ELECTRICAL EQUIPMENT / ACCESSORIES | ACCEPTANCE CRITERIA: 1,2,3 | ACCEPTANCE CRITERIA: 2,3
9/9A | TELECOM RETICULATION | 1,2,3,7 | 9/9A - TELECOM RETICULATION | ACCEPTANCE CRITERIA: 1,2,3,7 | 5 - CONDUIT
10/10A | SKIRTING DUCT | 1,2,3 | 10/10A - SKIRTING DUCT | ACCEPTANCE CRITERIA: 1,2,3 | ACCEPTANCE CRITERIA: 1,2,3
11 | MATERIAL DELIVERY | --- | 11 - MATERIAL DELIVERY | ACCEPTANCE CRITERIA: --- | 6 - LIGHT AND POWER CIRCUITS / DETECTION CHAR(AMP) EWIS CIRCUITS
12/12A | LIGHTNING PROTECTION | 2 | 12/12A - LIGHTNING PROTECTION | ACCEPTANCE CRITERIA: 2 | ACCEPTANCE CRITERIA: 1,2,3
13/13A | AUDIO VISUAL RETICULATION (MATV) | 2 | 13/13A - AUDIO VISUAL RETICULATION (MATV) | ACCEPTANCE CRITERIA: 2 | 7 - LIGHT FITTINGS
14/14A | EWIS / FIRE PROTECTION RETICULATION | 2 | 14/14A - EWIS / FIRE PROTECTION RETICULATION | ACCEPTANCE CRITERIA: 2 | ACCEPTANCE CRITERIA: 1,2,3,5
15/15A | SECURITY / INTERCOM / CCTV | 2 | 15/15A - SECURITY / INTERCOM / CCTV | ACCEPTANCE CRITERIA: 2 | 8 - ELECTRICAL EQUIPMENT / ACCESSORIES
16/16A | POWER GENERATION (CONTROL CHAR(AMP) POWER CABLING) | 2 | 16/16A - POWER GENERATION (CONTROL CHAR(AMP) POWER CABLING) | ACCEPTANCE CRITERIA: 2 | ACCEPTANCE CRITERIA: 1,2,3
17 | NURSE CALL | 2 | 17 - NURSE CALL | ACCEPTANCE CRITERIA: 2 | 9/9A - TELECOM RETICULATION
18 | POWER FACTOR CORRECTION EQUIP | 1,2,3,5 | 18 - POWER FACTOR CORRECTION EQUIP | ACCEPTANCE CRITERIA: 1,2,3,5 | ACCEPTANCE CRITERIA: 1,2,3,7
19 | BUSDUCT | 1,2 | 19 - BUSDUCT | ACCEPTANCE CRITERIA: 1,2 | 10/10A - SKIRTING DUCT
20 | (DATA) MDF/IDF/TPF/BD/FD/TO | 1,2,3,4 | 20 - (DATA) MDF/IDF/TPF/BD/FD/TO | ACCEPTANCE CRITERIA: 1,2,3,4 | ACCEPTANCE CRITERIA: 1,2,3
21 | (DATA) CABINETS | 1,2,3,4,5 | 21 - (DATA) CABINETS | ACCEPTANCE CRITERIA: 1,2,3,4,5 | 11 - MATERIAL DELIVERY
22 | (DATA) BACKBONE - FIBRE OPTIC CABLE | 1,3,4,5,8 | 22 - (DATA) BACKBONE - FIBRE OPTIC CABLE | ACCEPTANCE CRITERIA: 1,3,4,5,8 | ACCEPTANCE CRITERIA: ---
23 | (DATA) BACKBONE - COPPER CABLE | 3,4,5,8 | 23 - (DATA) BACKBONE - COPPER CABLE | ACCEPTANCE CRITERIA: 3,4,5,8 | 12/12A - LIGHTNING PROTECTION
24 | (DATA) TELEX EARTH / TRL | 1,3,4,5,8 | 24 - (DATA) TELEX EARTH / TRL | ACCEPTANCE CRITERIA: 1,3,4,5,8 | ACCEPTANCE CRITERIA: 2
25 | (DATA) HORIZONTAL - FIBRE OPTIC | 1,3,4,5,8 | 25 - (DATA) HORIZONTAL - FIBRE OPTIC | ACCEPTANCE CRITERIA: 1,3,4,5,8 | 13/13A - AUDIO VISUAL RETICULATION (MATV)
26 | (DATA) HORIZONTAL - COPPER CABLE | 1,3,4,5,8 | 26 - (DATA) HORIZONTAL - COPPER CABLE | ACCEPTANCE CRITERIA: 1,3,4,5,8 | ACCEPTANCE CRITERIA: 2
27 | (DATA) EQUIPMENT - HUBS CHAR(AMP) EQUIP CABLES | 1,3,4,5,8 | 27 - (DATA) EQUIPMENT - HUBS CHAR(AMP) EQUIP CABLES | ACCEPTANCE CRITERIA: 1,3,4,5,8 | 14/14A - EWIS / FIRE PROTECTION RETICULATION
28/28A | RODING, HAULING CHAR(AMP) BLOWING CABLE | 2,3,8,9 | 28/28A - RODING, HAULING CHAR(AMP) BLOWING CABLE | ACCEPTANCE CRITERIA: 2,3,8,9 | ACCEPTANCE CRITERIA: 2
29/29A | COPPER, FIBRE OPTIC TERMINATION | 2,3,8,9 | 29/29A - COPPER, FIBRE OPTIC TERMINATION | ACCEPTANCE CRITERIA: 2,3,8,9 | 15/15A - SECURITY / INTERCOM / CCTV
30/30A | TESTING / COMMISSIONING | 2 | 30/30A - TESTING / COMMISSIONING | ACCEPTANCE CRITERIA: 2 | ACCEPTANCE CRITERIA: 2
31 | AS BUILT DRAWINGS / MANUALS | 2 | 31 - AS BUILT DRAWINGS / MANUALS | ACCEPTANCE CRITERIA: 2 | 16/16A - POWER GENERATION (CONTROL CHAR(AMP) POWER CABLING)
32 | WHSCHAR(AMP)R | 2 | 32 - WHSCHAR(AMP)R | ACCEPTANCE CRITERIA: 2 | ACCEPTANCE CRITERIA: 2
33 | ENVIRONMENTAL MANAGEMENT (2 PAGES) | 2 | 33 - ENVIRONMENTAL MANAGEMENT (2 PAGES) | ACCEPTANCE CRITERIA: 2 | 17 - NURSE CALL
34 | COMMISSIONING OF SUBCIRCUIT | 1,2,3 | 34 - COMMISSIONING OF SUBCIRCUIT | ACCEPTANCE CRITERIA: 1,2,3 | ACCEPTANCE CRITERIA: 2
65 | TEMPORARY WIRING CHAR(AMP) DB’S | 2,10 | 65 - TEMPORARY WIRING CHAR(AMP) DB’S | ACCEPTANCE CRITERIA: 2,10 | 18 - POWER FACTOR CORRECTION EQUIP
ACCEPTANCE CRITERIA: 1,2,3,5
19 - BUSDUCT
ACCEPTANCE CRITERIA: 1,2
20 - (DATA) MDF/IDF/TPF/BD/FD/TO
ACCEPTANCE CRITERIA: 1,2,3,4
21 - (DATA) CABINETS
ACCEPTANCE CRITERIA: 1,2,3,4,5
22 - (DATA) BACKBONE - FIBRE OPTIC CABLE
ACCEPTANCE CRITERIA: 1,3,4,5,8
23 - (DATA) BACKBONE - COPPER CABLE
ACCEPTANCE CRITERIA: 3,4,5,8
24 - (DATA) TELEX EARTH / TRL
ACCEPTANCE CRITERIA: 1,3,4,5,8
25 - (DATA) HORIZONTAL - FIBRE OPTIC
ACCEPTANCE CRITERIA: 1,3,4,5,8
26 - (DATA) HORIZONTAL - COPPER CABLE
ACCEPTANCE CRITERIA: 1,3,4,5,8
27 - (DATA) EQUIPMENT - HUBS CHAR(AMP) EQUIP CABLES
ACCEPTANCE CRITERIA: 1,3,4,5,8
28/28A - RODING, HAULING CHAR(AMP) BLOWING CABLE
ACCEPTANCE CRITERIA: 2,3,8,9
29/29A - COPPER, FIBRE OPTIC TERMINATION
ACCEPTANCE CRITERIA: 2,3,8,9
30/30A - TESTING / COMMISSIONING
ACCEPTANCE CRITERIA: 2
31 - AS BUILT DRAWINGS / MANUALS
ACCEPTANCE CRITERIA: 2
32 - WHSCHAR(AMP)R
ACCEPTANCE CRITERIA: 2
33 - ENVIRONMENTAL MANAGEMENT (2 PAGES)
ACCEPTANCE CRITERIA: 2
34 - COMMISSIONING OF SUBCIRCUIT
ACCEPTANCE CRITERIA: 1,2,3
65 - TEMPORARY WIRING CHAR(AMP) DB’S
ACCEPTANCE CRITERIA: 2,10