## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | Bathroom | [5 empty] | Bathroom - Commissioning Checklist
section | WC - Commissioning
checkpoint | WC siliconed
checkpoint | WC installation works are completed ( no leaks present and ready for handover )
section | WHB - Commissioning
checkpoint | Sink overflow checked ( take video of test showing mixer on and overflow working )
checkpoint | Sink mixer flow rate ( confirm flow rate matches products rating )
checkpoint | Basin mixer aerator removed and cleaner of any debris
section | Shower - Commissioning
checkpoint | Shower hose filter clear of debris
checklist | Ensuite | [5 empty] | Ensuite - Commissioning Checklist
section | WC - Commissioning
checkpoint | WC siliconed
checkpoint | WC installation works are completed ( no leaks present and ready for handover )
section | WHB - Commissioning
checkpoint | Sink overflow checked ( take video of test showing mixer on and overflow working )
checkpoint | Sink mixer flow rate ( confirm flow rate matches products rating )
checkpoint | Basin mixer aerator removed and cleaner of any debris
section | Shower - Commissioning
checkpoint | Shower hose filter clear of debris
checklist | Powder Room | [5 empty] | Powder Room - Commissioning Checklist
section | WC - Commissioning
checkpoint | WC siliconed
checkpoint | WC installation works are completed ( no leaks present and ready for handover )
section | WHB - Commissioning
checkpoint | Sink overflow checked ( take video of test showing mixer on and overflow working )
checkpoint | Sink mixer flow rate ( confirm flow rate matches products rating )
checkpoint | Basin mixer aerator removed and cleaner of any debris
checklist | Powder Room | [5 empty] | Powder Room - 2nd Fix Checklist
section | WC 2nd Fix
checkpoint | WC siliconed
checkpoint | WC installation works are completed ( no leaks present and ready for handover )
section | WHB 2nd Fix
checkpoint | Sink mixers hot & cold supplies hooked up correctly ( no cross-over )
checkpoint | Vanity works completed ( no leaks present and ready for handover )