## Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | BATHROOM 1 & 2 Fit Off |  | BATHROOM 1 & 2 Fit Off | 83836520-246e-49d9-80a4-9f992ad3eaf7
| section | BASIN
| checkpoint | JOINERY
| checkpoint | STONE
| checkpoint | BASIN
| checkpoint | MIXER
| section | WC
| checkpoint | TILE
| checkpoint | GROUT
| checkpoint | WC
| section | SHOWER
| checkpoint | TILE
| checkpoint | GROUT
| checkpoint | RAIL
| checkpoint | BATH
| checklist | Corridors |  | Corridors | dd72770e-c55f-4933-8edb-9b62670fa071
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Hot Water
| checkpoint | Cold Water
| checkpoint | Hot Water Lagging
| checkpoint | Testing
| checkpoint | Pipes clipped
| checkpoint | Valves Tagged
| checkpoint | Door Headers (Fire rated with Hilti 611A)
| checkpoint | Hot Water Meters Installed
| checkpoint | Photos must be attached
| checklist | DDA Fit Off |  | DDA Fit Off | 1230b4e9-bc3a-4be4-999d-36c440ccaded
| section | BASIN
| checkpoint | JOINERY
| checkpoint | STONE
| checkpoint | BASIN
| checkpoint | MIXER
| section | WC
| checkpoint | TILE
| checkpoint | GROUT
| checkpoint | WC
| section | SHOWER
| checkpoint | TILE
| checkpoint | GROUT
| checkpoint | RAIL
| checklist | Drains |  | Drains | cfb95631-3cb8-4229-bd35-c5b23c79a896
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | All drains installed as per Plan referenced on spreadsheet
| checkpoint | Photos must be attached
| checklist | ENSUITE Fit Off |  | ENSUITE Fit Off | 42acb8c5-67f5-4cff-80c6-89897b1cd3e7
| section | BASIN
| checkpoint | JOINERY
| checkpoint | STONE
| checkpoint | BASIN
| checkpoint | MIXER
| section | WC
| checkpoint | TILE
| checkpoint | GROUT
| checkpoint | WC
| section | SHOWER
| checkpoint | TILE
| checkpoint | GROUT
| checkpoint | RAIL
| checkpoint | BATH
| checklist | Ingrounds (Pipes below Raft Slab) |  | Ingrounds (Pipes below Raft Slab) | f6020aa2-5955-42ad-a55a-b6b6da2fb313
| section | Pipes - Geofab
| checkpoint | 90mm PVC with socked geofab
| section | Trench
| checkpoint | 200mm Trench - 400mm Wide - Trench Base to be 300mm below bliding
| checkpoint | Lay trench base with 20mm rock
| checkpoint | Install 90mm slotted stormwater with geofab sock
| section | Backfill
| checkpoint | Backfill
| checklist | Ingrounds (Pipes in Raft Slab) |  | Ingrounds (Pipes in Raft Slab) | 56ad8aaa-a3a5-4b5f-a085-8a24306cd063
| section | Lift Pumps
| checkpoint | Pump and conduit lines installed correctly
| checkpoint | Conduits to elecrial boards
| section | Pipes to B2 from B3 along retaining well
| checkpoint | Pipes to be sleeved through precast wall from B3-B2
| checkpoint | Correct location
| section | Vertical strip drain connections
| checkpoint | Install vertical strip drain to solid pipe above B2 as high as possible
| section | In raft pipes
| checkpoint | Correct size
| checkpoint | IL's pipes to be supported and sewer lagged
| checkpoint | Correct primer and glue used
| section | Pits in Raft
| checkpoint | Pipes inlet and outlet IL's correct
| checkpoint | Pipe sizing correct
| checkpoint | Grated lid installed correct size
| section | Pressure relief pipes Hydrostatic
| checkpoint | 80mm PVC - Returns at RL 0.50
| checkpoint | Back to inraft 100mm SN8 pipe -In raft slab
| section | Stormwater pumpwells 1&2 create two separate ITP's
| checkpoint | Inlet - Outlet pipes at correct IL's
| checkpoint | Pump out line size and position correct
| checkpoint | Conduit to access panels to correct area
| section | Spoon drain outlet
| checkpoint | Outlets to be directly behind columns
| checkpoint | 100mm pipe to be fit off with drop in grates once stripped
| section | Sewer pit
| checkpoint | Correct pipe sizes
| checkpoint | Inlet sizes and IL's correct
| checkpoint | Pump out lines to correct location
| checkpoint | Correct pumpout size
| checkpoint | Chamber Vents
| checklist | Kitchen Fit Off |  | Kitchen Fit Off | 228987fe-68d6-464a-b267-1ef858b323a6
| section | SINK
| checkpoint | JOINERY
| checkpoint | STONE
| checkpoint | MIXER
| checkpoint | WASTE
| checkpoint | DW CONNECT
| section | COOKTOP
| checkpoint | STONE/ SPLASH
| checkpoint | COOKTOP
| checkpoint | CONNECTION
| checklist | Lagging |  | Lagging | db033718-24a6-4ed8-ab9b-5a45bc8c721e
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Lagging Complete
| checkpoint | Photos must be attached
| checklist | LAUNDRY Fit Off |  | LAUNDRY Fit Off | a9c68209-867b-415e-825c-8043d3a1f7de
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | TILE
| checkpoint | TROUGH
| checkpoint | MINI STOP
| checkpoint | STAND PIPE
| checklist | Meter Assemblies & Risers |  | Meter Assemblies & Risers | 2f5076d0-2042-47d2-8ad3-a0a44d974c64
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Valves Tagged
| checkpoint | Meters on
| checkpoint | Assembly Complete
| checkpoint | Pipe Support
| checklist | Residential Lounge Fit Off |  | Residential Lounge Fit Off | d4e44fd1-fad9-47c4-b4b6-4d66041c0b56
| section | SINK
| checkpoint | JOINERY
| checkpoint | STONE
| checkpoint | MIXER
| checkpoint | WASTE
| checkpoint | DW CONNECT
| section | COOKTOP
| checkpoint | STONE/ SPLASH
| checkpoint | COOKTOP
| checkpoint | CONNECTION
| checklist | Rough In |  | Rough In | 07047156-3a59-4b0a-885c-a9df7a634083
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | DRAIN COMPLETE
| checkpoint | OVERFLOW EXPOSED AND CHOPPED DOWN
| checkpoint | UN-USED PENO'S SEALED
| checkpoint | ROUGH IN COMPLETE
| checkpoint | HEADER PIPES FIRE CAULKED
| checkpoint | TMV ACCESSIBLE TO A/P
| checkpoint | HOT WATER METERS INSTALLED
| checkpoint | CROSS CONNECTIONS
| checkpoint | MIXER STRAIGHT, SET BACK CORRECT
| checkpoint | WATER PRESSURE TESTED
| checkpoint | ROLL OVERS COMPLETE AND SECURE
| checkpoint | APARTMENT CLEAN OF MATERIALS
| checkpoint | FW CLEANNED, COVERED AND CLEAR OF DEBRIS
| checkpoint | AAV REQUIRED?
| checkpoint | FIXTURE SET OUT CORRECT
| checkpoint | CLIENT VARIATION CHECKED AGAINST SCHEDULE