| 1. GENERAL DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Project |  | Wager Up BESS Project |  |  |  |  | Works |  |  |  | BESS & PCS footing |  |  |  |  |  |  |  |  |
| FIC No: |  |  |  |  |  |  | Description |  |  |  | BESS & PCS footing anchor plate touch-up coating |  |  |  |  |  |  |  |  |
| Revision |  | Rev 0 |  |  |  |  | Area/Location/ Dwg. Reference: |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. SPECIFICATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Coat: | Product: |  |  |  |  |  |  |  |  | Colour: |  |  |  |  |  | DFT (μm , Min-Max): |  |  |  |
| 1 | Surface preparation – Bristle blast the damaged areas to achieve a profile of 50-75um and feather the surrounding sound galv up to 50mm |  |  |  |  |  |  |  |  | n/a |  |  |  |  |  | n/a |  |  |  |
| 2 | Apply the Interzinc 52 @ 75um |  |  |  |  |  |  |  |  | Grey |  |  |  |  |  | 75 (total) |  |  |  |
| 3 | Apply the Interplus 1180 @ 200um (if applying by brush or roller this can be done in multiple coats) |  |  |  |  |  |  |  |  | Grey |  |  |  |  |  | 200 (100 for each coat) |  |  |  |
| 3. SURFACE PREPARATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item No.: | Item Description: |  |  |  |  |  |  |  |  |  |  |  | Verified (Y/N/NA): |  |  |  | Initial & Date: |  |  |
| 3.1 | Does visual standard of surface preparation comply with specified requirements? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. COATING APPLICATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Coat No.: |  |  | Application Date: |  | Batch No.: | % RH |  | Ambient Temp(ºC) | Steel Temp(ºC) |  |  | Dew Point(ºC) |  |  | Wet Film Thickness (μm) |  |  |  | Checked By: |
| 1 |  |  |  |  |  |  |  |  | >10 Comply to ASTM D3276 |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. FIC - SPECIFIC CHECK ITEMS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item No.: |  | Item Description: |  |  |  |  |  |  |  |  |  |  |  | Verified (Y/N/NA): |  |  |  | Initial & Date: |  |
| 5.1 |  | Ambient conditions (steel temp, air temp, % RH, dew point) complies? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.2 |  | Application method complies to manufacturer’s recommendations? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.3 |  | Recoat intervals complies to manufacturer’s recommendations? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.4 |  | Colour complies to specifications? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.5 |  | Dry film thickness/Wet film thickness complies to specifications? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5.6 |  | Final appearance (runs, overspray, uniformity, etc.) acceptable? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. FIC - COMMENTS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ACCEPTED BY |  |  |  | Subcontractor REPRESENTATIVE |  |  | SEPDS REPRESENTATIVE |  |  |  |  |  |  | PRINCIPAL REPRESENTATIVE |  |  |  |  |  |
| Name: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sign: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Appendix 1: SEPDS -TQ-021 BESS & PCS Anchor Plate Touch Up Painting Procedure

Appendix 2: Products used for coating works

| Step | Product | Batch No. | Photos |
| --- | --- | --- | --- |
| Surface preparation | Dulux Metalshield Cold Galv thinner | 965-H0012 |  |
| Primer | Dulux Metalshield Cold galv | 812-87306 |  |
| Finish Coat | Luxathane MPX Part A, Luxathane MPX Part B | SK10977- MPX Part A, 34738- MPX Part B |  |

Appendix 3: Records for coating works

| Step | Product | Description | Photos |
| --- | --- | --- | --- |
| Surface preparation | Dulux Metalshield Cold Galv thinner | Sand and clean the surface of the plates |  |
| Primer | Dulux Metalshield Cold galv | Apply 3 coats of primer with 30min interval to achieve total DFT 50μm |  |
| Finish Coat | Mixture of Luxathane MPX Part A, Luxathane MPX Part B | MPX Part A & MPX Part B with 1:4 mixing ratio, 3 coats with 150WFT for each coat. The total DFT shall be no less than 24050μm |  |