## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | DB 1
section | Details
checkpoint | DB installed
checkpoint | CB's installed
checkpoint | Mains roughed in
checkpoint | Lighting feeds roughed in
checkpoint | Power feeds roughed in
checkpoint | Lighting control feeds roughed in (CBUS & DALI)
checkpoint | Mains fit off
checkpoint | Lighting fit off
checkpoint | Power fit off
checkpoint | Lighting control fit off (CBUS & DALI)
checkpoint | Schedule completed (attached to door)
checkpoint | DB cleaned
checkpoint | Glands tight
checkpoint | Escutchion secured
checkpoint | DB complete
checklist | DB 2
section | Details
checkpoint | DB installed
checkpoint | CB's installed
checkpoint | Mains roughed in
checkpoint | Power feeds roughed in
checkpoint | Mains fit off
checkpoint | Power fit off
checkpoint | Schedule completed
checkpoint | DB cleaned
checkpoint | Glands tight
checkpoint | Escutchion secured
checkpoint | DB complete
checklist | DB 3
section | Details
checkpoint | DB installed
checkpoint | CB's installed
checkpoint | Mains roughed in
checkpoint | Power feeds roughed in
checkpoint | Mains fit off
checkpoint | Power fit off
checkpoint | Schedule completed
checkpoint | DB cleaned
checkpoint | Glands tight
checkpoint | Escutchion secured
checkpoint | DB complete
checklist | Rough In & Fit Off 2
section | Details
checkpoint | Lighting roughed in
checkpoint | Power roughed in
checkpoint | Lighting control roughed in (DALI)
checkpoint | Light feed installed
checkpoint | Power feeds installed
checkpoint | Lighting fit off
checkpoint | Power fit off
checkpoint | Room complete
checklist | Cable Tray
section | Details
checkpoint | Cable Tray Completed
checklist | Submains
section | Details
checkpoint | Mains roughed in
checkpoint | Mains fit off
checkpoint | DB cleaned
checkpoint | Glands tight
checkpoint | Escutchion secured
checkpoint | CES recived
checkpoint | DB complete
checklist | Trench
section | Details
checkpoint | Depth Confirmed
checkpoint | Conduit bedding as required in the specification
checkpoint | Joins glued and secured
checkpoint | Integrity of conduit / damage
checkpoint | Backfill material in line with the specification
checkpoint | Marker tape installed as required in AS/NZS3000
checkpoint | Compaction to required level
checkpoint | Unused conduits capped / taped up
checkpoint | Pits installed to drawings
checkpoint | Light pole footing installed to drawings
checkpoint | Draw wire installed
checkpoint | Conduit type and size (mm)
checkpoint | Run length (m)
checkpoint | Runs marked on drawings (Asbuilt)