## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Commissioning |  | Commisioning | 3a1b2768-c455-45ba-98f7-5c9199af8a65
| section | Details
| checkpoint | Bulk Hot Water
| checkpoint | Test RPZD
| checkpoint | Test Hot Water Temperature
| checkpoint | Test Waste for leaks
| checklist | Corridor |  | Corridor | 10efc2a2-a2d4-4827-a47a-8ccdfcc4176b
| section | Details
| checkpoint | Hose Reel Line
| checkpoint | Hot Water
| checkpoint | Hot Water Lagged
| checkpoint | Cold Water
| checkpoint | Test Hot Water
| checkpoint | Test Cold Water
| checkpoint | Fire Caulking (Corridor)
| checklist | Drains |  | Drains | 134fea6a-e611-4b6c-89cd-5b6e877f7dff
| section | Details
| checkpoint | Drains
| checkpoint | Smoke Seal Penetrations
| checkpoint | Fire Collar
| checkpoint | Acoustic Lagging
| checkpoint | Testing (Water/Air)
| checklist | Fit Off |  | Fit Off | 935f8481-93fa-4536-ba93-d41ccc1ad65d
| section | Details
| checkpoint | Vinyl Floor Waste
| checkpoint | Hand Basin
| checkpoint | Shroud installed
| checkpoint | Scrub Trough
| checkpoint | Ministops/ Ball Valve
| checkpoint | Fixture Waste
| checkpoint | Mixer installed
| checkpoint | Dishwasher
| checkpoint | Sink
| checkpoint | Trough
| checkpoint | Fire hose Reels
| checkpoint | Bathroom Shower Mixer
| checkpoint | Bathroom Shower Rail/Rose
| checkpoint | Bathroom Basin
| checkpoint | Bathroom Basin Mixer
| checkpoint | Bathroom Bottle Trap
| checkpoint | Bathroom Toilet
| checklist | Inground Works |  | Inground Works | 2a81c47d-ec6d-44db-a3cd-700c6154d88b
| section | Details
| checkpoint | Top of pits installed to correct height
| checkpoint | Testing of drains
| checkpoint | Correct loactions of all pits / drainage points
| checkpoint | Fire Hydrant Supply
| checkpoint | Cold Water Supply
| checklist | Penetrations |  | Penetrations | 2bc96743-d142-465c-b3e5-d0ff54109aff
| section | Details
| checkpoint | Set Out
| checkpoint | Fire Collar Installation
| checkpoint | Scanning
| checklist | Plant and Equipment |  | Plant and Equipment | 9211a435-8a77-48c5-b5b6-c50330854df6
| section | Details
| checkpoint | Hot water system
| checkpoint | Heat pumps
| checklist | Rough In |  | Rough In | 1272e24b-92f2-49e4-b51e-f9724690c4a6
| section | Details
| checkpoint | High Level Rough In
| checkpoint | Noggins Marked
| checkpoint | Wall Set Out
| checkpoint | In-Wall TMV
| checkpoint | In-Wall RPZD
| checkpoint | Wall Rough In
| checkpoint | Waste Rollovers
| checkpoint | Test Water