## Project Checklist Templates
Id | Type | Name | Values | Prompting Name | Resource Id
| checklist | Commisioning |  | Commisioning | 9e2d8e78-cc1d-4f01-b202-aa2f78966651
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Bulk Hot Water
| checkpoint | Test Hot Water Temperature
| checkpoint | Test Waste for leaks
| checkpoint | Run Cycle on Dishwasher
cfea4452-0017-4dc9-8ce1-15333270ecde | checklist | Communal Bathroom Fit Off |  | Communal Bathroom Fit Off | 8a08c81d-3888-45ee-aee4-906086174ee8
1771e75d-132f-48ef-9297-bcae1b5a4e78 | section | Details
dcd5ab8c-fcdf-4b38-bb32-63633a954b31 | checkpoint | Bathroom shower mixer
92d4b2ff-ed09-4c44-bc15-612a95265b14 | checkpoint | Bathroom shower rail/rose
5d1c32c2-dde8-4052-a474-b160dd542ccc | checkpoint | Bathroom Basin
6019470b-1058-4628-8a36-3634d1e3c12c | checkpoint | Bathroom basin mixer
95151b16-c288-430b-9ef0-8ab5b129a274 | checkpoint | Bathroom bottle trap
92a86779-8b25-4898-abdb-2a14d8908440 | checkpoint | Bathroom Toilet
5c90f382-4e3d-48e1-9faf-c4e588fbf6da | checkpoint | Bathroom Urinal
| checklist | Drains |  | Drains | d68d79a6-2022-4024-bbe1-0a841dda27b3
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Drains
| checkpoint | Pod Connections
| checkpoint | Smoke Seal Penetrations
| checkpoint | Acoustic Lagging
| checkpoint | Testing (Water/Air)
| checklist | Fit Off |  | Fit Off | 599825ca-4f28-48de-9baf-41b5c936c823
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Kitchen Mini Stops
| checkpoint | Kitchen Sink Waste
| checkpoint | Kitchen Sink Mixer
| checkpoint | Kitchen Dishwasher
| checklist | Inground |  | Inground | 678a5c45-cd60-405c-96a8-89dc9e6483ee
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Sewer Drains
| checkpoint | Greasey Waste
| checkpoint | Sewer Pump
| checkpoint | Grease Interceptor
| checklist | Penetrations |  | Penetrations | d4fbe7ad-6472-401d-8e9e-5b106bda1f52
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Set Out
| checkpoint | Fire Collar Installation
| checkpoint | Cast in Drains c/w Polilag
| checklist | Rough In |  | Rough In | ecc97e7f-40fe-4ad6-8d2a-bac1d6eb98bf
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | High Level Rough In
| checkpoint | Wall Set Out
| checkpoint | Wall Rough In/ Pod Connection
| checkpoint | Waste Rollovers
| checkpoint | Test Water
| checklist | Water Riser |  | Water Riser | c0d1f9ab-6640-4d5c-8884-31c0d9225692
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
| checkpoint | Hot Water
| checkpoint | Hot Water Lagged
| checkpoint | Cold Water
| checkpoint | Test Hot Water
| checkpoint | Test Cold Water
| checkpoint | Fire Caulking (Corridor to Apt)