## Checklist Template Builder
Component | Name | Values
checklist | Facade - Monkey toe plant
section | Prestart
checkpoint | Confirm drawings, manuals, and specs are reviewed.
checkpoint | Ensure all materials are on-site and undamaged.
checkpoint | Ensure safety barriers are in place.
section | Installation
checkpoint | Verify proper placement and alignment of components.
checkpoint | Ensure all fixings are secure and torqued correctly.
checkpoint | Check the platform is level and aligned.
checkpoint | Confirm anchor points are secure and per design.
checkpoint | Inspect electrical and mechanical systems for proper installation.
section | Post Installation
checkpoint | Verify overall installation quality.
checkpoint | Verify that all bolts, nuts, and fasteners are properly tightened.
checkpoint | Check that all safety features, such as handrails and barriers, are securely in place.

## Template Components
checklist |  |  |  | This is where you specify the name of the checklist. It is a required field on all checklist templates
| section |  |  | This breaks your checklist up into collapsible sections. These are not necessary, but when used, each section must contain at least one checkpoint.
|  | checkpoint |  | This is a necessary component, all checklist templates must include at least one checkpoint. A checkpoint is where you can set the status, add comments and attach files.
|  | checkpoint-no-status |  | This can be used the same way as a checkpoint, the only difference is that it does not have a status attached. You might use this when you want to attach photos but not have them linked to a PASS/FAIL
All of the below datapoints must be attached to a checkpoint. You do this by simply making sure there is a checkpoint in your checklist template. The data point will then attach to the above checkpoint.
|  |  | button | You can set specific button values, of which only one can be selected at a time. Specify these in the 'values' column, separating each with a comma (e.g: 1, 2, 3)
|  |  | date | Provides a date input box with a calendar picker to select a date
|  |  | dropdown | This gives multiple specific answer types, of which only one (or none) can be selected at time. Specify these in the 'values' column, separating each with a comma (e.g: One, Two, Three)
|  |  | signoff | This prompts for a signature to be added, either on site, or a digital request for a signature to be sent via email to someone off site. If required these can be made mandatory.
|  |  | label | This is a text label that shows under the parent checkpoint
|  |  | number | A short text field allowing for only numerical input
|  |  | radio | You can set specific response values, of which only one can be selected at a time. Specify these in the 'values' column, separating each with a comma (e.g: A, B, C)
|  |  | note | A free text input field that allows users to write notes and add comments to the above checkpoint
|  |  | tickbox | Add a single check box that can be checked or left empty