## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat |  |  | checklist | Documentation |  |  |  |  | Yes | Documentation | 267d22e5-d676-4e58-aa3d-6d64669693b9
checkpoint-status |  |  | checkpoint | C.O.C.
checkpoint-status |  |  | checkpoint | R.O.I.
checkpoint-status |  |  | checkpoint | Test sheets complete
checkpoint-status |  |  | checkpoint | As builts complete
checkpoint-status |  |  | checkpoint | PS3
checkpoint-status |  |  | checkpoint | Emergency lighting labelled
checkpoint-status |  |  | checkpoint | EM test sheets
checklist-flat |  |  | checklist | Floor penetrations |  |  |  |  | Yes | Floor penetrations | 293c913b-d047-4f7b-a804-09375dbd1fa9
checkpoint-status |  |  | checkpoint | Penetration/chase marked as per plan
checkpoint-status |  |  | checkpoint | Depth/width correct for conduit/floor box
checklist-flat |  |  | checklist | Main Switchboard Checklist |  |  |  |  | Yes | Main Switchboard Checklist | 30894f5c-69e3-4863-ae8e-2f6baf8c66ed
checkpoint-status |  |  | checkpoint | Switchboard securly fastened
checkpoint-status |  |  | checkpoint | Switcboard bonded
checkpoint-status |  |  | checkpoint | Teminals correctly crimped
checkpoint-status |  |  | checkpoint | Lugs heat shrinked
checkpoint-status |  |  | checkpoint | Lugs torqued
checkpoint-status |  |  | checkpoint | Polarity correct
checkpoint-status |  |  | checkpoint | All cables tested
checkpoint-status |  |  | checkpoint | All labels installed
checkpoint-status |  |  | checkpoint | Test sheets complete
checkpoint-status |  |  | checkpoint | C.O.C complete
checkpoint-status |  |  | checkpoint | R.O.I required
checkpoint-status |  |  | checkpoint | Live tests complete
checklist-flat |  |  | checklist | Heating circuits first fix |  |  |  |  | Yes | Heating circuits first fix | 3524968c-10fd-4fe6-8e2b-45155329f5df
checkpoint-status |  |  | checkpoint | Cable sizes confirmed
checkpoint-status |  |  | checkpoint | Cabling run to heater locations
checkpoint-status |  |  | checkpoint | Cabling run to push button locations
checklist-flat |  |  | checklist | Fit Off (Signage) Checklist |  |  |  |  | Yes | Fit Off (Signage) Checklist | 4a1621b5-08af-4482-abad-42c95ad3ffde
checkpoint-status |  |  | checkpoint | Insulation test cables
checkpoint-status |  |  | checkpoint | Correct fitting identified
checkpoint-status |  |  | checkpoint | Polarity correct
checkpoint-status |  |  | checkpoint | Terminations correct
checkpoint-status |  |  | checkpoint | Bonding
checklist-flat |  |  | checklist | Heating circuits second fix |  |  |  |  | Yes | Heating circuits second fix | 56dbac54-f5d4-4e01-8d3d-565d7a3a85e9
checkpoint-status |  |  | checkpoint | Heaters installed correct locations
checkpoint-status |  |  | checkpoint | Terminated correctly
checkpoint-status |  |  | checkpoint | Push buttons wired
checkpoint-status |  |  | checkpoint | Buttons / contactors tested
checklist-flat |  |  | checklist | Lighting circuits second fix |  |  |  |  | Yes | Lighting circuits second fix | 6c6d4448-ba88-45d3-b6a0-3063dd0f1a09
checkpoint-status |  |  | checkpoint | Correct light type installed
checkpoint-status |  |  | checkpoint | Correct number installed
checkpoint-status |  |  | checkpoint | Correct location
checkpoint-status |  |  | checkpoint | Local switching installed
checkpoint-status |  |  | checkpoint | Sensor installed
checkpoint-status |  |  | checkpoint | Emergency lighting type installed
checklist-flat |  |  | checklist | Flush box |  |  |  |  | Yes | Flush box | 6e022241-8582-4068-a5bf-e2cbacb85ba4
checkpoint-status |  |  | checkpoint | Correct location
checkpoint-status |  |  | checkpoint | Correct height
checklist-flat |  |  | checklist | Power circuits second fix |  |  |  |  | Yes | Power circuits second fix | 71f74cb6-9350-4b55-b38d-5471f01726d5
checkpoint-status |  |  | checkpoint | Outlets installed, level and labelled
checkpoint-status |  |  | checkpoint | RCD outlets correct rating for space 10ma/30ma
checkpoint-status |  |  | checkpoint | Starters installed
checkpoint-status |  |  | checkpoint | Floor boxes fit off
checkpoint-status |  |  | checkpoint | Kitchen outlets/isolators/hw kits
checklist-flat |  |  | checklist | Submain |  |  |  |  | Yes | Submain | 79fcf988-e74c-4a29-b6a0-b24afcbcc6a8
checkpoint-status |  |  | checkpoint | Correct size confirmed
checkpoint-status |  |  | checkpoint | Length of tails
checkpoint-status |  |  | checkpoint | Lugs correct size / hole size
checklist-flat |  |  | checklist | Cabling (Poles) Checklist |  |  |  |  | Yes | Cabling (Poles) Checklist | 81987b71-305d-4734-8916-985a582f0941
checkpoint-status |  |  | checkpoint | Cable size
checkpoint-status |  |  | checkpoint | Cable type
checkpoint-status |  |  | checkpoint | Cable route
checkpoint-status |  |  | checkpoint | Draw tape
checklist-flat |  |  | checklist | Cable tray |  |  |  |  | Yes | Cable tray | 856e43f9-d9b8-48fa-8be3-f8e589f1f3e9
checkpoint-status |  |  | checkpoint | Installed correct location
checkpoint-status |  |  | checkpoint | Installed correct height
checkpoint-status |  |  | checkpoint | Installed correctly
checklist-flat |  |  | checklist | Underground Services (Poles) Checklist |  |  |  |  | Yes | Underground Services (Poles) Checklist | 8f500f8b-6c0a-411a-8bc0-753b38706dcb
checkpoint-status |  |  | checkpoint | Location confirmed
checkpoint-status |  |  | checkpoint | Duct correct
checkpoint-status |  |  | checkpoint | Draw tape present
checkpoint-status |  |  | checkpoint | Cages set to height
checklist-flat |  |  | checklist | Fit Off (Poles) Checklist |  |  |  |  | Yes | Fit Off (Poles) Checklist | 955e38b0-1a20-4643-b5f5-f85d945dbdbb
checkpoint-status |  |  | checkpoint | Insulation test cables
checkpoint-status |  |  | checkpoint | Correct fitting identified
checkpoint-status |  |  | checkpoint | Polarity correct
checkpoint-status |  |  | checkpoint | Terminations correct
checkpoint-status |  |  | checkpoint | Bonding
checklist-flat |  |  | checklist | Switchboard |  |  |  |  | Yes | Switchboard | 9e3e7145-d1a6-46de-b0f5-f12439452574
checkpoint-status |  |  | checkpoint | Cables dressed
checkpoint-status |  |  | checkpoint | All cables terminated
checkpoint-status |  |  | checkpoint | Circuits labelled
checkpoint-status |  |  | checkpoint | Circuits tested
text | 1d239bc4-98ea-511d-8e95-c8e1c548065b |  | textbox | IRT Mohm
text | e5584115-d905-5cbb-8a2f-9cbd5f3e9ad2 |  | textbox | Earth Loop
text | 911d01a8-c1ab-56d6-956c-a1b6fb966f1a |  | textbox | Rcd
text | 07027868-6a9d-52e2-b410-0c14011e6a92 |  | textbox | Polarity
text | 994be0c4-fbaf-5935-af66-391d8338e751 |  | textbox | Visual
text | 10e021aa-526d-5576-b595-8b92639d6e90 |  | textbox | bonding
text | 019eea98-f677-5834-8901-99ab16b6f1b9 |  | textbox | Earth cont.
checklist-flat |  |  | checklist | Power circuits first fix |  |  |  |  | Yes | Power circuits first fix | 9ec4b8c0-39e5-46b4-89ec-ae712d6a2140
checkpoint-status |  |  | checkpoint | Cable schedule
checkpoint-status |  |  | checkpoint | Cable size correct
checkpoint-status |  |  | checkpoint | RCD downstream outlets wired correctly
checkpoint-status |  |  | checkpoint | Cabling to correct locations
checkpoint-status |  |  | checkpoint | Cables to isolators ie kitchen outlets
checkpoint-status |  |  | checkpoint | Position on elevations confirmed
checklist-flat |  |  | checklist | Lighting circuits first fix |  |  |  |  | Yes | Lighting circuits first fix | be72c6d6-07a7-49c5-b601-55b4ac337998
checkpoint-status |  |  | checkpoint | Cabling to correct location as per plan
checkpoint-status |  |  | checkpoint | Emergency lighting cabelled
checkpoint-status |  |  | checkpoint | Number of fittings correct
checkpoint-status |  |  | checkpoint | Local switch wire installed
checkpoint-status |  |  | checkpoint | Sensor control wire installed
checkpoint-status |  |  | checkpoint | Cabinet lighting confirmed/cabled
checklist-flat |  |  | checklist | Cabling (Signage) Checklist |  |  |  |  | Yes | Cabling (Signage) Checklist | c1de3141-98c7-488a-987d-2fc2d07bb015
checkpoint-status |  |  | checkpoint | Cable size
checkpoint-status |  |  | checkpoint | Cable type
checkpoint-status |  |  | checkpoint | Cable route
checkpoint-status |  |  | checkpoint | Draw tape
checklist-flat |  |  | checklist | Catenaries |  |  |  |  | Yes | Catenaries | cd3dc4fc-0875-4725-a075-f2ad2349f4fd
checkpoint-status |  |  | checkpoint | Supported correctly
checkpoint-status |  |  | checkpoint | Correct locations