## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-flat | d2587f1a-18d8-4bb7-ba41-162b8675ed38 |  | checklist | Job Details |  |  |  |  | Yes | Job Details | 046c645e-2ffe-4c3e-8845-c15b0abf9499
checkpoint-status | d77abe71-7fa7-44a9-a0b2-beddfce10d3d |  | checkpoint | Site Info
text | 35de524f-95ab-5f04-9b8a-246087993b09 |  | textbox | Site Address
text | 2aa3a5fd-4bef-51d1-b94d-0443253a5190 |  | textbox | Builders Details
text | 2ae4b886-ac77-525a-9a58-9f0e04c4cc23 |  | textbox | Project Managers Details
text | 4edbee81-6e1d-5b5a-b147-91722016767e |  | textbox | Site Managers Details
checkpoint-status | 4c1b1e66-3649-48be-9932-e42626eb09fe |  | checkpoint | latest drawings (attached or referenced)
checkpoint-status | a3bf576b-4273-4550-8452-9926f64ffab4 |  | checkpoint | Scope of Works Attached
checkpoint-status | 1706b349-a47c-4624-b8bb-9383712c718a |  | checkpoint | Additional Pre-Start Docs (attached or referenced)
checklist-flat | 782f07e1-932b-4b41-be8a-1e5e943f3578 |  | checklist | Ventilation Checklist Commissioning [J] |  |  |  |  | Yes | Ventilation Checklist Commissioning [J] | 113423fe-7ce1-43cc-be9a-a4bc014c943d
checkpoint-status | e91f543e-6058-40e8-98d1-902fda8dbe29 |  | checkpoint | Fan has been tested and is operational?
checkpoint-status | 2a65a793-b507-434e-96cd-7e9b15b04730 |  | checkpoint | Adequate flow has been achieved in areas the fan is serving to?
checkpoint-status | 816bf707-acd6-4bb9-ab89-050062ffb1ac |  | checkpoint | Does the fan interlocking working correctly with lights?
checkpoint-status | b15802c5-0a6c-477a-becf-a7971b70a53a |  | checkpoint | Range hood has been tested and is operational?
checkpoint-status | 9f2b1c51-745f-4c7c-8ff0-afe036fcddf4 |  | checkpoint | Provide evidence of airflow reading
checkpoint-status | 7f569645-77d4-49d9-9ed1-f43cc49e2074 |  | checkpoint | Visual Survey
checklist-flat | a54c5162-a117-41aa-a8c6-93abc9d4e020 |  | checklist | Sign Off |  |  |  |  | Yes | Sign Off | 3964e935-c2f3-4f40-b55e-13cffc05907a
checkpoint-status | 673beb25-e7d2-4e52-bbef-752a7f3d8795 |  | checkpoint | Sign-Off Completed as per below (Pass once complete)
text | dd4cd85a-fc07-504b-9aff-2ee0c09dceab |  | textbox | Inspection Date:
boolean | 737ae623-902f-576c-a6d1-a20c2c7c8ac4 |  | tickbox | Contract/Subcontractor Assessor Sign Off
boolean | eeba35d3-fae0-5a98-8b69-d6be150ce65a |  | tickbox | Builder Representative Sign Off
holdpoint | 3cc615b6-0f02-498b-af8e-36bdfa0b95b5 |  | signoff | Request Sign-Off(s) + Click to Add Signature(s)
checklist-flat | 55a8620d-58ec-438a-8e2b-20e8b081d121 |  | checklist | Fire Damper Checklist - Intumecent FD [K] |  |  |  |  | Yes | Fire Damper Checklist - Intumecent FD [K] | 5db20e99-23d7-4be0-938f-05d7874a3608
checkpoint-status | 0dd07bc2-75ee-4869-9370-0aee73ca48c0 |  | checkpoint | Fire damper is mechanically fixed to the casing with min 1 screw per side and min 200mm spacing betwwen screws
checkpoint-status | 29935feb-a583-4457-877e-e2d4f854ae7e |  | checkpoint | Penetration details have been captured
checkpoint-status | 06411014-09d1-4bc6-bc7e-2843def6894e |  | checkpoint | Gaps between the fire damper and wall no greater than 25mm and is filled with Killargo Intumescent Sealant with no cracking visible
checkpoint-status | c8932aef-d7bd-4c9c-8af4-7fb20d95cabd |  | checkpoint | Killargo fire rated mastic has been applied to entire perimeter of fire damper cell on both sides. No evidence of cracking.
checkpoint-status | 977ea04f-e808-44b1-9ef5-24f532e55a32 |  | checkpoint | Casing perimeter is sealed with Killargo intumescent sealant. No evidence of cracking.
checkpoint-status | 7b7cd179-4dc7-41ec-99dc-3dcc98ec1d1d |  | checkpoint | Sheet metal thickness is 0.7mm or greater.
checkpoint-status | 60126a8d-62a2-4754-85eb-1a4b185381ed |  | checkpoint | Ductwork is connected to either side of the casing with nylon bolts on the flanges as per the AS1682.2 break away joint method. Bolts do not exceed an 8mm diameter.
checkpoint-status | 69780f01-6ea3-4f9e-b1a4-348b7a8ba04b |  | checkpoint | Access panel is provided to conveniently access fire damper for visual and/or maintenance inspections.
checkpoint-status | a801c23a-2454-4fff-ab3d-5eff846c1645 |  | checkpoint | Fire damper labelling in accordance with AS1682.2 has been placed and clearly identifies the fire damper
checkpoint-status | 11eb1458-0d49-4dc8-b30f-b07981a2c67f |  | checkpoint | Pictures attached
checkpoint-status | 0883cc35-a73a-4149-88ae-1e63804bb9a7 |  | checkpoint | Signature (Contract/Subcontractor Assessor)
checkpoint-status | 95857f40-6ab6-4acc-9189-f331494b7d81 |  | checkpoint | Signature (Builder Representative)
checkpoint-status | c3da627d-7e6d-43f6-8047-ae5a555254e8 |  | checkpoint | Pictures/Comments attached below
text | 68b9ddeb-2e8d-56bb-b8cd-713599a46080 |  | textbox | Notes/Additional Comments
checklist-flat | 6af693d7-cc3c-4ecf-a922-35664845a470 |  | checklist | Duct Installation Checklist [F] |  |  |  |  | Yes | Duct Installation Checklist [F] | 5f1dbcfc-751a-413a-9c1c-eb54bd0859a3
checkpoint-status | 5a8a725d-3ffc-43ad-a53b-def64d8103fb |  | checkpoint | Is the installation area unobstructed?
checkpoint-status | c0a25846-5667-4d77-9721-5318b4621377 |  | checkpoint | Are drawings on site the latest issue
checkpoint-status | e9ff3b9e-e10b-4167-9600-373aa000f023 |  | checkpoint | Are plant and equipment location correct
checkpoint-status | c53be47c-17b7-433e-80b5-645a4375e415 |  | checkpoint | Duct size and location correct
checkpoint-status | a6f6c6f1-65dd-4c36-9010-42ee6bb6e31d |  | checkpoint | Material and gauge correct
checkpoint-status | 4f6bf302-f39b-431e-9473-95406f6f8bc6 |  | checkpoint | Is correct support method being used - Risers are supported at each level.
checkpoint-status | 8e3368a0-68ab-415e-aeb7-71789dcc359e |  | checkpoint | Is correct jointing method being used
checkpoint-status | cf7367f1-2f9f-404e-8970-b105aa9ba7ce |  | checkpoint | Are joints completed and cleated installed on flanges
checkpoint-status | b1fc48e5-237d-4035-a824-7024da8183d4 |  | checkpoint | Is correct joint sealant being used
checkpoint-status | c2595e3b-6c85-4411-9333-a9908e238b93 |  | checkpoint | Are fire dampers installed and break away joint complete
checkpoint-status | cd1c1f74-3a64-4b6b-89ed-3b527014f12d |  | checkpoint | Are canvas connections to equipment sealed and aligned
checkpoint-status | 56d23bc4-9987-496d-aa79-512deb68aa41 |  | checkpoint | Is ductwork fire rating complete
checkpoint-status | 16ed2cac-f2b8-4b99-b4ce-afee78884daa |  | checkpoint | Are all spigots installed and dampers fully open
checkpoint-status | 5ef522b1-a875-44cd-be29-983ae4aa8a66 |  | checkpoint | Are all access panels for fire damper access installed and closed
checkpoint-status | 439828cf-d7c9-40b4-a6a0-b6c6e15ebda8 |  | checkpoint | Are the correct fixings used for fan installation?
checkpoint-status | 072ca561-07fe-48ae-97d4-6461bacee89c |  | checkpoint | Is the fan secured correctly to hanging equipment?
checkpoint-status | 3ee8c006-913a-4466-adee-791400170bd8 |  | checkpoint | Is the hanging equipment correctly installed and secured?
checkpoint-status | 28bbd093-44d9-4f26-97df-eba275aafc83 |  | checkpoint | Is the ductwork connected to the fan as specified in workshop drawings?
checkpoint-status | 7e06a07c-db95-492e-a9e8-90204f37f49b |  | checkpoint | Are the cables connected as per electrical drawings and manufacturer's specifications?
checkpoint-status | 0b955b59-5f5d-4b3b-903c-9b50164ac06f |  | checkpoint | Is ductwork installation complete
checklist-flat | 592b3be5-e08b-4180-b62f-c6ee4f344aae |  | checklist | Apartment Fit-Off Checklist [H] |  |  |  |  | Yes | Apartment Fit-Off Checklist [H] | 8396c28e-3c6b-4e20-bd68-d9eadf02ec7c
checkpoint-status | bab1040e-74fb-493d-afa6-3a070cfdba2a |  | checkpoint | Ensuite exhaust grilles installed
checkpoint-status | 799b93e8-e483-46d7-8867-b77665c533e1 |  | checkpoint | Toilet exhaust grilles installed
checkpoint-status | 212e221c-0a70-47c7-bd0a-272fb6a6cebb |  | checkpoint | Range hood duct connected and taped to ensure air tight
checkpoint-status | 2534c3b9-8c08-418b-a23b-f6e91848367d |  | checkpoint | Access panels placed as per drawings
checkpoint-status | 612e49b4-ba5d-4509-a932-e16de5d5d42a |  | checkpoint | External louvers installed all gaps sealed between plenum box and wall/ louver flange to wall, photo evidence provided for below
label | 45d34d17-ccbd-58c5-a6b8-b001297b8ffd |  | note | 1. Box sealed internally and the gap between the box and wall is sealed
label | 3c14681e-0443-550e-8fe6-f0cced9a45e6 |  | note | 2. Louver flanges sealed to the external box
checklist-flat | 39c5d36c-5a06-49e4-9cf4-02677f252e4f |  | checklist | Access Panel 1 Rough In [D] |  |  |  |  | Yes | Access Panel 1 Rough In [D] | cf93a3ff-0f6d-4245-bb80-a5195065431b
checkpoint-status | a48e7d1b-c2b2-4054-8c80-15b83e0d2c43 |  | checkpoint | Access Panel location has been marked on floor as per RCP
checkpoint-status | ff849be6-fdb7-45fb-9224-7abc3d17d8e9 |  | checkpoint | Access panel location allows sufficient access equipment
checkpoint-status | 5b0a5c56-375f-4d82-905e-07848f77b217 |  | checkpoint | All other other services do not impede access
checklist-sectioned | 9933ef07-a93f-421e-b6e8-0263021563b5 |  | checklist | Incident Report - Checklist |  |  |  |  | Yes | Incident Report - Checklist | d3066bbd-2d9a-4fc3-b0bc-c8203b037b62
checkpoint-group | dd1b9db1-f7b3-471b-9c59-87571ddb2eb9 |  | section | Injured Workers Details
checkpoint-status | 70076cfd-607b-4bba-b363-96c11d512a1b |  | checkpoint | Injured Worker
text | 744d5b8f-876d-5588-aefd-70feedecb9d9 |  | textbox | Name of Employer of injured Person(s) (If any):
text | b5f0b5f6-e02e-57ca-bfec-b945333e9ab9 |  | textbox | Business address of Person/Organisation in charge of the equipment:
text | ddc73fd5-1d54-5dce-a0ea-52235a9ee939 |  | textbox | Full name of Employee:
text | 60a11442-11d1-5b6f-b360-bcd75ea592ec |  | textbox | Date of Birth:
button | e10bfe19-2ef0-579a-b6d6-28741c3cd10f |  | button | Sex: | Female, Male
text | 17ec5630-7a39-5d3a-9d06-c5b6359ac8b4 |  | textbox | Residential address and telephone number (if known):
text | 3811aad2-266a-5aad-a2c9-7e0749ddb483 |  | textbox | Occupation of Employee:
checkpoint-group | 6dc9cc72-e5dd-43da-8a10-acca35c42b9a |  | section | Incident Details
checkpoint-status | 3f15be9f-c5b5-4edb-826e-2b20372a5389 |  | checkpoint | Incident
text | 0f948d69-f93e-5397-8d82-d317dcdf7d0f |  | textbox | Date of Birth:
text | 38ab82ba-481c-5eca-af9e-d3c4428640ca |  | textbox | Place/Location where incident occurred:
text | bf4bc66c-4d1e-59fd-b7be-dfb76c3f093d |  | textbox | Work/activity being performed at time of incident and equipment being used:
text | 6f7c9b3d-8557-5f15-9889-81c3768dc40e |  | textbox | Brief description of incident:
text | d7c0fac0-0a5a-5b9b-8d89-73a9887eaad2 |  | textbox | Treatment given/action taken at the time of the incident: (Attach Statements below)
text | 84b7999a-6736-56f7-87ea-3ffa5b5257f1 |  | textbox | Name of Witnesses or Name of Person(s) who first attended the scene: (Attach Statements below)
text | 146f4473-b897-5b07-8b3d-24a99f3cbc04 |  | textbox | Action taken/intended, if any, to prevent recurrence of the incident:
label | 508bb94f-27a1-5325-b6b5-106c98252259 |  | note | Add diagram or picture of incident below
checkpoint-group | 0833be43-f89a-49cc-8f84-915ba7d06280 |  | section | Treatment Details
checkpoint-status | 2534542b-b42e-4ee3-a0e4-11ec031bbdc4 |  | checkpoint | Details
button | 4b39d871-6d35-5921-81ce-725c495f8141 |  | button | Did the injury necessitate loss of time? | No, Yes
label | b5e360a1-0840-562b-bc46-fe180bb2857d |  | note | If "Yes" selected
text | a8ddc5ae-5a41-59a4-b190-73afa533df03 |  | textbox | Name the clinic/medical centre attended:
label | 56583ec8-edfe-5ece-982a-dfe6118504a1 |  | note | Attach WorkCover Certificate of Capacity (Attach below)
button | a1486dcc-6148-5326-8f74-9ca012561fe1 |  | button | Was an ambulance required? | No, Yes
button | 7ec16bf1-de6d-522c-a698-1158cfcd9f02 |  | button | Was the incident reported to WorkSafe Victoria? | No, Yes
label | 62b77951-c384-5649-9b2c-9154812c7e9d |  | note | If "Yes" selected
text | cd1e39dd-671f-5b5f-9d03-2a8d8820f1f9 |  | textbox | WorkSafe Incident notification number is:
checkpoint-group | 130a563a-c1d5-4aac-8996-6b49c9031e70 |  | section | Form Details
checkpoint-status | 429e1e33-dc7b-4688-b863-d4f431e1f23d |  | checkpoint | Details of Person submitting this form
text | 6fbc277d-1058-5283-bf8d-51f3e33cb2f6 |  | textbox | Name:
text | eabbbdb3-a402-5ec1-b341-c169593c7924 |  | textbox | Position/Title:
text | e3e989c2-5618-5ed1-b46f-0ddbd2cb2351 |  | textbox | Date:
button | c036f121-177e-5113-b6dd-1bc4250fbff8 |  | button | Type of Injury (Filled out by OHS Manager): | LTI, MTI, FAI
checklist-flat | 432a86e9-a6a4-4598-9d2b-cb4a4b078367 |  | checklist | Variation (21/05/2020) |  |  |  |  | Yes | Variation (21/05/2020) | d83b7561-b576-454a-bd1a-50c84a9a1f8b
checkpoint-status | 11d25ee5-7d5e-44f6-b813-6a53b2efc4ab |  | checkpoint | Variation Details Complete (Pass once inputted)
text | 32b05fe5-b719-54dd-92d9-d96284e972ff |  | textbox | Variation Name
text | 688874bd-83eb-5c62-8612-091ef1eb9038 |  | textbox | Variation Description
text | 7e2ad18f-2889-557a-a0b6-41eb70ecff75 |  | textbox | Materials & labour breakdown (Names, Hours & Material(s)/Quantities)
text | d009f0f1-5eeb-52e7-aa65-8de5ca29b7c8 |  | textbox | Acknowledgement (Who requested the work to be done)
text | 240e7a81-47c2-5244-aca4-2732b21388e7 |  | textbox | Signature/Reference Mail (Who to send the variation too)
checkpoint-status | 1d8cac28-925f-4049-8b78-8b6575d96d38 |  | checkpoint | Supporting Documentation (Attached or Referenced)
label | 238b5284-1d83-560f-97bb-f7d48985c93c |  | note | Add Photos/Comments of variation work below
checkpoint-status | af4fbeeb-f101-4377-b57c-0d3606236827 |  | checkpoint | Variation Sign-Off - Click to Add signatures below
boolean | ca74f534-39bc-5ab1-905b-7f17c54b8e42 |  | tickbox | Broad Air Representative Signature Added below
boolean | d2821392-1ed2-5792-93fb-7dff6950ed18 |  | tickbox | Builder Representative Signature Added below
holdpoint | adacde91-f907-437d-95b9-074876d04848 |  | signoff | Click to Add Signatures of Wilson & Builder's Representative
checklist-flat | 42272cd1-8138-4c82-b04f-0bf9f64550d0 |  | checklist | Toolbox Meeting |  |  |  |  | Yes | Toolbox Meeting | dd6d5787-4b47-4129-b0a7-850a0b928602
checkpoint-status | d1428963-985d-4c6d-9141-b83d7fcd24af |  | checkpoint | Toolbox meeting completed & Specific Document(s) attached
text | 5001d4c2-a288-57bb-b542-24a3b97eb0b3 |  | textbox | Date
text | 43bbd0f2-7090-5512-ba55-b6a51be82029 |  | textbox | Site Address
text | 8bd80d5f-9e4d-57eb-8af2-fecfe5b930da |  | textbox | Toolbox meeting topic
text | 21b9a139-df95-51ec-8c5c-3adb343c7826 |  | textbox | Toolbox Item 1 - (Add any resolutions below item)
text | 3429550f-5f7b-58a1-a98d-5bb40b5f3285 |  | textbox | Toolbox Item 2 - (Add any resolutions below item)
text | 6fb6f3d3-7a10-5334-b55f-4f9e55db6fb6 |  | textbox | Toolbox Item 3 - (Add any resolutions below item)
text | e61c850b-c89d-518d-9f75-aeb8ba73c21b |  | textbox | Toolbox Item 4 - (Add any resolutions below item)
checkpoint-status | 0d4a4bb0-9c8d-4220-980b-db2b2bfe261d |  | checkpoint | Toolbox meeting pdf attached (Add below)
label | 8bde108d-df00-56e3-b8ec-6f95ce6c1c03 |  | note | Broad Air takes safety seriously and we encourage all persons representing the company to speak up if something is not right. If you find yourself unsure about something when it comes to safety, ASK! There is no such thing as a stupid question.
checkpoint-status | da3f6b03-b056-44fd-ae03-c04782d82fb6 |  | checkpoint | Sign Off – By signing this page you acknowledge your attendance of this toolbox meeting and your co-operation with our policies & procedures
holdpoint | 195e02ce-1f9e-4499-94a6-db99d43a36db |  | signoff | Click to 'Add' signature's of each attendee
checklist-flat | 34cecee2-d567-48c5-82cf-0c117a27784d |  | checklist | Base Building Fit-Off Checklist [G] |  |  |  |  | Yes | Base Building Fit-Off Checklist [G] | ef99dff3-d498-47ec-8f7a-90870a439bb6
checkpoint-status | 1a64af29-dc99-4a6f-a3ff-abd7058a8a83 |  | checkpoint | Supply grilles fitted
checkpoint-status | cd8fcad0-9bde-498b-b825-4deba10f85e4 |  | checkpoint | VCD is installed
checkpoint-status | 6cd7c71e-cc3c-4b87-9c77-a34ed8580f5c |  | checkpoint | Exhaust grilles fitted
checkpoint-status | ffc747b1-5bff-40e2-99c8-edbdaa25903b |  | checkpoint | All fire dampers provided with an access panel as per mechanical drawings
checklist-flat | 14e9ede4-0c9c-4190-92e4-18bdf0ad4da6 |  | checklist | Flatpack Installation Checklist [O] |  |  |  |  | Yes | Flatpack Installation Checklist [O] | f245d804-d505-4dae-a49b-ecee5de6aeb2
checkpoint-status | 8b2e5705-1ae5-42b9-8869-79637e1c3ba4 |  | checkpoint | Flatpack duct is installed as per approved mechanical shop drawings
checkpoint-status | 507fd47d-b328-4b8a-87e5-1a4a150647c3 |  | checkpoint | Internal side of flatpack duct and fittings are clear from debris and dust
checkpoint-status | badee145-6d57-4763-8465-9036c409fbab |  | checkpoint | Is flatpack supported from ceiling using metal hangers or metal support clips at every 2m intervals so that the flatpacks are not sagging?
checkpoint-status | 0ebf1d87-361c-451a-bc91-d1607ae9dd4b |  | checkpoint | Wherever the flatpacks are screwed into, ensure properly sealed
checkpoint-status | 45ca1222-a69a-4ed5-923a-2e89306340d9 |  | checkpoint | Flatpack joints & fittings are properly sealed.
checkpoint-status | 7c1b48a7-f4a8-47fb-b226-f581977d52ae |  | checkpoint | Are correct type of fittings used?
checkpoint-status | 3017c1b6-b5b0-4aa4-a8f4-486b6488a95e |  | checkpoint | Visual inspection
checklist-flat | e1b8e2b2-ce0b-4c29-bfe5-ac7299b05e06 |  | checklist | Prestart OH&S Documents |  |  |  |  | Yes | Prestart OH&S Documents | fb250384-4d82-46fa-9724-3284a98eeb6b
checkpoint-status | e5f6a45c-6f7c-4555-9267-5ad181a60a05 |  | checkpoint | All Pre-start OH&S Documentation Completed, Reviewed & Attached
label | 514d4f2d-e00f-5d42-9505-be09a144dc52 |  | note | Public Liability and Work Cover Insurances
label | 8c31194a-f620-57eb-8d78-7ef4ee00c293 |  | note | Company Safety Plan
label | 2a20de31-4fc4-529e-b763-ce6fd3971e4f |  | note | SWMS & MSDS (Attached below)
label | 91b1af41-8df6-5cd2-a899-b5d38ab48d29 |  | note | Additional Prestart OH&S Documents
checklist-flat | ccc2f9d0-4f14-4f69-8f1d-ccaa14d32511 |  | checklist | Ventilation Checklist 1 Rough In [C] |  |  |  |  | Yes | Ventilation Checklist 1 Rough In [C] | fea6a7fb-caff-451e-9c1e-a66a150d42ee
checkpoint-status | 4df8e253-0fe5-4be1-8a0b-5b96a77dce5d |  | checkpoint | Is the installation area unobstructed?
checkpoint-status | 19b87acf-bd40-4bdf-8e4d-d05e0ffb0fca |  | checkpoint | Fans installed within ceiling areas are in the correct location as per Mechanical Drawings
checkpoint-status | def0ac98-de42-41a1-8360-e6e15c66bd93 |  | checkpoint | Fans Installed correctly with rubber isolation pads
checkpoint-status | acbf0d41-3031-496b-ad68-1a6f0c8f5a1b |  | checkpoint | All Flex has been run to correct location
checkpoint-status | 6eb3dbb3-be1a-4733-a384-d0210913b671 |  | checkpoint | All flex are hung independent of other services and supported by intact load spreaders
checkpoint-status | ef0ee9d4-a2b8-4a6c-a177-56446219c92e |  | checkpoint | Butterfly dampers are installed on the PODs grille neck and they are in a fully opened position and air tight sealed