## Resources
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned |  |  | checklist | Painting Inspection: |  |  |  |  | Yes | Add Paint Inspection Report | a70bbbcd-81f3-41d9-9000-fe30963a8836
checkpoint-group |  |  | section | Details
checkpoint-status |  |  | checkpoint | Details Captured
text | 45ada0e3-14ec-4513-82ed-2ad2fbf66d00 |  | textbox | Paint Supplier
text | 4657040f-9a27-4b3d-895b-cb14dc0e1f7c |  | textbox | Paint Supplier Specification
text | c7b07870-db46-402b-b2bf-9746377a833b |  | textbox | Specification Description
checkpoint-status |  |  | checkpoint | Applicator Details
text | 4162ad73-16a0-40b7-8271-ff5b5395c5f8 |  | textbox | Name
text | e40cc69c-93bf-4e71-82ab-a8c791e1d4f0 |  | textbox | Date
checkpoint-status |  |  | checkpoint | Additional Information, Comments or Observations
checkpoint-group |  |  | section | Coat 1
checkpoint-status |  |  | checkpoint | Climatic Data
label | cae9874b-304c-4d98-8b9c-17d57354f756 |  | note | Fill in details below or attach photo
text | 67a8aa41-1fb1-40c2-8f40-ec03b424c9da |  | textbox | Air Temp °C
text | 302c90a0-0e57-4b6f-946a-653cb4bac436 |  | textbox | Steel Temp °C
text | b514090a-db47-43bf-9223-620bc2edec9f |  | textbox | Dew Point
text | 324c2b58-91e3-4eb2-9c5c-f0ffdd5ede99 |  | textbox | Surface Temp
checkpoint-status |  |  | checkpoint | Surface Preparation
label | cb18e3b7-ae70-4694-88b3-15f1e9b7ba38 |  | note | Fill in details below or attach photo
text | 5aa544a9-5998-4a81-a03a-ca214f2d3124 |  | textbox | Time
text | 44d26214-0ec5-4320-a016-54d440ab5731 |  | textbox | Specification
text | 902ec8ca-61cd-418d-a49a-f29e8435469a |  | textbox | Profile
checkpoint-status |  |  | checkpoint | Paint Application
label | 46952d88-a70d-4bd5-b4be-dc44bbe860ef |  | note | Fill in details below or attach photo
text | 572f979d-54e9-491b-8980-fe96ab8cfaa1 |  | textbox | Coat Number
text | 31ffe7dd-e8ae-42a9-a39c-bce0f27f4337 |  | textbox | Product Name/No.
text | 7804c447-7f25-45f4-86d7-dd047b3d2117 |  | textbox | Time Period
text | c255538f-5e79-461a-b068-bd3b5efc6aee |  | textbox | Batch No. Part A
text | a7f01f80-963e-440a-91fc-4fa5d1dd29ea |  | textbox | Batch No. Part B
text | d35bc91f-5569-438d-b1f5-9a1f94172c82 |  | textbox | Solvent/Thinner
text | 97687d9e-12d5-4720-911a-c3f68f1658a4 |  | textbox | Required W.T.F
text | e87ff540-d412-45e0-a0fb-6036ddc03ae1 |  | textbox | Required D.F.T
text | 8d569d58-d40d-4bbe-bd93-766e543ca553 |  | textbox | Colour
checkpoint-status |  |  | checkpoint | Inspection Results
label | 367d10da-c272-4e78-8910-3b9d016b07fe |  | note | Fill in details below or attach photo
text | ca4c9f00-8de2-49b3-b722-6519ee8a146d |  | textbox | Highest Reading
text | 5ce76845-b712-45df-bb7e-ed94fa68f87a |  | textbox | Lowest Reading
text | cc25e9f2-2028-4cca-be8e-defeb9aa59c6 |  | textbox | Average
text | 100d17b3-8ddf-4d2f-9559-478741aa2fb5 |  | textbox | No. of Readings
text | bae3919b-83cf-4674-86d6-7e25c8af224f |  | textbox | Holiday
text | 4a6ad334-2806-4f00-b70b-e4d25a418075 |  | textbox | Appearance
checkpoint-group |  |  | section | Coat 2
checkpoint-status |  |  | checkpoint | Climatic Data
label | 2f23dda9-bc6f-4393-8a6f-1b5b39ef9438 |  | note | Fill in details below or attach photo
text | e21d542e-308b-43fd-ad97-4e646366c2d2 |  | textbox | Air Temp °C
text | daa44922-258a-4b64-b70c-436c4d384f7b |  | textbox | Steel Temp °C
text | cde1d486-7f3d-493e-bd91-c443f9cc790c |  | textbox | Dew Point
text | 705c313b-1003-463e-8f5d-81ae84a0a804 |  | textbox | Surface Temp
checkpoint-status |  |  | checkpoint | Surface Preparation
label | a7a2b517-9673-4ffd-97ec-be981476c45b |  | note | Fill in details below or attach photo
text | d23e489f-3c1f-4c20-8f49-b14da5e2cefc |  | textbox | Time
text | 07c2eed4-cccb-4109-b6e7-2ba3c90bd8ab |  | textbox | Specification
text | 03dbb508-9c99-413a-af93-c4f5ce33c7b7 |  | textbox | Profile
checkpoint-status |  |  | checkpoint | Paint Application
label | e61b9dc3-a76a-49a3-9c86-449ea92dbadf |  | note | Fill in details below or attach photo
text | a12a787d-10c0-4fcf-8930-7bdfc9359a80 |  | textbox | Coat Number
text | 624319d4-9564-4f46-8a8e-c00fddea506b |  | textbox | Product Name/No.
text | 7650136e-f370-4a2b-a10b-71d285d52586 |  | textbox | Time Period
text | 9a8b99bb-28f2-48a5-9dcb-8b2765015b5a |  | textbox | Batch No. Part A
text | 65a5103d-130f-4c67-8fed-6fea0866c30f |  | textbox | Batch No. Part B
text | 75ae0811-a399-4d05-b019-26dc930b3b43 |  | textbox | Solvent/Thinner
text | b77fd76a-750f-494c-9a05-da0af451b8dc |  | textbox | Required W.T.F
text | 168952cd-e879-4763-a723-940619ac69f9 |  | textbox | Required D.F.T
text | 0695ca5a-f8e4-4d39-a793-3b0378519790 |  | textbox | Colour
checkpoint-status |  |  | checkpoint | Inspection Results
label | 52ecb8a3-45de-4365-966d-f91868ce9223 |  | note | Fill in details below or attach photo
text | a0b137d1-5a98-4073-9634-bb1fe9102af0 |  | textbox | Highest Reading
text | 1f976d3f-8e81-48b3-9f00-53a440d95683 |  | textbox | Lowest Reading
text | 34b2dc71-cd9f-43fc-9c54-6f8d5f5d25f5 |  | textbox | Average
text | ad41c8d4-29c6-4202-a14a-f8ebf09f9f58 |  | textbox | No. of Readings
text | 39505d82-7007-4cca-ba11-587f2161401c |  | textbox | Holiday
text | e2a62129-c532-489b-94d7-810b0dcc5a77 |  | textbox | Appearance
checkpoint-group |  |  | section | Coat 3
checkpoint-status |  |  | checkpoint | Climatic Data
label | fa509431-0fe2-4c6f-96d2-10dbf1161428 |  | note | Fill in details below or attach photo
text | 9d0c15b2-d164-411f-b375-1059c8c6d30a |  | textbox | Air Temp °C
text | d39d4fe2-abd6-4adb-a494-f567ea222bbd |  | textbox | Steel Temp °C
text | c260066c-cc5b-4a32-8576-2d63fc04bb15 |  | textbox | Dew Point
text | f3a02b64-f4f2-44be-a4ce-19f385d9eb5b |  | textbox | Surface Temp
checkpoint-status |  |  | checkpoint | Surface Preparation
label | 8ffe0a50-f578-4dbc-aa1a-ca09bf0df09b |  | note | Fill in details below or attach photo
text | bc7ebd2f-d45e-4341-97bb-5f3a9843c7fc |  | textbox | Time
text | d08731c6-ccaa-4b01-bde5-f9048d7de6af |  | textbox | Specification
text | ff4c00c8-6a8d-4ce4-8d67-de95d0860441 |  | textbox | Profile
checkpoint-status |  |  | checkpoint | Paint Application
label | f4d08377-57f3-4e6d-b9a2-5110fcd00813 |  | note | Fill in details below or attach photo
text | d945a3dc-06c0-454a-9506-58ffbe9530b1 |  | textbox | Coat Number
text | c6814a47-ee41-4890-8cbd-2f71b7844d45 |  | textbox | Product Name/No.
text | 9d91eaf7-9d64-4d4e-833d-e91fed29bf74 |  | textbox | Time Period
text | 172ee3c0-f1b0-42a1-bfed-0bf5b7811278 |  | textbox | Batch No. Part A
text | e7fb3325-33f8-4490-97a0-9b6832f59baf |  | textbox | Batch No. Part B
text | 4f845a20-0765-4ee6-98cd-a0b830dc7164 |  | textbox | Solvent/Thinner
text | b78b3477-9dc0-43a9-85db-b9844fce1fd3 |  | textbox | Required W.T.F
text | edf96734-92f1-4a9c-bcfa-0406fa14a6d2 |  | textbox | Required D.F.T
text | 207d7d4a-81e0-4a6e-b5a7-48130ef5bfe9 |  | textbox | Colour
checkpoint-status |  |  | checkpoint | Inspection Results
label | 68d6a95f-4063-4baa-aaa1-b77a6b9457d0 |  | note | Fill in details below or attach photo
text | 9b4e0e55-2b92-495a-b0fd-410abd7282be |  | textbox | Highest Reading
text | 8a750da0-1ba4-4551-80d8-b8259afa3646 |  | textbox | Lowest Reading
text | 00f76e34-d26a-4182-8b62-6b4bbc4c1b63 |  | textbox | Average
text | ff6d65c6-6497-4c8c-bb11-6307cf332655 |  | textbox | No. of Readings
text | 4df508a9-f388-4af7-8c2b-af11d28829a3 |  | textbox | Holiday
text | e260ddd1-cac7-4e7a-ba7c-d0369451eafd |  | textbox | Appearance
checkpoint-group |  |  | section | Coat 4
checkpoint-status |  |  | checkpoint | Climatic Data
label | a731bd6f-c138-410d-bc1c-b4a509b8ad7c |  | note | Fill in details below or attach photo
text | 5e84c63c-0858-4a55-b0fd-f3dcd1751cdc |  | textbox | Air Temp °C
text | 4ab1cffd-2e51-4618-bc43-ae74869ee948 |  | textbox | Steel Temp °C
text | 4dffc222-755c-45f6-a829-7bc3c2a66fa5 |  | textbox | Dew Point
text | aa0a0a64-c793-40af-aad4-c6011b0c2cde |  | textbox | Surface Temp
checkpoint-status |  |  | checkpoint | Surface Preparation
label | 6d2d255b-4489-4361-8ca7-0c686f1633da |  | note | Fill in details below or attach photo
text | 30a0be7b-7dad-4704-a2fc-9dcab4cb894c |  | textbox | Time
text | f80dfdc2-1922-4e32-8fb3-53f2cf58434d |  | textbox | Specification
text | b00d1ddc-f5f0-4350-9096-0cc5c2ba860f |  | textbox | Profile
checkpoint-status |  |  | checkpoint | Paint Application
label | c6941125-34d0-453f-9c25-274c0a2a54b1 |  | note | Fill in details below or attach photo
text | b4b1dde7-98c0-4209-8c6e-c764c2b87bd4 |  | textbox | Coat Number
text | 5be32ce5-f554-4696-9726-522587f506a6 |  | textbox | Product Name/No.
text | 5c47fd26-d693-4aa8-b928-950575803836 |  | textbox | Time Period
text | f2d210b1-d1be-4517-8d0a-0c230e264f4e |  | textbox | Batch No. Part A
text | 61a0980d-f60a-4432-a640-59c0f3058599 |  | textbox | Batch No. Part B
text | 03ba09f1-f2f5-4745-8c2a-f07710cd3e26 |  | textbox | Solvent/Thinner
text | bdef0a9b-b818-4593-a625-10cb6948411b |  | textbox | Required W.T.F
text | 4e695354-704a-48bf-8dc9-da02be6d6c80 |  | textbox | Required D.F.T
text | f9513912-d960-4163-87f7-55be163b640a |  | textbox | Colour
checkpoint-status |  |  | checkpoint | Inspection Results
label | 25f5a94e-5fca-4286-9fa2-022b4794967b |  | note | Fill in details below or attach photo
text | 09172954-ff60-49be-8522-29c78f765225 |  | textbox | Highest Reading
text | dcbaad45-6e24-426f-bfa7-6f227468e8e1 |  | textbox | Lowest Reading
text | cd8f83fe-7ee8-47ca-b3fd-a361a6accda4 |  | textbox | Average
text | 0f93ae61-5370-449b-b5d6-82c63f0d1864 |  | textbox | No. of Readings
text | 484af529-9f01-4c73-a29a-708292b11ffc |  | textbox | Holiday
text | 41f2c95f-869f-4835-bf9c-fc775c16f94e |  | textbox | Appearance
checklist-flat |  |  | checklist | Delay: |  |  |  |  | Yes | Add Delay/Holdup | b210d3c8-ff04-494e-a943-32b7710a7285
checkpoint-status |  |  | checkpoint | Delay/Holdup Resolved
text | 7eb24e33-f8f9-4c00-a587-efb4227ac89a |  | textbox | Reason:
text | 9283513e-8f60-4e6f-aed2-35dae5756901 |  | textbox | Responsible:
text | 7ec1b219-59f8-4b3f-ba2d-633bde4d7c24 |  | textbox | Implication:
checklist-sectioned |  |  | checklist | Structural Steel Checklist |  |  |  |  | Yes | Add Structural Steel Checklist | a93fbced-63ba-4d3f-96f2-0de51f6c127f
checkpoint-group |  |  | section | Pre Inspection Checklist
checkpoint-status |  |  | checkpoint | Area accessible & substrate acceptable
holdpoint |  |  | signoff | Raise Remedial / Request Sign off
checkpoint-status |  |  | checkpoint | Hold down bolt locations checked and correct
checkpoint-group |  |  | section | Inspection Checklist
checkpoint-status |  |  | checkpoint | Details
text | f863f302-2d74-4a1c-85cf-3ed96dbd092a |  | textbox | Location:
text | 85f70536-1f84-4ec0-a16e-98f3f7a3edd7 |  | textbox | Drawing Reference:
text | aa58df2c-7f39-455d-b309-7c23b0040812 |  | textbox | Grids:
text | d0152b71-dd3b-4e5b-a197-e21ac1e4260c |  | textbox | RL:
checkpoint-status |  |  | checkpoint | Levels correct
checkpoint-status |  |  | checkpoint | Anchor bolts correct
checkpoint-status |  |  | checkpoint | Columns plumb
checkpoint-status |  |  | checkpoint | Steel erection correct
checkpoint-status |  |  | checkpoint | Bolted connections checked
checkpoint-status |  |  | checkpoint | Site welding correct
checkpoint-status |  |  | checkpoint | Welding inspection completed
checkpoint-status |  |  | checkpoint | Purlins, girts and rods secure
checkpoint-status |  |  | checkpoint | Bracing rods tensioned
checkpoint-status |  |  | checkpoint | Fly bracing installed and secure
checkpoint-status |  |  | checkpoint | Columns grouted satisfactorily
checkpoint-status |  |  | checkpoint | Temporary supports, brackets etc removed
checkpoint-status |  |  | checkpoint | Final painting clean and complete to visual inspection: Uniform colour
checkpoint-status |  |  | checkpoint | Final painting clean and complete to visual inspection: Non visual imperfections
checkpoint-status |  |  | checkpoint | Demobilisation - site cleaned, plant/material removed
checkpoint-status |  |  | checkpoint | Approved variations
holdpoint |  |  | signoff | Request sign off
checkpoint-group |  |  | section | Area completion / Review
checkpoint-status |  |  | checkpoint | Structural Steel Installation completed
holdpoint |  |  | signoff | Request Main Contractor sign off
checklist-flat |  |  | checklist | Observation - |  |  |  |  | Yes | Add Observation | 9cb8cd18-f780-43e2-a38c-c3132502afb6
checkpoint-no-status |  |  | checkpoint | Observation
text | c08ed856-e2fb-485e-b1d1-7cca362ef6ca |  | textbox | Observation Details
text | db3be2c1-6835-42a1-82df-48b68c80c1ac |  | textbox | Location
checklist-sectioned |  |  | checklist | Date: |  |  |  |  | Yes | Add Toolbox Talk | dc762e3c-ca93-49e0-b7df-a6c4d3fb4f0a
checkpoint-group |  |  | section | Details
checkpoint-status |  |  | checkpoint | Details Complete
text | 305f2185-4e3a-4417-ae95-885bb0b1de8a |  | textbox | Office location:
text | b2fd07dc-8f92-4010-8a71-46e71c03ff63 |  | textbox | Who is running this meeting:
text | 1d3d0b15-a56a-498c-b16b-2afa5f8e2573 |  | textbox | Company
text | 88e78785-0eea-4ad8-a896-1622379eacfc |  | textbox | Agenda items:
text | ce0224f5-54b8-47a5-b890-7a5416c69623 |  | textbox | Theme of the week (topic for focus):
checkpoint-group |  |  | section | Health and safety issues
checkpoint-status |  |  | checkpoint | 1.
text | 2ec0fc9e-b14f-43a5-bb60-4df5d5ab3ab4 |  | textbox | Issues raised from site safety inspection:
text | 1b5fcc97-f30c-4727-a783-29c22206fa41 |  | textbox | Actions:
text | b5107b7c-d991-4507-a1a9-6180db10057c |  | textbox | By who and when:
checkpoint-status |  |  | checkpoint | 2.
text | 8978adff-e266-4646-b125-178fba33a0dd |  | textbox | Issues outstanding from previous briefings:
text | 507afe6b-4ee7-4485-bd4b-99698d8e8f47 |  | textbox | Actions:
text | 7d92f59d-ce24-4ec9-8428-a92c87f559e3 |  | textbox | By who and when:
checkpoint-status |  |  | checkpoint | 3.
text | 305b3039-3f3d-45b4-8536-fb028ee2010b |  | textbox | Employee-raised issues:
text | c98f50a5-1fb4-45b7-86e0-301132ec8b7c |  | textbox | Actions:
text | c250b53e-5070-459c-b01f-af8fcce5cdb7 |  | textbox | By who and when:
checkpoint-status |  |  | checkpoint | 4.
text | 26f6b1aa-3048-4106-a64b-dc4e2cf75ec3 |  | textbox | Positive safe-action observations:
text | dd2ab926-5b94-46f6-a93f-eed5fa00233e |  | textbox | Actions:
text | 464cc30b-c155-4299-b08c-242a1821bd72 |  | textbox | By who and when:
checkpoint-status |  |  | checkpoint | 5.
text | ba0166ff-1cef-49fe-a54e-fce60528feea |  | textbox | Incidents or injuries:
text | 8f9035d5-30e5-4ea2-9ec4-4d19df05b3fd |  | textbox | Actions:
text | 1a84fee3-7466-42bd-a3ff-39c2785201a3 |  | textbox | By who and when:
checkpoint-group |  |  | section | Job plans reviewed
checkpoint-status |  |  | checkpoint | Job/Task & Action/Outcome
text | cb9c1ca7-7b79-4c62-8f74-3a1d70af5886 |  | textbox | 1.
text | d396585a-1ce3-4d1e-b838-375ab4165dd0 |  | textbox | 2.
text | 4657beed-8141-41c2-926d-0d7204a497a2 |  | textbox | 3.
text | 1e162112-08ad-40c3-9d33-6c4bac52a906 |  | textbox | 4.
text | fd629f21-4050-47b3-b236-26daf8c94903 |  | textbox | 5.
text | a08ea05c-aa58-425b-9cb6-e2fa8951a414 |  | textbox | 6.
checkpoint-group |  |  | section | Operational issues
checkpoint-status |  |  | checkpoint | Issue & Action
text | 301f9ad4-6682-45c0-aa57-7b074b0e8a13 |  | textbox | 1.
text | 1373bee6-816f-408a-97a0-72f99b461b6e |  | textbox | 2.
text | c487e999-fa82-493c-b540-e056d94778fb |  | textbox | 3.
text | 5341a99d-52f8-4c86-8e11-6e8adfb0627e |  | textbox | 4.
text | 8e55092c-df52-43d0-b019-a8e67550ae09 |  | textbox | 5.
text | b87136a8-71c4-41f7-9cdb-74d4b55b5521 |  | textbox | 6.
checkpoint-group |  |  | section | Other business
checkpoint-status |  |  | checkpoint | Item & Action
text | 2e63def1-4462-4998-b972-d5125960181e |  | textbox | 1.
text | 044404a1-6065-4d33-8f96-7da9ab2eaf3a |  | textbox | 2.
text | 1e321545-4537-44dd-9443-3ae2c58d572b |  | textbox | 3.
text | e3214f18-5e4b-42bf-856b-435adffda167 |  | textbox | 4.
checkpoint-group |  |  | section | Attendees
checkpoint-status |  |  | checkpoint | Add name and Photo of attendees
checkpoint-group |  |  | section | Review by management
checkpoint-status |  |  | checkpoint | Reviewed and signed off
text | 054479d9-523d-4c50-88ce-626d6600059d |  | textbox | 1.
text | e1ea14ce-04e9-4c55-b0e6-131f75ee169d |  | textbox | 2.
checklist-sectioned |  |  | checklist | Quality Inspection Sign Off |  |  |  |  | Yes | Add Quality Inspection Sign Off Checklist | 118deff5-d365-4ee6-a3e3-2743acafe5d4
checkpoint-group |  |  | section | Details
checkpoint-status |  |  | checkpoint | Status
text | 9a21af44-7ab7-5b82-aeba-0c4e5a618ece |  | textbox | Location/Area:
text | 29e5b4d5-312f-56dd-9b54-33b648362e05 |  | textbox | Drawing Reference:
text | 3033ff0f-5471-5dbc-8a27-b02d78a88c8e |  | textbox | Grids:
text | 0da4d12b-58f5-5d71-8e1e-887a10fcbc6b |  | textbox | R.L:
checkpoint-group |  |  | section | Install
checkpoint-status |  |  | checkpoint | Survey
checkpoint-status |  |  | checkpoint | Verticality
checkpoint-status |  |  | checkpoint | Welding as per 1554.1.
checkpoint-status |  |  | checkpoint | Painting as per specifications
checkpoint-status |  |  | checkpoint | Comments
holdpoint |  |  | signoff | Request sign off
checklist-flat |  |  | checklist | Variation Details - |  |  |  |  | Yes | Add Variation | 6f155f10-32e7-4159-b6b0-394b969f80ec
checkpoint-status |  |  | checkpoint | Variation Details Approved
label | b139e091-08e3-4d34-b19c-fa69b0c5b78d |  | note | Attach dayworks by using the paperclip if applicable
text | 28d26279-c304-4689-8317-1deb797dc8fe |  | textbox | Reference/Drawing/Instruction Number
text | 2247155b-6de8-434c-a1e1-058d724a6a62 |  | textbox | Variation Area
text | ae7fc046-dca9-4fab-98f8-374caeb044ec |  | textbox | Materials & labour breakdown
holdpoint |  | Invalid dependant | signoff | Request Variation Acknowledgement
checkpoint-status |  |  | checkpoint | Variation Completed
holdpoint |  | Invalid dependant | signoff | Request Variation Signoff
checklist-sectioned |  |  | checklist | Bolt Tensioning Checklist |  |  |  |  | Yes | Add Bolt Tensioning Checklist | f0ee88d8-b41d-4859-b7da-97ad48355fde
checkpoint-group |  |  | section | Bolt Tensioning
checkpoint-status |  |  | checkpoint | Details
text | 9f26a94d-7078-4545-ad37-56fa8d595c43 |  | textbox | Locations:
text | a1082237-ed55-40e9-903f-00cb2565bd3d |  | textbox | Drawing Reference:
text | 334c312a-66db-4991-b7f9-37dfc7714b36 |  | textbox | Grids:
checkpoint-status |  |  | checkpoint | Part Turn Method
label | c2f76015-0bca-4ef4-9b3a-3bb52cf1e606 |  | note | This is to certify that the bolting of the above structure had been checked to ascertain that all bolts were properly installed in accordance with NZS 3404 Part 2 1997 and AS/NZS 1252 for High Strength Structural Bolts and Nuts.
checkpoint-status |  |  | checkpoint | Snug Tight Tension Method
label | 639df405-eff5-4bd5-8bcc-a03509c15fae |  | note | Bring piles into effective contact followed by full tensioning by hand with standard podger spanner.
checkpoint-status |  |  | checkpoint | Torqued Fixings
checkpoint-status |  |  | checkpoint | Chemical Anchors / Type
checkpoint-status |  |  | checkpoint | General Comments
checkpoint-group |  |  | section | Area completion / Review
checkpoint-status |  |  | checkpoint | All bolts correctly installed & tensioned
holdpoint |  |  | signoff | Request Main Contractor sign off
checklist-sectioned |  |  | checklist | Date: |  |  |  |  | Yes | Add Site Safety Inspection | 1d1e0e02-ce3f-4a8d-bc2f-2b78c435b6df
checkpoint-group |  |  | section | Details
checkpoint-status |  |  | checkpoint | Details Complete
text | 8b03cbae-c408-4ae9-a756-cca7018dea83 |  | textbox | Site/Location :
text | 52914ecc-91b7-4603-9495-6a1e5ad3bd75 |  | textbox | Date
text | 8ff362f0-afb9-45ca-87d4-347265a7e11e |  | textbox | Name of Inspector :
checkpoint-group |  |  | section | Site Control
checkpoint-status |  |  | checkpoint | Hazard Board and signage up-to-date
checkpoint-status |  |  | checkpoint | Environmental plan - issues
text | cae0f94e-0878-4302-855f-50626b9940cc |  | textbox | Toolbox talk last date:
checkpoint-status |  |  | checkpoint | Safety inductions for all on-site
checkpoint-status |  |  | checkpoint | Safety notice board current
checkpoint-group |  |  | section | Site Facilities
checkpoint-status |  |  | checkpoint | Offices clean, adequate & good lighting
checkpoint-status |  |  | checkpoint | Smoko sheds - clean, portable water
checkpoint-status |  |  | checkpoint | Toilets - clean, washing water
checkpoint-status |  |  | checkpoint | Tool /equipment sheds adequate
checkpoint-group |  |  | section | General Site Tidiness and Access ways
checkpoint-status |  |  | checkpoint | Clear, safe access to work areas
checkpoint-status |  |  | checkpoint | Stairways and accessways clear
checkpoint-status |  |  | checkpoint | Hoardings /fence and gates secure
checkpoint-status |  |  | checkpoint | Loose materials secure from wind
checkpoint-group |  |  | section | Personal Safety Equipment
checkpoint-status |  |  | checkpoint | Signage displayed and legible
checkpoint-status |  |  | checkpoint | Hardhats being worn
checkpoint-status |  |  | checkpoint | Correct footwear being worn
checkpoint-status |  |  | checkpoint | Glasses /ear muffs /vests /masks used
checkpoint-group |  |  | section | First Aid/Fire Prevention
checkpoint-status |  |  | checkpoint | First Aid Box Available
checkpoint-status |  |  | checkpoint | Accident register
checkpoint-status |  |  | checkpoint | Fire Extinguishers
boolean | 12bab111-d5d2-4ba9-87f2-979c842a9df6 |  | tickbox | Available
boolean | 61ea2b23-6ac8-44f8-9d40-86c8daf1dd62 |  | tickbox | Current (12mth)
boolean | 3f3e012d-918a-4137-9689-dcced1049dcc |  | tickbox | Sufficient number
checkpoint-status |  |  | checkpoint | Evacuation
boolean | 7aa1d51b-82ee-46ea-a2d8-8922b951f5d1 |  | tickbox | Procedure current
boolean | 62e3bbb3-5108-4954-b02d-7071877274bd |  | tickbox | All emergencies incl
checkpoint-group |  |  | section | Cranes/hoist/lifting equipment
checkpoint-status |  |  | checkpoint | Proper lift assessment plan done
checkpoint-status |  |  | checkpoint | Crane certification current
checkpoint-status |  |  | checkpoint | Slings/chains certified
checkpoint-status |  |  | checkpoint | Operator procedures in place
checkpoint-status |  |  | checkpoint | Inspections being done
checkpoint-status |  |  | checkpoint | Man cage available
checkpoint-status |  |  | checkpoint | Emergency plan in place
checkpoint-group |  |  | section | Compressed air equipment
checkpoint-status |  |  | checkpoint | In good condition
checkpoint-status |  |  | checkpoint | Appropriate guards fitted
checkpoint-status |  |  | checkpoint | Trained user
checkpoint-group |  |  | section | Excavations
checkpoint-status |  |  | checkpoint | Correctly Shored
checkpoint-group |  |  | section | Welding/gas cutting
checkpoint-status |  |  | checkpoint | Hot work permits being issued
checkpoint-status |  |  | checkpoint | Fire extinguishers on hand
checkpoint-status |  |  | checkpoint | Operators using PPE
checkpoint-group |  |  | section | Electrical Equipment
checkpoint-status |  |  | checkpoint | Main board lockable /weatherproof
checkpoint-status |  |  | checkpoint | Current tagged and damage-free leads
checkpoint-status |  |  | checkpoint | Current tagged plant
checkpoint-status |  |  | checkpoint | Current tagged lifeguards
checkpoint-status |  |  | checkpoint | Leads safely placed
checkpoint-status |  |  | checkpoint | Equipment in good condition
checkpoint-status |  |  | checkpoint | Appropriate guards on equipment
checkpoint-status |  |  | checkpoint | Adequate temporary lighting
checkpoint-group |  |  | section | Chemicals
checkpoint-status |  |  | checkpoint | Correctly stored
checkpoint-status |  |  | checkpoint | Safety Data Sheet (SDS) available
checkpoint-status |  |  | checkpoint | Operators using PPE
checkpoint-group |  |  | section | Tools
checkpoint-status |  |  | checkpoint | PAT tool WoF current and secure
checkpoint-status |  |  | checkpoint | Staff trained in tool use (SWPS)
checkpoint-status |  |  | checkpoint | PAT signage on site
checkpoint-group |  |  | section | Scaffolding
checkpoint-status |  |  | checkpoint | Notifiable weekly Scaftag/current
checkpoint-status |  |  | checkpoint | Handrails/mid-rails
checkpoint-status |  |  | checkpoint | Toe boards
checkpoint-status |  |  | checkpoint | Platforms
checkpoint-status |  |  | checkpoint | Ladders/stairs
checkpoint-status |  |  | checkpoint | Base sound
checkpoint-status |  |  | checkpoint | Work platforms clear
checkpoint-status |  |  | checkpoint | Platforms trip free
checkpoint-status |  |  | checkpoint | Planks tied down
checkpoint-status |  |  | checkpoint | Headroom clear
checkpoint-status |  |  | checkpoint | Ties/bracing adequate
checkpoint-group |  |  | section | Ladders
checkpoint-status |  |  | checkpoint | Good condition
checkpoint-status |  |  | checkpoint | Secured top and bottom
checkpoint-status |  |  | checkpoint | Stays to step ladders
checkpoint-status |  |  | checkpoint | Working 2 steps down
checkpoint-group |  |  | section | Fall Hazards
checkpoint-status |  |  | checkpoint | Fall Hazards
checkpoint-status |  |  | checkpoint | Floor openings
checkpoint-status |  |  | checkpoint | Lift shafts
checkpoint-status |  |  | checkpoint | Stairs
folder-normal |  | folder-normal must be display normal but was flat | checklist | Date: |  |  |  |  | Yes | Add Accident / Incident Report | 930bb18b-454b-4cb0-aaa4-5b9b9632b2a9
checklist-flat |  |  | checklist-flat | Details
checklist-flat |  |  | checklist-flat | Particulars of Incident
checklist-flat |  |  | checklist-flat | Injured Person Details
checklist-flat |  |  | checklist-flat | Damaged Property
checklist-flat |  |  | checklist-flat | Incident
checklist-flat |  |  | checklist-flat | Analysis
checklist-flat |  |  | checklist-flat | Prevention
checklist-flat |  |  | checklist-flat | Treatment and Investigation of Incident
checklist-flat |  |  | checklist | Job Details |  |  |  |  | Yes | SYS - PT - Job Details | 060a4a53-1e71-4b6c-a06f-f17a96ddc105
checkpoint-no-status |  |  | checkpoint | Site Info
text | 4e739149-fe6d-425d-b45e-4a4ff63e7c1e |  | textbox | Site Address
text | e326d577-6e3a-40b7-870a-8e178eda7195 |  | textbox | Main Contractor Details
text | 6c1ef37c-4d31-4405-b668-f398c4ad1275 |  | textbox | Project Managers Details
text | 351c3436-2ae9-42ae-9ee9-1146e81bffa2 |  | textbox | Site Manager Details
checkpoint-no-status |  |  | checkpoint | Latest Drawings
checkpoint-no-status |  |  | checkpoint | Scope of Works Attached
checkpoint-no-status |  |  | checkpoint | Additional Pre Start Docs
checklist-flat |  |  | checklist | Prestart H&S Documents |  |  |  |  | Yes | SYS - PT - Prestart H&S Documents | 06ee9d99-f88c-4c0a-97f6-8394fb83ad82
checkpoint-no-status |  |  | checkpoint | All Pre-start H&S Documentation Completed, Reviewed & Attached
label | bd506dd4-38d5-4a0f-a4e3-679d950de463 |  | note | Company H&S Policy
label | 4ccdc141-a1c8-4f06-ab54-5995600de5c9 |  | note | Site Specific Safety Plan (SSSP)
label | 8bd49927-1ae1-42cf-a248-c119be868bfb |  | note | Worksafe NZ Notification
label | ba772020-4b78-47c0-baa0-1adf2b297566 |  | note | Additional Prestart H&S Documents
holdpoint |  |  | signoff | Request Main Contractor Approval