## Breakdown
Breakdown | Tier 1 | Tier 2 | Tier 3 (CHECKLISTS) | Checklist
QA
Bodle House
Health And Saftey
SSSP
Workshop QA DOCUMENTS
Fabrication Quality Plan
Contract and Technical Review
Steel Mill Certs
Workshop QA ITP
Structural Coatings
|  |  | Welders Ticket |  | NEW
Third Party NDT
Site QA DOCUMENTS
|  |  | Erection Operating Procedures |  | NEW
Methodology
Bolt Batch Numbers
GA Drawings
Bolting Diagram
Welders Tickets
Site Weld NDT
|  |  | Installation QA | Site Install Checklist
Overview QA Checklist

## Checklist
Site Install Checklist | Section | Prestart
| checkpoint | Work area clear, tidy and accessible
| checkpoint | Substrate acceptable
| Section | Steel Delivery
| checkpoint | Corrosion protection accepatble
| checkpoint | Numbers stamped / id tags attached
| Section | Steel Erection
| checkpoint | Grid Lines marked for Set out
| checkpoint | Wall heights marked and checked
| checkpoint | PC Panels Plumb
| checkpoint | Cast in plates in place
Overview QA Checklist | Section | Overview QA
| checkpoint | Steel Erects to Level
| checkpoint | Steel Erects to Plumb
| checkpoint | Bracing Systems Installed to Specification
| checkpoint | Temporary bracing secured, if required
| checkpoint | Purlins and Bracing Installed to Specification
| checkpoint | Bolts installed to Correct Requirements
| checkpoint | Chemsets installed to Specification
| Section | Welding
| checkpoint | All welding completed to spec and weld procedure
| Section | Coating
| checkpoint | Coating touch up completed
| checkpoint | Steel surface left clean
| Section | Handover
| checkpoint | All site debris removed
| checkpoint | Ready For Handover To Next Trade
Photo and written evidence for this line