## Master List Templates
Warnings | Id | Type | Name | Values | Prompting Name
| b66fd9bf-dd39-5568-add6-c05f2bf48298 | checklist | Add Steel Erection Checklist |  | Steel Erection -
| a252cb89-6720-5010-9702-1d823695c026 | section | Prestart
| f6773f3d-64ce-535c-9e1b-1df3a6b925ff | checkpoint | Work area clear, tidy and accessible
| 76eae55b-c2a1-5f7c-ba96-683988ae3776 | checkpoint | Previous substrate/opening acceptable
| 6dea5a9d-1b7c-53ba-8be2-163404ce3ebf | section | QA
| b0ba61a1-8504-54d7-97a2-b3fd66fc4a98 | checkpoint | Grid Lines marked for Set out
| 1a76bd62-ac1a-5608-b649-3f1fda3e1c71 | checkpoint | Wall heights marked and checked
| 8c7c317a-ef4e-51c7-aa78-edaf18798eb0 | checkpoint | Walls plumb / cast in plates correct
| bfde7896-4cec-5699-894f-a9b6e609a3d2 | checkpoint | All bolts to base plates in place and tight
| 5d8f4d87-339f-5c15-84bb-529c3796bef4 | checkpoint | Site Welding completed and painted
| 24347a59-962d-5147-85e0-17e9f3f44aee | checkpoint | Purlins,girts, sag rods straight and tight
| 2ebf95ee-c723-5ed6-86f6-4f1d6d1376cd | checkpoint | Steel erects to correct level
| 230a2d2e-8642-525b-9e9a-4787493e5114 | checkpoint | Steelwork plumb and within tolerance
| df396b6d-5785-550e-9c8d-09fe6c3754d6 | checkpoint | Bolts tightened to required torque where required
| 4d8c278e-62f3-592e-abf3-e34d3aa08d2a | checkpoint | Check all bolts are installed and correct length
| 10ddc165-d8eb-53df-b247-3975dad6dea2 | checkpoint | Bracing installed & tightened if used
| fac666f8-4de7-58eb-84d5-d81342738909 | checkpoint | Final touch up painting completed
| e1e6b3ca-6022-5347-b7da-2714c76282af | section | Handover
| c9935c25-5e49-5f01-b989-a24949905791 | checkpoint | Area left tidy and accessible
| c708cf92-ef30-5833-a258-de65bb44edc3 | checkpoint | Steel Erector's Sign Off
| db4e92c3-52fa-52bb-b241-688affcd78fa | checkpoint | Send request for Client Representative's Sign Off
| f1883e9b-632d-5af0-8287-590591149841 | signoff | Request Sign Off
| 31f884dc-4dfa-5171-9626-9f8a1060529d | checklist | Add Variation |  | Variation Details -
| af43077e-903d-5d88-8da8-e50a24463098 | checkpoint | Variation Details Approved
| 28d26279-c304-4689-8317-1deb797dc8fe | textbox | Reference/Drawing/Instruction Number
| 2247155b-6de8-434c-a1e1-058d724a6a62 | textbox | Variation Area
| ae7fc046-dca9-4fab-98f8-374caeb044ec | textbox | Materials & labour breakdown
Invalid dependant | 822653e1-1a8d-5c1e-9229-bee00e9e7e9a | signoff | Request Variation Acknowledgement
| 8d20db40-ceeb-512f-b832-5bd4676ee2c5 | checkpoint | Variation Completed
Invalid dependant | d302c95c-762e-5e5c-a32b-f0e8b483eb06 | signoff | Request Variation Signoff
| 3395c677-5e03-5918-8d3f-d7c7a7a5e12b | checklist | H&S Accident/Incident Checklist |  | Accident & Incident Investigation Report
| 8111ace1-1386-5c1f-8290-3df28e3c8d3f | section | Details
| b939799e-cb32-552b-b0ae-f77ae972662b | checkpoint | Details Completed
| e9de5bfb-8771-4638-b38c-6460b4a51ce3 | textbox | Name of Investigator:
| 7a303f1b-0b73-573c-8839-32cde81565a3 | section | Particulars of Incident
| e4d74b67-a7e3-56ec-aefd-da9e0813f139 | checkpoint | Particulars of Incident Details Completed
| 6b525f4e-f45b-4da7-8df5-23fe6bff84be | dropdown | Day of Incident: | Friday,Monday,Saturday,Sunday,Thursday,Tuesday,Wednesday
| 7e5d562b-6c37-42a1-8dac-2df84d546b73 | textbox | Time:
| 77139ee8-1724-49ec-b32f-6297f71fb24d | textbox | Project/Site:
| a3d0113e-1792-4d2a-81a4-c196efecce04 | textbox | Date Reported:
| a37ef4e3-d04c-5f7e-b932-67465a0961db | section | Injured Person Details
| 073880d2-20c5-5831-8b59-857de271af01 | checkpoint | Injured Person Details Completed
| bcbcce61-cfa2-48bc-982c-c5b5e71a5820 | textbox | Name:
| 557319b1-18ca-4e15-8145-bf19756ed742 | textbox | Age:
| 17d87fda-3003-4f2f-800d-c104d51100a6 | textbox | Phone Number:
| b250bb03-568c-46a4-930f-063d05523218 | textbox | Address:
| 183cd7d2-02cd-4259-8bcf-687060e2ae22 | textbox | Reported date of incident:
| cb2b501a-8ccb-408b-9bb5-195476e5b88e | textbox | Length of employment:
| 9df08fae-8517-426e-a3fc-1ebb04a7daf1 | textbox | Time on job:
| a42f7c37-0f49-5a45-9fdb-8ce709efe927 | checkpoint | Type Of Injury:
| 7ade6143-a0ba-43c7-94c8-17ffd8a461cb | tickbox | Strain/sprain
| 5738b1fe-e0ff-4949-ba49-7c573b173ca4 | tickbox | Fracture
| 6b4511fb-6c5c-4a9b-b2a1-9c48b3371cfa | tickbox | Laceration/cut
| 24005c68-47eb-4552-ba5b-1dc0d9723144 | tickbox | Bruising
| 769c2254-a4b9-40f7-8c98-a1b987acd4f0 | tickbox | Scratch/abrasion
| 8e754d90-98ee-4346-8ef7-4e37d0cd0355 | tickbox | Amputation
| 0f62ffbd-d654-4a44-b6ca-c8c5fd6bcf05 | tickbox | Burn scald
| c8c5f313-eb09-4171-b9df-32520fffab31 | tickbox | Dislocation
| 7e48ef93-56fc-4c31-8441-2b6734f61a1c | tickbox | Internal
| 74f4e66e-8287-4131-ab3d-ea35d3e9e914 | tickbox | Foreign body
| c0050bb4-329d-4731-b3b6-b00f4fe27d01 | tickbox | Chemical reaction
| 4e1cd37b-f7a7-49d4-b988-e1a523b2d87e | tickbox | Other
| 7e4b43c5-0b61-4b6b-ba7e-ec7748fc5de3 | textbox | If other please specify:
| 18e138ea-f591-4403-a2ad-9bddb2e1f2f8 | textbox | Injured Part of Body:
| 35a7058e-824f-55e5-888c-ce61080e8107 | section | Damaged Property
| a93fcae8-dafb-55ee-870d-0a45238d0111 | checkpoint | Damaged Property Details Completed
| b40e64d9-5932-48a4-9420-88c8273d482f | textbox | Property/material damaged:
| 7aa7cc35-9187-4c4d-96be-4b44ec4ab825 | textbox | Nature of damage:
| 6eb6370f-545a-42cd-8129-fe259589d2bf | textbox | Object/substance inflicting damage:
| a664f110-8ec0-524c-ab31-153758ded182 | section | Incident
| f2a172a7-ead4-5ee6-b8e9-fa95d7e10c7f | checkpoint | Incident Details Complete
| 4cd700c0-230d-460a-83f9-fd60b8704fb7 | textbox | Describe what happened (space overleaf for diagram – essential for all vehicle incidents):
| cd51d170-4805-5fab-b0df-56452eb4265a | section | Analysis
| 1cfc7f3b-1bcc-57c6-a15d-f5f73f51a1f4 | checkpoint | Analysis Details Completed
| 04e074f8-e295-4677-856b-5c28255dd0ae | textbox | What were the causes (root and contributing causes) of the incident?
| 1daea218-712c-4f70-9767-9a8134812e18 | textbox | Root causes – safety system failures:
| c6818664-ec27-40a9-a8a7-26f7ef16536b | textbox | Contributing causes – unsafe acts and conditions:
| 93002f87-99a2-51f3-8f98-e0324f8b6d8a | section | Prevention
| 6912b79c-3914-5108-8c7c-3900d63d27a7 | checkpoint | Prevention Details Completed
| 68d803a6-e0f5-415b-a68d-026a47c8da2f | textbox | What action has or will be taken to prevent a recurrence? Tick items already actioned
| bc67a7a4-86be-476f-be81-80038ecf4d50 | tickbox | Completed
| bfa9b6c8-e5a0-4595-b25a-fe1bafc23161 | textbox | By Whom:
| e03e6bef-8361-4a24-8eef-856453f85d7a | textbox | When:
| 68579f08-ff50-57cd-8eac-0e41d4fdc3d3 | section | Treatment and Investigation of Incident
| deacf92a-62fd-55cb-b168-8ded2855396f | checkpoint | Treatment and Investigation of Incident Details Completed
| 659ceae3-0e40-4182-9989-845fda6a338f | textbox | Treatment and Investigation of Incident :
| 0a690191-d11c-4abd-975b-a7dccd78628d | textbox | Name of person giving First Aid:
| 26885b6b-063a-4c38-a2cc-5794f0204418 | textbox | Doctor/Hospital:
| 1c479a88-1f1b-42c5-b9e7-6ce977689cb3 | textbox | Incident investigated by:
| c19b857e-6fb6-4c5d-bb32-996e3a28f9fb | textbox | Date:
| fc88a287-6242-4d70-8e73-0d2270065565 | dropdown | Worksafe NZ advised | No,Yes
| 913c4a48-55ec-4ab0-aa2e-c6e004b75fe5 | textbox | Date:
| acd5f846-4a8d-5309-92b1-639def6475c8 | checklist | H&S Site Safety Inspection |  | Site Inspection Checklist
| 5839c35d-fdea-5a52-87f9-3389e15b56a4 | section | Details
| e69d6b1f-92f6-58b7-b13b-01e6e72e8d4d | checkpoint | Details Complete
| 8b03cbae-c408-4ae9-a756-cca7018dea83 | textbox | Site/Location :
| 8ff362f0-afb9-45ca-87d4-347265a7e11e | textbox | Name of Inspector :
| a93793ef-285d-55b0-ab68-e0e10c75920f | section | Site Control
| c75a7ec9-da56-53ec-bfad-7e0e46c0ca1a | checkpoint | Hazard Board and signage up-to-date
| 33fcb949-e84f-5547-9de2-7824103abdc1 | checkpoint | Environmental plan - issues
| cae0f94e-0878-4302-855f-50626b9940cc | textbox | Toolbox talk last date:
| 03e06ec4-05b5-5458-9d59-4a203123d66f | checkpoint | Safety inductions for all on-site
| 06aff3d3-f045-5a7a-a0aa-d7f1793a81dd | checkpoint | Safety notice board current
| 4756c774-047b-5b27-ac06-a7b2bbd8a478 | section | Site Facilities
| 055a5d14-1515-51ac-8c66-fa2b4e667584 | checkpoint | Offices clean, adequate & good lighting
| 1bd44a75-22fd-55f3-8854-51ee7c418459 | checkpoint | Smoko sheds - clean, portable water
| 3ca12342-c725-56ea-8e2e-b75729bea752 | checkpoint | Toilets - clean, washing water
| 183be272-368d-5bfd-9b9f-8865c3ea228b | checkpoint | Tool /equipment sheds adequate
| 2946427c-94ac-536d-a56b-7b3d5ae7534b | section | General Site Tidiness and Access ways
| d9548743-8889-56bb-8f0e-94ae9e3c3243 | checkpoint | Clear, safe access to work areas
| 068a8820-451a-5ffd-b76c-55f8da8b0e1a | checkpoint | Stairways and accessways clear
| c9eba6cb-84e9-5f5a-9e43-01344d0c5ee7 | checkpoint | Hoardings /fence and gates secure
| d924f2c9-1ab4-5cfb-9538-18077bbe16ac | checkpoint | Loose materials secure from wind
| 96bd9900-1905-599a-9c68-9b4904deeaab | section | Personal Safety Equipment
| d1998b97-b595-5760-8d8d-ddb02a4c69c7 | checkpoint | Signage displayed and legible
| f0142461-1fb0-593c-b436-5bec97dc577b | checkpoint | Hardhats being worn
| e45b34d3-5bf4-5e96-8338-e6e8e04f3e72 | checkpoint | Correct footwear being worn
| ac2860a6-dea1-59ee-9d64-7502a7108a86 | checkpoint | Glasses /ear muffs /vests /masks used
| 377f5728-850b-5256-b8d1-2db971e843aa | section | First Aid/Fire Prevention
| 9be6db36-292b-5b1a-b570-42b1995ab7ae | checkpoint | First Aid Box Available
| 6b7c7c72-675f-52bf-aa75-cdcc4cf98753 | checkpoint | Accident register
| 15b1c9ab-071c-57bf-bbac-eddbd9d9e7aa | checkpoint | Fire Extinguishers
| 12bab111-d5d2-4ba9-87f2-979c842a9df6 | tickbox | Available
| 61ea2b23-6ac8-44f8-9d40-86c8daf1dd62 | tickbox | Current (12mth)
| 3f3e012d-918a-4137-9689-dcced1049dcc | tickbox | Sufficient number
| f2a73f43-0d19-58fe-b598-ef909b40a3b3 | checkpoint | Evacuation
| 7aa1d51b-82ee-46ea-a2d8-8922b951f5d1 | tickbox | Procedure current
| 62e3bbb3-5108-4954-b02d-7071877274bd | tickbox | All emergencies incl
| ece1fe57-811d-5d64-85a3-ea0db637b3b5 | section | Cranes/hoist/lifting equipment
| 8bcc473a-389f-5f7b-8cfd-0135becf23dd | checkpoint | Proper lift assessment plan done
| f8d4f3f4-e9f5-53de-b762-938d4e5d181d | checkpoint | Crane certification current
| 16d79930-f4e2-5c25-845e-d937af3c313b | checkpoint | Slings/chains certified
| 56f4e944-26c0-5880-a585-b49efb6917ba | checkpoint | Operator procedures in place
| 546de167-3887-5909-86cb-4545f9a7cd3d | checkpoint | Inspections being done
| f64a7a6e-2270-5913-bb03-c7ea6a03de1f | checkpoint | Man cage available
| 76164cb4-67e0-5dac-ba2c-edf823852ab5 | checkpoint | Emergency plan in place
| 803f81b4-f1a1-5faf-9066-c617d43db496 | section | Compressed air equipment
| bf08940e-c255-50bb-9e4d-b55e3faa21b0 | checkpoint | In good condition
| 6fd4f226-7f17-5b8e-8fc1-1e65e0f31a46 | checkpoint | Appropriate guards fitted
| 6959f519-0b58-50a2-83a9-998e1dad6c6a | checkpoint | Trained user
| d75d966c-5e62-5857-a23f-96fb70d70b8a | section | Excavations
| 2ce19add-9608-5ac4-9a82-b339047906c6 | checkpoint | Correctly Shored
| 7799ebe3-0efa-5f2b-a08a-a8ff69d55bfa | section | Welding/gas cutting
| 2b132c1e-1fc2-53d1-b3b5-61355f7182cd | checkpoint | Hot work permits being issued
| 22be9846-e94b-5d6b-9e89-991dd82e0a40 | checkpoint | Fire extinguishers on hand
| 8d161282-648a-5f1c-a6c0-56046f516a20 | checkpoint | Operators using PPE
| ae757ed4-34c9-51d6-8610-61698c45f24f | section | Electrical Equipment
| 9f4024ff-d4f0-5096-b08e-eafbe4a61a49 | checkpoint | Main board lockable /weatherproof
| c4d3bfcd-2895-5cf0-913b-0a7d5c687d4e | checkpoint | Current tagged and damage-free leads
| 015b68a4-7052-5121-aac9-27d62611b126 | checkpoint | Current tagged plant
| 2b6ddee0-e1c9-5b2c-b4d4-59a16576de27 | checkpoint | Current tagged lifeguards
| 2afd35eb-fa15-5988-ba63-225816003d1f | checkpoint | Leads safely placed
| 8a1deb58-35e2-51fd-8c7a-08d7ae57e385 | checkpoint | Equipment in good condition
| 5e061db8-8435-50fa-9a2b-59f0d532bb82 | checkpoint | Appropriate guards on equipment
| 2b1fbbd7-3e80-5a0f-9153-fb15a89b07b5 | checkpoint | Adequate temporary lighting
| 536224db-346f-58ef-aa7a-ffdf56d8c550 | section | Chemicals
| 26fc7581-094b-5ca0-ae9b-089abb0702f5 | checkpoint | Correctly stored
| 29702d76-860b-5191-86e4-4cc96d906a82 | checkpoint | Safety Data Sheet (SDS) available
| 8db5b7ea-9244-4216-92fa-217a20ded6e3 | checkpoint | Operators using PPE
| b4645b55-bac3-507e-8fd8-3b61295de895 | section | Tools
| d2975fac-fe76-5e39-b33e-0b004a3c64c8 | checkpoint | PAT tool WoF current and secure
| dfcab256-c53b-5ef4-afe3-60660b424ce2 | checkpoint | Staff trained in tool use (SWPS)
| 69813280-d4ff-53a3-bbb5-9f887e9de81d | checkpoint | PAT signage on site
| 83806db3-33d9-5a78-8935-b5691cb5893e | section | Scaffolding
| f6b9139a-5d1c-5267-87f3-8967daac8850 | checkpoint | Notifiable weekly Scaftag/current
| 6730d610-7f37-5cad-b6b5-11cb27e6c14e | checkpoint | Handrails/mid-rails
| 1477e5bd-6151-5a3c-b3da-a0fabd86dcad | checkpoint | Toe boards
| b1a342c8-5db4-54ab-9f44-1131c80add11 | checkpoint | Platforms
| ddeb7fe5-514d-5320-a656-d2a9c73db19a | checkpoint | Ladders/stairs
| 6361b639-d448-549a-b632-9980c67626ef | checkpoint | Base sound
| 07f38368-7864-5010-8732-70537e475245 | checkpoint | Work platforms clear
| 9ce48fde-3b70-50ab-aefe-0fe99be34852 | checkpoint | Platforms trip free
| 668a1f2a-fab7-52df-8e9b-0189c819e78e | checkpoint | Planks tied down
| 4d87a4bc-a914-5ca4-8761-541b37d03e85 | checkpoint | Headroom clear
| b58201b1-8e07-5974-80ae-69007c79833b | checkpoint | Ties/bracing adequate
| 7c266ad0-612b-5367-9593-723001e58d15 | section | Ladders
| 4f2e6702-2651-5ace-abbf-596a596a0d12 | checkpoint | Good condition
| fc543df7-cc9a-5f6c-9d7a-1d97ce8be6c1 | checkpoint | Secured top and bottom
| 574b86ef-1dec-5701-a254-583a79e9b5ca | checkpoint | Stays to step ladders
| 111d10b8-bd7c-56e7-8cfe-5229bf75226c | checkpoint | Working 2 steps down
| 9acbaf19-78ef-5e3a-9ab6-21d10ee0e180 | section | Fall Hazards
| 609843db-cea2-45d3-b97b-499623dbaaf7 | checkpoint | Fall Hazards
| 067a369e-a708-5b8a-a2db-551b7fd8cf78 | checkpoint | Floor openings
| 1de63d50-30dd-58ec-b9c2-27253102a88e | checkpoint | Lift shafts
| cad5a27c-0b5c-574e-ba1c-cf0334c89d4b | checkpoint | Stairs
| 4dbc451f-0a04-5ef1-a3e0-d501110a846e | checklist | H&S Toolbox Talk |  | Toolbox Checklist
| 5839c35d-fdea-5a52-87f9-3389e15b56a4 | section | Details
| e69d6b1f-92f6-58b7-b13b-01e6e72e8d4d | checkpoint | Details Complete
| 305f2185-4e3a-4417-ae95-885bb0b1de8a | textbox | Office location:
| b2fd07dc-8f92-4010-8a71-46e71c03ff63 | textbox | Who is running this meeting:
| 1d3d0b15-a56a-498c-b16b-2afa5f8e2573 | textbox | Company
| 88e78785-0eea-4ad8-a896-1622379eacfc | textbox | Agenda items:
| ce0224f5-54b8-47a5-b890-7a5416c69623 | textbox | Theme of the week (topic for focus):
| 8f43e25f-65e6-5225-921d-ab35dc0c24b7 | section | Health and safety issues
| 27615573-fbf2-5516-92a8-0e5cc3b9bf1d | checkpoint | 1.
| 2ec0fc9e-b14f-43a5-bb60-4df5d5ab3ab4 | textbox | Issues raised from site safety inspection:
| 1b5fcc97-f30c-4727-a783-29c22206fa41 | textbox | Actions:
| b5107b7c-d991-4507-a1a9-6180db10057c | textbox | By who and when:
| 298b3411-9271-5589-837b-4b41444a316e | checkpoint | 2.
| 8978adff-e266-4646-b125-178fba33a0dd | textbox | Issues outstanding from previous briefings:
| 507afe6b-4ee7-4485-bd4b-99698d8e8f47 | textbox | Actions:
| 7d92f59d-ce24-4ec9-8428-a92c87f559e3 | textbox | By who and when:
| e769426b-edeb-558c-8818-39302f18d975 | checkpoint | 3.
| 305b3039-3f3d-45b4-8536-fb028ee2010b | textbox | Employee-raised issues:
| c98f50a5-1fb4-45b7-86e0-301132ec8b7c | textbox | Actions:
| c250b53e-5070-459c-b01f-af8fcce5cdb7 | textbox | By who and when:
| 15e890b1-668b-5da0-b732-7049a0c53185 | checkpoint | 4.
| 26f6b1aa-3048-4106-a64b-dc4e2cf75ec3 | textbox | Positive safe-action observations:
| dd2ab926-5b94-46f6-a93f-eed5fa00233e | textbox | Actions:
| 464cc30b-c155-4299-b08c-242a1821bd72 | textbox | By who and when:
| 777f76d7-db57-5fdb-a07c-4385b530b821 | checkpoint | 5.
| ba0166ff-1cef-49fe-a54e-fce60528feea | textbox | Incidents or injuries:
| 8f9035d5-30e5-4ea2-9ec4-4d19df05b3fd | textbox | Actions:
| 1a84fee3-7466-42bd-a3ff-39c2785201a3 | textbox | By who and when:
| 65cf4cdb-858a-5a48-a1f8-60f558ae2c46 | section | Job plans reviewed
| a8280800-1226-53e5-9c73-a7a52d5684e8 | checkpoint | Job/Task & Action/Outcome
| cb9c1ca7-7b79-4c62-8f74-3a1d70af5886 | textbox | 1.
| d396585a-1ce3-4d1e-b838-375ab4165dd0 | textbox | 2.
| 4657beed-8141-41c2-926d-0d7204a497a2 | textbox | 3.
| 1e162112-08ad-40c3-9d33-6c4bac52a906 | textbox | 4.
| fd629f21-4050-47b3-b236-26daf8c94903 | textbox | 5.
| a08ea05c-aa58-425b-9cb6-e2fa8951a414 | textbox | 6.
| 8d693926-2ea9-518f-87a9-fe6c0a53f6f9 | section | Operational issues
| 4f65d119-f79f-5ea2-8563-cefb57fc5845 | checkpoint | Issue & Action
| 301f9ad4-6682-45c0-aa57-7b074b0e8a13 | textbox | 1.
| 1373bee6-816f-408a-97a0-72f99b461b6e | textbox | 2.
| c487e999-fa82-493c-b540-e056d94778fb | textbox | 3.
| 5341a99d-52f8-4c86-8e11-6e8adfb0627e | textbox | 4.
| 8e55092c-df52-43d0-b019-a8e67550ae09 | textbox | 5.
| b87136a8-71c4-41f7-9cdb-74d4b55b5521 | textbox | 6.
| 87859890-e1e4-5aaa-9e3c-6d48193f428b | section | Other business
| 807d9d40-3b89-5a55-a7d9-c9eed3e5ecf2 | checkpoint | Item & Action
| 2e63def1-4462-4998-b972-d5125960181e | textbox | 1.
| 044404a1-6065-4d33-8f96-7da9ab2eaf3a | textbox | 2.
| 1e321545-4537-44dd-9443-3ae2c58d572b | textbox | 3.
| e3214f18-5e4b-42bf-856b-435adffda167 | textbox | 4.
| 65c959d0-b98d-5abf-a53e-ce8e5c54279e | section | Attendees
| 401b3010-2947-5c78-bb98-db387017efe7 | checkpoint | Add name and Photo of attendees
| fb78e717-0c25-50ab-a6fe-ad82138ef4f2 | section | Review by management
| 086684f9-443c-5b54-8abd-7b68208fe8ed | checkpoint | Reviewed and signed off
| 054479d9-523d-4c50-88ce-626d6600059d | textbox | 1.
| e1ea14ce-04e9-4c55-b0e6-131f75ee169d | textbox | 2.
| 146b2866-36a6-54fa-9b11-2cd8ca42f709 | checklist | Handover Documents Checklist |  | Handover Documents
| d1891d29-7ce1-5cea-98ba-54b5f26a36df | section | Structural Consent
| e0d00a09-b665-5d7c-8eff-0675cc2e348b | checkpoint | Producer Statement (PS3) Site Welding
| 1ad82fd8-894d-506e-a91a-08e8d54a2c85 | checkpoint | Producer Statement (PS3) Corrosion Protection
| 8240d8be-73e8-5f2c-9c2b-5a5e23454e19 | checkpoint | ITP- Structural Steel Welding
| fc028f17-d006-569b-adb2-abca6a9b4c1a | checklist | Health & Safety |  | Health & Safety
| 8111ace1-1386-5c1f-8290-3df28e3c8d3f | section | Details
| abec5c6b-1d69-56f6-a64f-dab6842d0123 | checkpoint | SSSP
| 862ba756-3ce9-50e2-90b3-0861e5405037 | checklist | Overview QA Checklist |  | Overview QA Checklist
| d22b20c0-8d7f-516d-b6fe-b5e42b2d7314 | section | Overview QA
| 83c0d8b9-e943-5105-92c7-ddc670ba75dd | checkpoint | Steel Erects to Level
| d712652c-11fb-5cc0-bee1-c3cb0b8c4ee7 | checkpoint | Steel Erects to Plumb
| 41e84d2f-7ffa-5f8a-af73-80ba82e06599 | checkpoint | Bracing Systems Installed to Specification
| 54533367-b280-5a16-a891-4f3550554b49 | checkpoint | Temporary bracing secured, if required
| dfef9259-d5fe-5991-b7f0-ac099a33ce04 | checkpoint | Purlins and Bracing Installed to Specification
| ca9e8198-f53c-5244-bb08-9c6c2dd00fd4 | checkpoint | Bolts installed to Correct Requirements
| 72257461-dfbc-5380-8a9f-29c4d9981d6b | checkpoint | Chemsets installed to Specification
| 86c25f5e-ccbb-5976-90fa-73e3749936f9 | section | Welding
| 731ef119-6e91-5381-9d13-96e7ffa643c9 | checkpoint | All welding completed to spec and weld procedure
| 84f7659b-2e49-5955-a5ad-0cacf163d509 | section | Coating
| c1e1b1e0-3acc-54c6-84dc-9cd3deff501a | checkpoint | Coating touch up completed
| f7bab848-0132-513c-a715-666e8429c9d0 | checkpoint | Steel surface left clean
| e1e6b3ca-6022-5347-b7da-2714c76282af | section | Handover
| ac6fe3c4-789a-5d96-b6af-1e6bf6331f2c | checkpoint | All site debris removed
| 7e2a3684-f3ed-5644-abb5-c7ba67471872 | checkpoint | Ready For Handover To Next Trade
| 038cfdb7-b677-55fb-8992-7481817916c6 | checklist | Site Install Checklist |  | Site Install Checklist
| a252cb89-6720-5010-9702-1d823695c026 | section | Prestart
| f6773f3d-64ce-535c-9e1b-1df3a6b925ff | checkpoint | Work area clear, tidy and accessible
| 7ebf3446-7d4c-542e-b6e3-d260b59f5278 | checkpoint | Substrate acceptable
| a73e7a93-12be-5732-8425-89fc905fde61 | section | Steel Delivery
| 3d52bb4e-6cdf-53e5-8d30-31e3006fe52f | checkpoint | Corrosion protection accepatble
| 2d17a666-79e8-594a-afab-e893068596c6 | checkpoint | Numbers stamped / id tags attached
| 03ee5e51-7c8b-519d-99fc-3922c084ccab | section | Steel Erection
| b0ba61a1-8504-54d7-97a2-b3fd66fc4a98 | checkpoint | Grid Lines marked for Set out
| 1a76bd62-ac1a-5608-b649-3f1fda3e1c71 | checkpoint | Wall heights marked and checked
| 049a3979-2691-577f-8fe2-9259a28ba2d3 | checkpoint | PC Panels Plumb
| 134c4e02-bb56-5016-8e1b-a059ab6b0077 | checkpoint | Cast in plates in place
| 2fd4c4dd-5746-581f-84f6-0bf410ed259e | checklist | Site QA Documents |  | Site QA Documents
| 8111ace1-1386-5c1f-8290-3df28e3c8d3f | section | Details
| 3392e547-3c0c-5661-9e42-e768e02a4422 | checkpoint | Erection Operating Procedures
| 3155bd24-d582-5618-8053-5d1b86839f61 | checkpoint | Methodology
| 791ecf4c-8cbb-58f5-91cf-7f5f66533675 | checkpoint | Bolt Batch Numbers
| d9b009f7-3b87-55a6-9971-5f35b7845818 | checkpoint | GA Drawings
| 1e659aa8-9032-5878-ab28-d4d22ab51fc8 | checkpoint | Bolting Diagram
| 85180e00-e123-521a-9edb-6c73ee2c8cf9 | checkpoint | Welders Tickets
| 0f43cd14-e24c-55ae-8d16-6e291599006e | checkpoint | Site Weld NDT
| 0390d9c4-e3bc-58f6-ac74-e334b5dea87e | checklist | Workshop QA Documents |  | Workshop QA Documents
| 8111ace1-1386-5c1f-8290-3df28e3c8d3f | section | Details
| baa37ae5-9ba9-5af6-9790-2783f101683c | checkpoint | Fabrication Quality Plan
| 21810385-d1d0-5508-a3db-8196a5ccd70f | checkpoint | Contract and Technical Review
| 6792c05a-c6ea-5c19-bc2b-d91094c909fc | checkpoint | Steel Mill Certs
| b41c887e-f707-532d-b90b-67f1c90da0cb | checkpoint | Workshop QA ITP
| 132b199f-8665-5e62-af0a-73644b5bc678 | checkpoint | Structural Coatings
| 3c7244fb-64c5-5418-ab9b-f4fbff43041c | checkpoint | Welders Ticket
| 96215adb-e4d2-5eb1-ab79-0edd45bf4b5f | checkpoint | Third Party NDT