## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | QA 34 - Rough-In ITP - WMH | [5 empty] | QA 34 - Rough-In ITP - WMH
section | Details
checkpoint | Location
textbox | Location
checkpoint | Setout as per the following documentation
button | RLS Drawings | Yes, No, N/A
textbox | Drawing No.
button | FFE Drawings | Yes, No, N/A
textbox | Drawing No.
button | LOH | Yes, No, N/A
textbox | Drawing No.
checkpoint | Waste Installed
checkpoint | Vent Installed
checkpoint | Penetration sealed
checkpoint | Pipe work Clipped
checkpoint | TMV Installed
button | AQUABLEND 1500 Thermostatic Mixing Valve | Yes, No, N/A
checkpoint | Nogging installed as per set out
button | Basin | Yes, No, N/A
button | Basin Water | Yes, No, N/A
button | Shroud | Yes, No, N/A
button | Shower Mixer | Yes, No, N/A
button | Shower Rail | Yes, No, N/A
button | Toilet | Yes, No, N/A
button | Backrest | Yes, No, N/A
button | Other | Yes, No, N/A
checkpoint | Cross connection check / jointing
button | Hot Water Pipes | Yes, No, N/A
button | Tempered Water Pipes | Yes, No, N/A
button | Cold Water Pipes | Yes, No, N/A
button | Rainwater Pipes | Yes, No, N/A
checkpoint | Water Pressure Test Completed
checkpoint | Rough-In works completed to specification/drawings - Area left clean & tidy
note | FINAL - Pass when happy to proceed with work(s) (Any issues please comment below)