## zres_siteapp
Rich Type | Id | Warnings | type | name | values | prefix | postfix | Usage Count | User Addable | Template Name | Template Id
checklist-sectioned |  |  | checklist | ITPS-003 Fire Alarm and EWIS Installation | itp |  |  |  | Yes | ITPS-003 Fire Alarm and EWIS Installation - BTN
checkpoint-group |  |  | section | Details
checkpoint-status |  |  | checkpoint | 1 - CABLE TYPE & SIZE TO DESIGN CRITERIA - AS1670.1-2018 Have a cross sectional area of no less than 0.75mm2 AS3000
button |  |  | button | C5.4.0 Wiring | Pass
text |  |  | textbox | Drawing Reference Number:
text |  |  | textbox | Inspection performed and witnessed by: Please print name and company of all involved parties
date |  |  | date | DATE:
checklist-sectioned |  |  | checklist | ITPS-003 Fire Alarm and EWIS Installation | itp |  |  |  | Yes | ITPS-003 Fire Alarm and EWIS Installation - BOOL
checkpoint-group |  |  | section | Details
checkpoint-status |  |  | checkpoint | 1 - CABLE TYPE & SIZE TO DESIGN CRITERIA - AS1670.1-2018 Have a cross sectional area of no less than 0.75mm2 AS3000
boolean |  |  | tickbox | C5.4.0 Wiring | Pass
text |  |  | textbox | Drawing Reference Number:
text |  |  | textbox | Inspection performed and witnessed by: Please print name and company of all involved parties
date |  |  | date | DATE: