## Drains Rough In
Task | Sub-Task | Building | Level | Apartment No's
Penetrations
Set Out
|  | Existing | Ground | Pharmacy | Staff Lounge | Corridor | Gantry | Driveway | Carpark
|  |  | Level 1 | Resus Bay | Day Procedure Corridor | Day Procedure WC | Stage 1 Recovery | Corridor | Bev Bay | Medications | ACC Shower | Staff Change | ACC WC | Dirty Utility | Decontamination | Staff Change Modular | Cleaner Modular | Staff lounge Modular | Operating Theatre Zone Modular
|  |  | Level 2 | Chiller Plant Gantry | Plant
| Fire Collar Installation |  |  | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE | ADD APARTMENTS AS ABOVE
Scanning
Inground works
Top of pits installed to correct height
Testing of drains
Correct loactions of all pits / drainage points
Fire Hydrant Supply
Cold Water Supply
Drains
Drains
Smoke Seal Penetrations
Fire Collar
Acoustic Lagging
Testing (Water/Air)
Rough In
High Level Rough In
Noggins Marked
Wall Set Out
In-Wall TMV
In-Wall RPZD
Wall Rough In
Waste Rollovers
Test Water
Corridor
Hose Reel Line
Hot Water
Hot Water Lagged
Cold Water
Test Hot Water
Test Cold Water
Fire Caulking (Corridor)
Fit Off
Vinyl Floor Waste
Hand Basin
Shroud installed
Scrub Trough
Ministops/ Ball Valve
Fixture Waste
Mixer installed
Dishwasher
Sink
Trough
Fire hose Reels
Bathroom Shower Mixer
Bathroom Shower Rail/Rose
Bathroom Basin
Bathroom Basin Mixer
Bathroom Bottle Trap
Bathroom Toilet
Commisioning
Bulk Hot Water
Test RPZD
Test Hot Water Temperature
Test Waste for leaks
Plant and equipment
Hot water system
Heat pumps