## Sheet1
Checklist Name | Checklists | Type
SNSW Maintenance - Building details
| Date: | Date select
| Service NSW Centre | List selection (see site names tab)
| Name of Supervisor/Technician | Text box
| Start Time (24 hour) | Text box
| Finish Time (24 hour) | Text box
SNSW Maintenance - Site Information | Is there parking available on site? If yes, take photos | Text box & photos
| Where do you access the building? Take photos | Text box & photos
| Is there rear access to the centre? If yes, take photos | Text box & photos
| What is the ceiling height? - Please note if there are mutliple ceiling heights and take photos | Text box & photos
| What type of ceiling is there? Detail and take photos (T-Bar, Gyprock etc) | Text box & photos
| Is there external lighting? If yes, take photos | Text box & photos
SNSW Maintenance - Site information - Final check
| Have you gathered information on front access | PASS/FAIL/NA
| Have you gathered information on rear access | PASS/FAIL/NA
| Have you taken note of the ceiling height in each room | PASS/FAIL/NA
| Have you gathered information car park access | PASS/FAIL/NA
SNSW Maintenance - Emergency Lighting | What type/model/brand of emergency lights are installed? (e.g. monitored) | Text box
| Is there an emergency test switch? Yes/No | Text box & photos
| How many emergency spitfires does the centre have in total? Detail model number | Text box
| Take a photo of the spitfire model number | Photos
| How many emergency exits does the centre have in total? Detail model number | Text box
| Take a photo of the emergency lights | Photos
| Is there an emergency log book on site? Yes/No | PASS/FAIL/NA
| If no, have you left one behind | PASS/FAIL/NA
| Have you completed the emergency test - Yes/No | PASS/FAIL/NA
| Did the emergency lights pass the 90min test? Yes/No | Yes/No
| If failed, how many lights failed | Text box
| Detail lights that failed with model numbers | Text box & photos
SNSW Maintenance - Emergency Lighting - Final check | Emergency light 90min test completed | PASS/FAIL/NA
| Emergency log book filled out | PASS/FAIL/NA
| Emergencies counted | PASS/FAIL/NA
| Detailed any failed emergencies | PASS/FAIL/NA
| Photos taken | PASS/FAIL/NA
SNSW Maintenance - Lighting Audit
| Has an LED upgrade been completed? | Yes/No
| Number of Panel Lights - Detail the size of the panels / model numbers | Text box
| Take a photos of the panel light model numbers - take photos of model numbers of all sizes of panels | Photos
| Number of Downlight Lights - Detail the size of the downlights / model numbers | Text box
| Take a photos of the downlight model numbers | Photos
| Number of Halo Lights - Detail the size of the Halo's and model numbers | Text box
| Take a photos of the halo model numbers | Photos
| Number of additional lights - Detail size & type of lights | Text box
| Take photos of all additional lights | Photos
| Total Count of the number of lights in the centre | Text box
| How are the lights controlled? - (e.g. Dali) - Take photos of controls | Text box & photos
| Are there any faulty lights? If yes, detail where they are located, model, number of lights, why they are faulty (e.g discoloured, not eorking, water logged) | Text box
| Take photos of faulty lights | Photos
| Take photos of all lights in the Self service area | Photos
| Take photos of all lights in the Test Area | Photos
| Take photos of all lights in the FOH | Photos
| Take photos of all lights in the BOH | Photos
| Take photos of all lights in the Customer Area | Photos
| Take photos of all lights in the Counter area | Photos
| Take photos of all lights in the additional areas - Name of area and photos | Text box & photos
SNSW Maintenance - Lighting Audit - Final check | Photos of all lights | PASS/FAIL/NA
| Lighting count | PASS/FAIL/NA
| Pictures of the model numbers of the lights | PASS/FAIL/NA
SNSW Maintenance - Distribution Board
| Name of distribution board? | Text box
| Where is the Distribuition board located? - Detail and take photo of location | Text box & photos
| Is there a DB schedule in the board - take photo | Text box & photos
| Does the DB schedule need to be updated? If yes, detail why. | Text box
| How do you access the DB room (e.g. what keys /access is required) - Photos of keys required for DB & Room. | Text box & photos
| Take photo of board with cover on | Photos
| Take photos of board with cover off | Photos
| Take photos of main switch | Text box & photos
| Where is the DB fed from / isolated from? - If possible take photos | Text box & photos
| What is the size of breaker feeding the DB? - If possible take photos | Text box & photos
| What is the size of the cable feeding the DB? - If possible take photos | Text box & photos
| What capacity is the DB / How many spare ways? - Detail and take a photo | Text box & photos
| Is there a UPS? - If yes, detail the model number and take photo | Text box & photos
| Is there a backup generator? - If yes, detail the model number and take photos | Text box & photos
| Do you see any issues with the current DB? If yes, provide as much detail as possible and support with pictures | Text box & photos
| Brand of RCBO's - detail and take photos | Text box & photos
| IS there more than 1 DB? If so, add new checklist for additional DB's | PASS/FAIL/NA
SNSW Maintenance - Distribution Board - Final check | Have you added checklists for additional DB's | PASS/FAIL/NA
| Photos taken of DB | PASS/FAIL/NA
| Photos taken of UPS | PASS/FAIL/NA
SNSW Maintenance - Thermal Imagery
| Name of Distribution Board | Text box
| Take photo of the name of the DB board and service centre written on paper (if the name of DB is not on the cover - this is so we can identify which DB) | Photos
| Take picture of the front of DB with cover on - (these photos will be saved on thermal camera) | Photos
| Take picture of DB with cover off - (these photos will be saved on thermal camera) | Photos
| Take close up picture of main switch - (these photos will be saved on thermal camera) | Photos
| Take close up pictures of any potential concerns - (these photos will be saved on thermal camera) | Photos
| Add new checklist for additional boards | PASS/FAIL/NA
SNSW Maintenance - Thermal Imagery - Final check | Take picture of the front of DB with cover on | PASS/FAIL/NA
| Take picture of DB with cover off | PASS/FAIL/NA
| Take close up picture of main switch | PASS/FAIL/NA
| Take close up pictures of any potential concerns | PASS/FAIL/NA
| Have you completed a thermal imagery checklist for all DB's | PASS/FAIL/NA
SNSW Maintenance - RCD Testing | Complete RCD testing | PASS/FAIL/NA
| Complete RCD Test sheet - take photo of completed sheets | Text box & photos
| Have any RDC's failed - please identify RCD | Text box & photos
SNSW Maintenance - Comms Rack | Where is the comms rack located | Text box & photos
| Are keys required to access the comms room | Text box & photos
| Model of the comms rack | Text box & photos
| Brand of comms cable | Text box & photos
| Take photos of comms rack | Text box & photos
| Take close up photos of all equipment in the comms rack | Photos
| Add new checklist for additional comms racks | PASS/FAIL/NA
SNSW Maintenance - Comms Rack - Final check | Have you taken pictures of comms rack | PASS/FAIL/NA
| Have you taken pictures of comms equipment | PASS/FAIL/NA
| Have you detailed brand of comms cable | PASS/FAIL/NA
| Have you added checklists for additional Comms racks | PASS/FAIL/NA
SNSW Maintenance - Test and Tag | Service New South Wales centres are only allowed to have a limited number of appliances in their kitchens. The ONLY appliances that are to be tagged are: | Instruction
| Test and tag - Sandwich press - Take picture | Text box & photos
| Test and tag - Microwave - Take picture | Text box & photos
| Test and tag - Fridge - Take picture | Text box & photos
| Test and tag - Kettle - Take picture | Text box & photos
| Test and tag - Dishwasher - Take picture | Text box & photos
| Test and tag - Toaster - Take picture | Text box & photos
| SILVERWATER ONLY - Test and Tag - Hand dryers - Take picture | Text box & photos
| Note down but DO NOT TAG any other appliances situated in the kitchen that is not on the approved list (E.g. Air Fryer, coffee machine etc) | Text box & photos
SNSW Maintenance - Test and Tag - Final check | All approved items are tagged | Yes/No
| Have any non-approved items have been tagged | Yes/No
SNSW Maintenance - General maintenance | How many counter desks are in the centre? | Text box & photos
| Take photos above and under each counter desk | Text box & photos
| Take photos above and under each desk | Text box & photos
| What make is the soft wiring | Text box & photos
| Take photos of privacy zones | Text box & photos
| Take photos of internal offices | Text box & photos
| Take photos of toilet ceilings | Text box & photos
| Take photos of Self service areas | Text box & photos
| Take photos of photo booth areas | Text box & photos
| Brand of swtiching / power | Text box & photos
| Detail any issues found during the inspection (e.g. faulty soft wiring any potential hazards) | Text box & photos
SNSW Maintenance - General maintenance - Final check | Have photos of all desks been taken | PASS/FAIL/NA
| Have you noted the make of soft wiring | PASS/FAIL/NA
| Have you taken photos of photo booths | PASS/FAIL/NA
| Have you taken photos of toilet ceiling | PASS/FAIL/NA
| Have you taken photos of self service area | PASS/FAIL/NA
| Have you noted any issues/concerns highlighted in the maintenance investigation | PASS/FAIL/NA
SNSW Maintenance - Additional Notes | Please detail anything else you believe to be an issue/concern | Text box & photos

## Site names
Site names
Albury Service Centre
Armidale Service Centre
Auburn Service Centre
Ballina Service Centre
Bankstown Service Centre
Batemans Bay Service Centre
Bathurst Service Centre
Bega Service Centre
Blacktown Service Centre
Bondi Junction Service Centre
Botany Service Centre
Broken Hill Service Centre
Brookvale Service Centre
Burwood Service Centre
Casino Service Centre
Castle Hill Service Centre
Cessnock Service Centre
Chatswood Service Centre
Coffs Harbour Service Centre
Cooma Service Centre
Cootamundra Service Centre
Corrimal Service Centre
Cowra Service Centre
Deniliquin Service Centre
Dubbo Service Centre
Eastgardens Service Centre
Eden Service Centre
Edmondson Park Service Centre
Engadine Service Centre
Erina Service Centre
Finley Service Centre
Forbes Service Centre
Glen Innes Service Centre
Glenmore Park - New centre
Gosford Service Centre
Goulburn Service Centre
Grafton Service Centre
Griffith Service Centre
Gunnedah Service Centre
Haymarket Service Centre
Hay Service Centre
Hornsby Service Centre
Hurstville Service Centre
Inverell Service Centre
Kempsey Service Centre
Kiama Service Centre
Leeton Service Centre
Lightning Ridge Service Centre
Lismore Service Centre
Lithgow Service Centre
Liverpool Service Centre
Macarthur Service Centre
Maclean Service Centre
Macquarie Fields - DT & DTK Centre
Maitland Service Centre
Marrickville Service Centre
Merrylands Service Centre
Miranda Service Centre
Mittagong Service Centre
Moree Service Centre
Moruya Service Centre
Mount Druitt SNSW
Mudgee Service Centre
Murwillumbah Service Centre
Muswellbook Service Centre
Nambucca Heads Service Centre
Narooma Service Centre
Narrabri Service Centre
Narrandera Service Centre
Nelson Bay Service Centre
Newcastle Contact Centre
Newcastle Service Centre
North Rocks Service Centre
North Sydney Service Centre
Nowra Service Centre
Nyngan Service Centre
Orange Service Centre
Parkes Service Centre
Parramatta Contact Centre
Parramatta Service Centre
Penrith Service Centre
Port Macquarie Service Centre
Queanbeyan Service Centre
Raymond Terrace Service Centre
Revesby Service Centre
Richmond Service Centre
Rockdale Service Centre
Roselands Service Centre
Ryde Service Centre
Silverwater Service Centre
Singleton Service Centre
Springwood Service Centre
St Marys Driver Test Centre
Tallawong Service Centre - New centre
Tamworth Service Centre
Taree Service Centre
Tenterfield Service Centre
Toronto Service Centre
Toukley Service Centre
Tuggerah Service Centre
Tumut Service Centre
Tuncurry Service Centre
Tweed Heads Service Centre
Ulladulla Service Centre
Wagga Wagga Service Centre
Walgett Service Centre
Wallsend Service Centre
Warners Bay Service Centre
Warrawong Service Centre
Warriwood Service Centre
Wauchope Service Centre
Wellington Service Centre
Wentworth Service Centre
West Wyalong Service Centre
Wetherill Park Service Centre
Wollongong Service Centre
Woy Woy Service Centre
Wynyard Service Centre Service Centre
Yass Service Centre
Young Service Centre Service Centre