## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
99cbe66a-0182-4a2b-a060-afb184c258ba | checklist | SNSW Maintenance - Site information - Final check |  | SNSW Maintenance - Site information - Final check
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
de82fd9a-a22e-4ba2-8e54-4b176204cb9b | checkpoint | Have you gathered information on front access
0173ad43-9aef-4df3-809f-81d969b7cf41 | checkpoint | Have you gathered information on rear access
1fff86a8-ca42-4087-8cf3-523968d2edcc | checkpoint | Have you taken note of the ceiling height in each room
1604fae0-225b-4b9b-a55c-6fa0283dd7d1 | checkpoint | Have you gathered information car park access
0d454626-0318-4802-b4d7-b5a72fc9b195 | checklist | SNSW Maintenance - Emergency Lighting |  | SNSW Maintenance - Emergency Lighting
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
b011b396-ce7e-4b41-b6ca-9da680a282fd | checkpoint-no-value | What type/model/brand of emergency lights are installed? (e.g. monitored)
29363325-396c-4453-a1c5-9152af657052 | checkpoint-no-value | Is there an emergency test switch? Yes/No
698b4a29-415c-4a74-be58-c14a5e141914 | checkpoint-no-value | How many emergency spitfires does the centre have in total? Detail model number
4187156c-08bf-4a75-b028-b42c7f154eee | checkpoint-no-value | Take a photo of the spitfire model number
7ade4140-eb03-4bb2-a928-c29d7ee8b48b | checkpoint-no-value | How many emergency exits does the centre have in total? Detail model number
596c28e6-7da2-4eff-820d-2f1bb7f48c91 | checkpoint-no-value | Take a photo of the emergency lights
15e002f6-748d-4336-86b9-4a626ce54320 | checkpoint | Is there an emergency log book on site? Yes/No
7eb2e767-d3e4-409e-8bbc-7bc05ddb5913 | checkpoint | If no, have you left one behind
eef4cc3a-b906-4ead-bd0d-bf68a7659de0 | checkpoint | Have you completed the emergency test - Yes/No
4fd8de14-e10f-5ded-830a-2c74c2b4763f | button | Did the emergency lights pass the 90min test | Yes, No
1eb819ac-dab5-5a3f-9735-ec6f24d36fb7 | textbox | If failed, how many lights failed
8bce2ef4-28cb-4a95-88f6-3084268276ff | checkpoint-no-value | Detail lights that failed with model numbers
bab58b83-cc57-434b-acb8-7c4f57e5d38a | checklist | SNSW Maintenance - Distribution Board |  | SNSW Maintenance - Distribution Board
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
efd832a3-feae-4752-8b66-55ae6405c07e | checkpoint-no-value | Name of distribution board?
85a1f1f3-05f4-4054-bb4d-31fd6b80bb98 | checkpoint-no-value | Where is the Distribuition board located? - Detail and take photo of location
eecd95e2-73e5-4d81-bda5-9a8478f36a93 | checkpoint-no-value | Is there a DB schedule in the board - take photo
94256916-0d5f-43e7-b913-94bb2bfcabeb | checkpoint-no-value | Does the DB schedule need to be updated? If yes, detail why.
f1c77355-8286-4b95-9f87-709d6e4e8ae1 | checkpoint-no-value | How do you access the DB room (e.g. what keys /access is required) - Photos of keys required for DB & Room.
ec2a1292-a0b0-4588-b6f0-aea10f95356e | checkpoint-no-value | Take photo of board with cover on
07e7a9c9-6f36-4c69-accf-a88ba43122df | checkpoint-no-value | Take photos of board with cover off
0d242b76-9c49-4d38-be95-87cd5e55b1c5 | checkpoint-no-value | Take photos of main switch
7ced2515-e4ac-4f57-bc9d-03905b6b95c7 | checkpoint-no-value | Where is the DB fed from / isolated from? - If possible take photos
e6e88b51-7124-4800-89a0-66fe838d2c7e | checkpoint-no-value | What is the size of breaker feeding the DB? - If possible take photos
aa1c7516-59fa-40ca-aae6-92185f4bf8e6 | checkpoint-no-value | What is the size of the cable feeding the DB? - If possible take photos
b6f85025-3895-4eaf-b75f-660acf69dcf0 | checkpoint-no-value | What capacity is the DB / How many spare ways? - Detail and take a photo
640f4293-6040-4213-915c-3ddcb71d1083 | checkpoint-no-value | Is there a UPS? - If yes, detail the model number and take photo
83e8766c-70f8-4c05-8a24-c7400783ef79 | checkpoint-no-value | Is there a backup generator? - If yes list the model number and take photos
07387250-df05-46e0-869d-949ee697b57a | checkpoint-no-value | Do you see any issues with the current DB? Provide as much detail as possible and support with pictures
192f470e-adc8-4569-b486-21aeb1278178 | checkpoint-no-value | Brand of RCBO's - Take photos
b615c8fa-0755-4675-b4af-73dbfa067fd6 | checkpoint | IS there more than 1 DB? If so, add new checklist for additional DB's
9c784609-b74b-40a3-bf6a-8fc07577c83b | checklist | SNSW Maintenance - Thermal Imagery |  | SNSW Maintenance - Thermal Imagery
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
910f7a0b-2d88-4f87-90fe-1b0dc35518a7 | checkpoint-no-value | Name of Distribution Board
cd4b82d2-ecb6-457a-a5cc-84558eda55ad | checkpoint-no-value | Take photo of the name of the DB board and service centre written on paper (if the name of DB is not on the cover - this is so we can identify which DB)
c19d7e49-c61a-48c5-b3c9-eb85e5333ad1 | checkpoint-no-value | Take picture of the front of DB with cover on
57fd989c-31c5-4b26-8bfc-a13b23962647 | checkpoint-no-value | Take picture of DB with cover off
ecd9d83a-14df-41fa-929e-6aed15076795 | checkpoint-no-value | Take close up picture of main switch
b59ff7ca-1ca2-494a-89d8-0fd017cc170a | checkpoint-no-value | Take close up pictures of any potential concerns
5d1a0e13-310d-430d-8737-d43313cef12e | checkpoint | Add new checklist for additional boards
73fd6da9-ff47-4577-a662-d4d7d41cfeb8 | checklist | SNSW Maintenance - General maintenance |  | SNSW Maintenance - General maintenance
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
cac56815-fe09-4339-8865-0136ac684117 | checkpoint-no-value | How many counter desks are in the centre?
1c1c5500-e1bf-40ea-ba7e-f25aaf309bf6 | checkpoint-no-value | Take photos above and under each counter desk
afbf030c-5966-45b6-a76e-a32cd772f161 | checkpoint-no-value | Take photos above and under each desk
c59e0c5e-55b0-4a0b-8d7f-a68be1e6708c | checkpoint-no-value | What make is the soft wiring
360f39ad-3bd3-4966-acb3-55625de45483 | checkpoint-no-value | Take photos of privacy zones
53219b64-0eed-4aef-a963-6d97e8799ac1 | checkpoint-no-value | Take photos of internal offices
1ff0420d-32fc-4bf5-a050-604924faa167 | checkpoint-no-value | Take photos of toilet ceilings
5cf52e6b-2e33-4dae-91fa-61120a454eb8 | checkpoint-no-value | Take photos of Self service areas
43a5f5f0-c0a3-464a-bde2-c211771bbc9b | checkpoint-no-value | Take photos of photo booth areas
d1bd5a8b-9a86-402b-acc2-edf11e91a092 | checkpoint-no-value | Brand of swtiching / power
5b58553b-8c91-4aff-ace6-3ff5c6904f82 | checkpoint-no-value | Detail any issues found during the inspection (e.g. faulty soft wiring any potential hazards)