## zres_siteapp_NEW
Id | Type | Name | Values | Prompting Name | Postfix | Resource Id
79afa97b-9938-4d6e-a35a-36fd314f7d79 | checklist | Floor, Duct Penetrations and Vents |  | Floor, Duct Penetrations and Vents |  | 1865c2b8-9bed-468e-90ef-53cf35cdf276
45e8814a-82cf-423b-a9fd-c3a56e777229 | section | Details
36a65fa0-b6fe-4e8f-87ed-a5010d557ac7 | checkpoint | Floor Cable Penetrations
a9ce95ae-5cc5-5b51-975f-60d57c51c194 | button | Floor cable penetrations arrangement as per latest drawings | Yes,N/A
6a2836a5-30e3-4826-a707-53299831e42e | checkpoint | Battery Cabinet Ventilations
0ec14b00-bec0-5cf2-8a4d-adeb865de8b0 | button | Battery Cabinet Ventilations as per drawings | Yes,N/A
71c85fcf-3d5c-467c-9550-66d017b95e2c | checkpoint | Fresh Air Intake
cbecbdfd-b31d-5589-a4c2-28a37267fa47 | button | Fresh air intake installed for the control room as per drawings. | Yes,N/A
3ccb695c-42da-4799-8b4e-0df02080757d | checkpoint | Ventilation Point
d7d90532-32bd-5093-b330-9cf1b4cb0b98 | button | Ventilation point for the switchroom installed as per drawings | Yes,N/A
9104a0d5-85e3-478b-b432-0594eb734bd1 | checkpoint | Switchboard Arc Vent
b98ee680-9380-5664-a722-77fd7ed945b5 | button | Switch board arc vent installed and located as per drawings | Yes,N/A
f2c89068-4a2c-473e-9e62-b127f211179e | checkpoint | Warning Signs
ac4782fd-ef51-58ec-92e2-1501115a887f | button | Warning signs installed | Yes,N/A
6b075b5d-37f1-43bd-a11c-b9ba5ccbf38f | checkpoint | Deflection Check
6e706191-a90d-5546-91dc-93b245fa5f49 | textbox | Deflection Check - (+/-) 1mm tolerance in any 1 metre radius & a tolerance of (+/-) 3mm over the length of the switchroom. Record results:
668d1e9c-8d88-4b6f-97db-9fda4bf9fd3d | checkpoint | As-Built drawings completed and signed off
9d01742b-c0b0-548d-8f9c-2fd518f54a40 | textbox | Floor, Duct Penetrations checked by:
98defa83-0e7f-4e2c-add6-371ab4ea1d69 | signoff | Client Representative: