## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | AHU QA TRADE CONTROL SHEET | [5 empty] | AHU QA TRADE CONTROL SHEET
section | Pre Install
checkpoint | Access to AHU: door, walls
checkpoint | Plinth base ready
section | Install
checkpoint | Vibration isolation
checkpoint | Correct AHU orientation
checkpoint | Return/Supply as per drawings
checkpoint | Packaging removed. All parts/fan move freely
checkpoint | Plastic film removed
checkpoint | Dampers close/seal well
checkpoint | Unit protected
checkpoint | Duct connected correctly, sealant, clamps used
section | Pre Commissioning
checkpoint | All dampers open/work
checkpoint | Filter chamber clean/ pre-filters fitted
checkpoint | Filter gauge checked
checkpoint | Fan and motor alignment checked
checkpoint | Doors fitted and seal well, damper seals satisfactory, air intake louvre fitted
checkpoint | Attenuators fitted
section | Motor details checked and entered in VSD
checkpoint | Controls contractor Sign-off
holdpoint | Sign-off
section | Electrical checks and tests complete
checkpoint | E4M Contractor Sign-off
holdpoint | Sign-off
section | Fan rotation, flow check
checkpoint | E4M Contractor Sign-off
holdpoint | Sign-off