## matrix
Matrix Name | Dimension | Name | Type / Data Field | Tag 1 | Tag 2
Plastering & Internal Hebel
| Scope |  |  | Site QA
Rows
|  | Building A - Ground Floor | dynamic | Ground Floor | Building A | Site QA
|  | Building A - Level 1 | dynamic | Level 1 | Building A | Site QA
|  | Building A - Level 2 | dynamic | Level 2 | Building A | Site QA
|  | Building A - Level 3 | dynamic | Level 3 | Building A | Site QA
|  | Building A - Level 4 | dynamic | Level 4 | Building A | Site QA
|  | Building A - Level 5 | dynamic | Level 5 | Building A | Site QA
|  | Building A - Level 6 | dynamic | Level 6 | Building A | Site QA
|  | Building A - Level 7 | dynamic | Level 7 | Building A | Site QA
|  | Building A - Level 8 | dynamic | Level 8 | Building A | Site QA
Columns
|  | Framing - All frames/studs set out correctly |  | All frames/studs set out correctly | Framing
|  | Framing - All frames plumb & square |  | All frames plumb and square | Framing
|  | Framing - Fix to structural members |  | Fix to structural members | Framing
|  | Framing - All window & sliding door openings are as per plan & line up with above elements |  | All window and sliding door openings are as per plan and line up with above elements. | Framing
|  | Framing - Nogging all installed correctly |  | Nogging all installed correctly | Framing
|  | Framing - Door frames fixing |  | Door frames fixing | Framing
|  | Framing - Studco Supplier inspection |  | Studco Supplier inspection (Provide report to builder) | Framing
|  | Internal Hebel wall - Angle/sarking/top hats in place |  | Angle/sarking/top hats in place | Internal Hebel wall
|  | Internal Hebel wall - Hebel panel alignment |  | Hebel panel alignment | Internal Hebel wall
|  | Internal Hebel wall - Ensure hebel installed plumb & level with adjoining surfaces |  | Ensure hebel installed plumb and level with adjoining surfaces | Internal Hebel wall
|  | Internal Hebel wall - Ensure hebel panels are in full & not cracked |  | Ensure hebel panels are in full and not cracked | Internal Hebel wall
|  | Internal Hebel wall - Ensure control joints installed in accordance with manufacturers specs & installation guide |  | Ensure control joints have been installed in accordance with manufacturers specifications and installation guide | Internal Hebel wall
|  | Internal Hebel wall - Panels finish (patches done) |  | Panels finish (patches done) | Internal Hebel wall
|  | Internal Hebel wall - Fire-rated caulking & sealing |  | Fire-rated caulking and sealing | Internal Hebel wall
|  | Internal Hebel wall - Satisfaction & sign off from CSR inspection |  | Satisfaction and sign off from CSR inspection (Provide report to builder) | Internal Hebel wall
|  | Plasterboard for Walls - Ply nogging |  | Ply nogging | Plasterboard for Walls
|  | Plasterboard for Walls - Rough-in sign off |  | Rough-in sign off | Plasterboard for Walls
|  | Plasterboard for Walls - Insulation installed as per AS/BCA |  | Insulation installed as per AS/BCA | Plasterboard for Walls
|  | Plasterboard for Walls - Correct type of plasterboards & thickness installed as per wall details, project drawings & BCA reqs |  | Correct type of plasterboards and thickness installed as per wall details, project drawings and BCA requirements | Plasterboard for Walls
|  | Plasterboard for Walls - Villaboard/WR to wet areas ONLY |  | Villaboard/WR to wet areas ONLY | Plasterboard for Walls
|  | Plasterboard for Walls - Plasterboard Lining to be installed as wall set out plan |  | Plasterboard Lining to be installed as wall set out plan | Plasterboard for Walls
|  | Plasterboard for Ceiling - Confirm ceiling height |  | Confirm ceiling height | Plasterboard for Ceiling
|  | Plasterboard for Ceiling - Confirm access panel location |  | Confirm access panel location | Plasterboard for Ceiling
|  | Plasterboard for Ceiling - Ceiling frame work |  | Ceiling frame work | Plasterboard for Ceiling
|  | Plasterboard for Ceiling - Ceiling bulkheads where required |  | Ceiling bulkheads where required | Plasterboard for Ceiling
|  | Plasterboard for Ceiling - Pelmets |  | Pelmets | Plasterboard for Ceiling
|  | Plasterboard for Ceiling - Ceiling insulation as per AS/BCA |  | Ceiling insulation as per AS/BCA | Plasterboard for Ceiling
|  | Plasterboard for Ceiling - Correct type of plasterboards & thickness installed as per wall details, project drawings & BCA reqs |  | Correct type of plasterboards and thickness installed as per wall details, project drawings and BCA requirements | Plasterboard for Ceiling
|  | Plasterboard for Ceiling - Ceiling plasterboard lining |  | Ceiling plasterboard lining | Plasterboard for Ceiling
|  | Setting & Sanding - Angle/LB/P50 install |  | Angle/LB/P50 install | Setting & Sanding
|  | Setting & Sanding - First coat setting |  | First coat setting | Setting & Sanding
|  | Setting & Sanding - Second coat setting |  | Second coat setting | Setting & Sanding
|  | Setting & Sanding - Final coat setting |  | Final coat setting | Setting & Sanding
|  | Setting & Sanding - Sanding |  | Sanding | Setting & Sanding
|  | Setting & Sanding - patching |  | patching | Setting & Sanding
|  | Setting & Sanding - Defects |  | Defects | Setting & Sanding
|  | Setting & Sanding - Final Inspection |  | Final Inspection | Setting & Sanding