## res
type | name | values | prefix | postfix | usage count | user addable | template name | Resource Id
checklist | Windows Installation Checklist
section | Pre-Install
checkpoint | Area clean/clear & substrate acceptable
checkpoint | Window received in good condition
checkpoint | Site measure completed - Opening size correct
checkpoint | Waterproofing in place where applicable (i.e rebate)
section | Installation & Handover
checkpoint | Sub-head and sub-sill install correctly and fully seal on sub-sill (Photo Require)
checkpoint | All windows installed in correct location according to drawing provide
checkpoint | Level plumb & correct height
checkpoint | Window - opening/closing freely , latching correctly & hardware correctly(Photo Require)
checkpoint | Jocky sash or flyscreen - opening/closing freely & latching correctly (Photo Require)
checkpoint | All Windows and small infill Installed, area left clean/tidy (Photo Require)
checkpoint | Glass protection applied
checkpoint | Remove all the protection films & tapes and clean the glass from non-accessible area prior to install
checkpoint | Internal & External Caulking (Photo Require)
section | Protection
checkpoint | Frame are covered by protection tap and free of damage
checkpoint | Glass/Awning Sash is securely fixed in position and free of damage
checkpoint | Door threshold and infills are installed and free of damage
checkpoint | Sliding/Hinged door/Awning windows and hardware is securely fixed in position and functional