## 020 Install Lighting Poles
INSTALLATION OF LIGHTING POLES
Nominate Equipment or Works associated with this ITC | [12 empty] | Page 1 of 1
ITP No : |  | 001 |  | ITP Item No: |  | 3.17 |  | Job No: |  | Area:
Dwg No:
Function | [10 empty] | OK | NA | NCR raised
No | Confirm following items comply with requirements | [11 empty] | Major | Minor
IN-GROUND BASES (Before concrete pour)
Check that the excavation :
1 | Is in the correct location
2 | Has the correct length, breadth, depth
3 | Check that the re-inforcing materials are the correct type, size & quantity
4 | Check that the rag-bolt assembly is correct type and properly positioned/orientation
LIGHTING POLES
Check that the lighting pole is :
5 | In the correct location/orientation height
6 | The correct type, size and colour
7 | Secured/sealed correctly
Check that the luminaire is :
8 | The correct type and size
9 | Secured properly
10 | Focussed as required
11 | Confirm that the assembly has been installed in a workmanlike manner
12 | Additional accessories installed correctly
Associated documents:
Comments
Minor NCR's raised |  |  |  | YES | NO |  | N/A | Have all NCR's been finalised ?
[8 empty] | YES |  | NO |  |  | N/A
Major NCR's raised |  |  |  | YES | NO |  | N/A
Accepted By |  |  | Name (Print) |  | Signature |  |  |  | Position |  | Date
Q Electrical
PM Review
Client (If Applicable)