## 029 Lightning Protection
Lightning Protection
Nominate Equipment or Works associated with this ITC | [14 empty] | Page 1 of 1
ITP No : |  | 001 |  | ITP Item No: |  | 3.24 |  | Job No: |  |  | Area:
Dwg No:
Function | [12 empty] | OK | NA | NCR raised
No | Confirm following items comply with requirements | [13 empty] | Major | Minor
1 | Check test electrodes have been installed
2 | Check down conductors during construction
3 | Check bonding to exposed metal on roof
4 | Check system terminations
5 | Is system fixed securely
6 | Continuity test for system completed
7 | Check air terminations
8 | Nominate size of bonding strap and record
Record Serial No and Calibration Date of all IMTE used :
Comments
Minor NCR's raised |  |  |  |  | YES | NO | N/A |  | Have all NCR's been finalised ?
[9 empty] | YES |  |  | NO |  |  | N/A
Major NCR's raised |  |  |  |  | YES | NO | N/A
Accepted By |  |  | Name (Print) |  |  | Signature |  |  |  | Position |  |  | Date
Q Electrical
PM Review
Client (If Applicable)