## res
type | name | values | prefix | postfix | usage count | user addable | template name
checklist | ZX118-ITR-7217(0) - Culvert Installation Inspection | [5 empty] | ZX118-ITR-7217(0) - Culvert Installation Inspection
section | 1. GENERAL
checkpoint | General
textbox | Project Name:
textbox | Project No.:
label | ITR Description: Culvert Installation Inspection
label | ITR Template No.: ZX118-ITR-7217
label | Rev.: 0
label | ITR Level: 1
section | 2. SUBCONTRACTOR
checkpoint | Subcontractor
textbox | Company:
textbox | Supervisor:
textbox | Scope of Work:
textbox | Contract No.:
section | 3. INSPECTION AND TEST DETAILS
checkpoint | Inspection and Test Details
radio | Is HOLD POINT applicable? | Yes,No
radio | Is WITNESS applicable? | Yes,No
textbox | ITP Reference: |  |  | Choose an item
textbox | Location:
textbox | Drawings Ref.:
textbox | Specification Ref.: |  |  | Choose an item
section | 4. INSPECTION DETAILS
checkpoint | Inspection Details
textbox | Type of Pipe:
textbox | Class:
textbox | Number of Cells:
radio | Concrete Encasement: | Yes,No
section | 5. INSPECTION POINTS
checkpoint | A. Alignment
checkpoint | B. Foundation Inspection
checkpoint | C. Laying Inspection
checkpoint | D. Backfill Inspection
checkpoint | E. Erosion Controls
section | 6. INSPECTION AND TEST RESULT
checkpoint-no-status | ACTION Details or Inspection Comments:
checkpoint | Works to go and/or punch list items registered?
section | 7. SUBCONTRACTOR SIGN OFF
checkpoint | Subcontractor Sign Off
textbox | Name:
textbox | Position:
textbox | Date:
holdpoint | Signature:
section | 8. ZENVIRON WITNESS OR HOLD POINT SIGN OFF (if considered applicable in Section 3)
checkpoint | Subcontractor Sign Off
textbox | Name:
textbox | Position:
textbox | Date:
label | Disclaimer: A signed Company witness shall not remove or relieve the subcontractor of the responsibility to supply or construct in full compliance with the Purchase Order/ Contract # requirements and terms. Zenviron reserved the right to reject goods or products not supplied or manufactured in accordance with Company requirements.
holdpoint | Signature:
checklist | ZENT-ITR-7550 - Outdoor Circuit Breaker - L2 | [5 empty] | ZENT-ITR-7550 - Outdoor Circuit Breaker - L2
section | 1. GENERAL
checkpoint | General
textbox | Project Name:
textbox | Project No.:
label | ITR Description: Outdoor Circuit Breaker - L2
label | ITR Template No.: ZENT-ITR-7550
label | Rev.: 0
label | ITR Level: Level 2
section | 2. SUBCONTRACTOR
checkpoint | Subcontractor
textbox | Company:
textbox | Supervisor:
textbox | Scope of Work:
textbox | Contract No.:
section | 3. INSPECTION AND TEST DETAILS
checkpoint | Inspection and Test Details
radio | Is HOLD POINT applicable? | Yes,No
radio | Is WITNESS applicable? | Yes,No
textbox | ITP Reference: |  |  | Choose an item
textbox | Location:
textbox | Drawings Ref.:
textbox | Specification Ref.: |  |  | Choose an item
section | 4. EQUIPMENT DETAILS
checkpoint | Equipment Details
textbox | Description:
textbox | Model Number:
textbox | Manufacturer:
textbox | Serial Number:
section | 5. TEST EQUIPMENT: ***WARNING - Always ensure circuits are de-energised before connecting test equipment***
checkpoint | Insulation resistance Tester
textbox | Make / Model
textbox | Serial Number
date | Calibration Due Date
checkpoint | Ductor Tester
textbox | Make / Model
textbox | Serial Number
date | Calibration Due Date
section | 6. INSPECTION POINTS: Insulation Test Result - Main contacts closed
checkpoint | Aa - BbCcE
textbox | IR Test: Voltage (V)
textbox | IR Test: Duration (s)
date | IR Test: Resistance (GΩ)
checkpoint | Bb - AaCcE
textbox | IR Test: Voltage (V)
textbox | IR Test: Duration (s)
date | IR Test: Resistance (GΩ)
checkpoint | Cc - AaBbE
textbox | IR Test: Voltage (V)
textbox | IR Test: Duration (s)
date | IR Test: Resistance (GΩ)
section | 6. INSPECTION POINTS: Insulation Test Result - Main contacts open
checkpoint | A - aBbCcE
textbox | IR Test: Voltage (V)
textbox | IR Test: Duration (s)
date | IR Test: Resistance (GΩ)
checkpoint | B - aAbcCE
textbox | IR Test: Voltage (V)
textbox | IR Test: Duration (s)
date | IR Test: Resistance (GΩ)
checkpoint | C - aAbBcE
textbox | IR Test: Voltage (V)
textbox | IR Test: Duration (s)
date | IR Test: Resistance (GΩ)
checkpoint | a - ABbCcE
textbox | IR Test: Voltage (V)
textbox | IR Test: Duration (s)
date | IR Test: Resistance (GΩ)
checkpoint | b - aABcCE
textbox | IR Test: Voltage (V)
textbox | IR Test: Duration (s)
date | IR Test: Resistance (GΩ)
checkpoint | c - aAbBCE
textbox | IR Test: Voltage (V)
textbox | IR Test: Duration (s)
date | IR Test: Resistance (GΩ)
section | 6. INSPECTION POINTS: Circuit Breaker - Main contacts closed - Resistance μΩ
checkpoint | Red
textbox | Ductor (A)
textbox | Resistance μΩ:
checkpoint | White
textbox | Ductor (A)
textbox | Resistance μΩ:
checkpoint | Blue
textbox | Ductor (A)
textbox | Resistance μΩ:
section | 6. INSPECTION POINTS: Auxiliary Readings
checkpoint | Auxiliary Readings
textbox | Trip Supply (Vdc)
textbox | Trip Coil 1 (Ω)
textbox | Motor Overload (A)
textbox | Close Supply (Vdc)
textbox | Trip Coil 2 (Ω)
textbox | Heater thermostat ºC
textbox | Charging Motor Supply (Vdc)
textbox | Closing Coil (Ω)
textbox | Counter reading
section | 7. INSPECTION POINTS (Functional Tests & Completion)
checkpoint | 1 - Auxiliary Supply Voltage and Polarity correct
checkpoint | 2 - Protection operates both trip coils
checkpoint | 3 - Wiring to control panels correct as per schematic
checkpoint | 4 - CB operates correctly when done manually
checkpoint | 5 - Indicators read correctly in open and close position
checkpoint | 6 - Spring charge works automatically
checkpoint | 7 - Apply trip while close is maintained (anti pump)
checkpoint | 8 - Anti-condensation heaters operational, tong tested
checkpoint | 9 - Gas pressure Lockout/Trip functional
checkpoint | 10 - CB cannot be operated with ES on
checkpoint | 11 - Close and opening timing tests complete, test report attached
checkpoint | 12 - Area left clean and tidy
checkpoint | 13 - Drawings updated and marked as 'As-Built'
checkpoint | Operation Type:
textbox | Local
textbox | Remote (Relay)
textbox | Remote (HMI)
textbox | Remote (Offsite)
checkpoint | Open Operation
textbox | Local
textbox | Remote (Relay)
textbox | Remote (HMI)
textbox | Remote (Offsite)
section | 8. INSPECTION AND TEST RESULT
checkpoint-no-status | ACTION Details or Inspection Comments:
checkpoint | Works to go and/or punch list items registered?
section | 9. SUBCONTRACTOR SIGN OFF
checkpoint | Subcontractor Sign Off
textbox | Name:
textbox | Position:
textbox | Date:
holdpoint | Signature:
section | 10. ZENVIRON WITNESS OR HOLD POINT SIGN OFF (if considered applicable in Section 3)
checkpoint | Subcontractor Sign Off
textbox | Name:
textbox | Position:
textbox | Date:
label | Disclaimer: A signed Company witness shall not remove or relieve the subcontractor of the responsibility to supply or construct in full compliance with the Purchase Order/ Contract # requirements and terms. Zenviron reserved the right to reject goods or products not supplied or manufactured in accordance with Company requirements.
holdpoint | Signature: