## struct
resource | type | Add Step | Add Post | Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Tier 8 | Tier 9
| step |  |  | Tier 1: TERS
| step |  |  | Tier 2: TER 1
| step |  |  | Tier 3: Main Switchboards
| step |  |  | Tier 4: EL-EMSB-02-1001
| step |  |  | Tier 5: Main Switchboards
Testing & Commissioning - Main Switchboards (Pre-Energisation) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31032000 - Construction Tests (Pre-energisation)
Testing & Commissioning - Main Switchboards (Energised) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31033000 - Component (Energised)
| step |  |  | Tier 5: Low Voltage Cables (Mains/Submains)
| step |  |  | Tier 6: 1001-6 EL-UP-01-1001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-7 EL-UP-01-1001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-8 EL-UPSIO-02-1001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-9 EL-HDBE-02-1001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-10 ME-EMSSB-02-1002
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-11 ME-EMSSB-02-1001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-12 EL-PFC-02-1001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-13 EL-FDAB-01 (SECONDARY FIRE PANEL)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-14 EL-FDAB-02 (GAS SYSTEM)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 5: Earthing Systems
Testing & Commissioning - Earthing Systems - Construction Tests (Main Earth System) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31092000a - Construction Tests (Main Earth System)
Testing & Commissioning - Earthing Systems - Construction Tests (Earth System Reticulation) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31092000b – Construction Test (Earth System Reticulation)
| step |  |  | Tier 3: UPS MDBs
| step |  |  | Tier 4: EL-UPSIO-01-1001
| step |  |  | Tier 5: UPS
Testing & Commissioning - UPS (Pre-Energistation) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31122000 - Construction Tests (Pre-energisation)
Testing & Commissioning - UPS (Energised) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31123000 - Component (Energised)
Testing & Commissioning - UPS (System Commissioning) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31124000 - System Commissioning
| step |  |  | Tier 5: Low Voltage Cables (Mains/Submains)
| step |  |  | Tier 6: 1001-17 MMR-EL-CDBU-02-1006
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-18 MMR-EL-CDBU-02-1005
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-19 DAS-EL-CDBU-02-1004
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-20 DAS-EL-CDBU-02-1003
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-21 TER-EL-CDBU-02-1002
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-22 TER-EL-CDBU-02-1001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-23 BAF-EL-CDBU-02-1008
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1001-24 BAF-EL-CDBU-02-1007
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 2: TER 2
| step |  |  | Tier 3: Main Switchboards
| step |  |  | Tier 4: EL-EMSB-02-2001
| step |  |  | Tier 5: Main Switchboards
Testing & Commissioning - Main Switchboards (Pre-Energisation) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31032000 - Construction Tests (Pre-energisation)
Testing & Commissioning - Main Switchboards (Energised) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31033000 - Component (Energised)
| step |  |  | Tier 5: Low Voltage Cables (Mains/Submains)
| step |  |  | Tier 6: 1002-1 TER-2 LV SUPPLY 1
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-2 TER-2 LV SUPPLY 2
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-4 TER-2 LV SUPPLY 2
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-6 EL-UPSINV-02-2001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-7 EL-UPSINV-02-2001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-8 EL-UPSIO-02-2001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-9 EL-HDBE-02-2001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-10 ME-EMSSB-02-2002
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-11 ME-EMSSB-02-2001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-12 EL-PFC-02-2001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-13 EL-FDAB-01
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-14 EL-FDAB-02
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 5: Earthing Systems
Testing & Commissioning - Earthing Systems - Construction Tests (Main Earth System) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31092000a - Construction Tests (Main Earth System)
Testing & Commissioning - Earthing Systems - Construction Tests (Earth System Reticulation) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31092000b – Construction Test (Earth System Reticulation)
| step |  |  | Tier 3: UPS MDBs
| step |  |  | Tier 4: EL-UPSIO-02-2001
| step |  |  | Tier 5: UPS
Testing & Commissioning - UPS (Pre-Energistation) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31122000 - Construction Tests (Pre-energisation)
Testing & Commissioning - UPS (Energised) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31123000 - Component (Energised)
Testing & Commissioning - UPS (System Commissioning) | checklist |  |  | Tier 6: WSA20-MPX-04000-EL-ITC-31124000 - System Commissioning
| step |  |  | Tier 5: Low Voltage Cables (Mains/Submains)
| step |  |  | Tier 6: 1002-17 EL-CDBU-02-2006
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-18 MMR-EL-CDBU-02-2005
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-19 DAS-EL-CDBU-02-2004
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-20 DAS-EL-CDBU-02-2003
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-21 TER-EL-CDBU-02-2002
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)
| step |  |  | Tier 6: 1002-22 TER-EL-CDBU-02-2001
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Pre-Energisation) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31052000 Construction Tests (Pre-energisation)
Testing & Commissioning - Low Voltage Cables - Mains/Submains (Energised) | checklist |  |  | Tier 7: WSA20-MPX-04000-EL-ITC-31053000 Component (Energised)