## struct
resource | type | Add Step | Add Post | Tier 1 | Tier 2 | Tier 3 | Tier 4 | Tier 5 | Tier 6 | Tier 7 | Tier 8 | Tier 9
| step |  |  | Tier 1: Site QA
| step |  |  | Tier 2: Switchboard
MSSB checklist | checklist |  |  | Tier 3: MSSB-1E
MSSB checklist | checklist |  |  | Tier 3: MSSB-2
MSSB checklist | checklist |  |  | Tier 3: MSSB-3
| step |  |  | Tier 2: Ventilation Fans
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/HB-1
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/HB-2
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/HB-3
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/HB-4
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/HB-5
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/HB-6
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/HB-7
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/HB-8
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/HB-9
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/LB-10
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/LB-11
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/LB-12
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/LB-13
Ventilation Fans checklist | checklist |  |  | Tier 3: SCF-WH/LB-14
| step |  |  | Tier 2: Pac Units
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/HB-1
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/HB-2
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/HB-3
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/HB-4
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/HB-5
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/HB-6
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/HB-7
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/HB-8
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/HB-9
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/CP-10
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/CP-11
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-12
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-13
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-14
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-15
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-16
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-17
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-18
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-19
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-20
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-21
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-22
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-23
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-24
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-25
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-26
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-27
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-28
ERV / HRV Checklist | checklist |  |  | Tier 3: PAC-WH/LB-29
| step |  |  | Tier 2: Main Office
| step |  |  | Tier 3: Ground Floor
FCU-AC checklist | checklist |  |  | Tier 4: FCU-OF-G.1
FCU-AC checklist | checklist |  |  | Tier 4: FCU-OF-G.2
FCU-AC checklist | checklist |  |  | Tier 4: FCU-OF-G.3
FCU-AC checklist | checklist |  |  | Tier 4: FCU-OF-G.4
Branch Box checklist | checklist |  |  | Tier 4: BB-OF-1
AC Condensor checklist | checklist |  |  | Tier 4: CU-OF-1
Ventilation Fans checklist | checklist |  |  | Tier 4: TEF-OF-1
| step |  |  | Tier 3: First Floor
FCU-AC checklist | checklist |  |  | Tier 4: FCU-OF-1.1
FCU-AC checklist | checklist |  |  | Tier 4: FCU-OF-1.2
FCU-AC checklist | checklist |  |  | Tier 4: FCU-OF-1.3
FCU-AC checklist | checklist |  |  | Tier 4: FCU-OF-1.4
Branch Box checklist | checklist |  |  | Tier 4: BB-OF-2
FCU-AC checklist | checklist |  |  | Tier 4: AC-OF-COMMS-1
AC Condensor checklist | checklist |  |  | Tier 4: CU-OF-COMMS-1
FCU-AC checklist | checklist |  |  | Tier 4: AC-OF-COMMS-2
AC Condensor checklist | checklist |  |  | Tier 4: CU-OF-COMMS-2
| step |  |  | Tier 2: Dock Office
| step |  |  | Tier 3: Ground Floor
FCU-AC checklist | checklist |  |  | Tier 4: FCU-DO-G.1
AC Condensor checklist | checklist |  |  | Tier 4: CU-DO-G.1
Ventilation Fans checklist | checklist |  |  | Tier 4: TEF-DO-1
| step |  |  | Tier 3: First Floor
FCU-AC checklist | checklist |  |  | Tier 4: FCU-DO-L1.1
AC Condensor checklist | checklist |  |  | Tier 4: CU-DO-L1.1
| step |  |  | Tier 2: Co-pack/Scorched
FCU-AC checklist | checklist |  |  | Tier 3: FCU-CP-1
AC Condensor checklist | checklist |  |  | Tier 3: CU-CP-1
FCU-AC checklist | checklist |  |  | Tier 3: FCU-CP-2
AC Condensor checklist | checklist |  |  | Tier 3: CU-CP-2
FCU-AC checklist | checklist |  |  | Tier 3: FCU-CP-3
AC Condensor checklist | checklist |  |  | Tier 3: CU-CP-3
FCU-AC checklist | checklist |  |  | Tier 3: FCU-CP-4
AC Condensor checklist | checklist |  |  | Tier 3: CU-CP-4
FCU-AC checklist | checklist |  |  | Tier 3: FCU-SR-1
AC Condensor checklist | checklist |  |  | Tier 3: CU-SR-1
FCU-AC checklist | checklist |  |  | Tier 3: FCU-SR-2
AC Condensor checklist | checklist |  |  | Tier 3: CU-SR-2
Ventilation Fans checklist | checklist |  |  | Tier 3: OAF-WH-1
Ventilation Fans checklist | checklist |  |  | Tier 3: TEF-WH-1
Ventilation Fans checklist | checklist |  |  | Tier 3: BCEF-WH-1
Ventilation Fans checklist | checklist |  |  | Tier 3: GEF-SR-1
Ventilation Fans checklist | checklist |  |  | Tier 3: KEF-SR-1
| step |  |  | Tier 2: Gate House/Pump Room
FCU-AC checklist | checklist |  |  | Tier 3: AC-GH-1
AC Condensor checklist | checklist |  |  | Tier 3: CU-GH-1
Ventilation Fans checklist | checklist |  |  | Tier 3: TEF-GH-1
Ventilation Fans checklist | checklist |  |  | Tier 3: GEF-PR-1
| step |  |  | Tier 2: Seismic
| step |  |  | Tier 3: Equipment
Seismic checklist | checklist |  |  | Tier 4: FCU-OF-G.1
Seismic checklist | checklist |  |  | Tier 4: FCU-OF-G.2
Seismic checklist | checklist |  |  | Tier 4: FCU-OF-G.3
Seismic checklist | checklist |  |  | Tier 4: FCU-OF-G.4
Seismic checklist | checklist |  |  | Tier 4: FCU-OF-1.1
Seismic checklist | checklist |  |  | Tier 4: FCU-OF-1.2
Seismic checklist | checklist |  |  | Tier 4: FCU-OF-1.3
Seismic checklist | checklist |  |  | Tier 4: FCU-OF-1.4
Seismic checklist | checklist |  |  | Tier 4: BB-OF-1
Seismic checklist | checklist |  |  | Tier 4: BB-OF-2
Seismic checklist | checklist |  |  | Tier 4: CU-OF-1
Seismic checklist | checklist |  |  | Tier 4: AC-OF-COMMS-1
Seismic checklist | checklist |  |  | Tier 4: CU-OF-COMMS-1
Seismic checklist | checklist |  |  | Tier 4: AC-OF-COMMS-2
Seismic checklist | checklist |  |  | Tier 4: CU-OF-COMMS-2
Seismic checklist | checklist |  |  | Tier 4: FCU-DO-G.1
Seismic checklist | checklist |  |  | Tier 4: CU-DO-G.1
Seismic checklist | checklist |  |  | Tier 4: FCU-DO-L1.1
Seismic checklist | checklist |  |  | Tier 4: CU-DO-L1.1
Seismic checklist | checklist |  |  | Tier 4: AC-GH-1
Seismic checklist | checklist |  |  | Tier 4: CU-GH-1
Seismic checklist | checklist |  |  | Tier 4: FCU-CP-1
Seismic checklist | checklist |  |  | Tier 4: CU-CP-1
Seismic checklist | checklist |  |  | Tier 4: FCU-CP-2
Seismic checklist | checklist |  |  | Tier 4: CU-CP-2
Seismic checklist | checklist |  |  | Tier 4: FCU-CP-3
Seismic checklist | checklist |  |  | Tier 4: CU-CP-3
Seismic checklist | checklist |  |  | Tier 4: FCU-CP-4
Seismic checklist | checklist |  |  | Tier 4: CU-CP-4
Seismic checklist | checklist |  |  | Tier 4: FCU-SR-1
Seismic checklist | checklist |  |  | Tier 4: CU-SR-1
Seismic checklist | checklist |  |  | Tier 4: CU-SR-1
Seismic checklist | checklist |  |  | Tier 4: FCU-SR-2
Seismic checklist | checklist |  |  | Tier 4: FCU-SR-2
Seismic checklist | checklist |  |  | Tier 4: CU-SR-2
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/HB-1
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/HB-2
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/HB-3
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/HB-4
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/HB-5
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/HB-6
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/HB-7
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/HB-8
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/HB-9
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/CP-10
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/CP-11
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-12
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-13
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-14
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-15
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-16
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-17
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-18
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-19
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-20
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-21
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-22
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-23
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-24
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-25
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-26
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-27
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-28
Seismic checklist | checklist |  |  | Tier 4: PAC-WH/LB-29
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/HB-1
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/HB-2
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/HB-3
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/HB-4
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/HB-5
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/HB-6
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/CP-7
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/CP-8
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/LB-9
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/LB-10
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/LB-11
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/LB-12
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/LB-13
Seismic checklist | checklist |  |  | Tier 4: SCF-WH/LB-14
| step |  |  | Tier 2: Greenstar
Greenstar checklist | checklist |  |  | Tier 3: Photo Identification