## ITC 002
ITC 002 MAIN SWITCHBOARD PRE ENERGISATION TEST REPORT
Section 1: Visual inspection as per Section 8 of AS/NZS 3000
CHECKLIST
Confirm ITC 001 has been completed and signed off | Yes/ No
Confirm section 4 of ITC 005 has been completed and signed off | Yes/ No
Confirm ITC - 019 has been completed and signed off | Yes/ No
Referenced Drawing Number and Revision | text box
Configuration installed as per approved drawings. | Yes/ No
Correct cable glands used. | Yes/ No
Cables terminated correctly, Lugs crimped as per manufacturers specifications. | Yes/ No
All cable terminations bolted and correctly tensioned according to manufactures specifications, and witness marks applied. | Yes/ No
All cables restrained in switchboards | Yes/ No
All Cables visually inspected, ensuring cable sheathes are intact and in good condition. | Yes/ No
Cables are labelled correctly at origin and destination as per schedule. | Yes/ No
Cables are terminated at destination, and made safe. | Yes/ No
If cables are not terminated at the destination, remove from breaker and make safe | Yes/ Na
All Exposed conductors are covered or protected in cubicle or terminal box. | Yes/ No
Switchboard is clean and free access is available around the board | Yes/ No
All cubilces of the switchboard are sealed | Yes/ No
Final Visual Inspection undertaken by Senior GRiD representative. | Yes/ No | send email
Supply Authority or Regulatory Body inspection completed | Yes/ No | Date completed text box
All works complete in switchboard | Yes/ No
All switchboard doors, escutcheons and covers reinstated and locked ready for energisation. | Yes/ No
Notice of intent to energise form complete and signed by Principle Contractor | Yes/ No
Comments
The Electricians noted above, working for Grid Electrical Services Pty Ltd, certify that the inspections/ tests beside their name, has been verified/ tested to ensure it is electrically safe and in accordance with the relevant wiring rules and any other standard applying to the electrical installation under the Electrical Safety Act of that particular State/ Territory at the date the test/ inspection was completed.
Final Acceptnce - email